## Slide 1
Resource Integration Topics
Jenifer Fernandes
ERCOT
Resource Integration Working Group
December 19th, 2024

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5
Next Deadline for QSA
If a GINR is not included in QSA, its Initial Synchronization date will be automatically delayed to the next quarter
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July

## Slide 3: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5, Quarterly Stability Assessment
Issue’s seen in previous QSA’s
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic/PSCAD Model Review
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline
PSSE Model Quality Test Required
PSCAD Model Quality Test, Unit Model Validation and Template is required. PSCAD template is required starting August 1st QSA.
TSAT Model Required – If PSSE model is UDM, then TSAT model should be UDM and should include MQT

## Slide 4: PGRR112: Feb 1,2025 QSA implementation
FIS studies finalized and posted in RIOO-IS 45 days prior to quarterly stability assessment deadline.
Dynamic models (PSEE, PSCAD, TSAT (UDM)) and MQT report submitted in RIOO-IS.
From Planning guide Section 5.3.5 (2): Last Day for an IE to meet prerequisites as listed in paragraph (4) below | 45 day deadline
Prior August 1 | June 17
Prior November 1 | September 17
Prior February 1 | December 18
Prior May 1 | March 17

## Slide 5: NPRR1254 Implementation
This NPRR requires Resource Entities to submit the initial Resource Registration data for a Generator Interconnection or Modification (GIM) project, required by paragraph (6) of Planning Guide Section 6.8.1, Resource Registration, four months prior to target inclusion in the ERCOT Network Operations Model.
This new deadline provides a one-month period for ERCOT and the Resource Entities to address errors or deficiencies consistent with the process outlined in Planning Guide Section 6.8.2, Resource Registration Process. Without this period, ERCOT does not have sufficient time to process the initial data submissions, which often consist of voluminous and complicated data, requiring discussion with the submitter to correct errors or deficiencies prior to ERCOT modeling.
  ERCOT has been receiving a growing number of these submissions 1-2 days before the current deadline in paragraph (3) of Section 3.10.1.
Language in Section 3.10.1 paragraph (3) has been revised to include a reference to an additional paragraph (4), including a table referencing the month out deadline and previous three-month timeline prior to the physical equipment change.

## Slide 6: NPRR1254 Implementation
Status - Pending PUCT approval
Implementation Date - March 1st, 2025
  Per the Production Load Schedule, the March 1st implementation date will affect 7/2/2025 Production Load Date (PLD) onwards.
  According to NP 3.10.1 (4) Table, the 7/2/2025 PLD Full registration data must be submitted by March 1st , 2025 for ERCOT review.
Deadline for Resource Entity to Submit Complete Information to ERCOT Note 1 | Deadline for Resource Registration Data to Meet Criteria for ERCOT Acceptance Note 2 | Model Complete and Available for Test Note 3 | Updated Network Operations Model Testing Complete Note 4 Paragraph (6) | Update Network Operations Model Production Environment | Target Physical Equipment included in Production Model Note 5
December 1 | January 1 | February 15 | March 15 | April 1 | Month of April
January 1 | February 1 | March 15 | April 15 | May 1 | Month of May
February 1 | March 1 | April 15 | May 15 | June 1 | Month of June
March 1 | April 1 | May 15 | June 15 | July 1 | Month of July
April 1 | May 1 | June 15 | July 15 | August 1 | Month of August
May 1 | June 1 | July 15 | August 15 | September 1 | Month of September
June 1 | July 1 | August 15 | September 15 | October 1 | Month of October
July 1 | August 1 | September 15 | October 15 | November 1 | Month of November
August 1 | September 1 | October 15 | November 15 | December 1 | Month of December
September 1 | October 1 | November 15 | December 15 | January 1 | Month of January (the next year)
October 1 | November 1 | December 15 | January 15 | February 1 | Month of February (the next year)
November 1 | December 1 | January 15 | February 15 | March 1 | Month of March (the next year)

## Slide 7: Commissioning Requests Submission- Clarification
ERCOT has established a new, dedicated email address for Market Participants to submit new generator Commissioning Checklist for review.
Starting June 10, 2024, all new Commissioning Checklists (Parts 1-3) should be emailed to CommissioningRequests@ercot.com in addition to being submitted to RIOO-IS.
Commissioning Checklists (Parts 1-3) submitted to ResourceIntegrationDepartment@ercot.com after June 21, 2024, will not be processed.
Commissioning Plans should not be emailed for review to the new Commissioning Request email address.

## Slide 8: Commissioning Requests Submission- Clarification
Emails to the Commissioning Request inbox should only include to Part 1, Part 2<20 MVA, Part 2>20MVA and Part 3 approval request.
  Format subject line as follows:
    Subject line: INR#_Project name_Commissioning Part #_ Approval request.
The following requests should not be sent to the Commissioning Request Inbox:
  Commissioning Plan review requests
  Commissioning call requests
  Ancillary test review requests
  Part 3 Test review requests
  PMU review request
  PGRR109 review requests
  Weatherization review requests
  4 Quadrant Telemetry check for BESS

## Slide 9: QSA: Proposal checklist for future QSA
Resource Integration will publish QSA checklist for the Interconnecting Entity (IE) to verify that all requirements for QSA have been submitted:
  Checklist for PGRR112
  Checklist for the final QSA
IE will be required to submit the checklist along with the dynamic model submission and final QSA submission for ERCOT review prior to the deadlines.
Resource Integration will no longer send initial QSA status emails.

## Slide 10: Generation Interconnection Requests
1903 active generation interconnection requests totaling 373 GW as of November 30th 2024 (Solar 155 GW, Wind 35 GW, Gas 27 GW, and Battery 156 GW) (Excludes capacity associated with projects designated as Inactive per Planning Guide Section 5.7.6)
Chart: Large Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24
# Signed Interconnect Agreement | 375 | 381 | 386 | 391 | 391 | 395 | 408 | 414 | 427 | 437 | 435 | 440 | 449
# Completed Full Study | 92 | 92 | 95 | 102 | 101 | 112 | 125 | 140 | 158 | 152 | 158 | 159 | 156
# in Full Study | 961 | 974 | 1011 | 1023 | 1035 | 1025 | 1023 | 1023 | 1033 | 1057 | 1050 | 1039 | 1070
# Screening Study Complete | 99 | 116 | 133 | 132 | 100 | 115 | 129 | 137 | 136 | 140 | 140 | 127 | 126
# Initial Screening study | 55 | 39 | 35 | 65 | 80 | 58 | 48 | 20 | 27 | 24 | 21 | 28 | 21
GW Capacity | 317.2507 | 324.6657 | 335.1637 | 347.86 | 348.9954 | 348.0727 | 354.6377 | 350.3239 | 363.9554 | 370.6044 | 370.9633 | 369.8282 | 377.0299

## Slide 11: Generation Interconnection Requests
Small Gen- 33 projects Not Model Ready, 48 projects Model Ready
Chart: Small Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Nov-23 | Dec-23 | Jan-24 | Feb-24 | Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24
# Not Model Ready | 44 | 41 | 42 | 43 | 39 | 42 | 39 | 34 | 31 | 27 | 29 | 35 | 33
# Model Ready | 30 | 28 | 29 | 27 | 29 | 33 | 41 | 44 | 46 | 49 | 48 | 44 | 48
MW Capacity | 701.31 | 651.14 | 670.99 | 660.94 | 641.11 | 705.33 | 745.73 | 725.74 | 715.94 | 708.34 | 725.62 | 745.8 | 755.62

## Slide 12: Other contact information
ResourceIntegrationDepartment@ercot.com is distribution list for Resource Integration department
Mailing List
  RESOURCE_INTEGRATION@LISTS.ERCOT.COM

## Slide 13: Questions?
Thank you!