## Slide 1: Planning Working Group Report
to
The Reliability and Operations Subcommittee
Dylan Preas, PLWG Chair
Mina Turner, PLWG Vice-Chair
January 9, 2025

## Slide 2: PLWG Update Dec 18 Meeting
2025 PLWG Leadership Nominations
  At the Dec 18 PLWG meeting, the following nominations were made:
  PLWG Chair – Mina Turner, AEP
  PLWG Vice-chair – Kristin Cook, Southern Power

## Slide 3: PLWG Update Dec 18 Meeting
PGRR115 (related to NPRR1234) – Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater
  The following comments were discussed:
    115PGRR-10 ERCOT Steel Mills 092524
    115PGRR-13 CenterPoint Comments 121224
    115PGRR-14 Joint TSPs (AEP/CEHE/TNMP) Comments 121224
    115PGRR-15 Oncor Comments 121224
  Discussion included concerns with disconnecting large industrial loads, establishment of stability study screening thresholds, and the inclusion of a standalone 1,000 MW load interconnection criteria.
  Action: PLWG tabled PGRR115 for further discussion at its January meeting.

## Slide 4: PLWG Update Dec 18 Meeting
PGRR119 – Stability Constraint Modeling Assumptions in the Regional Transmission Plan
  The following comment was discussed:
    119PGRR-06 Joint Commenters (EDF Renewables/Invenergy/Pattern Energy) Comments 120224
  Based on the discussion, ERCOT will work with the Joint Commenters to refine the language (e.g., use the term “stability limit” in lieu of “GTC limit”).
  Action: PLWG tabled PGRR119 for further discussion at its January meeting.

## Slide 5: PLWG Update Dec 18 Meeting
PGRR120 – SSO Prevention for Generator Interconnection
  The following comment was discussed:
    120PGRR-05 Southern Power Comments 121724
  Discussion included adding language to allow an existing Generation Resource to modify its interconnection to a series-compensated line when the Resource Entity has demonstrated that SSO has been fully mitigated.
  ERCOT requested time to review comments.
  Action: PLWG tabled PGRR 120 pending further discussion at its January meeting.

## Slide 6: PLWG Update Dec 18 Meeting
PGRR122 – Reliability Performance Criteria for Loss of Load
  This PGRR adds Planning criteria that will limit the total load loss (to less than 1,000 MW) under ERCOT Reliability Performance Criteria (ERCOT Planning Guide, Section 4.1.1.2) or NERC TPL Reliability Standard (P1–P7) continency events.
  Discussion included rational for including NERC P6 (N-1-1)/maintenance outage events, the potential overlap with contingency events defined on PGRR115, and adding the Reliability Performance Criteria (in PG 4.1.1.1) as a new subsection in the Planning Guide, Section 4.
  Action: PLWG tabled PGRR 122 pending further discussion at its January meeting.

## Slide 7: PLWG Update Dec 18 Meeting
NERC Topics Roundtable
  Mina Turner (AEP) is on the drafting team for NERC CIP-014-4 and plans to discuss the revised standard at a future PLWG meeting.
  Future topics related to NERC TPL-008-1 Transmission Planning Performance Requirements for Extreme Weather.

## Slide 8: PLWG Update Dec 18 Meeting
Review use of “Load” in the Planning Guide, revise as needed.
  Align the use of the terms “load” and “Load” in the Planning Guide with the defined term in Protocol Section 2.
  PLWG reviewed Planning Guide Section 3 for occurrences of “load” or “Load” and made edits to align with the defined term in Protocol Section 2.
  Edits will be posted to the PLWG events page and PLWG will continue its review in future PLWG meetings.
Open Action Item(s)

## Slide 9: Questions?