## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for December 2024

## Slide 2: Non-IRR GREDP < 85% – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 442 | 83 | 240 | 1.49 | 34.58

## Slide 3: IRR Summary – December 2024
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 85.43 | 73.15 | 80.72
GREDP Median (%) | 94.88 | 83.67 | 88.14
Average MW Error | 5.02 | 5.00 | 5.11
Median MW Error | 4.52 | 4.50 | 4.50
Total Intervals Scored | 89,818 | 48,091 | 46,011
100+ Intervals Scored | 172 | 221 | 103
Total Intervals Scored Average | 228.54 | 300.57 | 446.71

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,040 | 2,062 | 1.33 | 98.93
Unit 3 | 1,618 | 1,618 | 4.17 | 100.00
Unit 5 | 1,513 | 1,548 | 5.40 | 97.74
Unit 6 | 1,468 | 1,476 | 2.14 | 99.46
Unit 8 | 1,438 | 1,447 | 2.56 | 99.38
Unit 10 | 1,412 | 1,416 | 3.11 | 99.72
Unit 11 | 1,343 | 1,381 | 3.36 | 97.25
Unit 12 | 1,186 | 1,217 | 4.06 | 97.45
Unit 14 | 1,073 | 1,109 | 1.04 | 96.75
Unit 19 | 1,018 | 1,031 | 2.55 | 98.74
Unit 20 | 992 | 1,030 | 2.23 | 96.31
Unit 23 | 943 | 959 | 3.47 | 98.33
Unit 24 | 924 | 945 | 6.68 | 97.78
Unit 26 | 890 | 893 | 3.52 | 99.66
Unit 30 | 835 | 867 | 6.03 | 96.31
Unit 31 | 850 | 851 | 5.48 | 99.88
Unit 32 | 825 | 829 | 8.67 | 99.52
Unit 33 | 779 | 779 | 3.32 | 100.00
Unit 34 | 735 | 769 | 2.63 | 95.58

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 35 | 765 | 766 | 4.34 | 99.87
Unit 36 | 731 | 740 | 3.31 | 98.78
Unit 37 | 731 | 738 | 2.85 | 99.05
Unit 38 | 727 | 733 | 5.17 | 99.18
Unit 39 | 710 | 728 | 2.55 | 97.53
Unit 40 | 687 | 707 | 3.85 | 97.17
Unit 52 | 551 | 577 | 6.91 | 95.49
Unit 53 | 570 | 575 | 5.76 | 99.13
Unit 54 | 544 | 572 | 4.13 | 95.10
Unit 61 | 497 | 503 | 6.52 | 98.81
Unit 62 | 482 | 502 | 3.94 | 96.02
Unit 63 | 476 | 495 | 2.07 | 96.16
Unit 66 | 463 | 477 | 2.16 | 97.06
Unit 68 | 458 | 459 | 3.28 | 99.78
Unit 73 | 402 | 420 | 1.16 | 95.71
Unit 84 | 323 | 335 | 1.11 | 96.42
Unit 93 | 293 | 306 | 6.20 | 95.75
Unit 99 | 278 | 285 | 1.98 | 97.54
Unit 102 | 279 | 279 | 5.22 | 100.00

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 104 | 268 | 272 | 3.04 | 98.53
Unit 106 | 266 | 269 | 3.47 | 98.88
Unit 108 | 258 | 264 | 7.46 | 97.73
Unit 110 | 250 | 259 | 6.48 | 96.53
Unit 113 | 245 | 246 | 4.97 | 99.59
Unit 114 | 245 | 245 | 8.55 | 100.00
Unit 115 | 237 | 242 | 2.78 | 97.93
Unit 116 | 237 | 241 | 5.10 | 98.34
Unit 117 | 239 | 239 | 4.70 | 100.00
Unit 118 | 237 | 239 | 6.68 | 99.16
Unit 119 | 234 | 238 | 4.95 | 98.32
Unit 122 | 220 | 220 | 3.51 | 100.00
Unit 124 | 212 | 214 | 2.13 | 99.07
Unit 125 | 212 | 213 | 4.75 | 99.53
Unit 128 | 204 | 204 | 4.54 | 100.00
Unit 132 | 191 | 191 | 8.30 | 100.00
Unit 133 | 183 | 191 | 1.55 | 95.81
Unit 149 | 147 | 150 | 4.26 | 98.00
Unit 151 | 134 | 141 | 4.24 | 95.04

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 153 | 136 | 136 | 6.36 | 100.00
Unit 157 | 126 | 126 | 4.09 | 100.00
Unit 158 | 116 | 121 | 2.27 | 95.87
Unit 160 | 113 | 113 | 3.37 | 100.00
Unit 163 | 106 | 108 | 5.85 | 98.15
Unit 164 | 102 | 104 | 9.30 | 98.08
Unit 166 | 99 | 102 | 4.73 | 97.06
Unit 168 | 101 | 101 | 3.51 | 100.00
Unit 170 | 100 | 100 | 7.09 | 100.00
Unit 171 | 100 | 100 | 6.58 | 100.00
Unit 172 | 100 | 100 | 5.19 | 100.00

## Slide 8: IRR < 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 1,610 | 1,758 | 8.03 | 91.58
Unit 4 | 1,390 | 1,552 | 4.81 | 89.56
Unit 7 | 1,211 | 1,472 | 3.21 | 82.27
Unit 9 | 1,320 | 1,433 | 7.44 | 92.11
Unit 13 | 1,026 | 1,127 | 2.72 | 91.04
Unit 15 | 781 | 1,101 | 1.89 | 70.94
Unit 16 | 972 | 1,093 | 8.69 | 88.93
Unit 17 | 622 | 1,092 | 4.50 | 56.96
Unit 18 | 975 | 1,034 | 4.18 | 94.29
Unit 21 | 972 | 1,024 | 6.39 | 94.92
Unit 22 | 825 | 1,009 | 4.95 | 81.76
Unit 25 | 809 | 916 | 4.11 | 88.32
Unit 27 | 760 | 880 | 15.07 | 86.36
Unit 28 | 830 | 879 | 4.79 | 94.43
Unit 29 | 825 | 871 | 3.30 | 94.72
Unit 41 | 459 | 681 | 6.24 | 67.40
Unit 42 | 436 | 678 | 4.22 | 64.31
Unit 43 | 609 | 660 | 5.51 | 92.27
Unit 44 | 594 | 649 | 2.57 | 91.53

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 45 | 428 | 648 | 5.37 | 66.05
Unit 46 | 427 | 643 | 6.02 | 66.41
Unit 47 | 594 | 640 | 2.37 | 92.81
Unit 48 | 480 | 622 | 1.36 | 77.17
Unit 49 | 566 | 620 | 5.72 | 91.29
Unit 50 | 539 | 613 | 4.01 | 87.93
Unit 51 | 568 | 598 | 6.30 | 94.98
Unit 55 | 521 | 565 | 5.20 | 92.21
Unit 56 | 531 | 562 | 3.55 | 94.48
Unit 57 | 347 | 553 | 4.30 | 62.75
Unit 58 | 342 | 550 | 4.76 | 62.18
Unit 59 | 79 | 519 | 4.12 | 15.22
Unit 60 | 409 | 509 | 2.45 | 80.35
Unit 64 | 438 | 489 | 4.37 | 89.57
Unit 65 | 441 | 481 | 4.86 | 91.68
Unit 67 | 440 | 471 | 5.24 | 93.42
Unit 69 | 346 | 447 | 15.55 | 77.40
Unit 70 | 406 | 439 | 6.23 | 92.48
Unit 71 | 191 | 436 | 13.33 | 43.81

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 72 | 361 | 426 | 5.41 | 84.74
Unit 74 | 369 | 412 | 4.94 | 89.56
Unit 75 | 198 | 389 | 4.66 | 50.90
Unit 76 | 321 | 369 | 6.54 | 86.99
Unit 77 | 240 | 361 | 19.78 | 66.48
Unit 78 | 329 | 358 | 5.12 | 91.90
Unit 79 | 312 | 353 | 1.86 | 88.39
Unit 80 | 280 | 347 | 4.02 | 80.69
Unit 81 | 285 | 342 | 6.23 | 83.33
Unit 82 | 226 | 338 | 3.79 | 66.86
Unit 83 | 284 | 335 | 0.60 | 84.78
Unit 85 | 306 | 325 | 1.76 | 94.15
Unit 86 | 221 | 318 | 3.36 | 69.50
Unit 87 | 145 | 318 | 2.12 | 45.60
Unit 88 | 292 | 314 | 0.70 | 92.99
Unit 89 | 293 | 311 | 5.19 | 94.21
Unit 90 | 274 | 310 | 8.01 | 88.39
Unit 91 | 292 | 310 | 3.08 | 94.19
Unit 92 | 262 | 307 | 3.63 | 85.34

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 94 | 287 | 305 | 6.74 | 94.10
Unit 95 | 75 | 299 | 11.13 | 25.08
Unit 96 | 185 | 297 | 3.83 | 62.29
Unit 97 | 278 | 293 | 1.77 | 94.88
Unit 98 | 187 | 290 | 3.14 | 64.48
Unit 100 | 257 | 284 | 4.31 | 90.49
Unit 101 | 239 | 281 | 3.33 | 85.05
Unit 103 | 161 | 273 | 3.39 | 58.97
Unit 105 | 243 | 270 | 4.42 | 90.00
Unit 107 | 246 | 267 | 3.75 | 92.13
Unit 109 | 140 | 260 | 6.62 | 53.85
Unit 111 | 218 | 257 | 8.07 | 84.82
Unit 112 | 216 | 246 | 8.00 | 87.80
Unit 120 | 130 | 231 | 2.97 | 56.28
Unit 121 | 190 | 223 | 5.53 | 85.20
Unit 123 | 200 | 218 | 1.32 | 91.74
Unit 126 | 187 | 208 | 6.10 | 89.90
Unit 127 | 172 | 208 | 2.54 | 82.69
Unit 129 | 160 | 204 | 7.22 | 78.43

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 130 | 186 | 201 | 4.07 | 92.54
Unit 131 | 180 | 200 | 7.25 | 90.00
Unit 134 | 171 | 190 | 2.94 | 90.00
Unit 135 | 158 | 188 | 8.86 | 84.04
Unit 136 | 172 | 187 | 2.93 | 91.98
Unit 137 | 170 | 186 | 2.67 | 91.40
Unit 138 | 172 | 185 | 2.84 | 92.97
Unit 139 | 110 | 184 | 4.13 | 59.78
Unit 140 | 111 | 183 | 2.07 | 60.66
Unit 141 | 32 | 181 | 5.94 | 17.68
Unit 142 | 144 | 177 | 3.38 | 81.36
Unit 143 | 161 | 174 | 5.01 | 92.53
Unit 144 | 72 | 163 | 1.23 | 44.17
Unit 145 | 147 | 158 | 9.78 | 93.04
Unit 146 | 147 | 157 | 1.34 | 93.63
Unit 147 | 127 | 156 | 6.59 | 81.41
Unit 148 | 141 | 150 | 0.96 | 94.00
Unit 150 | 105 | 144 | 6.82 | 72.92
Unit 152 | 118 | 139 | 5.05 | 84.89

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – December 2024
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 154 | 120 | 133 | 5.46 | 90.23
Unit 155 | 120 | 131 | 8.32 | 91.60
Unit 156 | 119 | 129 | 2.12 | 92.25
Unit 159 | 104 | 118 | 4.43 | 88.14
Unit 161 | 101 | 112 | 5.50 | 90.18
Unit 162 | 102 | 109 | 2.74 | 93.58
Unit 165 | 83 | 104 | 6.94 | 79.81
Unit 167 | 87 | 101 | 14.40 | 86.14
Unit 169 | 29 | 100 | 8.15 | 29.00