## Slide 1
ROS Report – January 23, 2024
Katie Rich
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Voting Items
  NOGRR 271, Related to NPRR1257, Limit on Amount of RRS a Resource can Provide Using Primary Frequency Response - Approved with 10/21/24 IA
  PGRR 117, Addition of Resiliency Assessment and Criteria to Reflect PUCT Rule Changes - Approved with 7/17/24 IA

## Slide 3: Recent ROS Actions
NPRR 1257, Limit on Amount of RRS a Resource can Provide Using Primary Frequency Response – Approved language as proposed

## Slide 4: Recent ROS Actions
Open Action Items (proposal to remove):
TAC Assignment: September 6, 2023 EEA2 Event – review what occurred, improvements that can be made including: EEA threshold/trigger, PRC calculations, relaxation of constraints during EEA, CMPs before EEAs, management of HDL override
  All revision requests associated with this task have been completed
TAC Assignment: Remaining KTCs from Battery Energy Storage Task Force (BESTF)
  KTC 15-5 Black Start Service
  KTC 15-6 RMR and MRA Services
  KTC 15-9 Governor Dead-band Telemetry as a Concept
    All items except KTC 15-5 (which is being reviewed at BSWG) are completed

## Slide 5: Recent ROS Actions
NPRR 1264, Creation of a New Energy Attribute Certificate Program
NOGRR 273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
PGRR 123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
RRGRR 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
Tabled all four to allow WMS to take action first

## Slide 6: Revision Requests under ROS Review
NPRR1070, Planning Criteria for GTC Exit Solutions (OWG, PLWG)
NPRR 1229, Real-Time Constraint Management Plan Energy Payment (ROS)
NPRR 1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater (NDSWG)
NPRR 1238, Voluntary Registration of Loads with Curtailable Load Capabilities (OWG)
NOGRR 265, Related to NPRR 1238, Voluntary Registration of Loads with Curtailable Load Capabilities (OWG)
NOGRR 272, Advanced Grid Support Requirements for Inverter-Based ESRs (DWG and IBRWG)

## Slide 7: Revision Requests under ROS Review
PGRR073, Related to NPRR956, Designation of Providers of Transmission Additions
PGRR 115, Related to NPRR 1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater (PLWG)
PGRR 119, Stability Constraint Modeling Assumptions in the Regional Transmission Plan (PLWG)
PGRR120, SSO Prevention for Generator Interconnection (PLWG and DWG)
PGRR 121, Related to NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs (DWG and IBRWG)
PGRR 122, Reliability Performance Criteria for Loss of Load (DWG and PLWG)
Notes: New items related to Grid Forming requirements being reviewed by DWG and IBRWG.

## Slide 8: Future Meetings
ROS
  Next Regularly Scheduled Meeting – February 6 WebEx Only