## Slide 1
State of Profiles Models - PWG
ERCOT
Load Forecasting & Analysis
December 11, 2024

## Slide 2: Profile Modeling: What changed since initial setup
Initial models estimated based on data from Nov-04 to Jul-06
Based on sample load research data
PV, EV, and DER were not distinctly profiled
Never updated since initial setup
To test for profile changes, two profiles were updated; RESLOWR and BUSMEDLF, both in NCENT
New models were based on data from Nov-22 to Jul-24
Comparison was made basd on:
  Weather Response Function
  Typical daily load shape for days with Max temperature between 97 and 98
  Changes in model coefficients

## Slide 3: Weather Response Function
Chart: WRF - RESLOWR, NCENT
Chart: WRF - BUSMEDLF, NCENT

## Slide 4: Typical Daily Load Shape
Chart: RESLOWR Typical Day with Max Temp 97-98
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
 | 2.442 | 2.2022 | 1.9007 | 1.811 | 1.5995 | 1.6175 | 1.5222 | 1.742 | 1.7957 | 1.9482 | 2.4217 | 3.047 | 3.6023 | 4.0358 | 4.3578 | 4.4665 | 4.7372 | 4.9305 | 4.7468 | 4.6675 | 4.3217 | 3.929 | 3.5865 | 2.907
 | 2.7981 | 2.5402 | 2.3245 | 2.168 | 2.0502 | 1.958 | 1.8784 | 1.898 | 2.0864 | 2.339 | 2.6761 | 3.0361 | 3.3956 | 3.7436 | 4.007 | 4.1974 | 4.2854 | 4.3195 | 4.2396 | 4.0565 | 3.7499 | 3.5271 | 3.2982 | 3.0219
Chart: BUSMEDLF Typical Day with Max Temp 97-98
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
 | 25.9875 | 25.26 | 23.8675 | 24.2425 | 23.865 | 24.745 | 28.655 | 30.87 | 34.21 | 37.5325 | 40.5825 | 42.365 | 43.3375 | 44.5375 | 44.715 | 44.9275 | 43.6225 | 41.3025 | 38.07 | 34.4325 | 34.3975 | 33.165 | 30.165 | 27.9325
 | 32.5956 | 31.0896 | 29.9224 | 29.3696 | 29.4494 | 30.547 | 31.7654 | 32.9751 | 35.9747 | 39.0884 | 41.4412 | 43.1724 | 44.2878 | 45.1894 | 45.7853 | 46.0419 | 45.5865 | 45.4075 | 44.6844 | 43.6081 | 41.404 | 39.3914 | 36.5138 | 33.8251

## Slide 5: Model Coefficients: RESLOWR
Chart: Base Load
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
Nov-04 to Jul-06 | 0.41543 | 0.38953 | 0.38397 | 0.43375 | 0.46788 | 0.544 | 0.69959 | 0.82903 | 0.74832 | 0.77092 | 0.65899 | 0.36465 | 0.0034652 | -0.24838 | -0.39861 | -0.51562 | -0.49903 | -0.35086 | -0.036442 | 0.18257 | 0.43306 | 0.60496 | 0.61022 | 0.52471
Nov-22 to Jul-24 | 0.45499 | 0.43089 | 0.4241 | 0.43257 | 0.4495 | 0.49843 | 0.59522 | 0.66978 | 0.656 | 0.63141 | 0.57086 | 0.42006 | 0.22175 | 0.054918 | -0.062834 | -0.1317 | -0.11747 | -0.019179 | 0.14149 | 0.30649 | 0.47857 | 0.57647 | 0.577 | 0.52063
Chart: Heating Degree Hours
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
Nov-04 to Jul-06 | 0.0063105 | 0.0060793 | 0.0074203 | 0.0067804 | 0.0066217 | 0.0068772 | 0.0087034 | 0.0074159 | 0.0078306 | 0.0089481 | 0.011147 | 0.01317 | 0.012091 | 0.0099775 | 0.0040699 | 0.0023883 | 0.0016252 | 0.0051638 | 0.0065354 | 0.010483 | 0.011324 | 0.0078293 | 0.0045446 | 0.0050313
Nov-22 to Jul-24 | 0.011151 | 0.010854 | 0.010321 | 0.010275 | 0.01033 | 0.010867 | 0.011815 | 0.012333 | 0.013294 | 0.01496 | 0.017277 | 0.019495 | 0.01691 | 0.011922 | 0.0080734 | 0.0055169 | 0.0046882 | 0.0065326 | 0.0099742 | 0.012074 | 0.012549 | 0.011555 | 0.010545 | 0.010806
Chart: Cooling Degree Hours
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
Nov-04 to Jul-06 | 0.048696 | 0.048025 | 0.049883 | 0.052597 | 0.051904 | 0.053274 | 0.04313 | 0.04011 | 0.04455 | 0.050752 | 0.050624 | 0.037494 | 0.026443 | 0.019753 | 0.016733 | 0.016658 | 0.017993 | 0.016399 | 0.012411 | 0.01453 | 0.024288 | 0.038637 | 0.045792 | 0.052345
Nov-22 to Jul-24 | 0.050739 | 0.051488 | 0.050897 | 0.050978 | 0.049682 | 0.047984 | 0.044557 | 0.040919 | 0.036496 | 0.036377 | 0.037404 | 0.033312 | 0.022905 | 0.015421 | 0.01394 | 0.014082 | 0.014849 | 0.013824 | 0.014422 | 0.019779 | 0.028313 | 0.037948 | 0.044169 | 0.0496

## Slide 6: Model Coefficients: BUSMEDLF
Chart: Base Load
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
Nov-04 to Jul-06 | 13.706 | 13.578 | 12.789 | 13.3271 | 13.0864 | 11.4472 | 6.8643 | 2.4302 | -1.2801 | -2.6593 | -2.9948 | -2.4529 | -1.6832 | -2.0715 | -1.9789 | -1.9908 | -1.2407 | 2.5025 | 7.5015 | 10.8152 | 11.9986 | 12.7591 | 12.4972 | 12.1743
Nov-22 to Jul-24 | 12.3515 | 12.2718 | 11.9962 | 11.8812 | 11.2536 | 10.053 | 9.2236 | 7.9798 | 4.921 | 2.4256 | 1.0722 | 0.31124 | 0.33087 | 0.50489 | 0.95633 | 1.7371 | 3.0389 | 5.4186 | 7.8883 | 9.5423 | 10.6701 | 11.5077 | 12.1046 | 12.4042
Chart: Heating Degree Hours
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
Nov-04 to Jul-06 | 0.016974 | 0.011718 | 0.017973 | -0.00225 | 0.0084981 | 0.035141 | 0.089173 | 0.11628 | 0.13014 | 0.15023 | 0.13464 | 0.086089 | 0.032771 | -0.010812 | -0.055055 | -0.070092 | -0.049561 | 0.018398 | 0.076581 | 0.069764 | 0.064544 | 0.053627 | 0.04026 | 0.029428
Nov-22 to Jul-24 | 0.12175 | 0.11798 | 0.11444 | 0.11469 | 0.12316 | 0.14447 | 0.17117 | 0.18009 | 0.19051 | 0.20087 | 0.15784 | 0.087689 | 0.011727 | -0.042852 | -0.069597 | -0.064462 | -0.02159 | 0.071233 | 0.12762 | 0.12588 | 0.11339 | 0.11463 | 0.11601 | 0.11673
Chart: Cooling Degree Hours
| HR1 | HR2 | HR3 | HR4 | HR5 | HR6 | HR7 | HR8 | HR9 | HR10 | HR11 | HR12 | HR13 | HR14 | HR15 | HR16 | HR17 | HR18 | HR19 | HR20 | HR21 | HR22 | HR23 | HR24
Nov-04 to Jul-06 | 0.35038 | 0.34361 | 0.35785 | 0.36206 | 0.3659 | 0.34328 | 0.19312 | 0.018068 | -0.062133 | -0.088543 | -0.075429 | -0.06165 | -0.025792 | -0.024112 | -0.0039158 | 0.014563 | 0.05429 | 0.080287 | 0.088951 | 0.13935 | 0.22236 | 0.2957 | 0.3147 | 0.3169
Nov-22 to Jul-24 | 0.37621 | 0.38313 | 0.37884 | 0.38037 | 0.36151 | 0.30725 | 0.22284 | 0.15885 | 0.075706 | 0.0011017 | -0.038353 | -0.044053 | -0.021874 | 0.014616 | 0.068084 | 0.12356 | 0.17083 | 0.19803 | 0.20343 | 0.22176 | 0.24408 | 0.29754 | 0.33345 | 0.36546

## Slide 7: Questions?
ON
OFF
amar.khalifeh@ercot.com 512/248-5571