## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for January 2025

## Slide 2: Non-IRR GREDP < 85% – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 382 | 465 | 850 | 2.35 | 54.71
Unit 460 | 184 | 240 | 2.57 | 76.67

## Slide 3: IRR Summary – January 2025
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 87.72 | 75.21 | 80.47
GREDP Median (%) | 95.94 | 86.32 | 87.60
Average MW Error | 4.76 | 5.20 | 5.65
Median MW Error | 4.46 | 4.92 | 5.06
Total Intervals Scored | 120,925 | 57,922 | 56,368
100+ Intervals Scored | 204 | 191 | 107
Total Intervals Scored Average | 304.60 | 394.03 | 526.80

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 2,121 | 2,205 | 6.52 | 96.19
Unit 2 | 2,117 | 2,194 | 3.01 | 96.49
Unit 5 | 1,987 | 2,030 | 4.60 | 97.88
Unit 7 | 1,802 | 1,815 | 4.00 | 99.28
Unit 8 | 1,709 | 1,768 | 3.92 | 96.66
Unit 9 | 1,699 | 1,700 | 4.86 | 99.94
Unit 11 | 1,523 | 1,592 | 3.07 | 95.67
Unit 12 | 1,546 | 1,561 | 3.31 | 99.04
Unit 13 | 1,545 | 1,549 | 2.07 | 99.74
Unit 14 | 1,505 | 1,512 | 2.53 | 99.54
Unit 16 | 1,357 | 1,407 | 2.23 | 96.45
Unit 17 | 1,395 | 1,404 | 2.32 | 99.36
Unit 19 | 1,279 | 1,344 | 8.67 | 95.16
Unit 20 | 1,323 | 1,334 | 3.69 | 99.18
Unit 21 | 1,257 | 1,303 | 8.60 | 96.47
Unit 25 | 1,096 | 1,102 | 2.68 | 99.46
Unit 26 | 1,045 | 1,058 | 2.53 | 98.77
Unit 29 | 899 | 939 | 3.80 | 95.74
Unit 31 | 920 | 933 | 2.21 | 98.61

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 32 | 898 | 927 | 6.23 | 96.87
Unit 34 | 877 | 899 | 3.69 | 97.55
Unit 35 | 853 | 890 | 4.10 | 95.84
Unit 37 | 862 | 883 | 2.16 | 97.62
Unit 38 | 859 | 878 | 5.11 | 97.84
Unit 41 | 838 | 857 | 3.61 | 97.78
Unit 42 | 838 | 852 | 2.15 | 98.36
Unit 43 | 832 | 846 | 2.72 | 98.35
Unit 44 | 828 | 843 | 2.55 | 98.22
Unit 50 | 780 | 796 | 4.66 | 97.99
Unit 51 | 764 | 771 | 3.62 | 99.09
Unit 53 | 740 | 743 | 6.33 | 99.60
Unit 58 | 638 | 665 | 6.59 | 95.94
Unit 61 | 621 | 651 | 0.99 | 95.39
Unit 62 | 629 | 644 | 3.97 | 97.67
Unit 64 | 600 | 619 | 7.18 | 96.93
Unit 65 | 600 | 611 | 2.74 | 98.20
Unit 68 | 569 | 596 | 2.28 | 95.47
Unit 71 | 583 | 587 | 5.52 | 99.32

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 75 | 574 | 583 | 5.37 | 98.46
Unit 78 | 557 | 578 | 0.94 | 96.37
Unit 84 | 517 | 538 | 6.20 | 96.10
Unit 85 | 526 | 529 | 4.45 | 99.43
Unit 88 | 504 | 523 | 0.50 | 96.37
Unit 89 | 512 | 512 | 2.79 | 100.00
Unit 90 | 502 | 512 | 3.40 | 98.05
Unit 91 | 497 | 509 | 7.32 | 97.64
Unit 95 | 493 | 498 | 4.46 | 99.00
Unit 98 | 463 | 473 | 3.40 | 97.89
Unit 101 | 464 | 470 | 2.13 | 98.72
Unit 102 | 458 | 462 | 0.95 | 99.13
Unit 104 | 441 | 459 | 2.81 | 96.08
Unit 110 | 416 | 420 | 3.12 | 99.05
Unit 114 | 392 | 405 | 3.28 | 96.79
Unit 115 | 399 | 404 | 2.06 | 98.76
Unit 117 | 358 | 363 | 5.19 | 98.62
Unit 118 | 346 | 352 | 4.78 | 98.30
Unit 120 | 324 | 341 | 2.72 | 95.01

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 122 | 328 | 335 | 6.68 | 97.91
Unit 123 | 319 | 331 | 1.42 | 96.37
Unit 124 | 323 | 330 | 3.75 | 97.88
Unit 126 | 310 | 315 | 4.50 | 98.41
Unit 134 | 257 | 257 | 0.37 | 100.00
Unit 137 | 251 | 256 | 10.91 | 98.05
Unit 140 | 238 | 243 | 3.87 | 97.94
Unit 141 | 241 | 241 | 2.37 | 100.00
Unit 142 | 233 | 236 | 6.40 | 98.73
Unit 143 | 224 | 230 | 1.56 | 97.39
Unit 146 | 220 | 224 | 5.78 | 98.21
Unit 152 | 198 | 203 | 5.18 | 97.54
Unit 156 | 189 | 192 | 4.54 | 98.44
Unit 157 | 187 | 189 | 4.45 | 98.94
Unit 165 | 165 | 172 | 5.92 | 95.93
Unit 166 | 167 | 169 | 3.04 | 98.82
Unit 167 | 167 | 169 | 5.66 | 98.82
Unit 168 | 165 | 168 | 1.65 | 98.21
Unit 169 | 167 | 168 | 2.01 | 99.40

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 173 | 163 | 165 | 4.58 | 98.79
Unit 174 | 157 | 164 | 2.40 | 95.73
Unit 175 | 161 | 163 | 6.02 | 98.77
Unit 176 | 156 | 158 | 2.42 | 98.73
Unit 178 | 150 | 156 | 5.34 | 96.15
Unit 179 | 150 | 154 | 7.24 | 97.40
Unit 181 | 142 | 146 | 4.84 | 97.26
Unit 183 | 139 | 139 | 4.23 | 100.00
Unit 185 | 136 | 136 | 3.19 | 100.00
Unit 186 | 130 | 136 | 7.69 | 95.59
Unit 188 | 128 | 128 | 4.55 | 100.00
Unit 189 | 126 | 128 | 5.14 | 98.44
Unit 190 | 123 | 127 | 6.38 | 96.85
Unit 191 | 127 | 127 | 4.60 | 100.00
Unit 192 | 127 | 127 | 6.12 | 100.00
Unit 193 | 125 | 127 | 4.86 | 98.43
Unit 196 | 118 | 118 | 1.05 | 100.00
Unit 198 | 114 | 114 | 4.66 | 100.00
Unit 200 | 112 | 112 | 6.53 | 100.00

## Slide 9: IRR ≥ 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 202 | 101 | 105 | 10.14 | 96.19
Unit 204 | 95 | 100 | 3.11 | 95.00

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 3 | 1,343 | 2,170 | 4.54 | 61.89
Unit 4 | 1,627 | 2,078 | 2.99 | 78.30
Unit 6 | 1,656 | 1,839 | 7.07 | 90.05
Unit 10 | 1,488 | 1,642 | 4.44 | 90.62
Unit 15 | 977 | 1,491 | 6.65 | 65.53
Unit 18 | 929 | 1,369 | 7.55 | 67.86
Unit 22 | 1,130 | 1,290 | 6.83 | 87.60
Unit 23 | 1,131 | 1,269 | 5.22 | 89.13
Unit 24 | 1,083 | 1,146 | 8.58 | 94.50
Unit 27 | 914 | 975 | 6.61 | 93.74
Unit 28 | 892 | 962 | 4.55 | 92.72
Unit 30 | 873 | 934 | 3.67 | 93.47
Unit 33 | 667 | 914 | 5.12 | 72.98
Unit 36 | 838 | 888 | 6.97 | 94.37
Unit 39 | 728 | 870 | 2.66 | 83.68
Unit 40 | 795 | 859 | 2.36 | 92.55
Unit 45 | 691 | 825 | 4.78 | 83.76
Unit 46 | 765 | 818 | 5.06 | 93.52
Unit 47 | 721 | 815 | 5.75 | 88.47

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 48 | 753 | 811 | 9.47 | 92.85
Unit 49 | 756 | 800 | 5.80 | 94.50
Unit 52 | 716 | 754 | 5.32 | 94.96
Unit 54 | 629 | 723 | 7.87 | 87.00
Unit 55 | 281 | 716 | 4.97 | 39.25
Unit 56 | 623 | 716 | 10.90 | 87.01
Unit 57 | 656 | 697 | 4.19 | 94.12
Unit 59 | 541 | 657 | 4.48 | 82.34
Unit 60 | 567 | 653 | 11.70 | 86.83
Unit 63 | 512 | 624 | 12.10 | 82.05
Unit 66 | 536 | 604 | 0.75 | 88.74
Unit 67 | 554 | 598 | 3.19 | 92.64
Unit 69 | 519 | 594 | 3.49 | 87.37
Unit 70 | 360 | 589 | 10.52 | 61.12
Unit 72 | 534 | 586 | 2.90 | 91.13
Unit 73 | 481 | 584 | 1.97 | 82.36
Unit 74 | 535 | 584 | 9.18 | 91.61
Unit 76 | 505 | 581 | 9.00 | 86.92
Unit 77 | 498 | 580 | 1.87 | 85.86

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 79 | 531 | 577 | 4.38 | 92.03
Unit 80 | 470 | 554 | 4.83 | 84.84
Unit 81 | 140 | 553 | 4.39 | 25.32
Unit 82 | 502 | 550 | 1.79 | 91.27
Unit 83 | 515 | 544 | 5.46 | 94.67
Unit 86 | 460 | 525 | 8.14 | 87.62
Unit 87 | 496 | 525 | 8.97 | 94.48
Unit 92 | 467 | 508 | 4.07 | 91.93
Unit 93 | 315 | 507 | 10.67 | 62.13
Unit 94 | 464 | 505 | 5.21 | 91.88
Unit 96 | 444 | 494 | 7.02 | 89.88
Unit 97 | 254 | 474 | 2.61 | 53.59
Unit 99 | 341 | 473 | 3.00 | 72.09
Unit 100 | 374 | 470 | 0.91 | 79.57
Unit 103 | 434 | 462 | 7.34 | 93.94
Unit 105 | 290 | 447 | 5.00 | 64.88
Unit 106 | 383 | 446 | 9.87 | 85.87
Unit 107 | 237 | 445 | 7.46 | 53.26
Unit 108 | 405 | 427 | 6.24 | 94.85

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 109 | 211 | 426 | 3.23 | 49.53
Unit 111 | 319 | 415 | 10.60 | 76.87
Unit 112 | 384 | 406 | 1.30 | 94.58
Unit 113 | 369 | 406 | 5.81 | 90.89
Unit 116 | 178 | 374 | 3.60 | 47.59
Unit 119 | 318 | 343 | 7.26 | 92.71
Unit 121 | 312 | 338 | 9.42 | 92.31
Unit 125 | 283 | 320 | 2.16 | 88.44
Unit 127 | 274 | 296 | 2.94 | 92.57
Unit 128 | 259 | 288 | 5.39 | 89.93
Unit 129 | 264 | 284 | 5.09 | 92.96
Unit 130 | 203 | 281 | 8.87 | 72.24
Unit 131 | 255 | 278 | 3.15 | 91.73
Unit 132 | 238 | 275 | 1.89 | 86.55
Unit 133 | 207 | 263 | 11.96 | 78.71
Unit 135 | 239 | 256 | 1.06 | 93.36
Unit 136 | 243 | 256 | 6.28 | 94.92
Unit 138 | 226 | 245 | 6.94 | 92.24
Unit 139 | 220 | 244 | 2.76 | 90.16

## Slide 14: IRR < 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 144 | 207 | 227 | 2.70 | 91.19
Unit 145 | 197 | 225 | 1.66 | 87.56
Unit 147 | 199 | 224 | 2.91 | 88.84
Unit 148 | 84 | 214 | 8.41 | 39.25
Unit 149 | 181 | 211 | 10.51 | 85.78
Unit 150 | 157 | 208 | 3.96 | 75.48
Unit 151 | 131 | 207 | 4.92 | 63.29
Unit 153 | 46 | 199 | 6.30 | 23.12
Unit 154 | 59 | 197 | 7.38 | 29.95
Unit 155 | 184 | 196 | 1.29 | 93.88
Unit 158 | 119 | 188 | 7.56 | 63.30
Unit 159 | 99 | 188 | 4.06 | 52.66
Unit 160 | 57 | 180 | 5.74 | 31.67
Unit 161 | 122 | 179 | 3.83 | 68.16
Unit 162 | 133 | 178 | 4.90 | 74.72
Unit 163 | 169 | 178 | 14.97 | 94.94
Unit 164 | 162 | 177 | 2.54 | 91.53
Unit 170 | 159 | 168 | 8.46 | 94.64
Unit 171 | 118 | 167 | 4.97 | 70.66

## Slide 15: IRR < 95%, ≥ 100 Scored Intervals – January 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 172 | 127 | 167 | 4.70 | 76.05
Unit 177 | 106 | 157 | 4.89 | 67.52
Unit 180 | 118 | 151 | 8.94 | 78.15
Unit 182 | 126 | 145 | 7.89 | 86.90
Unit 184 | 66 | 138 | 12.97 | 47.83
Unit 187 | 118 | 129 | 6.47 | 91.47
Unit 194 | 107 | 122 | 3.08 | 87.70
Unit 195 | 109 | 121 | 4.43 | 90.08
Unit 197 | 101 | 117 | 4.43 | 86.32
Unit 199 | 101 | 114 | 6.81 | 88.60
Unit 201 | 66 | 110 | 2.62 | 60.00
Unit 203 | 94 | 101 | 1.60 | 93.07