## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2025-07-07 | 16:10

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2025
Net System Maximum Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Demand, MW | 77482.4949 | 80560.4619 | 62924.1706 | 65617.1007 | May: 78391.8344; Jun: 77350.9993 | 80560.4619
Date | 01/22/2025 | 02/20/2025 | 03/25/2025 | 04/14/2025 | May: 05/23/2025; Jun: 06/19/2025
Hour ending | 08:00 | 08:00 | 18:00 | 18:00 | May: 17:00; Jun: 17:00
Day of the week | Wednesday | Thursday | Tuesday | Monday | May: Friday; Jun: Thursday
Forecasted Demand, MW | 74424.3618 | 77156.0931 | 67470.6218 | 70458.8614 | 80785.8365 | 85792.4785 | 87532.2943 | 90472.0122 | 85344.8142 | 79892.9661 | 70694.8711 | 75774.8431 | 90472.0122
Difference, percent | 4.109% | 4.412% | -6.738% | -6.872% | May: -2.963%; Jun: -9.839% | -6.098%
2024 Demand, MW | 78349.2062 | 55859.7668 | 55305.6286 | 64003.2136 | 77138.5875 | 79697.1876 | 81045.0963 | 85245.1718 | 77812.6461 | 72549.7537 | 60174.1252 | 60244.7459 | 85245.1718
Date | 01/16/2024 | 02/19/2024 | 03/05/2024 | 04/30/2024 | 05/27/2024 | 06/30/2024 | 07/01/2024 | 08/20/2024 | 09/19/2024 | 10/03/2024 | 11/04/2024 | 12/11/2024
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 17:00 | 14:00 | 08:00
Day of the week | Tuesday | Monday | Tuesday | Tuesday | Monday | Sunday | Monday | Tuesday | Thursday | Thursday | Monday | Wednesday
Increase, MW | -866.7113 | 24700.695 | 7618.5421 | 1613.8871 | May: 1253.2469; Jun: -2346.1883
Increase, percent | -1.106% | 44.22% | 13.78% | 2.522% | May: 1.625%; Jun: -2.944%
Max All Time, MW | 78349.2062 | 80560.4619 | 62924.1706 | 65617.1007 | 78391.8344 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 72549.7537 | 60174.1252 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/20/2025 at 08:00 | 03/25/2025 at 18:00 | 04/14/2025 at 18:00 | 05/23/2025 at 17:00 | 06/27/2023 at 18:00 | 07/31/2023 at 17:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/03/2024 at 17:00 | 11/04/2024 at 14:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Demand, MW | 77629.068 | 80880.4173 | 63124.8322 | 65793.3142 | May: 78604.1254; Jun: 77452.8958 | 80880.4173
Date | 01/22/2025 | 02/20/2025 | 03/25/2025 | 04/14/2025 | May: 05/23/2025; Jun: 06/19/2025
Interval ending | 07:45 | 07:30 | 17:30 | 18:00 | May: 16:45; Jun: 17:00
Day of the week | Wednesday | Thursday | Tuesday | Monday | May: Friday; Jun: Thursday
Max All Time, MW | 78531.9136 | 80880.4173 | 63124.8322 | 65793.3142 | 78604.1254 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 72667.3783 | 60311.6046 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/20/2025 at 07:30 | 03/25/2025 at 17:30 | 04/14/2025 at 18:00 | 05/23/2025 at 16:45 | 06/27/2023 at 17:00 | 07/31/2023 at 17:00 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/03/2024 at 16:45 | 11/04/2024 at 14:30 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2025 Demand, MW | 38822.9447 | 38682.9208 | 38375.4816 | 38566.3254 | May: 38280.8939; Jun: 44188.2242
Date | 01/05/2025 | 02/03/2025 | 03/16/2025 | 04/10/2025 | May: 05/04/2025; Jun: 06/01/2025
Interval ending | 05:00 | 03:45 | 03:45 | 04:00 | May: 05:00; Jun: 07:00
Day of the week | Sunday | Monday | Sunday | Thursday | May: Sunday; Jun: Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2025
Net Energy for Load
Description | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Energy, MWh | 40486228.3787 | 34700518.5486 | 34718582.3846 | 36505713.9284 | May: 41180905.2984; Jun: 45166010.8562 | 232757959.3948
2025 YTD Energy, MWh | 40486228.3787 | 75186746.9272 | 109905329.3118 | 146411043.2402 | May: 187588928.7946; Jun: 232757959.3948
Forecasted Energy, MWh | 43619879.143 | 38813539.441 | 40699904.659 | 40139803.481 | 45411816.329 | 50094642.928 | 53642903.251 | 54303418.934 | 47761795.829 | 45184503.53 | 41724563.911 | 45233713.067 | 546630484.503
Difference, percent | -7.184% | -10.6% | -14.7% | -9.054% | May: -9.317%; Jun: -9.839% | -10.06%
YTD Forecasted Energy, MWh | 43619879.143 | 82433418.584 | 123133323.243 | 163273126.724 | 208684943.053 | 258779585.981 | 312422489.232 | 366725908.166 | 414487703.995 | 459672207.525 | 501396771.436 | 546630484.503
YTD Difference, percent | -7.184% | -8.791% | -10.74% | -10.33% | May: -10.11%; Jun: -10.06%
2024 Energy, MWh | 38184181.006 | 30628455.2518 | 32205070.4062 | 33462691.8967 | 39973544.0269 | 44374813.7807 | 44556097.443 | 49282922.5869 | 41002544.4307 | 39228005.3317 | 33761214.1942 | 34917729.338 | 461577269.6928
Increase, MWh | 2302047.3727 | 4072063.2968 | 2513511.9784 | 3043022.0317 | May: 1207361.2715; Jun: 791197.0755 | 13929203.0265
Increase, percent | 6.029% | 13.3% | 7.805% | 9.094% | May: 3.02%; Jun: 1.783% | 6.365%
2024 YTD Energy, MWh | 38184181.006 | 68812636.2578 | 101017706.664 | 134480398.5607 | 174453942.5876 | 218828756.3684 | 263384853.8113 | 312667776.3982 | 353670320.8289 | 392898326.1606 | 426659540.3548 | 461577269.6928
Increase, MWh | 2302047.3727 | 6374110.6695 | 8887622.6478 | 11930644.6795 | May: 13134986.207; Jun: 13929203.0265
Increase, percent | 6.029% | 9.263% | 8.798% | 8.872% | May: 7.529%; Jun: 6.365%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2025 | 70.23% | 64.1% | 74.26% | 77.27% | May: 70.61%; Jun: 81.1% | 66.53%
Demand Factors 2024 | 65.51% | 78.78% | 78.37% | 72.61% | 69.65% | 77.33% | 73.89% | 77.71% | 73.19% | 72.68% | 77.82% | 77.9% | 61.64%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2025 | 70.1% | 63.84% | 74.02% | 77.06% | May: 70.42%; Jun: 80.99% | 66.26%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2513.5346 | 2697.2056 | 2101.1489 | 2124.2086 | May: 2589.3451; Jun: 2643.3609
LZ_CPS | 5103.4723 | 5146.9652 | 3918.1565 | 4326.1308 | May: 4966.4127; Jun: 4920.2344
LZ_HOUSTON | 15562.6633 | 16902.6659 | 16354.2132 | 16489.9494 | May: 20000.0663; Jun: 20135.517
LZ_LCRA | 4015.3113 | 4222.6671 | 2453.5875 | 2655.8926 | May: 3086.4884; Jun: 3216.1266
LZ_NORTH | 26631.6428 | 30197.2638 | 18671.7397 | 20265.1309 | May: 25054.3549; Jun: 25156.0466
LZ_RAYBN | 1442.7657 | 1746.6248 | 714.7561 | 802.774 | May: 1107.4756; Jun: 1084.0192
LZ_SOUTH | 12058.8326 | 10860.1654 | 8741.8885 | 8999.0338 | May: 10672.39; Jun: 9956.6227
LZ_WEST | 10300.8455 | 9106.8595 | 10169.3419 | 10130.1942 | May: 11127.5923; Jun: 10340.9685
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2513.5346 | 2697.8815 | 2102.7722 | 2283.2701 | May: 2724.9508; Jun: 2643.8976
Date and Time | 22 @ 07:45 | 20 @ 07:45 | 14 @ 17:45 | 3 @ 18:00 | May: 14 @ 18:00; Jun: 19 @ 17:30
LZ_CPS | 5115.5702 | 5146.9652 | 3976.5461 | 4612.4636 | May: 5456.4818; Jun: 5353.8159
Date and Time | 22 @ 07:30 | 20 @ 07:30 | 31 @ 16:15 | 3 @ 18:00 | May: 14 @ 18:00; Jun: 9 @ 18:00
LZ_HOUSTON | 16479.6481 | 17309.9114 | 16498.923 | 17029.9265 | May: 20115.1722; Jun: 20546.9848
Date and Time | 20 @ 10:15 | 19 @ 19:00 | 31 @ 17:00 | 4 @ 14:15 | May: 23 @ 15:45; Jun: 20 @ 15:00
LZ_LCRA | 4015.3113 | 4222.8652 | 2463.4407 | 2655.8926 | May: 3340.8368; Jun: 3337.1697
Date and Time | 22 @ 07:45 | 20 @ 07:15 | 25 @ 18:00 | 14 @ 18:00 | May: 22 @ 17:00; Jun: 19 @ 18:45
LZ_NORTH | 26701.1656 | 30197.2638 | 18671.7397 | 20341.2338 | May: 25073.0812; Jun: 27348.964
Date and Time | 22 @ 07:15 | 20 @ 07:30 | 25 @ 17:30 | 22 @ 17:45 | May: 23 @ 17:00; Jun: 30 @ 17:15
LZ_RAYBN | 1467.2071 | 1761.7912 | 874.988 | 847.3157 | May: 1137.7838; Jun: 1274.9674
Date and Time | 22 @ 07:15 | 20 @ 07:00 | 10 @ 07:30 | 22 @ 18:30 | May: 25 @ 17:45; Jun: 14 @ 17:15
LZ_SOUTH | 12058.8326 | 10900.7593 | 9187.8902 | 9535.2734 | May: 10750.4637; Jun: 10584.7481
Date and Time | 22 @ 07:45 | 20 @ 07:15 | 14 @ 16:45 | 30 @ 18:00 | May: 23 @ 16:30; Jun: 5 @ 16:45
LZ_WEST | 10709.6242 | 10792.0446 | 10169.3419 | 10709.5314 | May: 11396.19; Jun: 11453.3706
Date and Time | 8 @ 09:00 | 18 @ 20:45 | 25 @ 17:30 | 28 @ 16:00 | May: 22 @ 14:45; Jun: 16 @ 14:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1217265.7143 | 1060795.1148 | 1050245.3212 | 1137365.285 | May: 1316647.0068; Jun: 1440304.1316
LZ_CPS | 2265102.9542 | 1903744.3778 | 1889383.349 | 2086602.3338 | May: 2496636.6604; Jun: 2685961.5534
LZ_HOUSTON | 9097030.5876 | 8095378.7878 | 8814175.1777 | 9494185.975 | May: 10809415.8851; Jun: 11575983.6256
LZ_LCRA | 1633694.0375 | 1325369.2449 | 1169753.0999 | 1271848.8397 | May: 1504061.0714; Jun: 1701832.0292
LZ_NORTH | 13021754.1581 | 10862294.4198 | 9874192.2431 | 10353148.8926 | May: 11638899.9122; Jun: 13844304.4353
LZ_RAYBN | 636054.5953 | 490432.3121 | 376643.2604 | 383708.2877 | May: 434855.6559; Jun: 558179.52
LZ_SOUTH | 5420738.79 | 4688985.82 | 4791465.9155 | 5047721.145 | May: 5851980.4586; Jun: 6050431.3683
LZ_WEST | 7194587.5417 | 6273518.4713 | 6752724.0178 | 6731133.1696 | May: 7128408.648; Jun: 7309014.1928
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 16763.5327 | 18153.9688 | 17335.8341 | 17428.5312 | May: 21199.6616; Jun: 21204.8695
EAST | 3321.6085 | 3490.288 | 2060.3491 | 2135.3985 | May: 2760.3399; Jun: 2660.4305
FWEST | 7277.439 | 6248.7023 | 7746.4718 | 7747.3411 | May: 8168.1482; Jun: 7210.192
NCENT | 24314.33 | 27966.602 | 17032.0294 | 18606.67 | May: 22987.305; Jun: 23137.7856
NORTH | 2236.4805 | 2023.8818 | 1713.4675 | 1715.6077 | May: 2167.6492; Jun: 2321.1394
SCENT | 14333.7524 | 14615.9508 | 10692.8521 | 11433.9785 | May: 13265.5693; Jun: 13353.32
SOUTH | 7325.0398 | 6164.0994 | 5093.7089 | 5210.8367 | May: 6229.1179; Jun: 5690.7632
WEST | 2056.8851 | 2216.9244 | 1450.1193 | 1514.9505 | May: 1826.3343; Jun: 1874.3957
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 17610.4807 | 18574.3471 | 17512.3031 | 18023.4921 | May: 21312.3114; Jun: 21662.6805
Date and Time | 20 @ 10:15 | 19 @ 19:00 | 31 @ 17:00 | 4 @ 14:15 | May: 23 @ 15:45; Jun: 5 @ 16:15
EAST | 3353.7381 | 3533.649 | 2106.5828 | 2283.9957 | May: 2781.9802; Jun: 2815.0917
Date and Time | 22 @ 07:15 | 20 @ 07:15 | 6 @ 07:30 | 22 @ 17:00 | May: 23 @ 15:45; Jun: 30 @ 17:45
FWEST | 7832.4849 | 7640.5056 | 7784.0745 | 8105.0428 | May: 8388.7153; Jun: 8285.0504
Date and Time | 8 @ 16:00 | 8 @ 16:30 | 28 @ 18:45 | 13 @ 14:45 | May: 22 @ 14:30; Jun: 16 @ 14:30
NCENT | 24409.7367 | 27966.602 | 17049.8793 | 18606.67 | May: 23033.1794; Jun: 25308.9457
Date and Time | 22 @ 07:30 | 20 @ 07:30 | 25 @ 17:45 | 14 @ 18:00 | May: 23 @ 17:00; Jun: 30 @ 17:30
NORTH | 2262.2473 | 2422.7233 | 1723.4849 | 1940.5114 | May: 2246.7502; Jun: 2431.5789
Date and Time | 21 @ 07:30 | 19 @ 10:30 | 25 @ 18:00 | 28 @ 17:30 | May: 24 @ 17:45; Jun: 21 @ 17:15
SCENT | 14336.386 | 14615.9508 | 10703.3973 | 11811.5819 | May: 13990.4756; Jun: 13862.1529
Date and Time | 22 @ 07:30 | 20 @ 07:30 | 25 @ 17:45 | 3 @ 18:00 | May: 22 @ 17:00; Jun: 9 @ 18:00
SOUTH | 7325.0398 | 6469.9229 | 5604.4932 | 5680.1209 | May: 6376.365; Jun: 6354.3358
Date and Time | 22 @ 07:45 | 21 @ 19:45 | 14 @ 16:30 | 30 @ 18:00 | May: 19 @ 16:30; Jun: 10 @ 16:45
WEST | 2069.0274 | 2299.4369 | 1466.8132 | 1644.6782 | May: 1925.6222; Jun: 1995.1726
Date and Time | 22 @ 07:30 | 19 @ 07:15 | 30 @ 17:45 | 13 @ 18:45 | May: 22 @ 17:30; Jun: 16 @ 16:15
Net Zone Energy, MWh
Weather Zone | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 9748173.7075 | 8656560.6374 | 9386288.5145 | 10102907.2944 | May: 11489451.7731; Jun: 12228276.6717
EAST | 1485800.5628 | 1193442.6933 | 1086725.5156 | 1135368.1136 | May: 1283961.7581; Jun: 1439394.3079
FWEST | 5422770.304 | 4742229.0901 | 5259878.8795 | 5195419.9953 | May: 5502620.2721; Jun: 5428778.8477
NCENT | 11937946.7618 | 9956497.3967 | 8980740.4489 | 9422195.7867 | May: 10588156.6783; Jun: 12727057.69
NORTH | 1291506.3329 | 1105035.7705 | 1047383.4912 | 1073990.5576 | May: 1129820.362; Jun: 1334523.8465
SCENT | 6505092.309 | 5487695.4047 | 5331501.895 | 5786537.1764 | May: 6759550.2124; Jun: 7372501.6479
SOUTH | 3044026.1662 | 2672574.64 | 2773611.7626 | 2907498.46 | May: 3442656.508; Jun: 3533125.7252
WEST | 1050912.2345 | 886482.9158 | 852451.8773 | 881796.5444 | May: 984687.7343; Jun: 1102352.1194
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2025
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 35961.4993 | 18601.4609 | 7336.6839 | 9921.2942 | May: 13178.5288; Jun: 27132.3997 | 112131.8667
Coal | 6520660.7079 | 4784808.1613 | 4224478.3422 | 4171661.0497 | May: 4695607.2964; Jun: 5516155.5148 | 29913371.0723
Gas | 2816816.2043 | 2284628.8842 | 1873925.8788 | 2499057.0055 | May: 3043188.1521; Jun: 3254413.9862 | 15772030.111
Gas-CC | 14469519.685 | 11576404.7212 | 7677525.0979 | 9008815.5748 | May: 14301985.8849; Jun: 15159554.9155 | 72193805.8793
Hydro | 39554.4182 | 28055.1765 | 23225.9501 | 53760.3969 | May: 112013.1502; Jun: 113447.2849 | 370056.3768
Net DC/BLT | -23703.5572 | -1886.8646 | -4423.5109 | 19691.9147 | May: -23453.4887; Jun: 8804.714 | -24970.7927
Nuclear | 3798721.0297 | 3418937.5067 | 3767491.2125 | 3305878.819 | May: 3301988.5077; Jun: 3600036.8109 | 21193053.8865
Other | 366662.7981 | 351806.413 | 422256.079 | 403067.3098 | May: 380477.6933; Jun: 379901.9696 | 2304172.2628
Solar | 3339764.0724 | 3689372.3015 | 5181112.576 | 5309451.9674 | May: 6548694.2448; Jun: 6971161.6755 | 31039556.8376
WSL | -437746.1213 | -423387.7351 | -503681.9399 | -480794.817 | May: -467708.2556; Jun: -468867.165 | -2782186.034
Wind | 9560017.6423 | 8973178.523 | 12049336.0151 | 12205203.4134 | May: 9274933.5844; Jun: 10604268.7501 | 62666937.9285
Total | 40486228.3787 | 34700518.5486 | 34718582.3846 | 36505713.9284 | May: 41180905.2984; Jun: 45166010.8562 | 232757959.3948
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 0.0888% | 0.0536% | 0.0211% | 0.0272% | May: 0.032%; Jun: 0.0601% | 0.0482%
Coal | 16.11% | 13.79% | 12.17% | 11.43% | May: 11.4%; Jun: 12.21% | 12.85%
Gas | 6.957% | 6.584% | 5.397% | 6.846% | May: 7.39%; Jun: 7.205% | 6.776%
Gas-CC | 35.74% | 33.36% | 22.11% | 24.68% | May: 34.73%; Jun: 33.56% | 31.02%
Hydro | 0.0977% | 0.0808% | 0.0669% | 0.1473% | May: 0.272%; Jun: 0.2512% | 0.159%
Net DC/BLT | -0.0585% | -0.0054% | -0.0127% | 0.0539% | May: -0.057%; Jun: 0.0195% | -0.0107%
Nuclear | 9.383% | 9.853% | 10.85% | 9.056% | May: 8.018%; Jun: 7.971% | 9.105%
Other | 0.9056% | 1.014% | 1.216% | 1.104% | May: 0.9239%; Jun: 0.8411% | 0.9899%
Solar | 8.249% | 10.63% | 14.92% | 14.54% | May: 15.9%; Jun: 15.43% | 13.34%
WSL | -1.081% | -1.22% | -1.451% | -1.317% | May: -1.136%; Jun: -1.038% | -1.195%
Wind | 23.61% | 25.86% | 34.71% | 33.43% | May: 22.52%; Jun: 23.48% | 26.92%
Total | 100% | 100% | 100% | 100% | May: 100%; Jun: 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb* | Mar* | Apr* | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Biomass | 35.9615 | 18.6015 | 7.3367 | 9.9213 | May: 13.1785; Jun: 27.1324
Coal | 6520.6607 | 4784.8082 | 4224.4783 | 4171.661 | May: 4695.6073; Jun: 5516.1555
Gas | 2816.8162 | 2284.6289 | 1873.9259 | 2499.057 | May: 3043.1882; Jun: 3254.414
Gas-CC | 14469.5197 | 11576.4047 | 7677.5251 | 9008.8156 | May: 14301.9859; Jun: 15159.5549
Hydro | 39.5544 | 28.0552 | 23.226 | 53.7604 | May: 112.0131; Jun: 113.4473
Net DC/BLT | -23.7036 | -1.8869 | -4.4235 | 19.6919 | May: -23.4535; Jun: 8.8047
Nuclear | 3798.721 | 3418.9375 | 3767.4912 | 3305.8788 | May: 3301.9885; Jun: 3600.0368
Other | 366.6628 | 351.8064 | 422.2561 | 403.0673 | May: 380.4777; Jun: 379.902
Solar | 3339.7641 | 3689.3723 | 5181.1126 | 5309.452 | May: 6548.6942; Jun: 6971.1617
WSL | -437.7461 | -423.3877 | -503.6819 | -480.7948 | May: -467.7083; Jun: -468.8672
Wind | 9560.0176 | 8973.1785 | 12049.336 | 12205.2034 | May: 9274.9336; Jun: 10604.2687
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3799 | 6521 | 9560 | 3340 | 40 | 36 | 367 | 14470 | 2817
Feb* | 3419 | 4785 | 8973 | 3689 | 28 | 19 | 352 | 11576 | 2285
Mar* | 3767 | 4224 | 12049 | 5181 | 23 | 7 | 422 | 7678 | 1874
Apr* | 3306 | 4172 | 12205 | 5309 | 54 | 10 | 403 | 9009 | 2499
May | 3302 | 4696 | 9275 | 6549 | 112 | 13 | 380 | 14302 | 3043
Jun | 3600 | 5516 | 10604 | 6971 | 113 | 27 | 380 | 15160 | 3254
Jul
Aug
Sep
Oct
Nov
Dec

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan* | 38184 | 40486
Feb* | 30628 | 34701
Mar* | 32205 | 34719
Apr* | 33463 | 36506
May | 39974 | 41181
Jun | 44375 | 45166
Jul
Aug
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan* | 43620 | 40486
Feb* | 38814 | 34701
Mar* | 40700 | 34719
Apr* | 40140 | 36506
May | 45412 | 41181
Jun | 50095 | 45166
Jul
Aug
Sep
Oct
Nov
Dec

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan* | 78349 | 77482
Feb* | 55860 | 80560
Mar* | 55306 | 62924
Apr* | 64003 | 65617
May | 77139 | 78392
Jun | 79697 | 77351
Jul
Aug
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan* | 74424 | 77482
Feb* | 77156 | 80560
Mar* | 67471 | 62924
Apr* | 70459 | 65617
May | 80786 | 78392
Jun | 85792 | 77351
Jul
Aug
Sep
Oct
Nov
Dec