## Contents
Table of Contents
Tab | Notes
Disclaimer | Please read
Demand | Monthly peak demand data for this year and last year
Energy | Monthly energy data for this year and last year
Load Zones | Monthly peak demand and energy data for this year by load zone
Weather Zones | Monthly peak demand and energy data for this year by weather zone
Energy by Fuel Type | Actual energy and percentages by fuel type
Energy by Fuel Chart | Stacked chart of MWh by fuel type by month
Energy Comparisons | Bar graphs comparing this year's energy with last year's and with forecasted
Demand Comparisons | Graphs comparing this year's monthly peaks with last year's and with forecasted
2025-04-07 | 11:18

## Disclaimer
DEMAND AND ENERGY REPORT
For Planning Purposes Only
This ERCOT Working Paper has been prepared for specific ERCOT and market participant purposes and has been
developed from data provided through the settlement process. The data may contain errors or become obsolete
and thereby affect the conclusions and opinions of the Working Paper. ERCOT MAKES NO WARRANTY, EXPRESS
OR IMPLIED,INCLUDING ANY WARRANTY OF MERCHANTABILITY OR FITNESS FOR ANY PARTICULAR PURPOSE,
AND DISCLAIMS ANY AND ALL LIABILITY WITH RESPECT TO THE ACCURACY OF SAME OR THE FITNESS OR
APPROPRIATENESS OF SAME FOR ANY PARTICULAR USE. THIS ERCOT WORKING PAPER IS SUPPLIED WITH
ALL FAULTS.
ERCOT publishes the values in this report based on the Initial Settlement occurring approximately five days after
the Operating Day. These values are updated to reflect Final Settlements (occurring 55 days after each Operating
Day of the month), lagged by two months after the end of the month. On each tab of this spreadshet there is a
column titled "Settlement Type" indicating whether the values are based on the Initial or Final Settlement for the month.
In instances where a generator is capable of using multiple fuels, the primary fuel is used in this report.

## Demand
Demand for 2025
Net System Maximum Hourly Demand
Description | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Demand, MW | 77482.4949 | Feb: 80524.6994; Mar: 62920.4057 | 80524.6994
Date | 01/22/2025 | Feb: 02/20/2025; Mar: 03/25/2025
Hour ending | 08:00 | Feb: 08:00; Mar: 18:00
Day of the week | Wednesday | Feb: Thursday; Mar: Tuesday
Forecasted Demand, MW | 74424.3618 | 77156.0931 | 67470.6218 | 70458.8614 | 80785.8365 | 85792.4785 | 87532.2943 | 90472.0122 | 85344.8142 | 79892.9661 | 70694.8711 | 75774.8431 | 90472.0122
Difference, percent | 4.109% | Feb: 4.366%; Mar: -6.744% | 4.366%
2024 Demand, MW | 78349.2062 | 55859.7668 | 55305.6286 | 64003.2136 | 77138.5875 | 79697.1876 | 81045.0963 | 85245.1718 | 77812.6461 | 72549.7537 | 60174.1252 | 60244.7459 | 85245.1718
Date | 01/16/2024 | 02/19/2024 | 03/05/2024 | 04/30/2024 | 05/27/2024 | 06/30/2024 | 07/01/2024 | 08/20/2024 | 09/19/2024 | 10/03/2024 | 11/04/2024 | 12/11/2024
Hour ending | 08:00 | 08:00 | 17:00 | 18:00 | 17:00 | 18:00 | 18:00 | 18:00 | 17:00 | 17:00 | 14:00 | 08:00
Day of the week | Tuesday | Monday | Tuesday | Tuesday | Monday | Sunday | Monday | Tuesday | Thursday | Thursday | Monday | Wednesday
Increase, MW | -866.7113 | Feb: 24664.9326; Mar: 7614.7772
Increase, percent | -1.106% | Feb: 44.16%; Mar: 13.77%
Max All Time, MW | 78349.2062 | 80524.6994 | 62920.4057 | 64003.2136 | 77138.5875 | 80825.6176 | 82964.0895 | 85508.4518 | 84470.1018 | 72549.7537 | 60174.1252 | 74524.9021
Date | 01/16/2024 at 08:00 | 02/20/2025 at 08:00 | 03/25/2025 at 18:00 | 04/30/2024 at 18:00 | 05/27/2024 at 17:00 | 06/27/2023 at 18:00 | 07/31/2023 at 17:00 | 08/10/2023 at 18:00 | 09/08/2023 at 17:00 | 10/03/2024 at 17:00 | 11/04/2024 at 14:00 | 12/23/2022 at 08:00
Net System Maximum Demand based on 15-Minute Intervals
Description | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Demand, MW | 77629.068 | Feb: 80843.9775; Mar: 63120.7406 | 80843.9775
Date | 01/22/2025 | Feb: 02/20/2025; Mar: 03/25/2025
Interval ending | 07:45 | Feb: 07:30; Mar: 17:30
Day of the week | Wednesday | Feb: Thursday; Mar: Tuesday
Max All Time, MW | 78531.9136 | 80843.9775 | 63120.7406 | 64276.086 | 77199.8094 | 81017.5983 | 83032.4767 | 85636.8846 | 84540.2922 | 72667.3783 | 60311.6046 | 74628.9366
Date | 01/16/2024 at 07:45 | 02/20/2025 at 07:30 | 03/25/2025 at 17:30 | 04/30/2024 at 17:00 | 05/27/2024 at 16:45 | 06/27/2023 at 17:00 | 07/31/2023 at 17:00 | 08/10/2023 at 17:00 | 09/08/2023 at 16:45 | 10/03/2024 at 16:45 | 11/04/2024 at 14:30 | 12/23/2022 at 08:00
Net System Minimum Demand
Description | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
2025 Demand, MW | 38822.9447 | Feb: 38681.111; Mar: 38377.9609
Date | 01/05/2025 | Feb: 02/03/2025; Mar: 03/16/2025
Interval ending | 05:00 | Feb: 03:45; Mar: 03:45
Day of the week | Sunday | Feb: Monday; Mar: Sunday
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy
Energy for 2025
Net Energy for Load
Description | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
2025 Energy, MWh | 40486228.3787 | Feb: 34700207.0937; Mar: 34698669.5069 | 109885104.9792
2025 YTD Energy, MWh | 40486228.3787 | Feb: 75181725.1385; Mar: 109885104.9792
Forecasted Energy, MWh | 43619879.143 | 38813539.441 | 40699904.659 | 40139803.481 | 45411816.329 | 50094642.928 | 53642903.251 | 54303418.934 | 47761795.829 | 45184503.53 | 41724563.911 | 45233713.067 | 546630484.503
Difference, percent | -7.184% | Feb: -10.6%; Mar: -14.75% | -10.76%
YTD Forecasted Energy, MWh | 43619879.143 | 82433418.584 | 123133323.243 | 163273126.724 | 208684943.053 | 258779585.981 | 312422489.232 | 366725908.166 | 414487703.995 | 459672207.525 | 501396771.436 | 546630484.503
YTD Difference, percent | -7.184% | Feb: -8.797%; Mar: -10.76%
2024 Energy, MWh | 38184181.006 | 30628455.2518 | 32205070.4062 | 33462691.8967 | 39973544.0269 | 44374813.7807 | 44556097.443 | 49282922.5869 | 41002544.4307 | 39228005.3317 | 33761214.1942 | 34917729.338 | 461577269.6928
Increase, MWh | 2302047.3727 | Feb: 4071751.8419; Mar: 2493599.1007 | 8867398.3152
Increase, percent | 6.029% | Feb: 13.29%; Mar: 7.743% | 8.778%
2024 YTD Energy, MWh | 38184181.006 | 68812636.2578 | 101017706.664 | 134480398.5607 | 174453942.5876 | 218828756.3684 | 263384853.8113 | 312667776.3982 | 353670320.8289 | 392898326.1606 | 426659540.3548 | 461577269.6928
Increase, MWh | 2302047.3727 | Feb: 6369088.8808; Mar: 8867398.3152
Increase, percent | 6.029% | Feb: 9.256%; Mar: 8.778%
Net System Load Factors based on Hourly Demand
Description | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2025 | 70.23% | Feb: 64.13%; Mar: 74.22% | 63.21%
Demand Factors 2024 | 65.51% | 78.78% | 78.37% | 72.61% | 69.65% | 77.33% | 73.89% | 77.71% | 73.19% | 72.68% | 77.82% | 77.9% | 61.64%
Net System Load Factors based on 15-Minute Demand
Description | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Annual
Demand Factors 2025 | 70.1% | Feb: 63.87%; Mar: 73.99% | 62.96%
* Information for this month has been updated based on final settlements.

## Load Zones
Demand and Energy by Load Settlement Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Settlement Zone | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2513.5346 | Feb: 2697.2056; Mar: 2101.1489
LZ_CPS | 5103.4723 | Feb: 5138.7316; Mar: 3915.9482
LZ_HOUSTON | 15562.6633 | Feb: 16704.7838; Mar: 16407.6821
LZ_LCRA | 4015.3113 | Feb: 4202.4009; Mar: 2401.0929
LZ_NORTH | 26631.6428 | Feb: 29483.6994; Mar: 18690.9823
LZ_RAYBN | 1442.7657 | Feb: 1980.283; Mar: 719.1144
LZ_SOUTH | 12058.8326 | Feb: 11290.1468; Mar: 8794.1873
LZ_WEST | 10300.8455 | Feb: 9346.7263; Mar: 10090.5844
Net Zone Non-Coincident Peak Demand, MW
Settlement Zone | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 2513.5346 | Feb: 2697.8815; Mar: 2102.7722
Date and Time | 22 @ 07:45 | Feb: 20 @ 07:45; Mar: 14 @ 17:45
LZ_CPS | 5115.5702 | Feb: 5138.7316; Mar: 3976.5461
Date and Time | 22 @ 07:30 | Feb: 20 @ 07:30; Mar: 31 @ 16:15
LZ_HOUSTON | 16479.6481 | Feb: 17151.0597; Mar: 16463.6901
Date and Time | 20 @ 10:15 | Feb: 19 @ 19:30; Mar: 31 @ 17:00
LZ_LCRA | 4015.3113 | Feb: 4202.67; Mar: 2412.9459
Date and Time | 22 @ 07:45 | Feb: 20 @ 07:15; Mar: 25 @ 18:00
LZ_NORTH | 26701.1656 | Feb: 29483.6994; Mar: 18692.1234
Date and Time | 22 @ 07:15 | Feb: 20 @ 07:30; Mar: 25 @ 17:45
LZ_RAYBN | 1467.2071 | Feb: 1998.3312; Mar: 864.9841
Date and Time | 22 @ 07:15 | Feb: 20 @ 07:00; Mar: 10 @ 07:30
LZ_SOUTH | 12058.8326 | Feb: 11376.228; Mar: 9232.7567
Date and Time | 22 @ 07:45 | Feb: 20 @ 07:15; Mar: 14 @ 16:45
LZ_WEST | 10709.6242 | Feb: 10526.9237; Mar: 10090.5844
Date and Time | 8 @ 09:00 | Feb: 18 @ 20:30; Mar: 25 @ 17:30
Net Energy for Load, MWh
Settlement Zone | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
LZ_AEN | 1217265.7143 | Feb: 1060795.1148; Mar: 1050245.3212
LZ_CPS | 2265102.9542 | Feb: 1903186.3197; Mar: 1888542.3489
LZ_HOUSTON | 9097030.5876 | Feb: 8088869.8801; Mar: 8796124.3284
LZ_LCRA | 1633694.0375 | Feb: 1319406.2789; Mar: 1158758.8409
LZ_NORTH | 13021754.1581 | Feb: 10876893.1153; Mar: 9911634.9286
LZ_RAYBN | 636054.5953 | Feb: 502006.4904; Mar: 379246.2834
LZ_SOUTH | 5420738.79 | Feb: 4711599.0555; Mar: 4844638.4727
LZ_WEST | 7194587.5417 | Feb: 6237450.839; Mar: 6669478.9828
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Weather Zones
Demand and Energy by Weather Zone for 2025
Based on 15-minute Intervals
Net Zone Demand Coincident with ERCOT System Peak, MW
Weather Zone | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 16763.5327 | Feb: 17920.1382; Mar: 17366.6577
EAST | 3321.6085 | Feb: 3710.6693; Mar: 2071.0055
FWEST | 7277.439 | Feb: 6524.4756; Mar: 7684.8094
NCENT | 24314.33 | Feb: 27253.0264; Mar: 17057.2066
NORTH | 2236.4805 | Feb: 2066.1754; Mar: 1659.6109
SCENT | 14333.7524 | Feb: 14856.7768; Mar: 10676.5577
SOUTH | 7325.0398 | Feb: 6383.0547; Mar: 5131.8298
WEST | 2056.8851 | Feb: 2129.6611; Mar: 1473.0631
Net Zone Non-Coincident Peak Demand, MW
Weather Zone | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 17610.4807 | Feb: 18402.9572; Mar: 17463.9526
Date and Time | 20 @ 10:15 | Feb: 19 @ 19:30; Mar: 31 @ 17:00
EAST | 3353.7381 | Feb: 3754.2937; Mar: 2125.3264
Date and Time | 22 @ 07:15 | Feb: 20 @ 07:15; Mar: 6 @ 07:30
FWEST | 7832.4849 | Feb: 7618.2534; Mar: 7684.8094
Date and Time | 8 @ 16:00 | Feb: 8 @ 16:00; Mar: 25 @ 17:30
NCENT | 24409.7367 | Feb: 27253.0264; Mar: 17091.7907
Date and Time | 22 @ 07:30 | Feb: 20 @ 07:30; Mar: 25 @ 17:45
NORTH | 2262.2473 | Feb: 2462.0251; Mar: 1718.4175
Date and Time | 21 @ 07:30 | Feb: 19 @ 10:30; Mar: 6 @ 07:15
SCENT | 14336.386 | Feb: 14856.7768; Mar: 10688.898
Date and Time | 22 @ 07:30 | Feb: 20 @ 07:30; Mar: 25 @ 17:45
SOUTH | 7325.0398 | Feb: 6454.4235; Mar: 5662.2931
Date and Time | 22 @ 07:45 | Feb: 20 @ 07:15; Mar: 14 @ 16:45
WEST | 2069.0274 | Feb: 2129.6611; Mar: 1473.0631
Date and Time | 22 @ 07:30 | Feb: 20 @ 07:30; Mar: 25 @ 17:30
Net Zone Energy, MWh
Weather Zone | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
COAST | 9748173.7075 | Feb: 8647380.9315; Mar: 9361946.0007
EAST | 1485800.5628 | Feb: 1206896.5438; Mar: 1088301.8675
FWEST | 5422770.304 | Feb: 4731018.7362; Mar: 5208577.8685
NCENT | 11937946.7618 | Feb: 9968264.1541; Mar: 9021016.807
NORTH | 1291506.3329 | Feb: 1093132.0639; Mar: 1025598.9195
SCENT | 6505092.309 | Feb: 5494788.7214; Mar: 5325850.129
SOUTH | 3044026.1662 | Feb: 2686341.5438; Mar: 2824067.822
WEST | 1050912.2345 | Feb: 872384.3991; Mar: 843310.0926
* Information for this month has been updated based on final settlements.
Totals may not match the ERCOT values because of rounding and subsequent settlements.

## Energy by Fuel Type
Energy by Fuel Type for 2025
Energy by Fuel Type, MWh
Fuel Types | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 35961.4993 | Feb: 18150.9541; Mar: 7013.1347 | 61125.5882
Coal | 6520660.7079 | Feb: 4784808.1613; Mar: 4206166.585 | 15511635.4542
Gas | 2816816.2043 | Feb: 2284207.2582; Mar: 1873836.1608 | 6974859.6233
Gas-CC | 14469519.685 | Feb: 11576404.7212; Mar: 7677525.0979 | 33723449.5041
Hydro | 39554.4182 | Feb: 28045.2376; Mar: 23225.9501 | 90825.6058
Net DC/BLT | -23703.5572 | Feb: -1886.8445; Mar: -4423.4857 | -30013.8874
Nuclear | 3798721.0297 | Feb: 3418937.5067; Mar: 3767491.2125 | 10985149.749
Other | 366662.7981 | Feb: 350844.4451; Mar: 421807.0218 | 1139314.2651
Solar | 3339764.0724 | Feb: 3687298.4542; Mar: 5180016.5251 | 12207079.0517
WSL | -437746.1213 | Feb: -419781.3234; Mar: -503324.7105 | -1360852.1553
Wind | 9560017.6423 | Feb: 8973178.523; Mar: 12049336.0151 | 30582532.1805
Total | 40486228.3787 | Feb: 34700207.0937; Mar: 34698669.5069 | 109885104.9792
Energy by Fuel Type, Percent
Fuel Types | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | YTD/Annual
Biomass | 0.0888% | Feb: 0.0523%; Mar: 0.0202% | 0.0556%
Coal | 16.11% | Feb: 13.79%; Mar: 12.12% | 14.12%
Gas | 6.957% | Feb: 6.583%; Mar: 5.4% | 6.347%
Gas-CC | 35.74% | Feb: 33.36%; Mar: 22.13% | 30.69%
Hydro | 0.0977% | Feb: 0.0808%; Mar: 0.0669% | 0.0827%
Net DC/BLT | -0.0585% | Feb: -0.0054%; Mar: -0.0127% | -0.0273%
Nuclear | 9.383% | Feb: 9.853%; Mar: 10.86% | 9.997%
Other | 0.9056% | Feb: 1.011%; Mar: 1.216% | 1.037%
Solar | 8.249% | Feb: 10.63%; Mar: 14.93% | 11.11%
WSL | -1.081% | Feb: -1.21%; Mar: -1.451% | -1.238%
Wind | 23.61% | Feb: 25.86%; Mar: 34.73% | 27.83%
Total | 100% | Feb: 100%; Mar: 100% | 100%
* Information for this month has been updated based on final settlements.
Companies are not required to notify ERCOT when their dual fuel units are using secondary fuel. Therefore, values shown here are calculated based on primary fuel type and may not exactly reflect the fuels being used by dual
fuel units. Dual fuel units are included in the category of their primary fuel.
A positive value in the 'Net DC/BLT' row indicates import of power, negative indicates export.
Other includes petroleum coke, distillate fuel oil, and any other or unknown fuel.

## Energy by Fuel Chart
Fuel Types | Jan* | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec
Biomass | 35.9615 | Feb: 18.151; Mar: 7.0131
Coal | 6520.6607 | Feb: 4784.8082; Mar: 4206.1666
Gas | 2816.8162 | Feb: 2284.2073; Mar: 1873.8362
Gas-CC | 14469.5197 | Feb: 11576.4047; Mar: 7677.5251
Hydro | 39.5544 | Feb: 28.0452; Mar: 23.226
Net DC/BLT | -23.7036 | Feb: -1.8868; Mar: -4.4235
Nuclear | 3798.721 | Feb: 3418.9375; Mar: 3767.4912
Other | 366.6628 | Feb: 350.8444; Mar: 421.807
Solar | 3339.7641 | Feb: 3687.2985; Mar: 5180.0165
WSL | -437.7461 | Feb: -419.7813; Mar: -503.3247
Wind | 9560.0176 | Feb: 8973.1785; Mar: 12049.336
* Information for this month has been updated based on final settlements.
* Chart excludes Wholesale Storage Load and Net DC/BLT because these resource categories can have negative values.

## data_Energy by Fuel Chart_1 (hidden)
| Nuclear | Coal | Wind | Solar | Hydro | Biomass | Other | Gas-CC | Gas
Jan* | 3799 | 6521 | 9560 | 3340 | 40 | 36 | 367 | 14470 | 2817
Feb | 3419 | 4785 | 8973 | 3687 | 28 | 18 | 351 | 11576 | 2284
Mar | 3767 | 4206 | 12049 | 5180 | 23 | 7 | 422 | 7678 | 1874
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Energy Comparisons
* Information for this month has been updated based on final settlements.
* Information for this month has been updated based on final settlements.

## data_Energy Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan* | 38184 | 40486
Feb | 30628 | 34700
Mar | 32205 | 34699
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## data_Energy Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan* | 43620 | 40486
Feb | 38814 | 34700
Mar | 40700 | 34699
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## Demand Comparisons
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.
* Information for this month has been updated based on final settlements.
Information is based on Hourly Intervals.

## data_Demand Comparisons_1 (hidden)
| 2024 Actual | 2025 Actual
Jan* | 78349 | 77482
Feb | 55860 | 80525
Mar | 55306 | 62920
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec

## data_Demand Comparisons_2 (hidden)
| 2025 Forecast | 2025 Actual
Jan* | 74424 | 77482
Feb | 77156 | 80525
Mar | 67471 | 62920
Apr
May
Jun
Jul
Aug
Sep
Oct
Nov
Dec