## Slide 1: WMS Report
TAC Meeting – February 27, 2025
Blake Holt

## Slide 2: WMS Meeting
Discussion Topics
Transitioning goals to strategic objectives
HDL Override payment mitigation proposal (NPRR1190)
  $10M in annual payments would trigger eligibility and logic review of the payment protocol
  Threshold based on historical maximums and reasonability (<0.2% of annual statement charges*)
  Discussions have concluded. Handful of vocal supportive stakeholders. Consumers not supportive on principle.
Items endorsed/approved –
  VCMRR042, SO2 and Nox Emission Index Prices Used in Verifiable Cost Calculations.
  SMOGRR028, Add Series Reactor Compensation Factors
  NPRR1256, Settlement of MRA of ESRs
Discussions concluded –
  NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities
  NPRR1202, Refundable Deposits for Large Load Interconnection Studies
February 5, 2025
Notes: * https://www.ercot.com/files/docs/2025/01/29/07-wms_settlement-stability-report_q4_2024.pptx - Slide 6
2024 Daily Average of Total Charges = ~ $17M
2024 estimated total statement charges = $17M * 365 days = $6.2B
$10M / $6.2B = .0016= .16% rounds up to .2%

## Slide 3: WMS Meeting
February 5, 2025
Remaining Topics
NPRR1070, Planning Criteria for GTC Exit Solutions
NPRR1202, Refundable Deposits for Large Load Interconnection Studies
NPRR1214, Reliability Deployment Price Adder Fix to Provide Locational Price Signals, Reduce Uplift and Risk (WMWG)
NPRR1229, Real-Time Constraint Management Plan Energy Payment (WMWG)
NPRR1235 Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service (SAWG)
NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities
NPRR1256, Settlement of MRA of ESRs (WMWG)
NPRR1264, Creation of a New Energy Attribute Certificate Program
VCMRR042, SO2 and NOx Emission Index Prices Used in Verifiable Cost Calculations
VCMRR043, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
COPMGRR051, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
SMOGRR031, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program
SMOGRR028 Add Series Reactor Compensation Factors (MWG)

## Slide 4
Next Meeting
March 05, 2025