## Slide 1
CARD and BA Allocation Analysis
January 2025

## Slide 2: Next Steps
ERCOT is appreciative of the stakeholder support, analysis and discussion which has shaped ERCOT’s position. Based on discussion and analysis ERCOT has decided to not pursue a straw-vote nor post an NPRR in the near future.
We haven’t identified clear evidence of abuse, reports have been anecdotal.
There is a lot of sensitivity from the market about the impacts of adjusting the methodology, and the downstream impacts of the distribution across customer classes.
Given the ongoing high priority project work there is not a clear path to implement any proposals in the near term.
ERCOT will not be pursing an NPRR at this time, but instead will continue monitoring for this type of behavior.
If ERCOT observes this behavior in the future, we will report to the IMM and reconsider sponsoring an NPRR.

## Slide 3: Analyses
Analyses request:
CARD Allocation $/MWh by Zone and class for all options plus current over 10 years (7 years provided).
Change in overall allocation per zone if we went from zonal to non-zonal for all options plus current.
TCOS and CARD/CRRBA trend over 10 years.
Relative impact of congestion on Load Zone prices and costs by zone and class over 10 years (7 years provided).
This presentation contains summarized numbers, detailed analysis can be found in the spreadsheet posted with this presentation titled “CRR Revenue Allocation Analysis” and “Impact of congestion cost on load zone prices”

## Slide 4: Options
WMS and WMWG have coalesced around three options for adjusting the allocation.
Vistra – Allocate on a load ratio share of a subset of highest load hours by taking the top 60 hours for the month combined with top 4 hours from the top 15 days.
IMM – Allocate revenues based on the load ratio share of the top 500 peak hours for the month.
City of Georgetown (COG) – Allocate CARD revenues based on the 4CP values from the previous year system wide, no zonal allocation.
Analysis also includes a “4CP” option which is the COG method but retains the zonal allocation of Auction Revenue for CRRs that source and sink in the same congestion management zone.

## Slide 5: Overall Changes in Allocation
Zone | IMM | Vistra | COG | 4CP
North | -0.8% | -0.4% | 10.7% | 0.6%
South | -0.2% | -0.1% | -4.7% | -0.4%
Houston | 0.3% | 0.1% | 9.8% | 0.3%
West | 0.8% | 0.3% | -15.8% | -0.6%
Class | IMM | Vistra | COG | 4CP
Residential | -4.7% | -1.7% | 7.6% | 3.1%
Commercial | 0.2% | 0.0% | 1.1% | 0.7%
NOIE | -1.2% | -0.5% | -1.8% | 0.3%
Large_C_I | 5.7% | 2.2% | -6.9% | -4.2%
Allocation percentage change from current by zone.
Allocation percentage change from current by class.
The following tables show the average difference between the current allocation on a percentage basis to the allocation under the various proposals for the CRR Auction Revenue and Balancing Account Revenue for 2018 - 2024. These values assume that policy of zonal allocation of CRR Auction Revenue by zone persists under the proposed changes (except for the COG proposal which allocates system wide for all revenues)*.
* Yearly values as well as system wide allocation values are included in the spreadsheet posted with this presentation.

## Slide 6: Historical CRR Revenues
Chart: CRR Revenues Over Time ($M)
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
CRR Balancing Account Amount | 64.9839 | 112.9097 | 53.4358 | 111.8413 | 298.7018 | 261.1066 | 239.1413
CRR Monthly Revenue Non-Zonal Amount | 137.9546 | 137.7732 | 150.2761 | 236.2019 | 416.3049 | 515.1282 | 519.479
CRR Monthly Revenue Zonal Amount | 391.6946 | 474.6142 | 575.2205 | 595.3428 | 681.3451 | 927.081 | 1190.479
 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
CRR Balancing Account Amount | $ 65 | $113 | $ 53 | $112 | $ 299 | $ 261 | $ 239
CRR Monthly Revenue Non-Zonal Amount | $138 | $138 | $150 | $236 | $ 416 | $ 515 | $ 519
CRR Monthly Revenue Zonal Amount | $392 | $475 | $575 | $595 | $ 681 | $ 927 | $1,190
Total | $595 | $725 | $779 | $943 | $ 1,396 | $ 1,703 | $1,949

## Slide 7: Historical TCOS
Wholesale Transmission Rates and Charges in ERCOT |  |  |  |  |  |  | 
Matrix | Matrix | Postage Stamp Rate | % Rate | 4CP Load | % Load | Transmission Charges | % Charges
DN | Year | (a) | Change | (b) | Change | (c) = (a) * (b) | Change
56050 | 2024 | $66.76 | -0.8% | 83,685,241.4 | 8.9% | $5,586,575,524 | 8.0%
54507* | 2023 | $67.30 | 4.7% | 76,848,305.7 | 6.0% | $5,171,739,736 | 11.0%
52989 | 2022 | $64.29 | 10% | 72,490,325.3 | 2.2% | $4,660,557,131 | 12.3%
51612* | 2021 | $58.50 | 7.8% | 70,937,625.2 | -0.1% | $4,149,860,060 | 7.7%
50333 | 2020 | $54.28 | -0.5% | 70,980,872.4 | 2.3% | $3,852,813,554 | 1.8%
48928 | 2019 | $54.57 | 1.8% | 69,368,963.5 | 3.1% | $3,785,308,370 | 5.0%
47777 | 2018 | $53.58 | 1.3% | 67,273,101.1 | -0.6% | $3,604,682,776 | 0.6%
46604 | 2017 | $52.91 | 4.8% | 67,690,205.6 | 2.5% | $3,581,817,753 | 7.4%
45382 | 2016 | $50.48 | 8.8% | 66,036,438.6 | 3.7% | $3,333,519,422 | 12.8%
43881 | 2015 | $46.40 | 13.0% | 63,680,709.6 | -2.4% | $2,955,016,343 | 10.2%
42062 | 2014 | $41.08 | 32.7% | 65,250,196.8 | -1.2% | $2,680,360,767 | 31.2%
40946 | 2013 | $30.95 | 5.4% | 66,014,375.9 | 1.6% | $2,043,144,934 | 7.1%
39916 | 2012 | $29.36 | 4.5% | 64,992,452.1 | 5.9% | $1,908,411,522 | 10.7%
38900 | 2011 | $28.09 | 7.8% | 61,368,962.6 | 0.8% | $1,723,854,160 | 8.7%
37680 | 2010 | $26.05 | 3.7% | 60,858,331.4 | 1.7% | $1,585,268,854 | 5.5%
36374 | 2009 | $25.13 | 10.5% | 59,819,399.9 | 3.8% | $1,502,986,350 | 14.7%
35011 | 2008 | $22.73 | 7.8% | 57,650,014.9 | -3.3% | $1,310,253,397 | 4.3%
33550 | 2007 | $21.08 | 5.9% | 59,611,096.1 | 1.3% | $1,256,430,226 | 7.3%
32084 | 2006 | $19.90 | 0.3% | 58,858,282.1 | 5.0% | $1,171,039,672 | 5.3%
30474 | 2005 | $19.85 | 3.1% | 56,040,200.6 | 2.3% | $1,112,159,251 | 5.5%
28937 | 2004 | $19.25 | 8.2% | 54,788,344.7 | 2.4% | $1,054,657,555 | 10.8%
26950 | 2003 | $17.78 | 7.1% | 53,520,537.1 | 1.5% | $951,854,189 | 8.7%
25002 | 2002 | $16.61 |  | 52,727,134.8 |  | $875,986,472 | 
Chart: ERCOT Transmission Grid "Postage Stamp" Rate Trend
| 2024 | 2023 | 2022 | 2021 | 2020 | 2019 | 2018 | 2017 | 2016 | 2015 | 2014 | 2013 | 2012 | 2011 | 2010 | 2009 | 2008 | 2007 | 2006 | 2005 | 2004 | 2003 | 2002
 | 66.757 | 67.298 | 64.2921 | 58.5001 | 54.2796 | 54.5678 | 53.5828 | 52.9149 | 50.48 | 46.4036 | 41.0782 | 30.95 | 29.3636 | 28.09 | 26.0485 | 25.1254 | 22.7277 | 21.0771 | 19.8959 | 19.8457 | 19.2497 | 17.7848 | 16.6136
The "postage stamp" rate represents the sum of the wholesale transmission rates of the TSPs in ERCOT. It is an annual rate per kilowatt of ERCOT average 4CP demand for access to the Texas transmission grid. The rates and charges change with each wholesale transmission rate proceeding, the amounts shown represent a snapshot of the rates and charges in effect at the time of the corresponding annual "matrix" docket.

## Slide 8: Relative Impact of Congestion on Load Zone Prices by Class
During previous discussions on CARD proposals, stakeholders had requested analysis looking at the relative impact of congestion on Load Zone prices/energy costs. Two different approaches were mentioned, both of which are included here:
Study Period: 2018-2024 (7 years)
Approach 1:
  For each load zone (including South, West, North and Houston):
    A “cost” is calculated as the (Load Zone Price – Hub Price)* total Load with the settlement interval granularity (15min). Note that this “cost” may be negative.
    This cost is then split into 4 different Load classes* and aggregated into a yearly cost.
Approach 2:
  For each load zone (including South, West, North, Houston and 4 NOIE Load zones):
    A “cost” is calculated as the (Load Zone Price – Hub Avg Price)* total Load with the settlement interval granularity (15min). Note that this “cost” may be negative.
    This cost is then split into 4 different Load classes* and aggregated into a yearly cost. (For NOIE load zones, this cost will all go to the NOIE load class)
* Load class: Commercial, Residential, Large C_I and NOIE

## Slide 9: Approach 1 Results
Chart: North Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 29847888.6398 | 14855899.8435 | 11025621.6354 | 43618709.4477 | 32390509.2118 | 16357537.5796 | 22875589.5049
RESIDENTIAL | 46361869.7412 | 22933866.2101 | 17076163.1466 | 69941911.1691 | 48710910.0009 | 26335188.4052 | 38969663.9003
LARGE_C_I | 33624017.7792 | 16818008.5001 | 11851917.8915 | 34600541.5814 | 27399043.3552 | 18068354.8233 | 27546678.0849
NOIE | 28651526.7864 | 14612979.4789 | 11039826.1607 | 43670860.656 | 32396948.2759 | 18391251.5102 | 27932001.8125
Chart: South Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 20422406.5832 | 11066514.124 | 23083681.9875 | 4464793.0073 | -5136491.5913 | -7416819.3063 | 22745140.9655
RESIDENTIAL | 33976133.0708 | 16137363.0895 | 43892533.1431 | 3588963.2551 | -10020565.7687 | -14952249.7793 | 37287672.1791
LARGE_C_I | 23215636.7973 | 12725773.5909 | 22972616.8076 | 6305665.5013 | -4384803.1062 | -7431793.072 | 37470377.986
NOIE | 154554981.3021 | 79171251.0667 | 189987801.5973 | 22118437.3699 | -42104201.8068 | -65326964.4067 | 180831880.8528
Chart: West Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 90957036.3794 | 102802486.5198 | 90524258.032 | 34422857.1323 | 60146950.5413 | 106993630.4443 | 103627099.9732
RESIDENTIAL | 79330759.4755 | 78466317.2549 | 66247064.805 | 21954813.9683 | 32841838.6268 | 55127228.5389 | 60335323.1374
LARGE_C_I | 193177746.26 | 324061038.5588 | 325510676.0203 | 65402248.4525 | 161089113.6827 | 401596618.1318 | 415388518.7415
NOIE | 32269007.6744 | 39096459.0957 | 35356731.7723 | 12571948.9538 | 27484369.8648 | 55637503.9693 | 40076420.3658
Chart: Houston Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 12589477.1112 | 5955820.557 | 1983070.1525 | 22025701.6358 | 24474301.4071 | 4016732.8614 | 6728110.3953
RESIDENTIAL | 23066160.8255 | 9722823.2381 | 3491110.2787 | 33527862.4661 | 45420266.9345 | 5657393.7718 | 10118579.4919
LARGE_C_I | 22512361.307 | 12175603.6815 | 4648048.3802 | 56417531.7773 | 54010675.1317 | 10263077.0948 | 17241498.4001
NOIE | 13344.1245 | 6267.5718 | 2971.6097 | 38354.9043 | 38615.102 | 1223.4292 | 268.1651

## Slide 10: Approach 2 Results
Chart: North Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 40262421.7153 | 21292618.7722 | 19330029.5017 | 103515052.97 | 33854058.1102 | 36003240.9891 | -1914040.2364
RESIDENTIAL | 59908626.9791 | 32635561.1452 | 28406991.1624 | 161626042.4994 | 54445121.7539 | 70551101.3642 | 4730221.6641
LARGE_C_I | 45542846.4948 | 23833369.7508 | 20393817.6308 | 71645298.2952 | 14909065.6583 | 33583781.8165 | -4360478.2166
NOIE | 37580889.4757 | 20789549.3768 | 18882937.0492 | 100056177.5346 | 33260761.7271 | 43827305.0297 | 283652.8996
Chart: South Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 22729719.0146 | 11114033.5784 | 24154094.6509 | -2754875.9194 | -16276342.7556 | -23474998.6617 | 25393780.0143
RESIDENTIAL | 37709894.9908 | 15603220.0142 | 45435837.5338 | -9976669.9694 | -30605463.0589 | -43499200.1924 | 41841058.8556
LARGE_C_I | 25925081.1344 | 13421640.0923 | 24515719.7368 | -1892281.9548 | -17888947.2461 | -29451944.4771 | 40928240.4247
NOIE | 171411470.6325 | 79350232.7217 | 197589862.8642 | -40005293.3045 | -134183476.4386 | -197189686.7322 | 200952102.2077
Chart: West Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 75930534.4938 | 93178241.1756 | 77007018.3015 | -6175493.033 | -1564001.8579 | 120452030.9261 | 108751298.032
RESIDENTIAL | 68302106.3766 | 71516243.79 | 55744667.9203 | 9405138.0477 | -1851854.8374 | 63272793.5679 | 62165749.2325
LARGE_C_I | 158202818.2461 | 294740890.4394 | 277764032.7134 | -3939852.534 | 718784.5576 | 443637848.7421 | 440706264.5713
NOIE | 26935146.088 | 35536863.96 | 30388027.1362 | 860083.8602 | -519249.1612 | 62493655.3721 | 43292909.612
Chart: Houston Load Zone
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
COMMERCIAL | 35211438.642 | 27393321.4479 | 29397630.5839 | 84471813.2423 | 204418727.2634 | 48413175.2574 | 12060042.7733
RESIDENTIAL | 58271121.7828 | 48561918.082 | 55389580.7452 | 132387275.6933 | 399710082.7315 | 102573856.2643 | 21933495.8566
LARGE_C_I | 66373384.809 | 53014312.958 | 67753833.7667 | 215010310.3113 | 452493362.4102 | 95798452.5932 | 29203995.0193
NOIE | 38890.6865 | 26297.1856 | 41903.5633 | 147589.7754 | 298016.0771 | 8467.5369 | 28.5908

## Slide 11: Total “Cost” (All load classes included) by Load Zone
Approach 1:
Chart: Yearly Cost
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
NORTH | 138485302.9466 | 69220754.0327 | 50993528.8342 | 191832022.8543 | 140897410.8438 | 79152332.3183 | 117323933.3025
SOUTH | 232169157.7534 | 119100901.8711 | 279936633.5356 | 36477859.1336 | -61646062.273 | -95127826.5642 | 278335071.9834
WEST | 395734549.7893 | 544426301.4292 | 517638730.6296 | 134351868.507 | 281562272.7157 | 619354981.0843 | 619427362.2179
HOUSTON | 58181343.3682 | 27860515.0484 | 10125200.4211 | 112009450.7835 | 123943858.5754 | 19938427.1572 | 34088456.4524
Chart: Yearly Cost
| 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024
NORTH | 183294784.6649 | 98551099.045 | 87013775.344 | 436842571.2993 | 136469007.2494 | 183965429.1995 | -1260643.8894
SOUTH | 257776165.7722 | 119489126.4067 | 291695514.7857 | -54629121.1481 | -198954229.4992 | -293615830.0635 | 309115181.5023
WEST | 329370605.2045 | 494972239.3649 | 440903746.0714 | 149876.3409 | -3216321.2989 | 689856328.6082 | 654916221.4478
HOUSTON | 159894835.9202 | 128995849.6734 | 152582948.659 | 432016989.0223 | 1056920188.4823 | 246793951.6518 | 63197562.2399
AEN | 4676930.1574 | 10490458.4144 | 12788264.8347 | 77104383.8018 | 70721877.7721 | 123676526.2721 | 55078957.5163
CPS | 20109484.7972 | 61533748.7154 | 22265492.8835 | 93623355.0905 | 72467727.3636 | 85789275.1387 | 77396949.4336
LCRA | 6035140.2865 | 19275425.6179 | 7781332.5571 | 116841564.3376 | 65482829.9638 | 109038857.9699 | 77932877.6103
RAYBN | 9295803.0188 | 2100581.0247 | 3885907.6424 | 14670337.5153 | 12761918.2318 | 11308068.2139 | -1171012.4641
Approach 2: