## Slide 1
Technical Working Group (TWG)
Common Questions on ICCP Telemetry Points Modeling
Tejaswi Potluri
Kevin McGarrahan
02/27/2025

## Slide 2: RTC+B ICCP Telemetry Modeling Expectations
  New single model ESR names for existing combo-model ESRs have been published to the RTCBTF page: https://www.ercot.com/committees/tac/rtcbtf
  Request all market participants to follow the template for the object name format.
  When submitting ICCP requests for existing resources, please provide RTC specific object names only for modeling. These are the objects in RED text in the template.
  Similarly for single model ESR devices, all objects in RED text on the ESR tab are required to be submitted.
  Within the RTC construct, CLRs are not expected to participate in FFR service.
  The AVR and PSS points are not required to be modelled on CLRs in RTC.
*Link to RTC+B ERCOT Nodal ICCP Communications Handbook

## Slide 3: Updates to RTC+B ICCP Handbook
  Add System level statuses for ONSC and FFR
  Cleaned up duplicates for System level AS MCPCs and added object Names
  Removed System level ORDC points – ONHT and ONLT
  Removed FFRC from CLR
*Link to RTC+B ERCOT Nodal ICCP Communications Handbook

## Slide 4: Updates to ICCP Telemetry Template
  Removed AVR and PSS for CLR

## Slide 5: Market Trial Handbooks
QSE Telemetry Check-Out (Handbook #2)

## Slide 6: RTC+B ICCP Model Load and Testing
  ERCOT will model the RTC+B ICCP points in the network model and perform ICCP model load in lower environment for ERCOT internal verification.
  This verified model with the RTC+B ICCP points will be loaded into current Production ICCP system.
  ERCOT will publish a schedule to indicate when the new RTC+B specific telemetry points will be available in Production.
  ERCOT will provide support to QSEs to setup the RTC+B telemetry points in their Production ICCP system and perform communication testing.
  ERCOT and QSE to start testing the RTC+B telemetry points in current Production ICCP system (telemetry points check out) from market trials starting from 05/05.
  ERCOT expects continuous good quality telemetry from July 1st week for points that are needed to support RTC+B EMS/SCED open loop testing.

## Slide 7: Refresher on RTC+B ICCP Configuration
  RTC+B ICCP telemetry will be modeled in the current Production ICCP system under existing ICCP links.
  No new sandbox will be available for RTC+B specific ICCP testing.
  All point-to-point telemetry checkouts will be performed in the current Production ICCP system from market trials starting from 05/05.

## Slide 8: RTC+B ICCP Telemetry Modeling
  QUESTIONS?
  Send any additional questions, feedback and comments to RTCB@ercot.com.