## Slide 1
Aggregate Distributed Energy Resource (ADER) Pilot Program Transition
David Maggio
Principal, Market Design & Analytics
February 27, 2025
Technical Advisory Committee (TAC) Meeting
ERCOT Public

## Slide 2: Introduction
On February 6, 2025, Public Utility Commission of Texas (PUCT) staff filed a memo recommending that:
  “…the pilot program and related discussions move to the ERCOT stakeholder process and seek to engage with a larger community of ERCOT market participants, beginning with a discussion at the Technical Advisory Committee about how best to move the project forward.”
At the Open Meeting on February 13, 2025, the Commission supported this recommendation and transition.
This presentation is intended to share the work that has been on-going with the ADER Task Force at the PUCT and to set the stage for this transition.

## Slide 3: Pilot Program Status (as of February 19, 2025)
ERCOT has accepted 8 additional Details of the Aggregation (DOTA) forms. These potential ADERs are in various stages of registration and qualification.
Total ADER capacity (qualified and potential):
  25.7 MW capability for energy
  11 MW capability for Non-Spin
  8.8 MW capability for ECRS
14.3 MW (6)
3.4 MW (3)
7.3 MW (1)
0.7 MW (1)
MWs for energy and count of ADERs by Load Zone for all 11 ADERs
The pilot initiated in late ’22 and is currently in Phase 2. ADERs largely utilize the existing Controllable Load Resource (CLR) participation model and are eligible to provide Non-Spinning Reserve Service (Non-Spin) and ERCOT Contingency Reserve Service (ECRS).
There are currently 3 ADERs that have been qualified to participate in the wholesale electric market.

## Slide 4: Recent Work with the ADER Task Force
ERCOT staff has been working with the ADER Task Force to develop a governing document for Phase 3 for the pilot, with a goal to have Board approval in April. Changes for Phase 3 have focused on:
  A new participation model option where ADERs can participate in the ERCOT market as Non-Controllable Load Resources (NCLRs). I.e., Resources that provide Ancillary Services but are “blocky” in nature and aren’t actively dispatched through Security-Constrained Economic Dispatch (SCED) in Real-Time.
  Allowing 3rd party aggregators for NCLR-type ADERs when the individual premises/devices that make up the aggregation are larger than 100kW. (discussed further on next slide)
  Updates to pilot participation limits. (discussed further on next slide)

## Slide 5: Outstanding, Non-Consensus Items for the Phase 3 Governing Document
3rd-Party Aggregators for NCLRs: Compromise solution voted on by a majority of taskforce was to allow 3rd party aggregators for NCLR-type ADERs when the individual premises/devices that make up the aggregation are larger than 100kW.
  The kW threshold was designed as a compromise with the assumption that these premises would not be residential consumers and would tend to be more sophisticated about their energy provider and arrangements.
  There was a goal to find a balance between competition and consumer protection.
  Opposition: a minority expressed concerns and have proposed that the concept be stricken from the governing document.
Pilot Limit Increases: Giving ERCOT staff additional flexibility to increase pilot limits without a governing document update by expanding the discretion to include the limit on a QSE’s ability to register more than 20% of the system-wide cap.
  This was a majority endorsed compromise where the original proposal was to eliminate the per QSE limit all together.
  Opposition: Some parties prefer the limit, but no one is strongly opposed to this language change.

## Slide 6: Near-Term Steps for TAC
The most immediate task for TAC will be deciding where within the ERCOT stakeholder process detailed discussions regarding the pilot will occur.
From there, the goal would be working with the identified stakeholder group to finalize open items for the Phase 3 governing document so that it can be taken to the ERCOT Board for approval:
  General review of the proposed governing document changes;
  Moving forward on non-consensus items; and
  Updates to the governing document to remove references to the ADER Task Force as the place for pilot discussion.