## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: N/A
ROS
March 6th, 2024

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
    ERCOT Frequency Control Metrics and Regulation Reports
    TRE Report
    Analysis of Disturbances
    Other Items
      Analysis – Why are there fewer FMEs? (future PDC)
      IBRs under deep curtailment (future PDC & IBRWG)
      Status on BAL-001-TRE, SAR-13
  BAL-001-TRE-2 FMEs and IMFR
    0 FME in the month of January
    Note that occurrence of FMEs is down a lot – 2021 had 19; 2022 had 16; 2023 had 7; 2024 had 6
  Frequency Control Report

## Slide 3: Frequency Measurable Events Performance

## Slide 4: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 455 MW/0.1 Hz
IMFR Performance currently
1552.00 MW/0.1HZ

## Slide 5
Questions?

## Slide 6: Frequency Control Report
January 2025

## Slide 7: CPS1 Performance

## Slide 8: RMS1 Performance of ERCOT Frequency
Notes: 13.89 mHz on avg for January 2025

## Slide 9: Frequency Profile Analysis

## Slide 10: Time Error Corrections

## Slide 11: ERCOT Total Energy
Notes: 40,875,342 MWh

## Slide 12: ERCOT Total Energy from Wind Generation
Notes:   9,558,873 MWH

## Slide 13: ERCOT % Energy from Wind Generation
Notes: 23.39% of total energy was provided by wind generation

## Slide 14: ERCOT Total Energy from Solar Generation
Notes: 3,315,884 MWh

## Slide 15: ERCOT % Energy from Solar Generation
Notes: 8.11% of total energy was provided by solar generation

## Slide 16: ERCOT Daily Minimum System Inertia
Notes: Minimum Inertia in January 2025 = 164,095 MW*s on January 30th
Historical Overall Minimum was 109,029 MW*s on 3/22/2021
January Data:
Mean: 245,600 MW*s
Max: 342,313 MW*s on January 21st
Min: 164,095 MW*s on January 30th

## Slide 17: ERCOT Inertia Trend
Notes: Summary of ERCOT inertia for the previous 10 years. Lowest inertia this year was on January 30th.
For each box, the central mark (red line) is the median, the edges of the box (in blue) are the 25th and 75th percentiles, the whiskers correspond to +/- 2.7 sigma (i.e., represent 99.3% coverage, assuming the data are normally distributed. The corresponding lowest inertia in each year is given in the table.
The circle on each boxplot is showing inertia during time when highest portion of load was served by wind/solar generation in that year.