DRAFT

Minutes of the Reliability Operations Subcommittee (ROS) Meeting – Webex Only

Thursday, February 6, 2025 – 9:30 a.m.

Attendance

ROS Representatives:

| Blankenship, David | CenterPoint Energy (CNP) |  |  |
| --- | --- | --- | --- |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| Bowen, Kenneth | CPS Energy |  |  |
| Burkhead, Brett | Calpine Corporation (Calpine) |  |  |
| Carter, Matt | Garland Power & Light (GP&L) |  |  |
| Cochran, Adam | Tenaska Power Services (Tenaska) |  |  |
| Cockrell, Justin | DC Energy |  |  |
| Fun, Meng | Chariot Energy |  |  |
| Gerety, Chris | Texas-New Mexico Power (TNMP) |  |  |
| Hendrix, Chris | Demand Control 2 |  |  |
| Henson, Martha | Oncor Electric Delivery (Oncor) |  | Alt. Rep. for Eithar Nashawati |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kroskey, Tony | Brazos Electric Power Cooperative (Brazos) |  |  |
| Lutrick, Chris | Denton Municipal Electric (DME) |  |  |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  |  |
| Miller, Alex | EDF Renewables |  |  |
| Mrini, Imane | Austin Energy |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Reed, Cyrus | Sierra Cub |  |  |
| Reid, Mike | Air Liquide |  |  |
| Rich, Katie | Vistra Operations Company |  |  |
| Schmitt, Jennifer | Rhythm Ops |  |  |
| Smith, Chase | Southern Power |  |  |
| Spalek, Matthew | AEP Service Corporation (AEPSC) |  |  |
| Thomas, Shane | Shell Energy North America (SENA) |  |  |

| - Guests: |  |  |
| --- | --- | --- |
| Aldridge, Ryan | AB Power Advisors |  |
| Amirazodi, Rouzbeh |  |  |
| Anderson, Connor | AB Power Advisors |  |
| Archambault, Miah | Enel |  |
| Arnett, Rick | LG Law Firm |  |
| Ayers Brasher, Jennifer | Quren |  |
| Barnes, Bill | NRG |  |
| Beckmann, Kara | NextEra |  |
| Bertin, Suzanne |  |  |
| Bevill, Robert | TNMP |  |
| Blakey, Eric | Pedernales Electric Cooperative (PEC) |  |
| Board, Austin | LP&L |  |
| Boggs, Callie | Goff Policy |  |
| Briggs, Lindsay | EPE Consulting |  |
| Carter, Cathey | Grid Axon |  |
| Chan, Vanessa | ENEL |  |
| Chwialkowski, Todd | WETT |  |
| Cochran, Adam | TNSK |  |
| Coleman, Diana | CPS Energy |  |
| Collins, Bob | Texas RE |  |
| Cook, Kristin | Southern Power |  |
| Cruz-Montes, Michael | Eniplentitude |  |
| Deridder, Chris | NFront Consulting |  |
| De Arizon, Maria | CNP |  |
| Dharme, Neeraja | EDFT |  |
| Diaz-Acciona, Ismael | Acciona |  |
| Dillavou, Hayden | Bam Funds |  |
| Donohoo, Ken | OwlERC, LLC |  |
| Downey, Marty | Consultant/Luminant Corporation |  |
| Escamilla, Gerardo | CPS Energy |  |
| Evans, Doug | AEP |  |
| Flessner, Teddi | STEC |  |
| Floyd, Rickey | Oncor |  |
| Freeman, Justin | NFront Consulting |  |
| Fun, Meng | Chariot Energy |  |
| Goff, Eric | Goff Policy |  |
| Gomez, Ricardo | Oxy |  |
| Guo, J. | Appianway Energy |  |
| Hale, Josh | Southern Power |  |
| Haley, Ian | Morgan Stanley |  |
| Hanson, Kevin | Invenergy |  |
| Helton, Bob | ENGIE |  |
| Henry, Mark | Texas Reliability Entity, Inc. (Texas RE) |  |
| Henson, Martha | Oncor |  |
| Hoffer, Phil | AEP |  |
| Holt, Blake | LCRA |  |
| Huynh, Thuy | Potomac Economics |  |
| Jablonski, Ward |  |  |
| Jha, Monica | Vistra |  |
| Jewell, Michael | Jewell and Associates |  |
| Jowlabar, Nicholas | RWE |  |
| Kakarla, Raja | CNP |  |
| Keefer, Andrew | City of Denton |  |
| Khayat, Maribel | CNP |  |
| Kemp, Helen | SP Light |  |
| King, Blake | Galaxy Digital |  |
| King, Marc | CNP |  |
| Kirby, Chris | Michael Best |  |
| Koberlein, Paul | LP&L |  |
| Korde, Kshitij | National Grid |  |
| Kremling, Barry | GVEC |  |
| Lee, Jim | CNP |  |
| Leverett, Travis | WETT |  |
| Lindsay, Patrick | CNP |  |
| Li, Jun | CNP |  |
| Liu, Lei | WETT |  |
| Lloy, Will |  |  |
| Loth, Justin | Oncor |  |
| Lotter, Eric | GridMonitor |  |
| Loyferman, Larisa | CNP |  |
| Macaraeg, Tad | Stem |  |
| Majidi, Mohammad | Conoco Phillips |  |
| Matevosyan, Julia | ESIG |  |
| Mathew, Biju | WETT |  |
| Matos, Chris | Google |  |
| Matt, Kevin | Reliant |  |
| McClellan, Suzi | Good Company Associates |  |
| McIntyre, Ken | Plus Power |  |
| Mechler, Robert | LS Power |  |
| Merta, Derek | STEC |  |
| Morris, Sandy | WETT |  |
| Mulholland, Chad | NRG Energy |  |
| Naik, Harsh | Oncor |  |
| Neel, Evan | Lancium |  |
| Newman, Eric | Texas RE |  |
| Nguyen, John | CNP |  |
| Orr, Robert | Lonestar Transmission |  |
| Pawar, Aasawari | Orsted |  |
| Pearson, Kelsey | Longhorn Power |  |
| Penny, David | Texas RE |  |
| Preas, Dylan | LCRA TSC |  |
| Pueblos, Jameel | Oxy |  |
| Pullela, Suma | Orsted |  |
| Pyka, Greg | Powered by SEnergy |  |
| Qureshi, Fahad | CNP |  |
| Ramirez, Chris | WETT |  |
| Rasmussen, Erin | AEP |  |
| Richmond, Antonio | Acciona |  |
| Rico, Guillermo | CPS Energy |  |
| Ritch, John | Trafigura |  |
| Rochelle, Jenni | CES |  |
| Robertson, William | CPS Energy |  |
| Rodriguez, Roberto | CNP |  |
| Salonish, Kayla | WETT |  |
| Sanchez, Manuel | Oncor |  |
| Safko, Trevor | LCRA |  |
| Siddiqi, Shams | Crescent Power |  |
| Sills, Kevin | GPL |  |
| Smith, Caitlin | Jupiter Power |  |
| Snyder, Bill | AEP |  |
| Solis, Stephen | Plus Power |  |
| Springer, Tyler | AEP |  |
| Stephenson, Zach | Texas EC |  |
| Stewart, Aaron | NextEra |  |
| Stice, Clayton |  |  |
| Tarwater, Curtis | Sigmawatt |  |
| Tay, Sing | AES |  |
| Trefny, Floyd | ERCOT Steel Mills |  |
| Turner, Lucas | STEC |  |
| Turner, Mina | AEP |  |
| Uy, Manny | Hunt Energy |  |
| Walker, Floyd | PUCT |  |
| Wagner, Julia | PUCT |  |
| Wang, Xiaoyu | NextEra |  |
| Williams, Wes | Bryan Texas Utilities |  |
| Withrow, David | AEP |  |
| Wittmeyer, Bob | Longhorn Power |  |
| Woods, Brad | Texas RE |  |
| Zang, Hailing | TC Energy |  |
| Zech, David | CNP |  |
| Zito, David | Gabel Associates |  |
| ERCOT Staff: |  |  |
| Albracht, Brittney |  |  |
| Anderson, Troy |  |  |
| Avilahernandez, Nelson |  |  |
| Billo, Jeff |  |  |
| Blevins, Bill |  |  |
| Blanco, Gustavo |  |  |
| Boren, Ann |  |  |
| Catalan, Manuel |  |  |
| Cheng, Yong |  |  |
| Cheng, Yunzhi |  |  |
| Clifton, Suzy |  |  |
| Cosway, Chris |  |  |
| Finke, Sidne |  |  |
| Fohn, Doug |  |  |
| Garcia, Freddy |  |  |
| Gnanam, Prabhu |  |  |
| Golen, Robert |  |  |
| Gravois, Patrick |  |  |
| Guiyab, Rochie |  |  |
| Hernandez-Garcia, Jessica |  |  |
| Hinojosa, Luis |  |  |
| Huang, Fred |  |  |
| Kang, Sun Wook |  |  |
| Lee, Alex |  |  |
| Mago, Nitika |  |  |
| Matlock, Robert |  |  |
| Mahmoud, Thair |  |  |
| Miller, Megan |  |  |
| Phillips, Cory |  |  |
| Snitman, Julie |  |  |
| Thompson, Chad |  |  |
| Troublefield, Jordan |  |  |
| Wasik-Gutierrez, Erin |  |  |
| Yan, Ping |  |  |
| Zhang, Jimmy |  |  |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the February 6, 2025 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- January 9, 2025

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

- Ms. Rich reviewed the disposition of items considered at the January 22, 2025 TAC meeting.

- 2025 ROS Working Group Leadership (See Key Documents)

Ms. Rich presented the 2025 ROS Working Group Leadership for ROS consideration and reviewed the process for new leadership, including agenda planning call participation and posting materials for the working group meetings.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- 2025 ROS Goals (see Key Documents)

- Participants discussed potential modifications to the ROS goals for 2025.  Caitlin Smith, Chair of the TAC, commented the committee is considering broadening the TAC goals so that they can be carried over from year-to-year as opposed to being a specific list of action items.  Ms. Rich noted that the 2025 ROS Goals would be discussed again at the March 7, 2025 ROS meeting.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the December 2024 Operations Report and responded to questions regarding winter storm Enzo.

- System Planning Report

Ping Yan reviewed the December 2024 System Planning Report, and noted the report 2024 Regional Transmission Plan (RTP) 345-kV Plan and Texas 765-kV Strategic Transmission Expansion Plan Comparison is now available on the Planning page on the ERCOT website.

New Protocol Revision Subcommittee (PRS) Referrals (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1265, Unregistered Distributed Generator

Bill Blevins provided an overview of NPRR1265 and suggested this item be tabled and referred to the Network Data Support Working Group (NDSWG) for further discussion.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at PRS and Referred to ROS (see Key Documents)

NPRR1229, Real-Time Constraint Management Plan Energy Payment

Ms. Rich provided an update of discussions on NPRR1229 at the Wholesale Market Subcommittee (WMS) and Wholesale Market Working Group (WMWG), noting the outstanding issues are financial-related.  Ms. Rich suggested, and participants agreed, ROS report to PRS that the subcommittee is neutral on the issues since they fall outsides ROS’ purview; therefore, it has no recommendation.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

Planning Guide Revision Request (PGRR) 073, Related to NPRR956, Designation of Providers of

Transmission Additions

Nodal Operating Guide Revision Request (NOGRR) 273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

ROS took no action on these items.

NPRR1264, Creation of a New Energy Attribute Certificate Program

ROS took no action on this item.

Operations Working Group (OWG)

Rickey Floyd reviewed OWG activities and noted the High Impact Transmission Elements (HITE) Sub Chair position has been discontinued as the working group decided it was no longer necessary.

NPRR1070, Planning Criteria for GTC Exit Solutions

NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

NOGRR265, Related to NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

ROS took no action on these items.

NDSWG (see Key Documents)

Gerardo Escamilla reviewed NDSWG activities.

NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater

Mr. Escamilla reminded ROS that NDSWG had reached consensus for a recommendation to ROS to endorse NPRR1234, and noted ERCOT had since filed comments with additional revisions to the language.  Market Participants agreed further NDSWG review of NPRR1234 was unnecessary since the 1//24/25 ERCOT comments do not impact the modeling section of the NPRR.  Mr. Blevins provided an overview of the 1/24/25 ERCOT comments and in response to questions, noted ERCOT is still evaluating whether interconnection fees need to be increased to more appropriately reflect costs.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PLWG (see Key Documents)

Dylan Preas reviewed PLWG activities, and highlighted that ERCOT indicated the inflation rate in the Congestion Cost Savings Test Evaluation Guideline will change from 2% to 2.2%, and provided an update on the working group’s progress addressing the open action item related to the defined term “Load".

PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater

Ms. Rich provided an overview of comments submitted for PGRR115 and developments since the January 9, 2025 ROS meeting.  Mr. Preas reviewed the 1/30/25 PLWG comments, Floyd Trefney reviewed the 1/29/25 ERCOT Steel Mills comments, Chris Matos reviewed the 2/4/25 Google comments and Jim Lee reviewed the 2/5/25 CenterPoint comments.  Participants expressed concern with ERCOT’s proposed language capping interconnections for P1 and P7 contingencies at 1GW, asserting the cap is unnecessarily limiting.  ERCOT reiterated a limit is needed for grid reliability, and while the 1 GW is based on an existing study, additional studies are underway to reflect the most recent grid composition and ERCOT would be willing to revisit the 1 GW limit with stakeholders in a future PGRR based on the results of those studies.  Participants generally agreed to move PGRR115 forward in the stakeholder process, recognizing the opportunity to revisit some of the issues raised in the comments at the March 6, 2025 ROS meeting when the Impact Analysis related to PGRR115 is reviewed. Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PGRR119, Stability Constraint Modeling Assumptions in the Regional Transmission Plan

Mr. Preas reported PLWG had reached consensus to recommend to ROS the approval of PGRR119 as amended by the 1/22/25 Joint Commenters comments.  Alex Miller provided an overview of the 1/22/25 Joint Commenters comments.  In response to questions related to the cost impact issue raised in the 11/6/24 OPUC comments, ERCOT provided clarification on ERCOT practices, explaining there are no additional cost to consumers materializing from PGRR119.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

PGRR120, SSO Prevention for Generator Interconnection

ROS took no action on this item.

PGRR122, Reliability Performance Criteria for Loss of Load

ROS took no action on this item.

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

Julia Matevosyan reviewed IBRWG activities.

NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs

Fred Huang provided an update on NOGRR272 and PGRR121, Related to NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs, highlighting the needs and benefits of the proposed advanced grid support requirements.  Ms. Smith reviewed the 2/5/25 Joint Commenters comments indicating the parties do not support NOGRR272 and PGRR121 and requested the revision requests remain tabled at ROS to give involved parties an opportunity to finish drafting and filing a NPRR that would define performance standards, set out settlement terms and provide a new standard contract for a new Advanced Grid Support Ancillary Service.  The Joint Commenters noted the goal was to have the NPRR submitted in time for discussion at the next ROS meeting and indicated Wholesale Market Subcommittee (WMS) may need to be involved as well.  ROS took no action on this item.

PGRR121

This item was considered with NOGRR272.

Combined Ballot

Cyrus Reed moved to approve the Combined Ballot as follows:

- To approve the January 9, 2025 Meeting Minutes

- To approve the 2025 ROS Working Group and Task Force leadership as presented

- To request PRS continue to table NPRR1265 for further review by NDSWG

- To advise PRS that ROS has concluded discussion of NPRR1229 and has determined the issues are financial in nature and has no recommendation at this time

- To endorse NPRR1234 as amended by the 1/24/25 ERCOT comments

- To recommend approval of PGRR115 as amended by the 2/5/25 CenterPoint comments

- To recommend approval of PGRR119 as amended by the 1/22/25 Joint Commenters comments

Chase Smith seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Performance, Disturbance, Compliance Working Group (PDCWG)

Chad Mulholland reviewed PDCWG activities.

Steady State Working Group (SSWG) (see Key Documents)

William Robertson noted there were no updates from OTWG.

Operations Training Working Group (OTWG) (see Key Documents)

Manuel Sanchez noted there were no updates from OTWG.

Other Business

Review Open Action Items List

- Ms. Rich reported there were no concerns from TAC removing the action items related the September 6, 2023 Energy Emergency Alert (EEA) 2, and the Remaining Key Topic Concepts (KTCs) from the Battery Energy Storage Task Force (BESTF), including KTC 15-6 Reliability Must-Run (RMR) and Must-Run Alternatives (MRAs) Services and KTC 15-9 Governor Dead-band Telemetry as a Concept and noted these items will no longer be reflected on the ROS Open Action list going forward.

No Report

- Black Start Working Group (BSWG)

- Dynamics Working Group (DWG)

- System Protection Working Group (SPWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the February 6, 2025 ROS meeting at 12:45 p.m.