## Slide 1: Revision Request Summary for 3/26/25 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater | Strategic Plan Objective 1 | Between $600K and $800K Between $180K and $220K (Annual Recurring O&M) | ERCOT supports approval of NPRR1234. ERCOT Staff has reviewed NPRR1234 and believes the market impact for NPRR1234, along with PGRR115, provides necessary structure and clarification to the interconnection requirements for Large Loads | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1234 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1234.
NPRR1256, Settlement of MRA of ESRs | General system and/or process improvement(s) | Between $25K and $50K | ERCOT supports approval of NPRR1256. ERCOT Staff has reviewed NPRR1256 and believes the market impact for NPRR1256 clarifies the Settlement treatment of ESR MRAs. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1256 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1256.
NPRR1268, RTC – Modification of Ancillary Service Demand Curves – URGENT | General system and/or process improvement(s) | No impact (impacts captured by PR447, RTC) | ERCOT supports approval of NPRR1268. ERCOT Staff has reviewed NPRR1268 and believes the market impact for NPRR1268, after extensive review with stakeholders at the RTCBTF, introduces “blended” ASDCs which will improve reliability and market performance by allowing SCED to make more efficient tradeoffs between energy and reserves under shortage conditions while maintaining sufficient price signals to promote Resource adequacy. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1268 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM supports NPRR1268. 3/19/25 IMM Comments
NPRR1269, RTC+B Three Parameters Policy Issues – URGENT | General system and/or process improvement(s) | No impact (impacts captured by PR447, RTC) | ERCOT supports approval of NPRR1269. ERCOT Staff has reviewed NPRR1269 and believes the market impact for NPRR1269, after extensive review with stakeholders at the RTCBTF, codifies a group of policy changes that were deferred from the original RTC-related Protocols developed in 2020 ahead to provide clarity ahead of the upcoming RTC market trials. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1269 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM opposes NPRR1269.
NPRR1270, Additional Revisions Required for Implementation of RTC – URGENT | General system and/or process improvement(s) | No impact (impacts captured by PR447, RTC) | ERCOT supports approval of NPRR1270. ERCOT Staff has reviewed NPRR1270 and believes the market impact for NPRR1270, after extensive review with stakeholders at the RTCBTF, provides improvements and clarifications to RTC requirements ahead of the upcoming RTC market trials. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1270 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM supports NPRR1270.

## Slide 2: Revision Request Summary for 3/26/25 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1273, Appropriate Accounting for ESRs in PRC Calculation – URGENT | Regulatory Requirements | No impact | ERCOT supports NPRR1273. ERCOT Staff has reviewed NPRR1273 and changing the PRC calculation to include the capacity that can be sustained for 45 minutes rather than 15 minutes will better ensure that PRC is an accurate indicator of the amount of capacity that currently has sufficient energy to support the grid until any needed load shed could be implemented. This change has a positive market impact by allowing ERCOT to meet its reliability obligations and by informing the market more accurately about grid conditions during scarcity. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1273 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1273.
SCR829, API for the NDCRC Application | General system and/or process improvement(s) | Between $100k and $200k | ERCOT supports approval of SCR829. ERCOT Staff has reviewed SCR829 and believes it provides a positive market impact by enabling QSEs to upload and download unit testing data from the NDCRC application, reducing manual demands and opportunities for error. | Not applicable. | IMM has no opinion on SCR829.
NOGRR274, Conform Nodal Operating Guide to Revisions Implemented for NPRR1217, Remove Verbal Dispatch Instruction (VDI) Requirement for Deployment and Recall of Load Resources and Emergency Response Service (ERS) Resources – URGENT | General system and/or process improvement(s) | No impact | ERCOT supports NOGRR274. ERCOT Staff has reviewed NOGRR274 and confirms the revisions appropriately conform the Nodal Operating Guide with the Protocol language implemented from NPRR1217. There are no impacts to the ERCOT market beyond those associated with NPRR1217. | Not applicable. | IMM has no opinion on NOGRR274.
PGRR115, Related to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater | Strategic Plan Objective 1 | No impact (impacts captured by NPRR1234) | ERCOT supports approval of PGRR115. ERCOT Staff has reviewed PGRR115 and believes the market impact for PGRR115, along with NPRR1234, provides necessary structure and clarification to the interconnection requirements for Large Loads. | Not applicable. | IMM has no opinion on PGRR115.

## Slide 3: Revision Request Summary for 3/26/25 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
PGRR119, Stability Constraint Modeling Assumptions in the Regional Transmission Plan | General system and/or process improvement(s) | No impact | ERCOT supports approval of PGRR119. ERCOT Staff has reviewed PGRR119 and believes it provides a positive market impact by clarifying and codifying the transmission planning assumptions related to the modeling of stability constraints in the Regional Transmission Plan base case | Not applicable | IMM has no opinion on PGRR119.
SMOGRR028, Add Series Reactor Compensation FactorsCR829, API for the NDCRC Application | General system and/or process improvement(s) | No impact | ERCOT supports approval of SMOGRR028. ERCOT Staff has reviewed SMOGRR028 and believes it provides a positive market impact by extending the guidelines for loss compensation to include current limiting reactors, which may be identified as needed later in the design process, the use of which allowing greater flexibility in meter installation location without requiring additional metering structures. | Not applicable | IMM has no opinion on SMOGRR028.
NOGRR264, Related to NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service | Regulatory Requirements | No impact (impacts captured by NPRR1235) | Awaiting NPRR1235 | Not applicable | Awaiting NPRR1235