## Slide 1
ERCOT GTC Updates
Yunzhi Cheng
Operations Support
ROS Meeting
4/3/2025

## Slide 2: Kinney County GTC Update
  The update is based on 2025 Q1 QSA study with an additional generation resource in the GTC area
  GTC interface remains unchanged
  GTL update
      No stability constraint for no prior outage condition
      GTLs updated for some prior outage conditions
This GTC update became effective on April 2, 2025. This GTC interface and associated Generic Transmission Limit (GTLs) are available in the posted Generic Transmission Constraints Methodology.
https://mis.ercot.com/secure/data-products/grid/transmission?id=NP3-770-M

## Slide 3: Panhandle GTC Update
The update is based on a GTC study with additional generation resources in the Panhandle & nearby Panhandle
GTC interface definition will be updated to align with the in-service date of the topology changes on the interface lines
  GTL update
      Increased GTLs for no prior outage and prior outage conditions
This GTC update became effective on April 2, 2025. This GTC interface and associated Generic Transmission Limit (GTLs) are available in the posted Generic Transmission Constraints Methodology.
https://mis.ercot.com/secure/data-products/grid/transmission?id=NP3-770-M