## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
03/20/2025

## Slide 2: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Working on a rewrite on existing NPRR. Nothing for group yet.
Remains tabled.

## Slide 3: 2025 UFLS Survey Announcement
Number of load shed stages is increased from 3 to 5.
25% of ERCOT system load shall be equipped with UFLS.
ERCOT presentation can be found on OWG 3/20 meeting page.

## Slide 4: Other Business
None.