## Slide 1
Resource Integration Topics
Jenifer Fernandes
ERCOT
Resource Integration Working Group
April 16th, 2025

## Slide 2: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5
Next Deadline for QSA
If a GINR is not included in QSA, its Initial Synchronization date will be automatically delayed to the next quarter
All-Inclusive Generation Resource Initial Synchronization Date | Last Day for an IE to meet prerequisites as listed in paragraph (4) below | Completion of Quarterly Stability Assessment
Upcoming January, February, March | Prior August 1 | End of October
Upcoming April, May, June | Prior November 1 | End of January
Upcoming July, August, September | Prior February 1 | End of April
Upcoming October, November, December | Prior May 1 | End of July

## Slide 3: Quarterly Stability Assessment (QSA)
Planning Guide 5.3.5, Quarterly Stability Assessment
Issue’s seen in previous QSA’s
  10 day comment period for FIS
    Needs to be complete before QSA deadline
    TSPs need to plan for it
  Dynamic/PSCAD Model Review
    Dependent on FIS Stability study
    Need to meet PG 6.9 15 to 30 days prior to QSA deadline
PSSE Model Quality Test Required
PSCAD Model Quality Test, Unit Model Validation and Template is required. PSCAD template is required starting August 1st QSA.
TSAT Model Required – If PSSE model is UDM, then TSAT model should be UDM and should include MQT

## Slide 4: QSA 45 day deadline
FIS studies finalized and posted in RIOO-IS 45 days prior to quarterly stability assessment deadline.
Dynamic models (PSEE, PSCAD, TSAT (UDM)) and MQT report submitted in RIOO-IS.
From Planning guide Section 5.3.5 (2): Last Day for an IE to meet prerequisites as listed in paragraph (4) below | 45 day deadline
Prior August 1 | June 17
Prior November 1 | September 17
Prior February 1 | December 18
Prior May 1 | March 17

## Slide 5: EPS Design Meter Proposal for planned GIM projects
EPS Meter Design Proposal will be part of the technical documentation that is required to be submitted to ERCOT for modeling per Nodal Protocol (NP) 3.10.1 and is subject to the modeling timeline in NP 3.10.1 (3).
  EPS Meter Design Proposal is required to be submitted to ERCOT metering prior to approval of the Resource Registration Data for full registration.
  EPS Meter Design Proposal will be required for projects planning to meet July 2nd,2025 PLD but recommended for June 4th,2025 PLD to avoid delays.

## Slide 6: Request for Energy Information Administration (EIA)
Under 15 U.S.C. § 772(b), ERCOT is required to provide EIA a completed Form EIA-930A listing the existing and planned electric generator inventory for the ERCOT Region. Form EIA-930A is a form that all NERC-registered Balancing Authorities are required to submit to EIA annually
Starting April 24th, new EIA fields will be available in RIOO-IS and RS per Resource.
  EIA Plant Name – restricted to 100 characters
  EIA Plant ID – 5 characters numeric
  EIA Generator ID - restricted to 5 characters

## Slide 7: Request for Energy Information Administration (EIA)
When do I need to complete the EIA fields?
  Projects in RIOO-IS without an approved PLD: Recommend to be completed by Full registration data approval.
  Operational and Planned projects in RIOO-RS: Recommended to be completed as soon as possible.
ERCOT is planning to propose a Registration Glossary Revision Request (RGRR) to make the EIA fields a requirement for Full Registration data approval.

## Slide 8: Active RR’s
NPRR1272: Voltage Support at Private Use Networks

## Slide 9: Commissioning Requests Submission- Clarification
ERCOT has established a new, dedicated email address for Market Participants to submit new generator Commissioning Checklist for review.
Starting June 10, 2024, all new Commissioning Checklists (Parts 1-3) should be emailed to CommissioningRequests@ercot.com in addition to being submitted to RIOO-IS.
Commissioning Checklists (Parts 1-3) submitted to ResourceIntegrationDepartment@ercot.com after June 21, 2024, will not be processed.
Commissioning Plans should not be emailed for review to the new Commissioning Request email address.

## Slide 10: Generation Interconnection Requests
2018 active generation interconnection requests totaling 405 GW as of March 1st, 2025 (Solar 157 GW, Wind 40 GW, Gas 34 GW, and Battery 172 GW) (Excludes capacity associated with projects designated as Inactive per Planning Guide Section 5.7.6)
Chart: Large Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24 | Dec-24 | Jan-25 | Feb-25 | Mar-25
# Signed Interconnect Agreement | 391 | 395 | 408 | 414 | 427 | 437 | 435 | 440 | 449 | 447 | 445 | 460 | 491
# Completed Full Study | 101 | 112 | 125 | 140 | 158 | 152 | 158 | 159 | 156 | 147 | 133 | 121 | 112
# in Full Study | 1035 | 1025 | 1023 | 1023 | 1033 | 1057 | 1050 | 1039 | 1070 | 1103 | 1163 | 1200 | 1207
# Screening Study Complete | 100 | 115 | 129 | 137 | 136 | 140 | 140 | 127 | 126 | 120 | 119 | 113 | 113
# Initial Screening study | 80 | 58 | 48 | 20 | 27 | 24 | 21 | 28 | 21 | 22 | 16 | 19 | 19
GW Capacity | 348.9954 | 348.0727 | 354.6377 | 350.3239 | 363.9554 | 370.6044 | 370.9633 | 369.8282 | 377.0299 | 378.7444 | 388.6158 | 399.0073 | 404.457

## Slide 11: Generation Interconnection Requests
Small Gen- 26 projects Not Model Ready, 50 projects Model Ready
Chart: Small Generator Monthly Capacity by GIM Milestone plus Project Count, 13-Month Rolling Basis
| Mar-24 | Apr-24 | May-24 | Jun-24 | Jul-24 | Aug-24 | Sep-24 | Oct-24 | Nov-24 | Dec-24 | Jan-25 | Feb-25 | Mar-25
# Not Model Ready | 39 | 42 | 39 | 34 | 31 | 27 | 29 | 35 | 33 | 32 | 30 | 24 | 26
# Model Ready | 29 | 33 | 41 | 44 | 46 | 49 | 48 | 44 | 48 | 46 | 46 | 50 | 50
MW Capacity | 641.11 | 705.33 | 745.73 | 725.74 | 715.94 | 708.34 | 725.62 | 745.8 | 755.62 | 726.03 | 701.78 | 682.08 | 706.9

## Slide 12: Other contact information
ResourceIntegrationDepartment@ercot.com is distribution list for Resource Integration department
Mailing List
  RESOURCE_INTEGRATION@LISTS.ERCOT.COM

## Slide 13: Questions?
Thank you!