## Slide 1: April 23, 2025
NPRR1275: Decision Points for FFSS Winter 2025-2026 Season

## Slide 2: Objective of Firm Fuel Supply Service (FFSS)
The FFSS objective is to “mitigate the effect of fuel supply disruptions on power generation during the winter” and improve electric sector resiliency to natural gas supply shocks during extreme conditions through “redundant supply chain security.”
  See Project No. 52373, Approval of Blueprint for Wholesale Electric Market Design and Directives to ERCOT: Order and Project No. 53298, Wholesale Electric Market Design Implementation, Item No. 2: Memo, and Commissioner discussion at the January 27, 2022 open meeting.
  PURA § 39.159(c)(2) requires the Commission to:
    “include on-site fuel storage, dual fuel capability, or fuel supply arrangements to ensure winter performance for several days” in the winter qualifications for energy and ancillary services procured under PURA § 39.159(b) to
      “meet the reliability needs of the power region” and
      “ensure appropriate reliability during extreme heat and extreme cold weather conditions and during times of low non-dispatchable power production in the power region.”
  IMM Comments also suggested an objective linked to the ability to “operate for at least 72 hours during a disruption of the bulk natural gas delivery system.”
The FFSS reliability service effectively gives ERCOT a “call option” on fuel inventory that is resilient to natural gas supply shocks (telling resources when to be available on that inventory, even if not deployed).
FFSS is designed to reward resources that provide resiliency benefits during extreme winter weather conditions, including not being reliant on a “just in time” fuel supply (such as natural gas) and emphasized a tighter span of control with the ability to manage equipment and transportation.
Nothing requires “on-site fuel storage,” “dual fuel capability,” and “fuel supply arrangements” under a single procurement framework or quantity for a single reliability service, only that the Commission and ERCOT include these qualities in consideration of ancillary service and reliability service qualifications (of which FFSS is one).

## Slide 3: Achieving the Objective
Commissioners discussed FFSS designs including both the implemented “call option” on fuel inventory resilient to natural gas supply shocks and a capacity-accredited portfolio standard, which would have had broader eligibility
ERCOT operations has relied on fuel oil and controlled gas storage since the inception of the FFSS program to support resiliency against disruptions of the bulk natural gas delivery system
The FFSS objective should continue to be to create fuel diversity that does not share correlated disruption risk with the rest of the market
NPRR1275 re-raises the question whether controlled and contractual fuel storage can be included in the program are equivalent products
  Both fuel oil and contractual natural gas storage have reliability benefits; there are, however, distinctive differences in costs and resiliency value propositions that warrant either separate products or separate procurement within the same product
Fuel Resiliency Objective
Nuclear
Coal
Firm Gas Storage/ Transport
Fuel Oil Storage
LDES
Accreditation/ Portfolio Standard
Fuel Inventory
Fuel Oil Storage
Controlled Gas Storage
Product Design Paths for Firm Fuel Supply Service
FFSS path taken requires more direct, acute intervention to achieve resiliency objective

## Slide 4: Value Proposition: Fuel Oil vs. Contractual Natural Gas
What provides the highest value is a product that provides the most resilience to disruptions of the bulk natural gas delivery system during times of scarcity.
There is experience with fuel oil resources providing onsite storage, which can be restocked by “borrowing” from excess inventory or procuring new inventory deliveries to be prepared for the next event. This has shown to be sufficient to respond to Watches throughout the contract period.
NPRR1275’s contemplated expansion to contractual natural gas storage do not as clearly reduce the reliance on the bulk natural gas delivery system during times of shortage, and may still face risks of insufficient pressure on the gas system (even if not “curtailed”).

## Slide 5: Conclusion
While the FFSS reliability service can be expanded, the difference in relative costs, risks, and effectiveness at meeting the FFSS objectives should be considered
  Supporting contractual natural gas storage through a separate product (or products) may also be appropriate
Commission discussion at the April 24, 2025 open meeting should inform path forward