## Slide 1
Handling Planned Coal-to-Gas Conversions in the CDR
Pete Warnken
Resource Adequacy
Supply Analysis Working Group
April 25, 2025

## Slide 2: CDR Reporting Issue
  The CDR released in February 2025 included two Unconfirmed Planned Retirement units for which the generation owners have also publicly announced that the units will be converted from coal to gas fuel
    Luminant’s Coleto Creek, in-service date Dec. 2026
    CPS Energy J. K. Spruce 2, in-service date Dec. 2027
  Conversions are expected to result in no net change to MW capacity
  How should these planned gas to coal conversion projects be reflected in the CDR?

## Slide 3: ERCOT’s Reporting Proposal
  If a coal-to-gas conversion is associated with an Unconfirmed Retirement unit, then report the unit’s net seasonal capacity rating in lieu of the original unit’s capacity
    For Coleto Creek and J.K. Spruce 2, the conversions result in no change to the original capacities
    Create a new line item for the unit with the “Extended Outage” status (EXT-OUT) indicating the season(s) that the unit will be unavailable
    If the outage is not already in the Outage Scheduler, then ask the RE for the outage duration
  Making these changes won’t require an NPRR, but a future NPRR should cover this Unconfirmed Retirement scenario for transparency