## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-02 | 2 | 9.31 | 3.13 | 0
2024-03 | 2 | 9.31 | 3.13 | 0
2024-04 | 2 | 13.074 | 6 | 6
2024-05 | 2 | 13.074 | 6 | 6
2024-06 | 2 | 13.074 | 6 | 6
2024-07 | 2 | 14.576 | 8.6 | 8.6
2024-08 | 3 | 15.076 | 8.6 | 8.733
2024-09 | 3 | 15.076 | 8.6 | 8.733
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
02/2024 | AR_ALD1 | 8469 | 5308 | 3522 | 13 |  |  | 6 | 2505.964 | 3012.272 |  | 692.043
02/2024 | WEBBS_ALD1 | 8469 | 5308 | 2991 | 9 |  |  | 4 | 1951.285 | 2562.408 |  | 648.961
03/2024 | AR_ALD1 | 9071 | 5711 | 5157 | 7 |  |  | 13 | 1499.84 | 1535.929 |  | 773.826
03/2024 | WEBBS_ALD1 | 9071 | 5711 | 4865 | 8 |  |  | 15 | 1211.677 | 1268.197 |  | 729.265
04/2024 | AR_ALD1 | 8843 | 5389 | 4015 | 35 | 39 |  | 39 | 595.99 | 666.262 | 300 | 1007.319
04/2024 | WEBBS_ALD1 | 8843 | 5406 | 3929 | 35 | 39 |  | 57 | 509.113 | 550.001 | 300 | 1226.224
05/2024 | AR_ALD1 | 9057 | 5314 | 3177 | 27 | 2294 | 25 | 68 | 1862.068 | 1807.852 | 2479.743 | 1205.006
05/2024 | WEBBS_ALD1 | 9057 | 5303 | 3177 | 27 | 2296 | 25 | 59 | 1497.031 | 1295.887 | 2207.756 | 1347.061
06/2024 | AR_ALD1 | 8787 | 5506 | 1044 | 0 | 4833 | 0 | 0 | 2063.86 | 1816.008 | 2143.114
06/2024 | WEBBS_ALD1 | 8787 | 5394 | 1008 | 0 | 4715 | 0 | 23 | 1499.536 | 1271.668 | 1549.539 | 269.065
07/2024 | AR_ALD1 | 9032 | 5652 | 687 | 0 | 3927 | 29 | 3 | 1998.731 | 1970.078 | 1887.208 | 755.914
07/2024 | BOERNE_ALD1 | 5834 | [6 empty] | 1.632
07/2024 | WEBBS_ALD1 | 9032 | 5652 | 626 | 0 | 3939 | 36 | 3 | 1596.341 | 1791.431 | 1247.164 | 755.914
08/2024 | AR_ALD1 | 9042 | 5490 | 2388 | 0 | 1475 |  | 32 | 1481.791 | 986.985 | 1030.641 | 2293.51
08/2024 | BOERNE_ALD1 | 9042 | 247 | [5 empty] | 5.292
08/2024 | WEBBS_ALD1 | 9042 | 5480 | 507 | 0 | 1487 |  | 34 | 1321.848 | 547.387 | 754.341 | 2132.336
09/2024 | AR_ALD1 | 8813 | 5536 | 1836 | 1394 | 1454 |  | 4 | 908.441 | 1247.602 | 1443.166 | 539.749
09/2024 | BOERNE_ALD1 | 8813 | 1420 |  |  |  |  | 264 | 728.104 |  |  | 108.795
09/2024 | WEBBS_ALD1 | 8813 | 5536 | 1363 | 1092 | 1490 |  | 13 | 928.778 | 1445.031 | 1215.573 | 444.986
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  |  |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  |  |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 7866 | 4912 | 4067 | 4067 | 12 |  | 6 | 299.287 | 302.745 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 7866 | 1420 |  |  |  |  | 415 | 71.805 |  |  | 265.271
02/2025 | WEBBS_ALD1 | 7866 | 4912 | 4085 | 4085 |  |  | 14 | 372.136 | 391.998 |  | 302.069

## Hourly Participation (02_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | BOERNE_ALD1 | 327 | 1 | 0 | 0 | 0 | 0 | 0 | 57.471
HE_1 | WEBBS_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | AR_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | BOERNE_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | WEBBS_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | AR_ALD1 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | BOERNE_ALD1 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | WEBBS_ALD1 | 332 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | AR_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | BOERNE_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | WEBBS_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | AR_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | BOERNE_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | WEBBS_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | AR_ALD1 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | BOERNE_ALD1 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | WEBBS_ALD1 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | AR_ALD1 | 327 | 327 | 279 | 279 | 0 | 0 | 0 | 309.542 | 311.183
HE_7 | BOERNE_ALD1 | 327 | 133 | 0 | 0 | 0 | 0 | 36 | 24.075 |  |  | 299.708
HE_7 | WEBBS_ALD1 | 327 | 327 | 251 | 251 | 0 | 0 | 0 | 479.554 | 523.123
HE_8 | AR_ALD1 | 326 | 326 | 242 | 242 | 0 | 0 | 0 | 305.915 | 307.969
HE_8 | BOERNE_ALD1 | 326 | 157 | 0 | 0 | 0 | 0 | 81 | 21.558 |  |  | 384.835
HE_8 | WEBBS_ALD1 | 326 | 326 | 242 | 242 | 0 | 0 | 0 | 489.529 | 555.315
HE_9 | AR_ALD1 | 329 | 329 | 230 | 230 | 0 | 0 | 0 | 306.875 | 309.834
HE_9 | BOERNE_ALD1 | 329 | 159 | 0 | 0 | 0 | 0 | 68 | 20.707 |  |  | 431.717
HE_9 | WEBBS_ALD1 | 329 | 329 | 228 | 228 | 0 | 0 | 0 | 472.955 | 549.571
HE_10 | AR_ALD1 | 327 | 327 | 206 | 206 | 12 | 0 | 0 | 301.958 | 303.108 | 300
HE_10 | BOERNE_ALD1 | 327 | 159 | 0 | 0 | 0 | 0 | 36 | 18.148 |  |  | 695.043
HE_10 | WEBBS_ALD1 | 327 | 327 | 194 | 194 | 0 | 0 | 0 | 485.265 | 612.276
HE_11 | AR_ALD1 | 324 | 324 | 252 | 252 | 0 | 0 | 0 | 300.627 | 300.807
HE_11 | BOERNE_ALD1 | 324 | 148 | 0 | 0 | 0 | 0 | 14 | 18.688 |  |  | 263.881
HE_11 | WEBBS_ALD1 | 324 | 324 | 240 | 240 | 0 | 0 | 0 | 455.833 | 510.375
HE_12 | AR_ALD1 | 325 | 325 | 265 | 265 | 0 | 0 | 0 | 300.042 | 300.052
HE_12 | BOERNE_ALD1 | 325 | 12 | 0 | 0 | 0 | 0 | 0 | 428.571
HE_12 | WEBBS_ALD1 | 325 | 325 | 228 | 228 | 0 | 0 | 0 | 432.559 | 488.954
HE_13 | AR_ALD1 | 326 | 326 | 278 | 278 | 0 | 0 | 0 | 300 | 300
HE_13 | BOERNE_ALD1 | 326 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_13 | WEBBS_ALD1 | 326 | 326 | 302 | 302 | 0 | 0 | 0 | 385.356 | 392.14
HE_14 | AR_ALD1 | 326 | 326 | 290 | 290 | 0 | 0 | 0 | 300 | 300
HE_14 | BOERNE_ALD1 | 326 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_14 | WEBBS_ALD1 | 326 | 326 | 302 | 302 | 0 | 0 | 0 | 318.511 | 319.982
HE_15 | AR_ALD1 | 327 | 327 | 291 | 291 | 0 | 0 | 0 | 300 | 300
HE_15 | BOERNE_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_15 | WEBBS_ALD1 | 327 | 327 | 303 | 303 | 0 | 0 | 0 | 300 | 300
HE_16 | AR_ALD1 | 328 | 328 | 292 | 292 | 0 | 0 | 0 | 300 | 300
HE_16 | BOERNE_ALD1 | 328 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_16 | WEBBS_ALD1 | 328 | 328 | 304 | 304 | 0 | 0 | 0 | 300 | 300
HE_17 | AR_ALD1 | 327 | 327 | 291 | 291 | 0 | 0 | 0 | 300 | 300
HE_17 | BOERNE_ALD1 | 327 | 145 | 0 | 0 | 0 | 0 | 7 | 27.113 |  |  | 61.266
HE_17 | WEBBS_ALD1 | 327 | 327 | 303 | 303 | 0 | 0 | 2 | 300 | 300 |  | 28.346
HE_18 | AR_ALD1 | 332 | 332 | 296 | 296 | 0 | 0 | 0 | 300 | 300
HE_18 | BOERNE_ALD1 | 332 | 163 | 0 | 0 | 0 | 0 | 44 | 24.752 |  |  | 62.872
HE_18 | WEBBS_ALD1 | 332 | 332 | 308 | 308 | 0 | 0 | 0 | 300 | 300
HE_19 | AR_ALD1 | 330 | 330 | 294 | 294 | 0 | 0 | 3 | 300 | 300 |  | 338.631
HE_19 | BOERNE_ALD1 | 330 | 159 | 0 | 0 | 0 | 0 | 77 | 19.943 |  |  | 59.188
HE_19 | WEBBS_ALD1 | 330 | 330 | 306 | 306 | 0 | 0 | 10 | 300.029 | 300.031 |  | 327.944
HE_20 | AR_ALD1 | 327 | 327 | 291 | 291 | 0 | 0 | 0 | 300.337 | 300.378
HE_20 | BOERNE_ALD1 | 327 | 157 | 0 | 0 | 0 | 0 | 52 | 18.858 |  |  | 44.252
HE_20 | WEBBS_ALD1 | 327 | 327 | 303 | 303 | 0 | 0 | 0 | 327.174 | 329.326
HE_21 | AR_ALD1 | 331 | 331 | 270 | 270 | 0 | 0 | 3 | 308.722 | 310.692 |  | 433.414
HE_21 | BOERNE_ALD1 | 331 | 13 | 0 | 0 | 0 | 0 | 0 | 755.814
HE_21 | WEBBS_ALD1 | 331 | 331 | 271 | 271 | 0 | 0 | 2 | 312.722 | 315.538 |  | 446.413
HE_22 | AR_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_22 | BOERNE_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_22 | WEBBS_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | AR_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | BOERNE_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | WEBBS_ALD1 | 327 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | AR_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | BOERNE_ALD1 | 329 | 14 | 0 | 0 | 0 | 0 | 0 | 700
HE_24 | WEBBS_ALD1 | 329 | 0 | 0 | 0 | 0 | 0 | 0 | 0