## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-09 | 3 | 15.076 | 8.6 | 8.733
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.386
2025-08 | 5 | 60.644 | 16.5 | 31.586
2025-09 | 5 | 60.644 | 8.6 | 23.7
2025-10 | 6 | 64.677 | 32 | 32.8
2025-11 | 7 | 107.644 | 35.4 | 36.2

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
09/2024 | AR_ALD1 | 8813 | 5536 | 1836 | 1394 | 1454 |  | 4 | 908.441 | 1247.602 | 1443.166 | 539.749
09/2024 | BOERNE_ALD1 | 8813 | 1420 |  |  |  |  | 264 | 728.104 |  |  | 108.795
09/2024 | WEBBS_ALD1 | 8813 | 5536 | 1363 | 1092 | 1490 |  | 13 | 928.778 | 1445.031 | 1215.573 | 444.986
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  | 0 |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  | 0 |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 8158 | 5094 | 4213 | 4213 | 12 |  | 6 | 299.313 | 302.65 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 8158 | 1530 |  |  | 0 |  | 431 | 71.209 |  |  | 256.919
02/2025 | WEBBS_ALD1 | 8158 | 5094 | 4219 | 4219 | 0 |  | 14 | 369.598 | 389.172 |  | 302.069
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 | 0 |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 | 0 |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 | 0 |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 | 0 |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 9132 | 8499 | 6131 | 6131 | 0 |  | 39 | 340.76 | 340.318 |  | 643.564
05/2025 | BOERNE_ALD1 | 9132 | 7631 |  |  | 5265 |  | 4649 | 46.317 |  | 10 | 54.555
05/2025 | WEBBS_ALD1 | 9132 | 8499 | 5999 | 5999 | 0 |  | 33 | 298.779 | 293.13 |  | 848.524
06/2025 | AR_ALD1 | 8891 | 8889 | 6449 | 6449 | 0 |  | 13 | 312.738 | 305.246 |  | 867.598
06/2025 | BOERNE_ALD1 | 8891 | 7295 |  |  | 5154 |  | 2760 | 64.934 |  | 10 | 38.839
06/2025 | WEBBS_ALD1 | 8891 | 8889 | 6413 | 6413 | 0 |  | 2 | 307.037 | 301.046 |  | 380.48
07/2025 | AR_ALD1 | 9176 | 9174 | 6375 | 6375 | 12 |  | 11 | 820.83 | 842.372 | 349.33 | 756.793
07/2025 | BOERNE_ALD1 | 9176 | 7006 |  |  | 5101 | 10 | 2311 | 56.613 |  | 10.359 | 45.029
07/2025 | MIDNT_ALD1 | 2048 | [6 empty] | 1818.182
07/2025 | SANSM_ALD1 | 2048 | [6 empty] | 1341.463
07/2025 | WEBBS_ALD1 | 9176 | 9174 | 6350 | 6350 | 12 |  | 10 | 777.64 | 822.892 | 370.159 | 819.87
08/2025 | AR_ALD1 | 9158 | 1498 | 1092 | 1092 | 0 |  |  | 1463.804 | 1548.394
08/2025 | BOERNE_ALD1 | 9158 | 3470 |  |  | 1220 | 0 | 587 | 483.705 |  | 10 | 67.91
08/2025 | MIDNT_ALD1 | 9158 | [6 empty] | 2364.865
08/2025 | SANSM_ALD1 | 9158 | 26 |  |  | 13 |  | 16 | 2395.122 |  | 760.464 | 42.563
08/2025 | WEBBS_ALD1 | 9158 | 1498 | 1067 | 1067 | 0 |  | 0 | 1006.277 | 1399.159
09/2025 | AR_ALD1 | 8591 | 3430 | 2030 |  | 1 |  |  | 1032.828 | 1281.515 | 5000
09/2025 | BOERNE_ALD1 | 8591 | 7187 |  |  | 4999 | 1 | 1240 | 99.304 |  | 30 | 76.022
09/2025 | MIDNT_ALD1 | 8591 | 34 |  |  |  |  | 33 | 4467.466 |  |  | 29.847
09/2025 | SANSM_ALD1 | 8591 | 34 |  |  |  |  | 33 | 4593.31 |  |  | 19.392
09/2025 | WEBBS_ALD1 | 8591 | 3430 | 2030 |  | 1 |  | 2 | 1056.191 | 1406.861 |  | 316.357

## Hourly Participation (09_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 352 | 133 | 0 | 0 | 0 | 0 | 0 | 569.853
HE_1 | BOERNE_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 80.645
HE_1 | MIDNT_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_1 | SANSM_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_1 | WEBBS_ALD1 | 352 | 133 | 0 | 0 | 0 | 0 | 0 | 404.828
HE_2 | AR_ALD1 | 350 | 132 | 0 | 0 | 0 | 0 | 0 | 615.789
HE_2 | BOERNE_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_2 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_2 | WEBBS_ALD1 | 350 | 132 | 0 | 0 | 0 | 0 | 0 | 438.194
HE_3 | AR_ALD1 | 348 | 132 | 0 | 0 | 0 | 0 | 0 | 509.774
HE_3 | BOERNE_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | MIDNT_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_3 | SANSM_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_3 | WEBBS_ALD1 | 348 | 132 | 0 | 0 | 0 | 0 | 0 | 380.851
HE_4 | AR_ALD1 | 351 | 134 | 0 | 0 | 0 | 0 | 0 | 387.857
HE_4 | BOERNE_ALD1 | 351 | 322 | 0 | 0 | 322 | 0 | 3 | 30 |  | 30 | 23.358
HE_4 | MIDNT_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_4 | SANSM_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_4 | WEBBS_ALD1 | 351 | 134 | 0 | 0 | 0 | 0 | 0 | 547.887
HE_5 | AR_ALD1 | 353 | 135 | 0 | 0 | 0 | 0 | 0 | 364.234
HE_5 | BOERNE_ALD1 | 353 | 353 | 0 | 0 | 353 | 0 | 0 | 30 |  | 30
HE_5 | MIDNT_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_5 | SANSM_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_5 | WEBBS_ALD1 | 353 | 135 | 0 | 0 | 0 | 0 | 0 | 551.333
HE_6 | AR_ALD1 | 355 | 137 | 0 | 0 | 0 | 0 | 0 | 2067.787
HE_6 | BOERNE_ALD1 | 355 | 355 | 0 | 0 | 355 | 0 | 0 | 30 |  | 30
HE_6 | MIDNT_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_6 | SANSM_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_6 | WEBBS_ALD1 | 355 | 137 | 0 | 0 | 0 | 0 | 0 | 2642.308
HE_7 | AR_ALD1 | 360 | 137 | 115 | 0 | 0 | 0 | 0 | 2832.626 | 3137.229
HE_7 | BOERNE_ALD1 | 360 | 360 | 0 | 0 | 360 | 0 | 0 | 30 |  | 30
HE_7 | MIDNT_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_7 | SANSM_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_7 | WEBBS_ALD1 | 360 | 137 | 115 | 0 | 0 | 0 | 0 | 2871.233 | 3334.321
HE_8 | AR_ALD1 | 350 | 134 | 122 | 0 | 0 | 0 | 0 | 3232.436 | 3573.863
HE_8 | BOERNE_ALD1 | 350 | 350 | 0 | 0 | 350 | 0 | 0 | 30 |  | 30
HE_8 | MIDNT_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_8 | SANSM_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_8 | WEBBS_ALD1 | 350 | 134 | 122 | 0 | 0 | 0 | 0 | 3535.291 | 4114.316
HE_9 | AR_ALD1 | 361 | 141 | 129 | 0 | 0 | 0 | 0 | 4087.77 | 4535.186
HE_9 | BOERNE_ALD1 | 361 | 361 | 0 | 0 | 361 | 0 | 0 | 30 |  | 30
HE_9 | MIDNT_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 3437.5
HE_9 | SANSM_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_9 | WEBBS_ALD1 | 361 | 141 | 129 | 0 | 0 | 0 | 0 | 4119.648 | 4890.122
HE_10 | AR_ALD1 | 360 | 144 | 132 | 0 | 0 | 0 | 0 | 4223.477 | 4537.33
HE_10 | BOERNE_ALD1 | 360 | 360 | 0 | 0 | 360 | 0 | 0 | 30 |  | 30
HE_10 | MIDNT_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 4583.333
HE_10 | SANSM_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_10 | WEBBS_ALD1 | 360 | 144 | 132 | 0 | 0 | 0 | 0 | 3856.77 | 4751.695
HE_11 | AR_ALD1 | 362 | 145 | 133 | 0 | 0 | 0 | 0 | 1367.908 | 1511.202
HE_11 | BOERNE_ALD1 | 362 | 362 | 0 | 0 | 362 | 0 | 0 | 30 |  | 30
HE_11 | MIDNT_ALD1 | 362 | 7 | 0 | 0 | 0 | 0 | 7 | 3979.167 |  |  | 23.521
HE_11 | SANSM_ALD1 | 362 | 7 | 0 | 0 | 0 | 0 | 7 | 3979.167 |  |  | 11.293
HE_11 | WEBBS_ALD1 | 362 | 145 | 133 | 0 | 0 | 0 | 0 | 1539.272 | 1813.115
HE_12 | AR_ALD1 | 355 | 139 | 127 | 0 | 0 | 0 | 0 | 291.608 | 300
HE_12 | BOERNE_ALD1 | 355 | 355 | 0 | 0 | 355 | 0 | 0 | 30 |  | 30
HE_12 | MIDNT_ALD1 | 355 | 12 | 0 | 0 | 0 | 0 | 12 | 3147.059 |  |  | 28.164
HE_12 | SANSM_ALD1 | 355 | 12 | 0 | 0 | 0 | 0 | 12 | 3147.059 |  |  | 16.269
HE_12 | WEBBS_ALD1 | 355 | 139 | 127 | 0 | 0 | 0 | 0 | 506.918 | 601.223
HE_13 | AR_ALD1 | 363 | 143 | 130 | 0 | 0 | 0 | 0 | 287.919 | 300
HE_13 | BOERNE_ALD1 | 363 | 363 | 0 | 0 | 363 | 1 | 0 | 30 |  | 30
HE_13 | MIDNT_ALD1 | 363 | 14 | 0 | 0 | 0 | 0 | 14 | 3065.789 |  |  | 34.452
HE_13 | SANSM_ALD1 | 363 | 14 | 0 | 0 | 0 | 0 | 14 | 3065.789 |  |  | 26.119
HE_13 | WEBBS_ALD1 | 363 | 143 | 130 | 0 | 0 | 0 | 0 | 305.267 | 343.365
HE_14 | AR_ALD1 | 354 | 135 | 122 | 0 | 0 | 0 | 0 | 293.478 | 300
HE_14 | BOERNE_ALD1 | 354 | 354 | 0 | 0 | 354 | 0 | 0 | 30 |  | 30
HE_14 | MIDNT_ALD1 | 354 | 1 | 0 | 0 | 0 | 0 | 0 | 5000
HE_14 | SANSM_ALD1 | 354 | 1 | 0 | 0 | 0 | 0 | 0 | 5000
HE_14 | WEBBS_ALD1 | 354 | 135 | 122 | 0 | 0 | 0 | 0 | 253.125 | 300
HE_15 | AR_ALD1 | 362 | 144 | 130 | 0 | 0 | 0 | 0 | 278.71 | 300
HE_15 | BOERNE_ALD1 | 362 | 362 | 0 | 0 | 362 | 0 | 0 | 30 |  | 30
HE_15 | MIDNT_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_15 | SANSM_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_15 | WEBBS_ALD1 | 362 | 144 | 130 | 0 | 0 | 0 | 0 | 258.683 | 300
HE_16 | AR_ALD1 | 375 | 162 | 133 | 0 | 1 | 0 | 0 | 696.491 | 300 | 5000
HE_16 | BOERNE_ALD1 | 375 | 375 | 0 | 0 | 375 | 0 | 0 | 30 |  | 30
HE_16 | MIDNT_ALD1 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_16 | SANSM_ALD1 | 375 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_16 | WEBBS_ALD1 | 375 | 162 | 133 | 0 | 1 | 0 | 0 | 663.372 | 300
HE_17 | AR_ALD1 | 367 | 167 | 129 | 0 | 0 | 0 | 0 | 967.978 | 300
HE_17 | BOERNE_ALD1 | 367 | 367 | 0 | 0 | 367 | 0 | 0 | 30 |  | 30
HE_17 | MIDNT_ALD1 | 367 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_17 | SANSM_ALD1 | 367 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_17 | WEBBS_ALD1 | 367 | 167 | 129 | 0 | 0 | 0 | 0 | 952.514 | 300
HE_18 | AR_ALD1 | 373 | 158 | 129 | 0 | 0 | 0 | 0 | 311.976 | 300
HE_18 | BOERNE_ALD1 | 373 | 373 | 0 | 0 | 0 | 0 | 148 | 45.487 |  |  | 105.272
HE_18 | MIDNT_ALD1 | 373 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_18 | SANSM_ALD1 | 373 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_18 | WEBBS_ALD1 | 373 | 158 | 129 | 0 | 0 | 0 | 0 | 313.939 | 300
HE_19 | AR_ALD1 | 368 | 151 | 126 | 0 | 0 | 0 | 0 | 292.258 | 300
HE_19 | BOERNE_ALD1 | 368 | 368 | 0 | 0 | 0 | 0 | 265 | 39.082 |  |  | 94.992
HE_19 | MIDNT_ALD1 | 368 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_19 | SANSM_ALD1 | 368 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_19 | WEBBS_ALD1 | 368 | 151 | 126 | 0 | 0 | 0 | 1 | 284.906 | 300 |  | 326.374
HE_20 | AR_ALD1 | 359 | 146 | 122 | 0 | 0 | 0 | 0 | 293.96 | 300
HE_20 | BOERNE_ALD1 | 359 | 359 | 0 | 0 | 0 | 0 | 281 | 38.648 |  |  | 81.323
HE_20 | MIDNT_ALD1 | 359 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_20 | SANSM_ALD1 | 359 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_20 | WEBBS_ALD1 | 359 | 146 | 122 | 0 | 0 | 0 | 0 | 273.75 | 300
HE_21 | AR_ALD1 | 353 | 144 | 120 | 0 | 0 | 0 | 0 | 297.931 | 300
HE_21 | BOERNE_ALD1 | 353 | 353 | 0 | 0 | 0 | 0 | 231 | 39.417 |  |  | 73.111
HE_21 | MIDNT_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_21 | SANSM_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_21 | WEBBS_ALD1 | 353 | 144 | 120 | 0 | 0 | 0 | 0 | 254.118 | 300
HE_22 | AR_ALD1 | 356 | 145 | 121 | 0 | 0 | 0 | 0 | 296.092 | 300.211
HE_22 | BOERNE_ALD1 | 356 | 356 | 0 | 0 | 0 | 0 | 172 | 39.756 |  |  | 52.984
HE_22 | MIDNT_ALD1 | 356 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_22 | SANSM_ALD1 | 356 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_22 | WEBBS_ALD1 | 356 | 145 | 121 | 0 | 0 | 0 | 1 | 299.379 | 300 |  | 306.341
HE_23 | AR_ALD1 | 352 | 147 | 10 | 0 | 0 | 0 | 0 | 297.973 | 300
HE_23 | BOERNE_ALD1 | 352 | 352 | 0 | 0 | 0 | 0 | 140 | 38.25 |  |  | 32.79
HE_23 | MIDNT_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_23 | SANSM_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_23 | WEBBS_ALD1 | 352 | 147 | 10 | 0 | 0 | 0 | 0 | 267.273 | 300
HE_24 | AR_ALD1 | 352 | 145 | 0 | 0 | 0 | 0 | 0 | 325.676
HE_24 | BOERNE_ALD1 | 352 | 27 | 0 | 0 | 0 | 0 | 0 | 1802.326
HE_24 | MIDNT_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_24 | SANSM_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 5000
HE_24 | WEBBS_ALD1 | 352 | 145 | 0 | 0 | 0 | 0 | 0 | 277.07