## Definitions
ADER MONTHLY REPORT – METRIC DEFINITIONS
=============================================
This file defines every metric produced by the ADER monthly report across the three Excel tabs:
Summary of Commercial ADERs, Monthly Participation, Hourly Participation
========================================
TAB: Summary of Commercial ADER
One row per resource covering the full reporting window
========================================
Column | Unit | Definition
No. of Commercial ADER | count | Total number of ADER resources registered and qualified to participate in SCED during the reporting period.
Qualified Amt. for Energy (MW) | MW | Total amount of qualified ADER capacity to provide energy
Qualified Amt. for Non-Spin (MW) | MW | Total amount of qualified ADER capacity to provide Non-Spin
Qualified Amt. for ECRS (MW) | MW | Total amount of qualified ADER capacity to provide ECRS
========================================
TAB: Monthly Participation
One row per month and resource
========================================
Column | Unit | Definition
Month | – | Month in reporting period
Resource | – | Name of Aggregated Distributed Energy Resource (ADER)
Total SCED Intervals | count | Total Number of SCED intervals across all days of the respective month
Online SCED Intervals | count | Number of SCED intervals across all days in the reporting period where the resource was Online during this hour. A resource is Online when its status is not "OUTL".
Intervals Carrying Non-Spin | count | Number of SCED intervals across all days where the resource held a Non-Spin award greater than zero during this hour.
Intervals Released Non-Spin | count | Number of SCED intervals across all days where the Non-Spin award was released to SCED
Intervals Carrying ECRS | count | Number of SCED intervals across all days where the resource held an ECRS award greater than zero during this hour.
Intervals Released ECRS | count | Number of SCED intervals across all days where the ECRS award was released to SCED (no longer applicated under RTC)
Dispatched | count | Number of SCED intervals across the respective hour of the month where the resource was actively dispatched away from its Offset or HDL value. A resource is considered Dispatched when: (1) it is Online, (2) the absolute difference between its base point and its configured Offset exceeds 0.01 MW or HDL, MPC, and Base Point are not all equal and the absolute difference between the base point and HDL exceeds 0.01 MW.
Avg. Online Bid | $/MWh | Mean of the interval-level weighted-average energy bid price across all SCED intervals in the reporting period. The per-interval price is the quantity-weighted average of the active EOC segments clipped to the resource's HDL/LDL limits.
Avg. Online Bid w/Non-Spin | $/MWh | Mean energy bid price restricted to only those SCED intervals where the resource was simultaneously carrying a Non-Spin award (Non-Spin_award > 0).
Avg. Online Bid w/ECRS | $/MWh | Mean energy bid price restricted to only those SCED intervals where the resource was simultaneously carrying an ECRS award (ecrs_award > 0).
Avg. LMP While Dispatched | $/MWh | Mean Locational Marginal Price (LMP) at the resource's settlement point, averaged only over SCED intervals where the resource was classified as Dispatched.
Avg. Non-Spin Offer | $/MWh | Mean of the interval-level weighted-average Non-Spin ancillary service offer price across all SCED intervals, weighted by offered MW quantities across the five offer segments.
Avg. Non-Spin Offer w/ Award | $/MWh | Mean of the interval-level weighted-average Non-Spin ancillary service offer price across all SCED intervals, weighted by offered MW quantities across the five offer segments, where the resource was simultaneously carrying a Non-Spin award
Avg. ECRS Offer | $/MWh | Mean of the interval-level weighted-average ECRS ancillary service offer price across all SCED intervals, weighted by offered MW quantities across the five offer segments.
Avg. Non-Spin Offer w/ Award | $/MWh | Mean of the interval-level weighted-average Non-Spin ancillary service offer price across all SCED intervals, weighted by offered MW quantities across the five offer segments, where the resource was simultaneously carrying a ECRS award
========================================
TAB: Hourly Participation
One row per hour and resource (only for most recent month in reporting period)
========================================
Column | Unit | Definition
Month | – | Hour End of most recent month in reporting period
Resource | – | Name of Aggregated Distributed Energy Resource (ADER)
Total SCED Intervals | count | Total Number of SCED intervals across all days of the respective hour
Online SCED Intervals | count | Number of SCED intervals across the respective hour of the month where the resource was Online during this hour. A resource is Online when its status is not "OUTL".
Intervals Carrying Non-Spin | count | Number of SCED intervals across the respective hour of the month where the resource held a Non-Spin award greater than zero during this hour.
Intervals Released Non-Spin | count | Number of SCED intervals across the hour of the month where the Non-Spin award was released to SCED
Intervals Carrying ECRS | count | Number of SCED intervals across the respective hour of the month where the resource held an ECRS award greater than zero during this hour.
Intervals Released ECRS | count | Number of SCED intervals across the respective hour of the month where the ECRS award was released to SCED (no longer applicated under RTC)
Dispatched | count | Number of SCED intervals across the respective hour of the month where the resource was actively dispatched away from its Offset or HDL value. A resource is considered Dispatched when: (1) it is Online, (2) the absolute difference between its base point and its configured Offset exceeds 0.01 MW or HDL, MPC, and Base Point are not all equal and the absolute difference between the base point and HDL exceeds 0.01 MW.
Avg. Online Bid | $/MWh | Mean of the interval-level weighted-average energy bid price across all SCED intervals in the respective hour of the month. The per-interval price is the quantity-weighted average of the active EOC segments clipped to the resource's HDL/LDL limits.
Avg. Online Bid w/Non-Spin | $/MWh | Mean energy bid price restricted to only those SCED intervals in the respective hour of the month where the resource was simultaneously carrying a Non-Spin award (Non-Spin_award > 0).
Avg. Online Bid w/ECRS | $/MWh | Mean energy bid price restricted to only those SCED intervals in the respective hour of the month where the resource was simultaneously carrying an ECRS award (ecrs_award > 0).
Avg. LMP While Dispatched | $/MWh | Mean Locational Marginal Price (LMP) at the resource's settlement point , averaged only over SCED intervals in the respective hour of the month where the resource was classified as Dispatched.
Avg. Non-Spin Offer | $/MWh | Mean of the interval-level weighted-average Non-Spin ancillary service offer price across all SCED intervals in the respective hour of the month, weighted by offered MW quantities across the five offer segments.
Avg. Non-Spin Offer w/ Award | $/MWh | Mean of the interval-level weighted-average Non-Spin ancillary service offer price across all SCED intervals in the respective hour of the month, weighted by offered MW quantities across the five offer segments, where the resource was simultaneously carrying a Non-Spin award
Avg. ECRS Offer | $/MWh | Mean of the interval-level weighted-average ECRS ancillary service offer price across all SCED intervals in the respective hour of the month, weighted by offered MW quantities across the five offer segments.
Avg. Non-Spin Offer w/ Award | $/MWh | Mean of the interval-level weighted-average Non-Spin ancillary service offer price across all SCED intervals in the respective hour of the month, weighted by offered MW quantities across the five offer segments, where the resource was simultaneously carrying a ECRS award

## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.386
2025-08 | 5 | 60.644 | 16.5 | 31.586
2025-09 | 5 | 60.644 | 8.6 | 23.7
2025-10 | 6 | 64.677 | 32 | 32.8
2025-11 | 7 | 107.644 | 35.4 | 36.2
2025-12 | 7 | 107.644 | 35.4 | 49.9
2026-01 | 7 | 138.401 | 35.4 | 49.9
2026-02 | 7 | 158.172 | 35.4 | 49.9
2026-03 | 9 | 168.817 | 35.8 | 54.4
2026-04 | 9 | 235.738 | 46.9 | 77.8
2026-05 | 9 | 241.136 | 47.5 | 79

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying Non-Spin | Intervals Released Non-Spin | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/ Non-Spin | Avg. Online Bid w/ ECRS | Avg. LMP While Dispatched | Avg. Non-Spin Offer | Avg. Non-Spin Offer w/ Award | Avg. ECRS Offer | Avg. ECRS Offer w/ Award
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 | 0 |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 | 0 |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 | 0 |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 | 0 |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 9132 | 8499 | 6131 | 6131 | 0 |  | 39 | 340.76 | 340.318 |  | 643.564
05/2025 | BOERNE_ALD1 | 9132 | 7631 |  |  | 5265 |  | 4649 | 46.317 |  | 10 | 54.555
05/2025 | WEBBS_ALD1 | 9132 | 8499 | 5999 | 5999 | 0 |  | 33 | 298.779 | 293.13 |  | 848.524
06/2025 | AR_ALD1 | 8891 | 8889 | 6449 | 6449 | 0 |  | 13 | 312.738 | 305.246 |  | 867.598
06/2025 | BOERNE_ALD1 | 8891 | 7295 |  |  | 5154 |  | 2760 | 64.934 |  | 10 | 38.839
06/2025 | WEBBS_ALD1 | 8891 | 8889 | 6413 | 6413 | 0 |  | 2 | 307.037 | 301.046 |  | 380.48
07/2025 | AR_ALD1 | 9176 | 9174 | 6375 | 6375 | 12 |  | 11 | 820.83 | 842.372 | 349.33 | 756.793
07/2025 | BOERNE_ALD1 | 9176 | 7006 |  |  | 5101 | 10 | 2311 | 56.613 |  | 10.359 | 45.029
07/2025 | MIDNT_ALD1 | 2048 | [6 empty] | 1818.182
07/2025 | SANSM_ALD1 | 2048 | [6 empty] | 1341.463
07/2025 | WEBBS_ALD1 | 9176 | 9174 | 6350 | 6350 | 12 |  | 10 | 777.64 | 822.892 | 370.159 | 819.87
08/2025 | AR_ALD1 | 9158 | 1498 | 1092 | 1092 | 0 |  | 0 | 1463.804 | 1548.394
08/2025 | BOERNE_ALD1 | 9158 | 3470 |  |  | 1220 | 0 | 587 | 483.705 |  | 10 | 67.91
08/2025 | MIDNT_ALD1 | 9158 | [6 empty] | 2364.865
08/2025 | SANSM_ALD1 | 9158 | 26 |  |  | 13 |  | 16 | 2395.122 |  | 760.464 | 42.563
08/2025 | WEBBS_ALD1 | 9158 | 1498 | 1067 | 1067 | 0 |  | 0 | 1006.277 | 1399.159
09/2025 | AR_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 0 | 1033.972 | 1281.172 | 5000
09/2025 | BOERNE_ALD1 | 8884 | 7432 |  |  | 5171 | 1 | 1304 | 99.291 |  | 30 | 74.635
09/2025 | MIDNT_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4501.603 |  |  | 29.847
09/2025 | SANSM_ALD1 | 8884 | 34 |  |  |  |  | 33 | 4620.066 |  |  | 19.392
09/2025 | WEBBS_ALD1 | 8884 | 3723 | 2227 |  | 1 |  | 2 | 1054.151 | 1391.322 |  | 316.357
10/2025 | AR_ALD1 | 9105 | 9105 | 6050 |  |  |  | 8 | 566.46 | 649.506 |  | 408.224
10/2025 | BOERNE_ALD1 | 9105 | 7348 |  |  | 5106 | 1 | 1326 | 95.217 |  | 34 | 66.722
10/2025 | MIDNT_ALD1 | 9105 | 48 |  |  |  |  | 48 | 2750 |  |  | 13.399
10/2025 | SANSM_ALD1 | 9105 | 60 |  |  |  |  | 58 | 2843.216 |  |  | 13.462
10/2025 | WEBBS_ALD1 | 9105 | 9105 | 6026 |  |  |  | 25 | 685.995 | 780.312 |  | 121.784
11/2025 | AR_ALD1 | 8537 | 8537 | 6439 |  |  |  | 20 | 364.834 | 311.991 |  | 133.425
11/2025 | BOERNE_ALD1 | 8537 | 5176 |  |  | 3710 |  | 517 | 44.212 |  | 16.667 | 83.282
11/2025 | MIDNT_ALD1 | 8537 | [6 empty] | 588.235
11/2025 | SANSM_ALD1 | 8537 | [6 empty] | 5000
11/2025 | WEBBS_ALD1 | 8537 | 8537 | 6534 |  |  |  | 9 | 358.906 | 305.047 |  | 119.095
12/2025 (PRE-RTC) | AR_ALD1 | 1170 | 1170 | 1122 |  |  |  |  | 302.662 | 302.775
12/2025 (RTC) | AR_ALD1 | 7872 | 5222 | 4538 | NA | 4470 | NA | 3 | 223.002 | 303.672 | 303.722 | 15.796 | 77.642 | 0.003 | 77.293 | 0
12/2025 (PRE-RTC) | BAR_ALD1 | 1170
12/2025 (RTC) | BAR_ALD1 | 7872 |  |  | NA |  | NA | 0 | 0
12/2025 (PRE-RTC) | BOERNE_ALD1 | 1170 | 978 |  |  | 686 | 1 | 176 | 108.259 |  | 30 | 162.438
12/2025 (RTC) | BOERNE_ALD1 | 7872 | 6571 |  | NA | 3302 | NA | 417 | 38.096 |  | 47.719 | 132.059 |  |  | 0.01 | 0.01
12/2025 (PRE-RTC) | MIDNT_ALD1 | 1170 | 35 |  |  |  |  | 35 | 2516.892 |  |  | 49.641
12/2025 (RTC) | MIDNT_ALD1 | 7872 | 7423 | 4061 | NA | 280 | NA | 3191 | 2278.467 | 2421.102 | 2441.629 | 36.708 | 564.898 | 0.01 | 1903.612 | 0.01
12/2025 (PRE-RTC) | OB_ALD1 | 1170 | 35 |  |  |  |  | 35 | 2516.892 |  |  | 46.918
12/2025 (RTC) | OB_ALD1 | 7872 | 7215 | 4187 | NA | 280 | NA | 3498 | 2224.005 | 2425.005 | 2458.437 | 24.818 | 518.109 | 0.01 | 1902.282 | 0.01
12/2025 (PRE-RTC) | SANSM_ALD1 | 1170 | 35 |  |  |  |  | 35 | 2447.917 |  |  | 43.984
12/2025 (RTC) | SANSM_ALD1 | 7872 | 7422 | 3807 | NA | 310 | NA | 4937 | 2275.798 | 2418.889 | 2549.081 | 32.338 | 583.708 | 0.01 | 1863.663 | 0.074
12/2025 (PRE-RTC) | WEBBS_ALD1 | 1170 | 1170 | 1098 |  |  |  |  | 405.361 | 412.27
12/2025 (RTC) | WEBBS_ALD1 | 7872 | 5222 | 4322 | NA | 4161 | NA | 14 | 231.149 | 306.743 | 306.915 | 266.964 | 142.557 | 0.003 | 142.31 | 0
01/2026 | AR_ALD1 | 8788 | 1 |  | NA |  | NA | 0 | 0.034 |  |  |  | 1.05 |  | 1.004
01/2026 | BAR_ALD1 | 8788 | 0 |  | NA |  | NA | 0 | 0
01/2026 | BOERNE_ALD1 | 8788 | 6526 |  | NA | 2417 | NA | 1381 | 33.849 |  | 47.291 | 106.397 |  |  | 0.01 | 0.01
01/2026 | MIDNT_ALD1 | 8788 | 7795 | 7502 | NA |  | NA | 3460 | 2097.051 | 2366.357 |  | 26.076 | 97.249 | 0.01 | 2000
01/2026 | OB_ALD1 | 8788 | 7807 | 7523 | NA |  | NA | 4177 | 2109.203 | 2375.145 |  | 24.31 | 94.958 | 0.01 | 2000
01/2026 | SANSM_ALD1 | 8788 | 7795 | 7468 | NA | 3 | NA | 3969 | 2097.263 | 2373.648 | 2354.651 | 28.09 | 94.787 | 0.01 | 1995.177
01/2026 | WEBBS_ALD1 | 8788 | 1 |  | NA |  | NA | 0 | 0.034 |  |  |  | 32.28 |  | 32.234
02/2026 | AR_ALD1 | 7889 | 5053 | 4571 | NA | 3193 | NA | 0 | 196.233 | 301.061 | 301.207 |  | 15.62 | 0.005 | 15.587 | 0.002
02/2026 | BAR_ALD1 | 7889 | 0 |  | NA |  | NA | 0 | 0
02/2026 | BOERNE_ALD1 | 7889 | 6262 |  | NA | 2550 | NA | 903 | 36.808 |  | 45.973 | 41.759 |  |  | 0.01 | 0.01
02/2026 | MIDNT_ALD1 | 7889 | 7601 | 6747 | NA | 466 | NA | 632 | 3458.205 | 3495.729 | 4555.056 | 8.854 | 230.334 | 0.01 | 1869.885 | 0.01
02/2026 | OB_ALD1 | 7889 | 7889 | 7009 | NA | 464 | NA | 783 | 3428.479 | 3305.796 | 4880.401 | 13.6 | 223.444 | 0.01 | 1874.318 | 0.01
02/2026 | SANSM_ALD1 | 7889 | 7889 | 6799 | NA | 466 | NA | 974 | 3724.151 | 3640.181 | 4870.813 | 11.016 | 276.343 | 0.011 | 1873.81 | 0.01
02/2026 | WEBBS_ALD1 | 7889 | 5053 | 4442 | NA | 2979 | NA | 0 | 198.104 | 301.272 | 301.206 |  | 80.176 | 0.006 | 80.143 | 0.002
03/2026 | AR_ALD1 | 8734 | 8317 | 7691 | NA | 424 | NA | 0 | 286.553 | 301.151 | 300 |  | 0.202 | 0.034 | 0.048 | 0.015
03/2026 | BAR_ALD1 | 8734 | 0 |  | NA |  | NA | 0 | 0
03/2026 | BOERNE_ALD1 | 8734 | 7554 |  | NA | 4827 | NA | 1087 | 40.861 |  | 47.227 | 50.44 |  |  | 0.01 | 0.01
03/2026 | MARION_ALD1 | 5821 | 5810 | 1153 | NA | 399 | NA | 1402 | 4038.567 | 4798.025 | 4755.127 | 33.577 | 1589.401 | 0.01 | 1859.011 | 0.01
03/2026 | MIDNT_ALD1 | 8734 | 8724 | 5404 | NA | 3069 | NA | 8206 | 4384.993 | 4474.93 | 4214.8 | 25.656 | 758.208 | 0.01 | 1243.867 | 0.01
03/2026 | OB_ALD1 | 8734 | 8722 | 5398 | NA | 3057 | NA | 6418 | 4781.816 | 4843.167 | 4716.412 | 27.206 | 758.128 | 0.01 | 1246.244 | 0.01
03/2026 | SANSM_ALD1 | 8734 | 8734 | 5417 | NA | 3070 | NA | 6694 | 4723.765 | 4803.332 | 4580.23 | 21.23 | 758.422 | 0.011 | 1243.954 | 0.01
03/2026 | WEBBS_ALD1 | 8734 | 8317 | 7665 | NA | 432 | NA | 0 | 286.23 | 300.953 | 300 |  | 0.207 | 0.034 | 0.05 | 0.014

## Hourly Participation (03_2026)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying Non-Spin | Intervals Carrying ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/ Non-Spin | Avg. Online Bid w/ ECRS | Avg. LMP While Dispatched | Avg. Non-Spin Offer w/ Award | Avg. ECRS Offer w/ Award
HE_1 | AR_ALD1 | 362 | 339 | 321 | 8 | 0 | 280.939 | 300 | 300 |  | 0.009 | 0.025
HE_1 | BAR_ALD1 | 362 | 0 | 0 | 0 | 0 | 0
HE_1 | BOERNE_ALD1 | 362 | 362 | 0 | 266 | 12 | 49.426 |  | 49.894 | 79.396 |  | 0.01
HE_1 | MARION_ALD1 | 242 | 241 | 60 | 0 | 44 | 4266.833 | 4871.942 |  | 24.122 | 0.01
HE_1 | MIDNT_ALD1 | 362 | 362 | 360 | 2 | 326 | 4583.33 | 4581.578 | 4898.723 | 25.031 | 0.01 | 0.01
HE_1 | OB_ALD1 | 362 | 362 | 359 | 3 | 268 | 4860.014 | 4858.955 | 4986.663 | 22.292 | 0.01 | 0.01
HE_1 | SANSM_ALD1 | 362 | 362 | 359 | 3 | 323 | 4854.824 | 4853.628 | 4998.042 | 18.137 | 0.01 | 0.01
HE_1 | WEBBS_ALD1 | 362 | 339 | 321 | 8 | 0 | 282.487 | 301.041 | 300 |  | 0.009 | 0.025
HE_2 | AR_ALD1 | 360 | 336 | 320 | 7 | 0 | 281.489 | 301.675 | 300 |  | 0.008 | 0.021
HE_2 | BAR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0
HE_2 | BOERNE_ALD1 | 360 | 360 | 0 | 265 | 12 | 49.25 |  | 49.003 | 45.967 |  | 0.01
HE_2 | MARION_ALD1 | 240 | 240 | 59 | 0 | 31 | 4337.643 | 4860.545 |  | 23.767 | 0.01
HE_2 | MIDNT_ALD1 | 360 | 360 | 341 | 18 | 335 | 4579.802 | 4590.555 | 4389.111 | 22.564 | 0.01 | 0.01
HE_2 | OB_ALD1 | 360 | 360 | 342 | 18 | 298 | 4900.113 | 4899.693 | 4908.091 | 21.142 | 0.01 | 0.01
HE_2 | SANSM_ALD1 | 360 | 360 | 341 | 18 | 316 | 4863.893 | 4858.054 | 4969.614 | 17.072 | 0.01 | 0.01
HE_2 | WEBBS_ALD1 | 360 | 336 | 320 | 7 | 0 | 280 | 300 | 300 |  | 0.008 | 0.021
HE_3 | AR_ALD1 | 349 | 325 | 310 | 7 | 0 | 280.073 | 300.792 | 300 |  | 0.01 | 0.01
HE_3 | BAR_ALD1 | 349 | 0 | 0 | 0 | 0 | 0
HE_3 | BOERNE_ALD1 | 349 | 349 | 0 | 265 | 12 | 49.203 |  | 48.97 | 40.09 |  | 0.01
HE_3 | MARION_ALD1 | 241 | 241 | 60 | 0 | 54 | 4397.376 | 4867.573 |  | 21.936 | 0.01
HE_3 | MIDNT_ALD1 | 349 | 349 | 348 | 1 | 331 | 4536.287 | 4535.535 | 4798.292 | 21.35 | 0.01 | 0.01
HE_3 | OB_ALD1 | 349 | 349 | 348 | 1 | 289 | 4918.15 | 4917.915 | 4999.995 | 20.551 | 0.01 | 0.01
HE_3 | SANSM_ALD1 | 349 | 349 | 348 | 1 | 303 | 4906.362 | 4906.167 | 4974.477 | 16.087 | 0.01 | 0.01
HE_3 | WEBBS_ALD1 | 349 | 325 | 309 | 7 | 0 | 278.51 | 300 | 300 |  | 0.008 | 0.01
HE_4 | AR_ALD1 | 360 | 336 | 320 | 5 | 0 | 280 | 300 | 300 |  | 0.006 | 0.014
HE_4 | BAR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0
HE_4 | BOERNE_ALD1 | 360 | 360 | 0 | 257 | 13 | 49.184 |  | 48.884 | 41.041 |  | 0.01
HE_4 | MARION_ALD1 | 240 | 240 | 60 | 0 | 32 | 4281.831 | 4856.847 |  | 19.808 | 0.01
HE_4 | MIDNT_ALD1 | 360 | 360 | 352 | 8 | 337 | 4527.252 | 4524.925 | 4629.641 | 22.319 | 0.01 | 0.01
HE_4 | OB_ALD1 | 360 | 360 | 351 | 9 | 307 | 4852.37 | 4858.326 | 4620.05 | 21.744 | 0.01 | 0.01
HE_4 | SANSM_ALD1 | 360 | 360 | 351 | 9 | 288 | 4858.141 | 4862.943 | 4670.87 | 16.155 | 0.01 | 0.01
HE_4 | WEBBS_ALD1 | 360 | 336 | 320 | 5 | 0 | 280 | 300 | 300 |  | 0.006 | 0.014
HE_5 | AR_ALD1 | 360 | 336 | 320 | 3 | 0 | 280 | 300 | 300 |  | 0.005 | 0.033
HE_5 | BAR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0
HE_5 | BOERNE_ALD1 | 360 | 360 | 0 | 267 | 12 | 49.22 |  | 49.131 | 43.357 |  | 0.01
HE_5 | MARION_ALD1 | 240 | 240 | 60 | 0 | 24 | 4303.412 | 4850.633 |  | 21.794 | 0.01
HE_5 | MIDNT_ALD1 | 360 | 360 | 349 | 7 | 325 | 4467.903 | 4454.861 | 4866.563 | 22.385 | 0.01 | 0.01
HE_5 | OB_ALD1 | 360 | 360 | 349 | 6 | 303 | 4828.094 | 4822.676 | 4999.995 | 22.736 | 0.01 | 0.01
HE_5 | SANSM_ALD1 | 360 | 360 | 349 | 7 | 257 | 4856.134 | 4852.549 | 4978.245 | 17.807 | 0.01 | 0.01
HE_5 | WEBBS_ALD1 | 360 | 336 | 319 | 3 | 0 | 281.727 | 301.949 | 300 |  | 0.005 | 0.033
HE_6 | AR_ALD1 | 360 | 336 | 321 | 2 | 0 | 280 | 300 | 300 |  | 0.007 | 0.01
HE_6 | BAR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0
HE_6 | BOERNE_ALD1 | 360 | 360 | 0 | 249 | 14 | 49.164 |  | 49.908 | 63.427 |  | 0.01
HE_6 | MARION_ALD1 | 240 | 240 | 60 | 0 | 20 | 4248.552 | 4868.865 |  | 30.063 | 0.01
HE_6 | MIDNT_ALD1 | 360 | 360 | 328 | 29 | 337 | 4324.661 | 4312.871 | 4400.559 | 26.031 | 0.01 | 0.01
HE_6 | OB_ALD1 | 360 | 360 | 330 | 27 | 312 | 4809.933 | 4795.313 | 4968.891 | 26.053 | 0.01 | 0.01
HE_6 | SANSM_ALD1 | 360 | 360 | 330 | 27 | 272 | 4835.435 | 4833.885 | 4840.383 | 23.429 | 0.01 | 0.01
HE_6 | WEBBS_ALD1 | 360 | 336 | 321 | 2 | 0 | 280 | 300 | 300 |  | 0.007 | 0.01
HE_7 | AR_ALD1 | 360 | 336 | 315 | 7 | 0 | 280 | 300 | 300 |  | 0.014 | 0.013
HE_7 | BAR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0
HE_7 | BOERNE_ALD1 | 360 | 360 | 0 | 264 | 23 | 49.323 |  | 49.611 | 81.964 |  | 0.01
HE_7 | MARION_ALD1 | 240 | 240 | 60 | 0 | 64 | 3422.303 | 4852.124 |  | 41.569 | 0.01
HE_7 | MIDNT_ALD1 | 360 | 360 | 308 | 52 | 359 | 3962.197 | 3968.616 | 3924.181 | 29.045 | 0.01 | 0.01
HE_7 | OB_ALD1 | 360 | 360 | 306 | 54 | 301 | 4739.944 | 4738.931 | 4745.684 | 29.8 | 0.01 | 0.01
HE_7 | SANSM_ALD1 | 360 | 360 | 307 | 53 | 296 | 4682.402 | 4681.341 | 4688.549 | 27.336 | 0.01 | 0.01
HE_7 | WEBBS_ALD1 | 360 | 336 | 314 | 7 | 0 | 280 | 300 | 300 |  | 0.014 | 0.013
HE_8 | AR_ALD1 | 363 | 339 | 321 | 62 | 0 | 280.165 | 300 | 300 |  | 0.022 | 0.011
HE_8 | BAR_ALD1 | 363 | 0 | 0 | 0 | 0 | 0
HE_8 | BOERNE_ALD1 | 363 | 363 | 0 | 248 | 48 | 48.907 |  | 48.864 | 63.793 |  | 0.01
HE_8 | MARION_ALD1 | 243 | 243 | 28 | 32 | 108 | 2335.012 | 4706.742 | 4573.337 | 39.83 | 0.01 | 0.01
HE_8 | MIDNT_ALD1 | 363 | 363 | 134 | 229 | 361 | 3422.217 | 3500.545 | 3376.383 | 30.717 | 0.01 | 0.01
HE_8 | OB_ALD1 | 363 | 363 | 134 | 229 | 333 | 4563.688 | 4724.148 | 4469.795 | 32.041 | 0.01 | 0.01
HE_8 | SANSM_ALD1 | 363 | 363 | 134 | 229 | 346 | 4357.946 | 4450.999 | 4303.496 | 28.613 | 0.01 | 0.01
HE_8 | WEBBS_ALD1 | 363 | 339 | 321 | 55 | 0 | 280.165 | 300 | 300 |  | 0.024 | 0.013
HE_9 | AR_ALD1 | 369 | 345 | 313 | 72 | 0 | 280.488 | 300 | 300 |  | 0.005 | 0.011
HE_9 | BAR_ALD1 | 369 | 0 | 0 | 0 | 0 | 0
HE_9 | BOERNE_ALD1 | 369 | 369 | 0 | 278 | 29 | 48.548 |  | 48.095 | 31.429 |  | 0.01
HE_9 | MARION_ALD1 | 248 | 248 | 38 | 23 | 80 | 2990.43 | 4450.152 | 4714.775 | 18.315 | 0.01 | 0.01
HE_9 | MIDNT_ALD1 | 369 | 369 | 83 | 281 | 368 | 3339.919 | 3431.343 | 3289.748 | 21.128 | 0.01 | 0.01
HE_9 | OB_ALD1 | 369 | 369 | 85 | 279 | 330 | 4664.035 | 4792.4 | 4619.469 | 22.005 | 0.01 | 0.01
HE_9 | SANSM_ALD1 | 369 | 369 | 84 | 280 | 365 | 4273.964 | 4477.138 | 4201.109 | 19.378 | 0.01 | 0.01
HE_9 | WEBBS_ALD1 | 369 | 345 | 313 | 71 | 0 | 279.675 | 300 | 300 |  | 0.005 | 0.011
HE_10 | AR_ALD1 | 372 | 348 | 331 | 33 | 0 | 280.645 | 300 | 300 |  | 0.005 | 0.008
HE_10 | BAR_ALD1 | 372 | 0 | 0 | 0 | 0 | 0
HE_10 | BOERNE_ALD1 | 372 | 372 | 0 | 276 | 31 | 48.235 |  | 48.176 | 31.682 |  | 0.01
HE_10 | MARION_ALD1 | 249 | 249 | 10 | 52 | 105 | 3803.447 | 4878.227 | 4481.558 | 5.377 | 0.01 | 0.01
HE_10 | MIDNT_ALD1 | 372 | 372 | 38 | 331 | 372 | 3844.101 | 3744.602 | 3845.779 | 15.511 | 0.01 | 0.01
HE_10 | OB_ALD1 | 372 | 372 | 38 | 331 | 261 | 4800.166 | 4969.778 | 4778.882 | 16.1 | 0.01 | 0.01
HE_10 | SANSM_ALD1 | 372 | 372 | 38 | 330 | 318 | 4618.044 | 4637.286 | 4611.851 | 12.118 | 0.01 | 0.01
HE_10 | WEBBS_ALD1 | 372 | 348 | 331 | 39 | 0 | 280.645 | 300 | 300 |  | 0.005 | 0.006
HE_11 | AR_ALD1 | 364 | 344 | 316 | 2 | 0 | 283.516 | 300 | 300 |  | 0 | 0.125
HE_11 | BAR_ALD1 | 364 | 0 | 0 | 0 | 0 | 0
HE_11 | BOERNE_ALD1 | 364 | 364 | 0 | 280 | 36 | 47.816 |  | 47.193 | 20.345 |  | 0.01
HE_11 | MARION_ALD1 | 241 | 241 | 18 | 43 | 124 | 4164.671 | 4599.205 | 4516.129 | 5.233 | 0.01 | 0.01
HE_11 | MIDNT_ALD1 | 364 | 364 | 79 | 274 | 360 | 4155.341 | 4196.205 | 4114.032 | 11.579 | 0.01 | 0.01
HE_11 | OB_ALD1 | 364 | 364 | 80 | 273 | 245 | 4816.479 | 4946.613 | 4771.291 | 16.122 | 0.01 | 0.01
HE_11 | SANSM_ALD1 | 364 | 364 | 78 | 275 | 235 | 4699.489 | 4705.38 | 4687.725 | 10.776 | 0.01 | 0.01
HE_11 | WEBBS_ALD1 | 364 | 344 | 313 | 2 | 0 | 283.516 | 300 | 300 |  | 0 | 0.125
HE_12 | AR_ALD1 | 368 | 356 | 327 | 0 | 0 | 290.217 | 300 |  |  | 0
HE_12 | BAR_ALD1 | 368 | 0 | 0 | 0 | 0 | 0
HE_12 | BOERNE_ALD1 | 368 | 368 | 0 | 272 | 36 | 47.849 |  | 47.114 | 19.33 |  | 0.01
HE_12 | MARION_ALD1 | 247 | 247 | 38 | 23 | 61 | 4113.037 | 4731.161 | 4825.849 | 8.27 | 0.01 | 0.01
HE_12 | MIDNT_ALD1 | 368 | 368 | 208 | 143 | 359 | 4326.269 | 4314.325 | 4351.952 | 10.938 | 0.01 | 0.01
HE_12 | OB_ALD1 | 368 | 368 | 207 | 144 | 258 | 4810.466 | 4861.301 | 4755.377 | 16.701 | 0.01 | 0.01
HE_12 | SANSM_ALD1 | 368 | 368 | 207 | 144 | 238 | 4623.825 | 4695.53 | 4527.698 | 11.068 | 0.01 | 0.01
HE_12 | WEBBS_ALD1 | 368 | 356 | 327 | 0 | 0 | 290.217 | 300 |  |  | 0
HE_13 | AR_ALD1 | 367 | 355 | 322 | 0 | 0 | 290.191 | 300 |  |  | 0.002
HE_13 | BAR_ALD1 | 367 | 0 | 0 | 0 | 0 | 0
HE_13 | BOERNE_ALD1 | 367 | 367 | 0 | 269 | 38 | 47.777 |  | 46.991 | 19.886 |  | 0.01
HE_13 | MARION_ALD1 | 245 | 245 | 39 | 21 | 55 | 4136.429 | 4871.849 | 4888.135 | 11.789 | 0.01 | 0.01
HE_13 | MIDNT_ALD1 | 367 | 367 | 223 | 116 | 349 | 4486.523 | 4574.872 | 4220.942 | 12.468 | 0.01 | 0.01
HE_13 | OB_ALD1 | 367 | 367 | 219 | 119 | 259 | 4794.016 | 4796.018 | 4814.02 | 19.385 | 0.01 | 0.01
HE_13 | SANSM_ALD1 | 367 | 367 | 215 | 122 | 248 | 4521.051 | 4635.077 | 4292.737 | 9.287 | 0.01 | 0.01
HE_13 | WEBBS_ALD1 | 367 | 355 | 319 | 0 | 0 | 290.191 | 300 |  |  | 0.002
HE_14 | AR_ALD1 | 367 | 355 | 316 | 1 | 0 | 290.191 | 300 | 300 |  | 0.002 | 0.06
HE_14 | BAR_ALD1 | 367 | 0 | 0 | 0 | 0 | 0
HE_14 | BOERNE_ALD1 | 367 | 367 | 0 | 260 | 25 | 48.233 |  | 47.859 | 25.033 |  | 0.01
HE_14 | MARION_ALD1 | 245 | 245 | 54 | 8 | 62 | 4320.904 | 4867.078 | 4919.369 | 10.125 | 0.01 | 0.01
HE_14 | MIDNT_ALD1 | 367 | 367 | 266 | 82 | 344 | 4518.531 | 4652.951 | 3985.218 | 14.546 | 0.01 | 0.01
HE_14 | OB_ALD1 | 367 | 356 | 252 | 84 | 231 | 4617.134 | 4786.169 | 4714.566 | 21.834 | 0.01 | 0.01
HE_14 | SANSM_ALD1 | 367 | 367 | 261 | 87 | 253 | 4496.575 | 4701.688 | 3857.146 | 11.659 | 0.01 | 0.01
HE_14 | WEBBS_ALD1 | 367 | 355 | 316 | 2 | 0 | 290.191 | 300 | 300 |  | 0.002 | 0.03
HE_15 | AR_ALD1 | 372 | 360 | 331 | 40 | 0 | 290.323 | 300 | 300 |  | 0.001 | 0
HE_15 | BAR_ALD1 | 372 | 0 | 0 | 0 | 0 | 0
HE_15 | BOERNE_ALD1 | 372 | 0 | 0 | 0 | 0 | 0
HE_15 | MARION_ALD1 | 245 | 236 | 58 | 1 | 73 | 4278.125 | 4893.306 | 4819.568 | 9.691 | 0.01 | 0.01
HE_15 | MIDNT_ALD1 | 372 | 363 | 218 | 115 | 336 | 4570.254 | 4700.237 | 4609.24 | 15.904 | 0.01 | 0.01
HE_15 | OB_ALD1 | 372 | 371 | 224 | 116 | 232 | 4771.303 | 4787.774 | 4757.54 | 23.425 | 0.01 | 0.01
HE_15 | SANSM_ALD1 | 372 | 372 | 225 | 115 | 268 | 4545.831 | 4629.524 | 4257.637 | 12.257 | 0.01 | 0.01
HE_15 | WEBBS_ALD1 | 372 | 360 | 331 | 42 | 0 | 290.323 | 300 | 300 |  | 0.001 | 0
HE_16 | AR_ALD1 | 369 | 357 | 317 | 60 | 0 | 290.244 | 300 | 300 |  | 0 | 0
HE_16 | BAR_ALD1 | 369 | 0 | 0 | 0 | 0 | 0
HE_16 | BOERNE_ALD1 | 369 | 357 | 0 | 0 | 30 | 47.898 |  |  | 49.374
HE_16 | MARION_ALD1 | 240 | 239 | 28 | 43 | 63 | 4438.061 | 4722.864 | 4876.754 | 13.562 | 0.01 | 0.01
HE_16 | MIDNT_ALD1 | 369 | 368 | 115 | 213 | 341 | 4604.239 | 4763.137 | 4511.811 | 18.24 | 0.01 | 0.01
HE_16 | OB_ALD1 | 369 | 369 | 116 | 214 | 254 | 4771.78 | 4905.791 | 4846.806 | 29 | 0.01 | 0.01
HE_16 | SANSM_ALD1 | 369 | 369 | 116 | 214 | 296 | 4642.696 | 4691.39 | 4594.613 | 13.41 | 0.01 | 0.01
HE_16 | WEBBS_ALD1 | 369 | 357 | 315 | 62 | 0 | 290.244 | 300 | 300 |  | 0 | 0
HE_17 | AR_ALD1 | 368 | 356 | 327 | 48 | 0 | 290.217 | 300 | 300 |  | 0 | 0
HE_17 | BAR_ALD1 | 368 | 0 | 0 | 0 | 0 | 0
HE_17 | BOERNE_ALD1 | 368 | 356 | 0 | 0 | 31 | 46.953 |  |  | 61.354
HE_17 | MARION_ALD1 | 240 | 240 | 35 | 37 | 50 | 4588.382 | 4904.833 | 4873.779 | 14.303 | 0.01 | 0.01
HE_17 | MIDNT_ALD1 | 368 | 368 | 66 | 267 | 335 | 4662.284 | 4665.426 | 4747.889 | 18.16 | 0.01 | 0.01
HE_17 | OB_ALD1 | 368 | 368 | 65 | 269 | 245 | 4652.184 | 4713.053 | 4655.685 | 24.689 | 0.01 | 0.01
HE_17 | SANSM_ALD1 | 368 | 368 | 66 | 269 | 309 | 4717.881 | 4500.007 | 4810.016 | 13.413 | 0.01 | 0.01
HE_17 | WEBBS_ALD1 | 368 | 356 | 327 | 49 | 0 | 290.217 | 300 | 300 |  | 0 | 0
HE_18 | AR_ALD1 | 367 | 354 | 322 | 21 | 0 | 288.556 | 300 | 300 |  | 0 | 0
HE_18 | BAR_ALD1 | 367 | 0 | 0 | 0 | 0 | 0
HE_18 | BOERNE_ALD1 | 367 | 355 | 0 | 235 | 60 | 45.515 |  | 48.022 | 52.527 |  | 0.01
HE_18 | MARION_ALD1 | 243 | 243 | 29 | 43 | 46 | 4726.561 | 4856.507 | 4895.994 | 15.228 | 0.01 | 0.01
HE_18 | MIDNT_ALD1 | 367 | 367 | 116 | 247 | 349 | 4792.18 | 4858.083 | 4758.589 | 22.452 | 0.01 | 0.01
HE_18 | OB_ALD1 | 367 | 367 | 118 | 245 | 306 | 4774.649 | 4937.405 | 4700.595 | 25.211 | 0.01 | 0.01
HE_18 | SANSM_ALD1 | 367 | 367 | 120 | 238 | 287 | 4925.954 | 4841.123 | 4966.567 | 16.136 | 0.01 | 0.01
HE_18 | WEBBS_ALD1 | 367 | 354 | 323 | 24 | 0 | 289.373 | 300 | 300 |  | 0 | 0
HE_19 | AR_ALD1 | 365 | 353 | 319 | 12 | 0 | 290.137 | 300 | 300 |  | 0 | 0.017
HE_19 | BAR_ALD1 | 365 | 0 | 0 | 0 | 0 | 0
HE_19 | BOERNE_ALD1 | 365 | 353 | 0 | 176 | 134 | 41.495 |  | 44.835 | 60.737 |  | 0.01
HE_19 | MARION_ALD1 | 244 | 244 | 47 | 25 | 46 | 4431.366 | 4901.238 | 4886.079 | 41.13 | 0.01 | 0.01
HE_19 | MIDNT_ALD1 | 365 | 365 | 151 | 179 | 321 | 4804.014 | 4819.579 | 4756.865 | 36.831 | 0.01 | 0.01
HE_19 | OB_ALD1 | 365 | 365 | 151 | 176 | 251 | 4886.138 | 4893.031 | 4884.776 | 34.599 | 0.01 | 0.01
HE_19 | SANSM_ALD1 | 365 | 365 | 152 | 179 | 215 | 4952.154 | 4945.233 | 4958.202 | 26.681 | 0.01 | 0.01
HE_19 | WEBBS_ALD1 | 365 | 353 | 308 | 14 | 0 | 290.137 | 300 | 300 |  | 0 | 0.014
HE_20 | AR_ALD1 | 364 | 352 | 324 | 21 | 0 | 290.11 | 300 | 300 |  | 0.032 | 0.039
HE_20 | BAR_ALD1 | 364 | 0 | 0 | 0 | 0 | 0
HE_20 | BOERNE_ALD1 | 364 | 352 | 0 | 213 | 176 | 37.395 |  | 39.469 | 63.981 |  | 0.01
HE_20 | MARION_ALD1 | 243 | 243 | 60 | 12 | 58 | 3564.977 | 4881.503 | 4883.339 | 81.36 | 0.01 | 0.01
HE_20 | MIDNT_ALD1 | 364 | 364 | 232 | 123 | 326 | 4674.859 | 4632.348 | 4734.569 | 47.654 | 0.01 | 0.01
HE_20 | OB_ALD1 | 364 | 364 | 232 | 121 | 194 | 4843.667 | 4836.754 | 4858.949 | 45.434 | 0.01 | 0.01
HE_20 | SANSM_ALD1 | 364 | 364 | 239 | 123 | 175 | 4856.912 | 4862.945 | 4845.041 | 43.008 | 0.024 | 0.01
HE_20 | WEBBS_ALD1 | 364 | 352 | 322 | 20 | 0 | 289.286 | 300 | 300 |  | 0.033 | 0.04
HE_21 | AR_ALD1 | 362 | 350 | 327 | 1 | 0 | 290.844 | 300.874 | 300 |  | 0.088 | 0.5
HE_21 | BAR_ALD1 | 362 | 0 | 0 | 0 | 0 | 0
HE_21 | BOERNE_ALD1 | 362 | 350 | 0 | 222 | 182 | 36.081 |  | 37.328 | 63.019 |  | 0.01
HE_21 | MARION_ALD1 | 242 | 242 | 56 | 16 | 37 | 3770.45 | 4875.198 | 4903.307 | 141.361 | 0.01 | 0.01
HE_21 | MIDNT_ALD1 | 362 | 362 | 191 | 169 | 329 | 4557.72 | 4596.916 | 4512.131 | 48.56 | 0.01 | 0.01
HE_21 | OB_ALD1 | 362 | 362 | 192 | 168 | 223 | 4776.33 | 4895.647 | 4640.493 | 46.589 | 0.01 | 0.01
HE_21 | SANSM_ALD1 | 362 | 362 | 193 | 169 | 235 | 4804.624 | 4925.461 | 4666.628 | 44.62 | 0.015 | 0.01
HE_21 | WEBBS_ALD1 | 362 | 350 | 327 | 1 | 0 | 290.57 | 300.57 | 300 |  | 0.088 | 0.5
HE_22 | AR_ALD1 | 363 | 351 | 327 | 1 | 0 | 306.456 | 318.176 | 300 |  | 0.257 | 0.07
HE_22 | BAR_ALD1 | 363 | 0 | 0 | 0 | 0 | 0
HE_22 | BOERNE_ALD1 | 363 | 0 | 0 | 0 | 0 | 0
HE_22 | MARION_ALD1 | 242 | 242 | 57 | 15 | 40 | 3716.492 | 4308.304 | 4870.562 | 251.989 | 0.01 | 0.01
HE_22 | MIDNT_ALD1 | 363 | 363 | 216 | 142 | 331 | 4454.961 | 4545.085 | 4307.249 | 63.01 | 0.01 | 0.01
HE_22 | OB_ALD1 | 363 | 363 | 217 | 131 | 222 | 4728.74 | 4869.531 | 4757.108 | 71.577 | 0.01 | 0.01
HE_22 | SANSM_ALD1 | 363 | 363 | 219 | 140 | 253 | 4766.98 | 4920.556 | 4520.087 | 64.078 | 0.012 | 0.01
HE_22 | WEBBS_ALD1 | 363 | 351 | 327 | 1 | 0 | 305.532 | 317.15 | 300 |  | 0.257 | 0.07
HE_23 | AR_ALD1 | 361 | 349 | 301 | 5 | 0 | 292.638 | 306.12 | 300 |  | 0.322 | 0.33
HE_23 | BAR_ALD1 | 361 | 0 | 0 | 0 | 0 | 0
HE_23 | BOERNE_ALD1 | 361 | 0 | 0 | 0 | 0 | 0
HE_23 | MARION_ALD1 | 240 | 240 | 67 | 5 | 64 | 4024.864 | 4608.97 | 4926.683 | 69.988 | 0.01 | 0.01
HE_23 | MIDNT_ALD1 | 361 | 361 | 334 | 27 | 337 | 4449.447 | 4496.774 | 3863.987 | 39.15 | 0.01 | 0.01
HE_23 | OB_ALD1 | 361 | 361 | 335 | 26 | 235 | 4767.774 | 4817.401 | 4128.353 | 37.173 | 0.01 | 0.01
HE_23 | SANSM_ALD1 | 361 | 361 | 336 | 25 | 277 | 4842.114 | 4888.814 | 4214.463 | 31.275 | 0.01 | 0.01
HE_23 | WEBBS_ALD1 | 361 | 349 | 298 | 5 | 0 | 286.585 | 301.87 | 300 |  | 0.312 | 0.33
HE_24 | AR_ALD1 | 362 | 349 | 323 | 6 | 0 | 289.227 | 300 | 300 |  | 0.04 | 0.043
HE_24 | BAR_ALD1 | 362 | 0 | 0 | 0 | 0 | 0
HE_24 | BOERNE_ALD1 | 362 | 350 | 0 | 265 | 133 | 43.844 |  | 44.369 | 28.919 |  | 0.01
HE_24 | MARION_ALD1 | 241 | 241 | 72 | 0 | 61 | 4305.085 | 4875.101 |  | 25.162 | 0.01
HE_24 | MIDNT_ALD1 | 362 | 362 | 348 | 14 | 338 | 4612.755 | 4637.939 | 3986.752 | 26.046 | 0.01 | 0.01
HE_24 | OB_ALD1 | 362 | 362 | 348 | 14 | 261 | 4827.975 | 4888.832 | 3315.251 | 23.746 | 0.01 | 0.01
HE_24 | SANSM_ALD1 | 362 | 362 | 349 | 13 | 321 | 4898.051 | 4929.809 | 4045.476 | 19.911 | 0.01 | 0.01
HE_24 | WEBBS_ALD1 | 362 | 349 | 323 | 6 | 0 | 289.227 | 300 | 300 |  | 0.04 | 0.043