## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
04/21/2025

## Slide 2: ERCOT Updates and System Operation Report
Alex Lee
The unofficial ERCOT peak load for March 2025 was 62,920 MW, which was new demand record for the month of March. The demand for March of 2024 was 55,306MW which was 7,614MW less than the new March 2025 record.
A new Wind generation record of 28,550MW was set on March 3rd @ 20:42
A new Solar generation record of 26,332MW was set on March 20th @ 12:15
A new Renewable generation record of 39,989 MW was set on March 18th @ 15:55
A new Solar Penetration record of 56.6% was set on March 20th @12:25
A new Renewable penetration record of 76.11% was set on March 2nd @ 14:45

## Slide 3: Texas Reliability Entity Report
David Penny
4/23 Spring Standards, Security, & Reliability Workshop hybrid or in person posted on Texas RE calendar
Texas RE is working with the standard drafting team for the BAL-001 standard update where they are adding battery energy storage type units.
Quarterly Board and MRC meeting on 5/14
NERC actives for FERC Order 901 out for ballet or balloted very soon include changes in definitions or rules of procedures, MOD-032, MOD-033, TOP-003, IRO-010

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Working on a rewrite on existing NPRR. Nothing for group yet.
Remains tabled.

## Slide 5: NPRR 1278 – Establishing Advanced Grid Support Service as Ancillary Service
Bob Helton - ERCOT put out the NOGRR 272 for grid forming support, and going to be a mandate. This NPRR was in response as its believed the support be an ancillary service. Would be the same service brought by 272, but through competitive market. ERCOT can change the service at anytime based on what is needed.
Limited discussion by OWG as members are still reviewing NPRR and its possible impacts.

## Slide 6: Other Business
None.