## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for March 2025

## Slide 2: Non-IRR GREDP < 85% – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 425 | 236 | 507 | 1.96 | 46.55
Unit 475 | 115 | 151 | 1.18 | 76.16

## Slide 3: IRR Summary – March 2025
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 90.50 | 79.85 | 82.30
GREDP Median (%) | 96.91 | 86.36 | 87.66
Average MW Error | 6.27 | 7.17 | 7.13
Median MW Error | 5.59 | 6.33 | 6.57
Total Intervals Scored | 253,573 | 117,571 | 116,614
100+ Intervals Scored | 229 | 171 | 118
Total Intervals Scored Average | 632.35 | 805.28 | 988.25

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 3,517 | 3,554 | 2.16 | 98.96
Unit 3 | 3,470 | 3,496 | 8.80 | 99.26
Unit 4 | 3,380 | 3,432 | 3.50 | 98.48
Unit 5 | 3,352 | 3,385 | 2.68 | 99.03
Unit 6 | 3,239 | 3,296 | 3.04 | 98.27
Unit 8 | 3,247 | 3,287 | 11.42 | 98.78
Unit 9 | 3,147 | 3,229 | 9.25 | 97.46
Unit 10 | 3,162 | 3,183 | 7.80 | 99.34
Unit 12 | 3,108 | 3,136 | 3.57 | 99.11
Unit 17 | 2,806 | 2,890 | 1.83 | 97.09
Unit 19 | 2,595 | 2,642 | 2.91 | 98.22
Unit 21 | 2,573 | 2,591 | 2.99 | 99.31
Unit 23 | 2,557 | 2,562 | 7.29 | 99.80
Unit 25 | 2,464 | 2,496 | 2.77 | 98.72
Unit 26 | 2,428 | 2,486 | 4.34 | 97.67
Unit 27 | 2,427 | 2,430 | 6.44 | 99.88
Unit 29 | 2,333 | 2,338 | 2.60 | 99.79
Unit 31 | 2,036 | 2,117 | 5.21 | 96.17
Unit 32 | 2,048 | 2,107 | 4.97 | 97.20

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 33 | 2,061 | 2,106 | 3.97 | 97.86
Unit 34 | 2,062 | 2,094 | 3.79 | 98.47
Unit 35 | 2,039 | 2,069 | 7.13 | 98.55
Unit 36 | 2,055 | 2,056 | 4.09 | 99.95
Unit 37 | 2,012 | 2,028 | 2.16 | 99.21
Unit 38 | 2,022 | 2,024 | 4.32 | 99.90
Unit 39 | 1,929 | 1,930 | 3.72 | 99.95
Unit 40 | 1,899 | 1,907 | 4.01 | 99.58
Unit 41 | 1,884 | 1,902 | 2.61 | 99.05
Unit 44 | 1,794 | 1,826 | 5.51 | 98.25
Unit 46 | 1,779 | 1,818 | 6.85 | 97.85
Unit 47 | 1,725 | 1,780 | 8.09 | 96.91
Unit 48 | 1,689 | 1,760 | 7.10 | 95.97
Unit 51 | 1,568 | 1,626 | 6.91 | 96.43
Unit 55 | 1,563 | 1,597 | 5.40 | 97.87
Unit 57 | 1,535 | 1,591 | 9.27 | 96.48
Unit 58 | 1,544 | 1,587 | 5.76 | 97.29
Unit 59 | 1,518 | 1,571 | 11.30 | 96.63
Unit 60 | 1,489 | 1,527 | 5.01 | 97.51

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 62 | 1,507 | 1,518 | 6.45 | 99.28
Unit 63 | 1,470 | 1,502 | 1.22 | 97.87
Unit 71 | 1,287 | 1,316 | 10.70 | 97.80
Unit 72 | 1,312 | 1,312 | 3.24 | 100.00
Unit 73 | 1,262 | 1,292 | 4.26 | 97.68
Unit 74 | 1,279 | 1,285 | 4.26 | 99.53
Unit 78 | 1,250 | 1,262 | 4.95 | 99.05
Unit 79 | 1,198 | 1,258 | 2.45 | 95.23
Unit 82 | 1,225 | 1,234 | 5.63 | 99.27
Unit 84 | 1,189 | 1,218 | 0.76 | 97.62
Unit 86 | 1,121 | 1,169 | 2.96 | 95.89
Unit 96 | 984 | 990 | 7.06 | 99.39
Unit 97 | 979 | 988 | 5.59 | 99.09
Unit 98 | 979 | 984 | 3.08 | 99.49
Unit 99 | 956 | 976 | 6.97 | 97.95
Unit 103 | 925 | 943 | 1.98 | 98.09
Unit 104 | 930 | 942 | 7.83 | 98.73
Unit 105 | 906 | 924 | 22.30 | 98.05
Unit 106 | 886 | 923 | 2.34 | 95.99

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 107 | 886 | 904 | 1.23 | 98.01
Unit 111 | 863 | 873 | 5.57 | 98.85
Unit 115 | 843 | 857 | 3.56 | 98.37
Unit 116 | 827 | 837 | 7.85 | 98.81
Unit 120 | 760 | 796 | 4.90 | 95.48
Unit 121 | 749 | 779 | 1.60 | 96.15
Unit 123 | 722 | 750 | 3.69 | 96.27
Unit 126 | 721 | 733 | 7.65 | 98.36
Unit 128 | 703 | 707 | 8.03 | 99.43
Unit 129 | 667 | 685 | 8.56 | 97.37
Unit 132 | 654 | 670 | 4.36 | 97.61
Unit 133 | 650 | 670 | 9.78 | 97.01
Unit 135 | 622 | 648 | 6.82 | 95.99
Unit 136 | 620 | 645 | 4.95 | 96.12
Unit 137 | 634 | 643 | 2.03 | 98.60
Unit 139 | 625 | 634 | 5.73 | 98.58
Unit 142 | 573 | 588 | 6.19 | 97.45
Unit 147 | 536 | 550 | 5.69 | 97.45
Unit 149 | 508 | 523 | 6.32 | 97.13

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 154 | 444 | 467 | 8.22 | 95.07
Unit 157 | 441 | 446 | 5.19 | 98.88
Unit 166 | 362 | 368 | 5.36 | 98.37
Unit 171 | 340 | 357 | 7.85 | 95.24
Unit 174 | 329 | 331 | 6.75 | 99.40
Unit 180 | 294 | 294 | 4.30 | 100.00
Unit 184 | 259 | 268 | 7.06 | 96.64
Unit 185 | 250 | 253 | 8.08 | 98.81
Unit 188 | 245 | 249 | 8.13 | 98.39
Unit 190 | 241 | 244 | 6.41 | 98.77
Unit 192 | 231 | 238 | 5.54 | 97.06
Unit 194 | 233 | 236 | 5.01 | 98.73
Unit 195 | 232 | 233 | 7.16 | 99.57
Unit 196 | 231 | 232 | 3.87 | 99.57
Unit 199 | 214 | 214 | 6.57 | 100.00
Unit 200 | 208 | 211 | 5.26 | 98.58
Unit 201 | 209 | 211 | 6.35 | 99.05
Unit 202 | 208 | 210 | 8.32 | 99.05
Unit 203 | 209 | 209 | 5.94 | 100.00

## Slide 9: IRR ≥ 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 204 | 199 | 208 | 2.62 | 95.67
Unit 205 | 204 | 208 | 5.55 | 98.08
Unit 207 | 189 | 195 | 5.81 | 96.92
Unit 208 | 188 | 194 | 5.41 | 96.91
Unit 209 | 193 | 193 | 10.70 | 100.00
Unit 210 | 181 | 186 | 10.33 | 97.31
Unit 211 | 177 | 180 | 7.74 | 98.33
Unit 216 | 160 | 166 | 5.30 | 96.39
Unit 217 | 156 | 157 | 3.90 | 99.36
Unit 221 | 149 | 149 | 5.44 | 100.00
Unit 222 | 139 | 143 | 13.46 | 97.20
Unit 223 | 126 | 127 | 6.30 | 99.21
Unit 225 | 120 | 122 | 10.83 | 98.36
Unit 226 | 117 | 122 | 4.11 | 95.90
Unit 228 | 98 | 103 | 5.66 | 95.15
Unit 229 | 97 | 101 | 3.95 | 96.04

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,428 | 3,836 | 7.29 | 89.36
Unit 7 | 2,397 | 3,295 | 9.30 | 72.75
Unit 11 | 2,904 | 3,151 | 6.16 | 92.16
Unit 13 | 2,808 | 2,973 | 7.86 | 94.45
Unit 14 | 2,822 | 2,971 | 12.82 | 94.98
Unit 15 | 2,740 | 2,945 | 1.44 | 93.04
Unit 16 | 2,578 | 2,940 | 3.46 | 87.69
Unit 18 | 1,194 | 2,701 | 3.23 | 44.21
Unit 20 | 2,486 | 2,635 | 10.23 | 94.35
Unit 22 | 2,082 | 2,573 | 4.24 | 80.92
Unit 24 | 2,271 | 2,499 | 6.20 | 90.88
Unit 28 | 2,268 | 2,410 | 4.95 | 94.11
Unit 30 | 2,049 | 2,337 | 5.61 | 87.68
Unit 42 | 1,709 | 1,898 | 2.69 | 90.04
Unit 43 | 1,473 | 1,869 | 3.49 | 78.81
Unit 45 | 1,533 | 1,822 | 9.31 | 84.14
Unit 49 | 1,533 | 1,749 | 2.89 | 87.65
Unit 50 | 1,514 | 1,644 | 5.35 | 92.09
Unit 52 | 1,287 | 1,624 | 12.15 | 79.25

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 53 | 1,486 | 1,610 | 2.23 | 92.30
Unit 54 | 1,220 | 1,603 | 2.36 | 76.11
Unit 56 | 1,506 | 1,592 | 5.45 | 94.60
Unit 61 | 1,283 | 1,526 | 12.38 | 84.08
Unit 64 | 1,353 | 1,473 | 5.65 | 91.85
Unit 65 | 432 | 1,473 | 5.19 | 29.33
Unit 66 | 1,346 | 1,471 | 12.05 | 91.50
Unit 67 | 1,335 | 1,459 | 6.70 | 91.50
Unit 68 | 1,374 | 1,447 | 7.43 | 94.96
Unit 69 | 1,289 | 1,396 | 2.90 | 92.34
Unit 70 | 1,081 | 1,381 | 2.15 | 78.28
Unit 75 | 1,071 | 1,282 | 6.88 | 83.54
Unit 76 | 1,173 | 1,276 | 8.43 | 91.93
Unit 77 | 1,101 | 1,274 | 5.44 | 86.42
Unit 80 | 967 | 1,245 | 2.25 | 77.67
Unit 81 | 1,117 | 1,234 | 8.69 | 90.52
Unit 83 | 311 | 1,233 | 4.07 | 25.22
Unit 85 | 1,109 | 1,184 | 3.67 | 93.67
Unit 87 | 1,024 | 1,098 | 3.81 | 93.26

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 88 | 975 | 1,090 | 12.80 | 89.45
Unit 89 | 751 | 1,060 | 5.46 | 70.85
Unit 90 | 507 | 1,023 | 17.04 | 49.56
Unit 91 | 955 | 1,022 | 7.50 | 93.44
Unit 92 | 870 | 1,017 | 8.65 | 85.55
Unit 93 | 832 | 1,016 | 7.01 | 81.89
Unit 94 | 870 | 1,013 | 1.03 | 85.88
Unit 95 | 934 | 1,011 | 7.05 | 92.38
Unit 100 | 807 | 974 | 12.22 | 82.85
Unit 101 | 853 | 970 | 5.01 | 87.94
Unit 102 | 858 | 966 | 4.42 | 88.82
Unit 108 | 659 | 897 | 16.50 | 73.47
Unit 109 | 807 | 887 | 4.87 | 90.98
Unit 110 | 764 | 876 | 18.66 | 87.21
Unit 112 | 736 | 872 | 4.71 | 84.40
Unit 113 | 748 | 863 | 6.85 | 86.67
Unit 114 | 741 | 862 | 7.00 | 85.96
Unit 117 | 741 | 822 | 6.21 | 90.15
Unit 118 | 776 | 819 | 4.78 | 94.75

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 119 | 460 | 797 | 22.18 | 57.72
Unit 122 | 687 | 753 | 11.98 | 91.24
Unit 124 | 631 | 743 | 8.59 | 84.93
Unit 125 | 697 | 739 | 1.45 | 94.32
Unit 127 | 357 | 708 | 4.70 | 50.42
Unit 130 | 626 | 684 | 13.45 | 91.52
Unit 131 | 561 | 675 | 3.94 | 83.11
Unit 134 | 622 | 666 | 2.45 | 93.39
Unit 138 | 526 | 643 | 17.51 | 81.80
Unit 140 | 431 | 622 | 6.94 | 69.29
Unit 141 | 571 | 605 | 3.88 | 94.38
Unit 143 | 544 | 584 | 2.90 | 93.15
Unit 144 | 520 | 563 | 2.79 | 92.36
Unit 145 | 495 | 559 | 2.32 | 88.55
Unit 146 | 509 | 554 | 2.04 | 91.88
Unit 148 | 466 | 540 | 6.56 | 86.30
Unit 150 | 449 | 512 | 6.64 | 87.70
Unit 151 | 461 | 494 | 2.71 | 93.32
Unit 152 | 446 | 484 | 6.99 | 92.15

## Slide 14: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 153 | 387 | 483 | 10.96 | 80.12
Unit 155 | 422 | 464 | 6.29 | 90.95
Unit 156 | 340 | 459 | 13.60 | 74.07
Unit 158 | 412 | 445 | 10.49 | 92.58
Unit 159 | 394 | 444 | 4.15 | 88.74
Unit 160 | 371 | 439 | 6.81 | 84.51
Unit 161 | 400 | 437 | 8.57 | 91.53
Unit 162 | 256 | 411 | 7.46 | 62.29
Unit 163 | 307 | 392 | 5.97 | 78.32
Unit 164 | 166 | 380 | 8.96 | 43.68
Unit 165 | 111 | 376 | 5.39 | 29.52
Unit 167 | 332 | 368 | 5.67 | 90.22
Unit 168 | 252 | 364 | 1.07 | 69.23
Unit 169 | 320 | 358 | 1.42 | 89.39
Unit 170 | 329 | 358 | 5.00 | 91.90
Unit 172 | 284 | 344 | 6.16 | 82.56
Unit 173 | 249 | 332 | 11.34 | 75.00
Unit 175 | 247 | 314 | 11.69 | 78.66
Unit 176 | 187 | 313 | 8.01 | 59.74

## Slide 15: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 177 | 285 | 311 | 3.31 | 91.64
Unit 178 | 255 | 299 | 20.78 | 85.28
Unit 179 | 259 | 298 | 10.52 | 86.91
Unit 181 | 264 | 282 | 11.80 | 93.62
Unit 182 | 236 | 281 | 7.78 | 83.99
Unit 183 | 246 | 281 | 10.10 | 87.54
Unit 186 | 231 | 252 | 2.94 | 91.67
Unit 187 | 230 | 251 | 6.30 | 91.63
Unit 189 | 227 | 246 | 11.43 | 92.28
Unit 191 | 129 | 239 | 14.26 | 53.97
Unit 193 | 163 | 237 | 1.02 | 68.78
Unit 197 | 120 | 226 | 8.93 | 53.10
Unit 198 | 187 | 218 | 6.77 | 85.78
Unit 206 | 150 | 202 | 10.94 | 74.26
Unit 212 | 167 | 179 | 8.82 | 93.30
Unit 213 | 158 | 178 | 6.25 | 88.76
Unit 214 | 105 | 174 | 8.59 | 60.34
Unit 215 | 88 | 170 | 6.58 | 51.76
Unit 218 | 134 | 156 | 8.82 | 85.90

## Slide 16: IRR < 95%, ≥ 100 Scored Intervals – March 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 219 | 107 | 153 | 4.42 | 69.93
Unit 220 | 117 | 152 | 3.85 | 76.97
Unit 224 | 115 | 125 | 6.71 | 92.00
Unit 227 | 100 | 109 | 7.77 | 91.74