## Slide 1: WMWG update to wms May 5, 2025 Amanda Frazier, WMWG Chair

## Slide 2: AGENDA
General items
  Recent RUC Activity
  RUC Opt-in Timing
  MDRPOC Proposals
  Changes to Emergency Settlement Methodology
NPRRS ready for WMS vote:
  No NPRRs currently with WMWG
This Photo by Unknown Author is licensed under CC BY-NC-ND

## Slide 3: General items – RUC Discussions
WMWG meeting held on May 5, 2025
Ryan King (ERCOT) and Matt Skiles (ERCOT) presented details on the RUC optimization’s handling of interdependent system conditions in response to stakeholder questions about RUC attributions and increasing RUC frequency. The presentation highlighted attribution challenges for RUC instructions seeking to solve simultaneous violations of power balance and network constraints. ERCOT also reviewed the Single Reference Shift Factor methodology employed by RUC - highlighting the importance of relative differences between calculated shift factors in determining RUC solutions for congestion. Monthly RUC activity reporting will continue as a standing item at WMWG.
Andy Nguyen (Constellation) previewed a potential protocol change that would shift operational timing and provide Resources additional time to decide whether to opt out of the RUC Settlement. The presentation highlighted infrequent opt-out decisions made by QSEs for RUCs issued for capacity (~6%) and congestion (~4%). Shuye Teng (Constellation) emphasized that the proposal would only impact settlements and not operator decisions and that the current opt-out window is harmful to both generators and consumers.

## Slide 4: General items – MDRPOC
Fred Huang (ERCOT) provided an update to WMWG on ERCOT’s proposed changes to the Maximum Daily Resource Planned Outage Capacity (MDRPOC) methodology. The new risk-based approach would establish a MDRPOC equal to or greater than the actual 2024 planned outages + planned outage extension capacity. ERCOT has also incorporated stakeholder feedback into the proposed changes including a smoothed MDRPOC curve which provides some outage capacity in summer and winter seasons. Bill Barnes (TCPA) expressed support for the articulated changes but requested ERCOT explore incorporating a minimum MDRPOC level for winter and summer.
Bill Barnes (TCPA) presented a series of recommendations that would improve MDRPOC including:
    Modifying MDRPOC to be informational only + providing advance notice when MDRPOC is exceeded by scheduled outages
    Automatically approving planned outages submitted 6 months in advance and those for major turbine inspections
    Establishing a minimum MDRPOC throughout the year with smoothed ramping in and out of outage seasons
    Increasing flexibility by allowing QSEs to transfer planned outage capacity among their Resources and increasing ERCOT’s authority to grant exceptions.
  Eric Goff (Residential Consumers), Ian Haley (MS), Blake Holt (LCRA), and Andy Nguyen (Constellation) expressed support for TCPA recommendations citing the advantages of managing outage capacity through wholesale pricing signals. Stakeholders also emphasized the importance of shifting MDRPOC from managing perceived short-term risk to the long-term risks associated with maintaining an aging fleet of dispatchable Resources.
  ERCOT is expected to issue a Market Notice in the coming weeks which will detail the new MDRPOC methodology and solicit feedback from stakeholders. TCPA is considering filing an NPRR pending ERCOT’s final methodology decisions.
  WMWG will host an additional discussion on MDRPOC during the June meeting pending ERCOT’s Market Notice.

## Slide 5: General items – Changes to Emergency Settlement Methodology
Magie Shanks (ERCOT) presented additional details on the price correction event for Operating Days August 12, 2024 – September 11, 2024 including a robust summary of the enhancements made to Emergency Operations Settlement calculations.
The previous methodology ran all Generation Resources through the Emergency Operations Settlement, calculated the difference between the RT-SPP and the Resource’s EOC (capped by MOC), and then calculated make-whole payments using the price delta and the minimum of the aggregated base point or Real-Time Metered Generation (RTMG) for each Settlement Interval.
The new methodology adds an additional screening step to exclude price-indifferent Generation Resources from resettlement, thereby minimizing unnecessary resettlement costs.
    Generators are assumed to be price takers if the Base Points are unchanged between the original and re-calculated SCED optimizations. This includes Resources with a status of ONTEST or ONHOLD or those where HDL = LDL.
  Stakeholders encouraged ERCOT to clarify the protocols to better detail the enhanced resettlement methodology.
ERCOT also reviewed the Market Notice issued on April 24, 2025 which highlighted a correction to the original price correction event which would remove September 4, 2024 and September 11, 2024 from qualifying for resettlement.

## Slide 6: THANK YOU