## Slide 1: Congestion Management Working Group - 04/14/2025 Meeting Update
May 7, 2025
Chenyan Guo, chair

## Slide 2: CRR Long Term Auction Solution Time, Transaction Limits
ERCOT staff spoke to chart of historical and current metrics that included total transactions, peak weekday transactions and PWD runtime hours
  Peak weekday case in last month took 203 hours to solve
Operational flexibility for CRR Auction Transaction limits
  2025.2nd6.AnnualAuction.Seq1 will be the first LTAS to use the transaction limit
  The limits are not intended to be the permanent limits
ERCOT staff gave updates to the ongoing NPRRs regarding Removal of multi-month Bidding Functionality and Option Pricing report
  ERCOT is still looking at the Revision Requests and plans to include a change to increase the minimum bid quantity from 0.1MW to 1 MW

## Slide 3: High Locational Marginal Prices (LMPs)
Recording setting LMPs were observed on February 19, 2025
  Winter Storm Kingston passed through Texas February 18~21, 2025
  Multiple planned outages
  Multiple binding constraints
Multiple great ideas bounced around during stakeholder discussion
  Flexibilities to have a split between Shadow price and constraint
  Activate only one constraint in case there are parallel ones
  Establish a “Congestion Component Price Cap”
ERCOT staff will provide more updates in coming CMWG meetings

## Slide 4: Day Ahead Market PTP Activity Update
ERCOT communicated DAM delays related to PTP and PTP with links to an Option (PTPLO) to Wholesale Market Working Group in 2021
  High volumes of PTP intervals records caused increasing optimization engine execution times
  Submission fee for unawarded PTPs was proposed, the IMM has also recommended a PTP fee since 2020 state of the market report, but this issue was deprioritized due to Winter Storm Uri impacts
Underlying issues remain unresolved, and performance concerns are beginning to re-emerge
  Late solutions postings
  DAM aborts
ERCOT will reevaluate correlation of unawarded PTPs vs. execution time and analyze submission activity to make informed suggestion of a fee structure

## Slide 5: Granular Product Type for CRR TOU
Vistra staff proposed the implementation of more granular CRR TOU blocks to align with the latest market changes and improve the auction speed and efficiency
  Increasing IRR changes generation and congestion patterns
  Current blocks (5x16 and 2x16) show significantly price variability
  Congestion values frequently shift between positive and negative within a block
The proposal considers more targeted products divided between solar and non-solar hours
  Target specific congestion to hedge
  Hedge more efficiently with obligations which may require less computational resources for CRR auction clearing, speed up process and efficiency