## Cover
| RTC+B FAQ Cover | Protocol References
1
2 | This FAQ will be a "living" document that will be updated periodically. These are intended to provide brief answers to some commonly occuring questions regarding the (Real-Time Co-optimization plus Batteries (RTC+B) market trials. These FAQs are not a replacement for the ERCOT Nodal Protocols, Operating Guides, Planning Guides, or Other Binding Documents (OBD). In the event of any conflict, the ERCOT Nodal Protocols, Operating Guides, Planning Guides, or Other Binding Documents shall control.
4
6
12
13
18
19
21
26
27
28
30
32
38
42
43
45
50
51
52
53

## AS
| MP Question | Answer | KEY WORDS/TOPIC | Protocol References
1 | 1) In today's market if I want to submit an Ancillary Service Offer for my Energy Storage Resource (ESR) for Reg-Down I would offer a positive volume-price pair for the Controllable Load Resource (CLR) side of the battery. (Ex: 2MW @ $12 of Reg-Down on XXXX_LD1). Under RTC the Bid Offer Curve for my 10MW ESR would extend from -10 MW for my LSL and to 10 MW for my HSL. So, what I'm wondering is if I want to submit an ASO for Reg-Down on my ESR during an hour I intend to be charging would that be with a negative volume? (Ex: -2MW @ $12 of Reg-Down on XXXX_ESR1). How would I distinguish an Ancillary Service Offer (ASO) for a product like Non-Spin when my ESR is charging vs. discharging? | Your offer should always be 2MW of Reg-Down @ $12/MW per hour. Your ASO does not distinguish between charging and discharging states for the ESR. With a +/- 10 MW ESR and a 2 Mw Reg-Down offer, both of the scenarios below are feasible and dependent on the EB/OC for the ESR (which reflects the willingness of the ESR to charge or discharge): 1. BP of 4 MW and Reg-Down Award of 2 MW 2. BP of -6 MW and Reg-Down Award of 2 MW This also applies for a 2 MW Non-Spin offer where these are both feasible: 1. BP of 2 MW and Non-Spin Award of 2 2. BP of -4 MW and Non-Spin Award of 2 | DAM, AS OFFERS
2 | ) Is the MW volume of the Resource qualified for each individual Ancillary Service independent from changes to the Resource's High Sustainable Limit (HSL), State of Charge (SoC) and Awards? Will there be a distinction between the values submitted for Capability in the COP and the ones telemetered for Capability in real-time? | The COP and telemetry are generally intended to reflect the same information. The primary difference is that COP is a forward estimate of physical capability, whereas telemetry reflects real-time physical capability (no longer need to forecast). The AS capabilities are not award dependent or dependent on the expected SOC. However, the COP is expected to change as things like HSL, LSL, min. SOC, o max. SOC change. | COP, SCED, AS AWARDS
4 | Under RTC, are ASOs capped at $2,000/MWh in the RTM and $5,000/MWh in the DAM? | Yes, DAM offers, including AS offers are capped at $5,000. In real-time, the offer cap is $2,000. | DAM, AS OFFERS
6 | If a resource is telemetered as OUT, should the telemetered AS capability be taken down to zero, or would SCED ignore AS Capabilities/offers for a resource with a telemetered-OUT status? | SCED will not award any AS or Energy to the resource that is telemetered OUT. In RTC, SCED will ignore AS Capability telemetry if the Resource Status is OUT. | SCED, AS AWARDS
12 | Will a loss of telemetry from a resource disqualify it from being awarded AS in the following SCED run? | Yes | SCED, AS AWARDS
13 | NP 8.1.1.2.1.3 gray boxed, as edited by NPRR1270, does not specify if there will be a defined NSRS qualification quantity, or if this qualification will vary based on a resource’s ramp rate at the time of SCED execution. Is the NSRS qualification expected to be a fixed or variable number? | The Non-Spin qualification MW will be a fixed number which is determined during the AS qualification process. The amount of Non-Spin that a resource can qualify is limited to the maximum capacity that the resource can be ramp within 30 minutes. The existing Offline Non-Spin and Online Non-Spin qualifications will be carried forward to RTCB and any protocol changes that impact the qualification or qualification MWs will be communicated to the QSEs. | AS QUALIFICATION
18 | With RTC+B, physical AS trade will NOT be protected in the RT market. Will physical AS trade still have any practical meaning under RTC+B? How will ERCOT prove if the buy side of AS trade fulfills its AS obligation when the sell side of AS trade doesn’t receive AS award from RTC? | AS trades are virtual with the trade representing a swapping of an Ancillary Service position. There are not two types of trades from ERCOT’s point of view, with some being “physical” and others being “virtual.” There is nothing for ERCOT to validate beyond the trade being confirmed. | SETTLEMENTS, AS TRADES
19 | With non-spin Ancillary Service Demand Curve (ASDC), the non-spin could be cleared for a small amount in RTC. Will REP pay their cost share based on the cleared non-spin award for every 5-minute? | Yes, Ancillary Service Obligations will adjust with the actual amount of Ancillary Service procured. Although, it should be made clear that the Real-Time Market for Ancillary Services is an imbalance market dependent on Day-Ahead Awards, self-arrangement, and trades. | SETTLEMENTS, AS IMBALANCE
21 | AS offer in DAM is not required to cover the entire operating range. Will proxy AS offer be created for the same DAM AS offer in RTM? | Proxy Ancillary Service Offers are not applicable to the DAM. Offering into the DAM is voluntary. For the Real-Time Market (RTC-SCED), proxy AS Offers are created. A behavioral rule will be created that QSEs shall not submit confirmed trades for AS sub-types in excess of their DAM Self-Arrangement quantity (including 0 or null). | DAM, SCED, AS OFFERS
26 | What are the new AS qualification limits under BESS single resource model? Can we combine existing AS qualification limits from both Gen and CLR resources? (We could change droop settings to 0.5% if to qualify double RRS.). | In general, ERCOT will setup a process that “carries forward” AS qualification of Resources into that are currently qualified. If there are any protocol changes that impact qualification or qualified MWs, ERCOT will plan to interact with the appropriate entities prior to transitioning to RTC. | AS QUALIFICATION
27 | What will be the change to current ERCOT AS qualification procedures? (If BESS is qualified to provide FFR on Gen but not CLR resource, will this same BESS be able to provide FFR while charging?) | ERCOT is in the process of developing the AS qualification procedure for RTCB and will share with the Market Participants. If ESR-GR is currently qualified to provide FFR, the FFR qualification and FFR qualified MW will be carried forward to the single model in RTCB. The ESR can provide FFR up to the qualified MW when charging. | AS QUALIFICATION
28 | For commissioning BESS during RTC+B testing, will it follow the old combo resources data model or new single resource data model? | It depends on the projection of when the new ESR will be energized and active in the market. If there is a chance it will be active prior to RTCB go-live ---- it needs to follow the Combo Model Era. And the Single Model version will also need to be prepared in the RTCB test environment. | AS QUALIFICATION
30 | Will current RRS hourly capacity testing be replaced with 15-minute capacity testing? | If there are any protocol changes that impact qualification or qualified MWs based on duration, ERCOT will plan to interact with the appropriate entities prior to transitioning to RTC. | AS QUALIFICATION
32 | In some cases, negative self-arranged quantities may necessitate shifting the DAM ASDC to the right, as they are treated by DAM as bids at the highest price on each corresponding ASDC. Please explain the comment | For example, in DAM if the ASDC width for RRS is 2300 MW for Hour Ending 14, but 400 MW has been self-arranged. Then the ASDC width is reduced by 400 MW from the right (highest priced side), which results in the modified ASDC width being 900 MW. DAM attempts to procure the remaining 900 MW. | DAM, AS AWARDS
38 | Is there a difference between AS-Only Offers and Virtual Offers? Could you provide definitions. The concepts seem to be conflated if they are in fact different things. | No, the technical term for virtual AS offers is AS-Only Offers. This was intended to mirror Energy-Only Offer terminology (virtual energy offers). | DAM, AS OFFERS
42 | In terms of proxy offers, is it logical that if the resource has an ASO either in the DAM or RTM regardless of whether that ASO is awarded it won't be proxied? | Proxy Ancillary Services Offers only factors in the RTM. They do not affect DAM. For RTM, proxy Ancillary Service Offers can impact your Ancillary Service award if the offered amount of Ancillary Services is less than the qualified Ancillary Service amounts or telemetered Ancillary Service capabilities for the Resource. To avoid proxy Ancillary Service Offers impacting your awards, the offers quantities should be greater than or equal to the qualified Ancillary Service amounts or telemetered Ancillary Service capabilities for the Resource. | SCED, AS OFFERS
43 | In the RTM will ASOs need to be submitted in MIS or just telemetered to be run in SCED every 5 min? I believe for the COP it was only the telemetered values that needed to be updated. | Ancillary Service Offers for the RTM are submissions similar to DAM submissions today. They are not provided through telemetry. This is similar for Energy Offer Curves for the RTM today. | SCED, AS OFFERS
45 | Per the last TWG meeting, specifically in the ERCOT TWG RTC+B Market Trials Systems Readiness-Market Submissions pptx, screenshot slide 9. For COP Market Trials submission, it says QSEs must submit new AS Capability fields. Yet, there is no indication on any new COP XMLs that this field exists. There is only AS Capacity in the COP XML and no changes were listed in the RTCB EIP spec. How does ERCOT expect MPs to submit a new COP with new AS Capability fields? https://www.ercot.com/files/docs/2025/02/27/ercot-twg-2025-02-27-rtc-b-market-trials-systems-readiness-market-submissions.pptx | The XMLs for COP are not changed for RTCB. Pre-RTC, the AS MW fields represent the AS responsibility and we have a validation check to ensure the sum of AS responsibility is limited to HSL-LSL. However, with RTC, the AS fields represent AS Capability, and the validation is changed accordingly to allow sum of AS capability to exceed the HSL-LSL value. On the MMSUI, pre-RTC, the AS fields are displayed as the “AS Resource Responsibility”. With RTC, the display is updated to show these AS fields as “AS capability”. Although the XSD may not be changed for AS MW values, there are also additional changes for ESRs to allow negative values, and changes to the COP resource status’. As a result, we included the COP submission as a requirement for Market Trial testing. Please plan to submit the COPs with the updated values for RTC testing. | MARKET TRIALS, AS OFFERS
50 | Does ERCOT plan to continue the same Ancillary Service procurement quantities as today? | The AS procurement will be based on the AS plan that is published yearly through the AS Requirement Methodology subject to the DAM ASDCs and Self-Arranged AS submissions. | DAM, AS AWARDS
51 | Does ERCOT plan to continue the same LSE Obligations | The AS Obligations will remain based on LSE LRS and AS plan and be published as the Advisory AS Obligations (daily by 0600). | SETTLEMENT, AS OBLIGATIONS
52 | Does ERCOT plan to continue the same LSE Ability to Self-Arrange? | Self-arrangement will continue in the DAM, but will not allow self-arrangement beyond the Advisory AS Obligation. | SETTLEMENT, AS OBLIGATIONS
53 | Does ERCOT plan to continue the same Settlement of the Self Arrange? | Settlement will remain like today, but if self-arranged quantities are over the Final AS Obligation then the QSE will be paid the delta. | SETTLEMENT, AS OBLIGATIONS

## DAM
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
32 | In some cases, negative self-arranged quantities may necessitate shifting the DAM ASDC to the right, as they are treated by DAM as bids at the highest price on each corresponding ASDC. Please explain the comment | For example, in DAM if the ASDC width for RRS is 2300 MW for Hour Ending 14, but 400 MW has been self-arranged. Then the ASDC width is reduced by 400 MW from the right (highest priced side), which results in the modified ASDC width being 900 MW. DAM attempts to procure the remaining 900 MW. | DAM, AS AWARDS
50 | Does ERCOT plan to continue the same Ancillary Service procurement quantities as today? | The AS procurement will be based on the AS plan that is published yearly through the AS Requirement Methodology subject to the DAM ASDCs and Self-Arranged AS submissions. | DAM, AS AWARDS
1 | 1) In today's market if I want to submit an Ancillary Service Offer for my Energy Storage Resource (ESR) for Reg-Down I would offer a positive volume-price pair for the Controllable Load Resource (CLR) side of the battery. (Ex: 2MW @ $12 of Reg-Down on XXXX_LD1). Under RTC the Bid Offer Curve for my 10MW ESR would extend from -10 MW for my LSL and to 10 MW for my HSL. So, what I'm wondering is if I want to submit an ASO for Reg-Down on my ESR during an hour I intend to be charging would that be with a negative volume? (Ex: -2MW @ $12 of Reg-Down on XXXX_ESR1). How would I distinguish an Ancillary Service Offer (ASO) for a product like Non-Spin when my ESR is charging vs. discharging? | Your offer should always be 2MW of Reg-Down @ $12/MW per hour. Your ASO does not distinguish between charging and discharging states for the ESR. With a +/- 10 MW ESR and a 2 Mw Reg-Down offer, both of the scenarios below are feasible and dependent on the EB/OC for the ESR (which reflects the willingness of the ESR to charge or discharge): 1. BP of 4 MW and Reg-Down Award of 2 MW 2. BP of -6 MW and Reg-Down Award of 2 MW This also applies for a 2 MW Non-Spin offer where these are both feasible: 1. BP of 2 MW and Non-Spin Award of 2 2. BP of -4 MW and Non-Spin Award of 2 | DAM, AS OFFERS
4 | Under RTC, are ASOs capped at $2,000/MWh in the RTM and $5,000/MWh in the DAM? | Yes, DAM offers, including AS offers are capped at $5,000. In real-time, the offer cap is $2,000. | DAM, AS OFFERS
38 | Is there a difference between AS-Only Offers and Virtual Offers? Could you provide definitions. The concepts seem to be conflated if they are in fact different things. | No, the technical term for virtual AS offers is AS-Only Offers. This was intended to mirror Energy-Only Offer terminology (virtual energy offers). | DAM, AS OFFERS
5 | Will the notification system be used in RTC to relay the final Awards in the RTM? Will it carry over the notification functionality after DRUC today into a real-time notification system? | Per Protocol Reference 6.5.7.4.1, It is not similar to how market participants are notified about DRUC outcomes. Real-time awards will primarily be communicated through telemetry. | DAM, DRUC
21 | AS offer in DAM is not required to cover the entire operating range. Will proxy AS offer be created for the same DAM AS offer in RTM? | Proxy Ancillary Service Offers are not applicable to the DAM. Offering into the DAM is voluntary. For the Real-Time Market (RTC-SCED), proxy AS Offers are created. A behavioral rule will be created that QSEs shall not submit confirmed trades for AS sub-types in excess of their DAM Self-Arrangement quantity (including 0 or null). | DAM, SCED, AS OFFERS
44 | With the ASDC determining the MCPC for AS in the DAM and RTM does that mean that the price awarded for AS will be settled at the RTM price? For example, if I'm awarded $20 MW/h in the DAM and then in the RTM the price is $10 MW/h would there be a $10 settlement charge? And if those prices were inversed ($10 in DAM & $20 in RTM) would I receive an additional $10 settlement payment? | The DAM and RTM are settled separately with the RTM really being an imbalance market for Ancillary Services. So, let’s do the following examples: DAM price is $20/MW per hour and the Ancillary Award is 15 MW RTM price is $10/MW per hour and the Ancillary Award is 12 MW DAM settlement: DAM award x DAM price = 15x20 = $300 payment to QSE RTM settlement: (RTM award – DAM award) x RTM prices = (12-15)x10 = $30 charge to QSE DAM price is $10/MW per hour and the Ancillary Award is 12 MW RTM price is $20/MW per hour and the Ancillary Award is 15 MW DAM settlement: DAM award x DAM price = 12x10 = $120 payment to QSE RTM settlement: (RTM award – DAM award) x RTM price = (15-12)x20 = $60 payment to QSE. | SETTLEMENT, DAM, RTM

## ESR
| MP Question | Answer | KEY WORDS/TOPIC | Protocol References
3 | Under what condition would an ESR have a negative HSL? | The system allows the submission of a negative HSL by an ESR. A negative HSL is effectively telling ERCOT’s systems (DAM/RUC/SCED/etc.) that the ESR must charge, regardless of economics. | ESR
7 | Can you elaborate on expectations on Market Trials with regard to the outage scheduler? | The only change to the Outage Schedule is adding a new equipment type for batteries called ESR. If you have ESRs, and are using third party scheduling software, you will need to submit outages on the ESRs and run them through their lifecycle. If you are using the OSUI, you should submit ESR outages to familiarize yourself with the new equipment type. | ESR, OUTAGE SCHEDULER
33 | Will MaxBP due to SOC requirement be removed after RTC+B? | Once RTCB is implemented, the Base Points awarded to ESRs will take into consideration the AS duration requirements in RT and the telemetered SOC for the ESR. In other words, the AS awards and Energy awards for the SCED interval will respect all the limits of the Resource (including its SOC) and the AS duration requirements. | ESR, SCED, SOC
34 | How will the conversion of BESS assets from Gen/load model to single model be accomplished? | ERCOT has provided the “single model ESR” names (following a naming convention) for all of the existing Battery Energy Storage System that currently exist in the Combo Model Era. Here is the link: https://www.ercot.com/services/comm/mkt_notices/M-A021825-01. The naming file is posted on the RCTBTF home page under the Key Documents section and listed as "Single Model ESR Names". | ESR
35 | ERCOT will “populate” the data for the Single Model that can easily be “transferred/converted” from the Combo Model to the Single Model. There may be a few items that ERCOT will need to reach out to the RE for confirmation or for new information. That should all be accomplished early in the testing of RTCB. Does ERCOT have all the information necessary to update the single model RARF or will RE need to submit new or additional information? | ERCOT initiated RFIs from August 6th through September 26th, 2024 to support RIOOs transition to a single-model representation of ESR. Data collection through DocuSign was sent to the Authorized Representative as stated in the Market Notice https://www.ercot.com/services/comm/mkt_notices/M-A071024-02. ERCOT may need to reach out to the REs to provide additional or missing information. For projects in the interconnection process, we are currently collecting the necessary data for single model ESR via RIOO. Relevant References: https://www.ercot.com/files/docs/2024/08/21/RIWG_ERCOT_ESR_RFI_Updates_Aug24.pptx | ESR

## ICCP
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
48 | Based on the latest ICCP Handbook, are all new GEN points required for all resource types regardless of type and applicability (similar to current market)? So for example, IRRs need all new points just like any SC, CC, or battery? Or are there any exceptions being made to resource type and points needed? | Here is a link to the template for ICCP telemetry modeling for different type of resources in the RTC+B construct. Template: https://www.ercot.com/files/docs/2025/01/29/rtc-b-iccp-telemetry-model-request-template-01302025.xls Presentation on modeling expectations: Ercot-twg-2025-01-30---rtcb---iccp-telemetry-points-modeling | ICCP
8 | For open loop testing, is it expected that all resources within a QSE will submit market data, or will it suffice if some resources within the QSE are submitting data? | Some resources within a QSE are fine, but the more resources submitted, the better. Please review the RTCB Market Trials Handbook 3 Open Loop which is located in the Technical Advisory Committee RTCB Taskforce page. https://www.ercot.com/files/docs/2025/04/07/RTCB_Market_Trials_Handbook_3_OpenLoop_RTC_SCED.docx https://www.ercot.com/committees/tac/rtcbtf | MARKET TRIALS, MMS, ICCP
23 | How to determine a resource’s AS capability, like RRSPFR, RRSFFR in the new telemetry? | Responsive Reserve Service using Primary Frequency Response (RRS-PFR) capability is current physical capability of the resource to provide RRS-PFR via governor response, which could be between HSL-LSL and further limited by the verified droop characteristics. RRS-FFR similarly could be between HSL-LSL and further limited by the qualified MWs i.e. the MW amount that the Resource has demonstrated that it can respond to within 15cycles and sustain the output for 15 minutes. | SCED, ICCP

## MARKET TRIALS
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
| Will we need to submit in MMS for every sub-QSE to complete Market Trials? | No, we intend to support testing of at least on QSE entity for each Market Participant, but QSEs should take full advantage of the Sandbox and further testing. | MARKET TRIALS, MMS
29 | Will commissioning asset be able to take ERCOT regulation qualification test while the rest of fleet in the same QSE are awarded/carrying regulation after RTC+B? | Yes, in RTCB, there will be no QSE specific regulation instruction. The regulation instruction is embedded in UDSP which is resource specific. | MARKET TRIALS
36 | Can you please provide details about closed loop testing? | Please see the following page: https://www.ercot.com/committees/tac/rtcbtf Under the Market Trials and Operational RTC+B Details tab, there is a handbook titled RTCB Market Trials Handbook 5 Closed Loop LFC that should address any questions you may have. | MARKET TRIALS
39 | The market trial timeline shows both open-loop and closed-loop testing using the current production certificate while the QSE submission testing is using the current mote certificate. | Yes, see the below slide as specified for the timelines and certificates that we are going to use: | MARKET TRIALS
41 | Is this completely accurate or is the plan to switch between the MOTE and PROD certs during open-loop testing? | Yes, it is accurate, see the below slide as specified. We don’t have any plans to switch certificates once we are in open-loop and close-loop testing. | MARKET TRIALS
45 | Per the last TWG meeting, specifically in the ERCOT TWG RTC+B Market Trials Systems Readiness-Market Submissions pptx, screenshot slide 9. For COP Market Trials submission, it says QSEs must submit new AS Capability fields. Yet, there is no indication on any new COP XMLs that this field exists. There is only AS Capacity in the COP XML and no changes were listed in the RTCB EIP spec. How does ERCOT expect MPs to submit a new COP with new AS Capability fields? https://www.ercot.com/files/docs/2025/02/27/ercot-twg-2025-02-27-rtc-b-market-trials-systems-readiness-market-submissions.pptx | The XMLs for COP are not changed for RTCB. Pre-RTC, the AS MW fields represent the AS responsibility and we have a validation check to ensure the sum of AS responsibility is limited to HSL-LSL. However, with RTC, the AS fields represent AS Capability, and the validation is changed accordingly to allow sum of AS capability to exceed the HSL-LSL value. On the MMSUI, pre-RTC, the AS fields are displayed as the “AS Resource Responsibility”. With RTC, the display is updated to show these AS fields as “AS capability”. Although the XSD may not be changed for AS MW values, there are also additional changes for ESRs to allow negative values, and changes to the COP resource status’. As a result, we included the COP submission as a requirement for Market Trial testing. Please plan to submit the COPs with the updated values for RTC testing. | MARKET TRIALS, AS OFFERS
16 | Will MOTE certificates also be required for the market trials, or will regular production digital certificates be used? | You will utilize MOTE certificates through the submission phase on trials and then move on to Production certificates starting in July 2025. There are also specific RTC+B keys for API See below timeline – | MARKET TRIALS, DIGITAL CERTIFICATES
47 | Do I need access to the https://testmarkettrials.ercot.com site to generate any MOTE certs, or do we only need to use the RTC+B Market Trials Public Key certs at https://www.ercot.com/services/mdt/webservices? | You are correct, in that you will use existing MOTE API certificates (for the first phase of market trials) and you will also need to import the RTCB public key certificates. If you select this link, you will find a presentation under Key Documents titled ERCOT TWG RTC+B Market Trials Systems Readiness-Market Submissions. This slide deck provides a good amount of information that I’m hoping you find helpful. | MARKET TRIALS, DIGITAL CERTIFICATES
37 | We are not able to submit DAM AS Only Offers in the market trials environment. | It looks like the certificate you are using didn’t have write access on market trials system. | MARKET TRIALS, MMS
8 | For open loop testing, is it expected that all resources within a QSE will submit market data, or will it suffice if some resources within the QSE are submitting data? | Some resources within a QSE are fine, but the more resources submitted, the better. Please review the RTCB Market Trials Handbook 3 Open Loop which is located in the Technical Advisory Committee RTCB Taskforce page. https://www.ercot.com/files/docs/2025/04/07/RTCB_Market_Trials_Handbook_3_OpenLoop_RTC_SCED.docx https://www.ercot.com/committees/tac/rtcbtf | MARKET TRIALS, MMS, ICCP
49 | Will open loop testing be for both DA and RT? | Yes | MARKET TRIALS, OPEN LOOP TESTING

## MMS
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
37 | We are not able to submit DAM AS Only Offers in the market trials environment. | The certificate you are using didn’t have write access on market trials system. This is a known issue within MOTE, so please send an email to RTCB@ercot.com and we will update your access | MARKET TRIALS, MMS
8 | For open loop testing, is it expected that all resources within a QSE will submit market data, or will it suffice if some resources within the QSE are submitting data? | Some resources within a QSE are fine, but the more resources submitted, the better. Please review the RTCB Market Trials Handbook 3 Open Loop which is located in the Technical Advisory Committee RTCB Taskforce page. https://www.ercot.com/files/docs/2025/04/07/RTCB_Market_Trials_Handbook_3_OpenLoop_RTC_SCED.docx https://www.ercot.com/committees/tac/rtcbtf | MARKET TRIALS, MMS, ICCP
17 | Would ERCOT reject the RT Three-Part Offer (TPO) if MP included the Reason and Reason Text for hours in addition to the Operating Period Submission? | Reason code and reason text are optional before adjustment period closes, and Reason text is a required field only after adjustment period CLOSE. There are no additional checks to reject if you submit these fields before the end of adjustment period. Please see the note from the Market Submission Validation Rules RTCB document (https://www.ercot.com/mp/data-products/data-product-details?id=NP4-450-M): Reason Code (optional) (“OUT” – forced outage, “FUEL” – fuel curtailment, “DSCM” – day-ahead self-commitment, “OTHR” – Other) Reason Text (Required if submitted after adjustment period) – Although not normally required, the protocols require a reason for updating the offer after the adjustment period is closed. | MMS, TPO
| Will we need to submit in MMS for every sub-QSE to complete Market Trials? | No, we intend to support testing of at least one QSE entity for each Market Participant, but QSEs should take full advantage of the Sandbox and further testing. | MARKET TRIALS, MMS

## RUC
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
5 | Will the notification system be used in RTC to relay the final Awards in the RTM? Will it carry over the notification functionality after DRUC today into a real-time notification system? | Per Protocol Reference 6.5.7.4.1, It is not similar to how market participants are notified about DRUC outcomes. Real-time awards will primarily be communicated through telemetry. | DAM, DRUC
31 | If a generation commitment is recommended by RUC for a future hour, ERCOT Operators will delay any Dispatch Instruction until the next RUC process will not have sufficient lead time to commit the Resource for the same future hour thus giving QSEs a chance to self-commit. Please explain the comment | For example, let’s say that the HRUC study that runs at 10:00am for the remaining hours of the Operating Day recommends commitment of a Generation Resource XYZ starting at Hour Ending 16 to Hour Ending 22. Generation Resource XYZ has a start/lead time of 3.5 hours. The ERCOT Operator may choose to not approve HRUC recommendation to commit Generation Resource XYZ and wait for upcoming HRUC runs at 11:00am and 12:00am to see if the HRUC commitment recommendations for Generation Resource XYZ continue to be made. If the 12:00am HRUC run still recommends committing Generation Resource XYZ, the ERCOT Operator will likely approve that recommendation as this is the last possible time that ERCOT can instruct Generation Resource XYZ to start up because of the start/lead time required. This process is in place to consider that system conditions forecasts can change and to delay HRUC commitment recommendations until the last possible time. | RUC, HRUC

## SETTLEMENT
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
51 | Does ERCOT plan to continue the same LSE Obligations | The AS Obligations will remain based on LSE LRS and AS plan and be published as the Advisory AS Obligations (daily by 0600). | SETTLEMENT, AS OBLIGATIONS
52 | Does ERCOT plan to continue the same LSE Ability to Self-Arrange? | Self-arrangement will continue in the DAM, but will not allow self-arrangement beyond the Advisory AS Obligation. | SETTLEMENT, AS OBLIGATIONS
53 | Does ERCOT plan to continue the same Settlement of the Self Arrange? | Settlement will remain like today, but if self-arranged quantities are over the Final AS Obligation then the QSE will be paid the delta. | SETTLEMENT, AS OBLIGATIONS
44 | With the ASDC determining the MCPC for AS in the DAM and RTM does that mean that the price awarded for AS will be settled at the RTM price? For example, if I'm awarded $20 MW/h in the DAM and then in the RTM the price is $10 MW/h would there be a $10 settlement charge? And if those prices were inversed ($10 in DAM & $20 in RTM) would I receive an additional $10 settlement payment? | The DAM and RTM are settled separately with the RTM really being an imbalance market for Ancillary Services. So, let’s do the following examples: DAM price is $20/MW per hour and the Ancillary Award is 15 MW RTM price is $10/MW per hour and the Ancillary Award is 12 MW DAM settlement: DAM award x DAM price = 15x20 = $300 payment to QSE RTM settlement: (RTM award – DAM award) x RTM prices = (12-15)x10 = $30 charge to QSE DAM price is $10/MW per hour and the Ancillary Award is 12 MW RTM price is $20/MW per hour and the Ancillary Award is 15 MW DAM settlement: DAM award x DAM price = 12x10 = $120 payment to QSE RTM settlement: (RTM award – DAM award) x RTM price = (15-12)x20 = $60 payment to QSE. | SETTLEMENT, DAM, RTM
19 | With non-spin Ancillary Service Demand Curve (ASDC), the non-spin could be cleared for a small amount in RTC. Will REP pay their cost share based on the cleared non-spin award for every 5-minute? | Yes, Ancillary Service Obligations will adjust with the actual amount of Ancillary Service procured. Although, it should be made clear that the Real-Time Market for Ancillary Services is an imbalance market dependent on Day-Ahead Awards, self-arrangement, and trades. | SETTLEMENTS, AS IMBALANCE
18 | With RTC+B, physical AS trade will NOT be protected in the RT market. Will physical AS trade still have any practical meaning under RTC+B? How will ERCOT prove if the buy side of AS trade fulfills its AS obligation when the sell side of AS trade doesn’t receive AS award from RTC? | AS trades are virtual with the trade representing a swapping of an Ancillary Service position. There are not two types of trades from ERCOT’s point of view, with some being “physical” and others being “virtual.” There is nothing for ERCOT to validate beyond the trade being confirmed. | SETTLEMENTS, AS TRADES

## SCED
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
2 | Is the MW volume of the Resource qualified for each individual Ancillary Service independent from changes to the Resource's High Sustainable Limit (HSL), State of Charge (SoC) and Awards? Will there be a distinction between the values submitted for Capability in the COP and the ones telemetered for Capability in real-time? | The COP and telemetry are generally intended to reflect the same information. The primary difference is that COP is a forward estimate of physical capability, whereas telemetry reflects real-time physical capability (no longer need to forecast). The AS capabilities are not award dependent or dependent on the expected SOC. However, the COP is expected to change as things like HSL, LSL, min. SOC, o max. SOC change. | COP, SCED, AS AWARDS
21 | AS offer in DAM is not required to cover the entire operating range. Will proxy AS offer be created for the same DAM AS offer in RTM? | Proxy Ancillary Service Offers are not applicable to the DAM. Offering into the DAM is voluntary. For the Real-Time Market (RTC-SCED), proxy AS Offers are created. A behavioral rule will be created that QSEs shall not submit confirmed trades for AS sub-types in excess of their DAM Self-Arrangement quantity (including 0 or null). | DAM, SCED, AS OFFERS
33 | Will MaxBP due to SOC requirement be removed after RTC+B? | Once RTCB is implemented, the Base Points awarded to ESRs will take into consideration the AS duration requirements in RT and the telemetered SOC for the ESR. In other words, the AS awards and Energy awards for the SCED interval will respect all the limits of the Resource (including its SOC) and the AS duration requirements. | ESR, SCED, SOC
15 | If a resource fails to start on the initial deployment, and attempts a restart, at what point will SCED release a resource that has failed to start from deployment and move the obligation over to another resource? How do we convey to ERCOT the resource failed to start for SCED to move the awards to a different resource? OUT status? | See responses to 14a-14d in the table above, as long as the resource telemeters Non-Spin capability and subject to economics the resource may continue to receive Non-Spin Award. The resource can set the NS Ramp Rate to 0 to avoid receiving award. | SCED
6 | If a resource is telemetered as OUT, should the telemetered AS capability be taken down to zero, or would SCED ignore AS Capabilities/offers for a resource with a telemetered-OUT status? | SCED will not award any AS or Energy to the resource that is telemetered OUT. In RTC, SCED will ignore AS Capability telemetry if the Resource Status is OUT. | SCED, AS AWARDS
12 | Will a loss of telemetry from a resource disqualify it from being awarded AS in the following SCED run? | Yes | SCED, AS AWARDS
42 | In terms of proxy offers, is it logical that if the resource has an ASO either in the DAM or RTM regardless of whether that ASO is awarded it won't be proxied? | Proxy Ancillary Services Offers only factors in the RTM. They do not affect DAM. For RTM, proxy Ancillary Service Offers can impact your Ancillary Service award if the offered amount of Ancillary Services is less than the qualified Ancillary Service amounts or telemetered Ancillary Service capabilities for the Resource. To avoid proxy Ancillary Service Offers impacting your awards, the offers quantities should be greater than or equal to the qualified Ancillary Service amounts or telemetered Ancillary Service capabilities for the Resource. | SCED, AS OFFERS
43 | In the RTM will ASOs need to be submitted in MIS or just telemetered to be run in SCED every 5 min? I believe for the COP it was only the telemetered values that needed to be updated. | Ancillary Service Offers for the RTM are submissions similar to DAM submissions today. They are not provided through telemetry. This is similar for Energy Offer Curves for the RTM today. | SCED, AS OFFERS
20 | How will Fast Frequency Response (FFR) respond to frequency triggered events, like maximum 15-min deployment period requirement (or BESS is awarded and deployed FFR for current RTC run, but not the next Real-Time Co-optimization SCED (RTC) run, will BESS stop providing FFR in the next RTC run?) | If a resource has FFR award and FFR event is triggered, the resource should provide FFR response for the duration of the sustained response period (15 minutes) or until the time of recall instruction from ERCOT, whichever occurs first and irrespective of not having an FFR awards in the next RTC SCED run. | SCED, FFR
23 | How to determine a resource’s AS capability, like RRSPFR, RRSFFR in the new telemetry? | Responsive Reserve Service using Primary Frequency Response (RRS-PFR) capability is current physical capability of the resource to provide RRS-PFR via governor response, which could be between HSL-LSL and further limited by the verified droop characteristics. RRS-FFR similarly could be between HSL-LSL and further limited by the qualified MWs i.e. the MW amount that the Resource has demonstrated that it can respond to within 15cycles and sustain the output for 15 minutes. | SCED, ICCP
25 | What are the new ramp rates in RTC+B? | There should be no change. It is the ramp rate for the full range of the ESR (from -10 MW to +10 MW) For example, the ramp rate is 2mw/min for a 10 mw BESS. Shall we need to update the ramp rate to 4mw/min under BESS single resource model? No, the ramp rate should not be doubled. If a change is needed, shall we need to submit an update to the original RARF document? The RE should always update registration data as parameters change. | SCED, RAMP RATES
10 | If a Non-Controllable Load Resource (NCLR) loses telemetry for the Under Frequency Relay (UFR) and is currently telemetering a > 0 MW Self-provided AS Quantity, will SCED see that resource as not self-providing the AS, and re-allocate those AS to other resource? | If an NCLR’s UFR no longer shows as armed, SCED will not consider its Self-Provided AS and will award it elsewhere. The QSE can move this lost Self-provision to a different NCLR with an armed UFR if available. | SCED, UFR

## ALL
CED | MP Question | Answer | KEY WORDS/TOPIC | Protocol References
13 | NP 8.1.1.2.1.3 gray boxed, as edited by NPRR1270, does not specify if there will be a defined NSRS qualification quantity, or if this qualification will vary based on a resource’s ramp rate at the time of SCED execution. Is the NSRS qualification expected to be a fixed or variable number? | The Non-Spin qualification MW will be a fixed number which is determined during the AS qualification process. The amount of Non-Spin that a resource can qualify is limited to the maximum capacity that the resource can be ramp within 30 minutes. The existing Offline Non-Spin and Online Non-Spin qualifications will be carried forward to RTCB and any protocol changes that impact the qualification or qualification MWs will be communicated to the QSEs. | AS QUALIFICATION
26 | What are the new AS qualification limits under BESS single resource model? Can we combine existing AS qualification limits from both Gen and CLR resources? (We could change droop settings to 0.5% if to qualify double RRS.). | In general, ERCOT will setup a process that “carries forward” AS qualification of Resources into that are currently qualified. If there are any protocol changes that impact qualification or qualified MWs, ERCOT will plan to interact with the appropriate entities prior to transitioning to RTC. | AS QUALIFICATION
27 | What will be the change to current ERCOT AS qualification procedures? (If BESS is qualified to provide FFR on Gen but not CLR resource, will this same BESS be able to provide FFR while charging?) | ERCOT is in the process of developing the AS qualification procedure for RTCB and will share with the Market Participants. If ESR-GR is currently qualified to provide FFR, the FFR qualification and FFR qualified MW will be carried forward to the single model in RTCB. The ESR can provide FFR up to the qualified MW when charging. | AS QUALIFICATION
28 | For commissioning BESS during RTC+B testing, will it follow the old combo resources data model or new single resource data model? | It depends on the projection of when the new ESR will be energized and active in the market. If there is a chance it will be active prior to RTCB go-live ---- it needs to follow the Combo Model Era. And the Single Model version will also need to be prepared in the RTCB test environment. | AS QUALIFICATION
30 | Will current RRS hourly capacity testing be replaced with 15-minute capacity testing? | If there are any protocol changes that impact qualification or qualified MWs based on duration, ERCOT will plan to interact with the appropriate entities prior to transitioning to RTC. | AS QUALIFICATION
2 | ) Is the MW volume of the Resource qualified for each individual Ancillary Service independent from changes to the Resource's High Sustainable Limit (HSL), State of Charge (SoC) and Awards? Will there be a distinction between the values submitted for Capability in the COP and the ones telemetered for Capability in real-time? | The COP and telemetry are generally intended to reflect the same information. The primary difference is that COP is a forward estimate of physical capability, whereas telemetry reflects real-time physical capability (no longer need to forecast). The AS capabilities are not award dependent or dependent on the expected SOC. However, the COP is expected to change as things like HSL, LSL, min. SOC, o max. SOC change. | COP, SCED, AS AWARDS
32 | In some cases, negative self-arranged quantities may necessitate shifting the DAM ASDC to the right, as they are treated by DAM as bids at the highest price on each corresponding ASDC. Please explain the comment | For example, in DAM if the ASDC width for RRS is 2300 MW for Hour Ending 14, but 400 MW has been self-arranged. Then the ASDC width is reduced by 400 MW from the right (highest priced side), which results in the modified ASDC width being 900 MW. DAM attempts to procure the remaining 900 MW. | DAM, AS AWARDS
50 | Does ERCOT plan to continue the same Ancillary Service procurement quantities as today? | The AS procurement will be based on the AS plan that is published yearly through the AS Requirement Methodology subject to the DAM ASDCs and Self-Arranged AS submissions. | DAM, AS AWARDS
1 | 1) In today's market if I want to submit an Ancillary Service Offer for my Energy Storage Resource (ESR) for Reg-Down I would offer a positive volume-price pair for the Controllable Load Resource (CLR) side of the battery. (Ex: 2MW @ $12 of Reg-Down on XXXX_LD1). Under RTC the Bid Offer Curve for my 10MW ESR would extend from -10 MW for my LSL and to 10 MW for my HSL. So, what I'm wondering is if I want to submit an ASO for Reg-Down on my ESR during an hour I intend to be charging would that be with a negative volume? (Ex: -2MW @ $12 of Reg-Down on XXXX_ESR1). How would I distinguish an Ancillary Service Offer (ASO) for a product like Non-Spin when my ESR is charging vs. discharging? | Your offer should always be 2MW of Reg-Down @ $12/MW per hour. Your ASO does not distinguish between charging and discharging states for the ESR. With a +/- 10 MW ESR and a 2 Mw Reg-Down offer, both of the scenarios below are feasible and dependent on the EB/OC for the ESR (which reflects the willingness of the ESR to charge or discharge): 1. BP of 4 MW and Reg-Down Award of 2 MW 2. BP of -6 MW and Reg-Down Award of 2 MW This also applies for a 2 MW Non-Spin offer where these are both feasible: 1. BP of 2 MW and Non-Spin Award of 2 2. BP of -4 MW and Non-Spin Award of 2 | DAM, AS OFFERS
4 | Under RTC, are ASOs capped at $2,000/MWh in the RTM and $5,000/MWh in the DAM? | Yes, DAM offers, including AS offers are capped at $5,000. In real-time, the offer cap is $2,000. | DAM, AS OFFERS
38 | Is there a difference between AS-Only Offers and Virtual Offers? Could you provide definitions. The concepts seem to be conflated if they are in fact different things. | No, the technical term for virtual AS offers is AS-Only Offers. This was intended to mirror Energy-Only Offer terminology (virtual energy offers). | DAM, AS OFFERS
5 | Will the notification system be used in RTC to relay the final Awards in the RTM? Will it carry over the notification functionality after DRUC today into a real-time notification system? | Per Protocol Reference 6.5.7.4.1, It is not similar to how market participants are notified about DRUC outcomes. Real-time awards will primarily be communicated through telemetry. | DAM, DRUC
21 | AS offer in DAM is not required to cover the entire operating range. Will proxy AS offer be created for the same DAM AS offer in RTM? | Proxy Ancillary Service Offers are not applicable to the DAM. Offering into the DAM is voluntary. For the Real-Time Market (RTC-SCED), proxy AS Offers are created. A behavioral rule will be created that QSEs shall not submit confirmed trades for AS sub-types in excess of their DAM Self-Arrangement quantity (including 0 or null). | DAM, SCED, AS OFFERS
3 | Under what condition would an ESR have a negative HSL? | The system allows the submission of a negative HSL by an ESR. A negative HSL is effectively telling ERCOT’s systems (DAM/RUC/SCED/etc.) that the ESR must charge, regardless of economics. | ESR
35 | ERCOT will “populate” the data for the Single Model that can easily be “transferred/converted” from the Combo Model to the Single Model. There may be a few items that ERCOT will need to reach out to the RE for confirmation or for new information. That should all be accomplished early in the testing of RTCB. Does ERCOT have all the information necessary to update the single model RARF or will RE need to submit new or additional information? | ERCOT initiated RFIs from August 6th through September 26th, 2024 to support RIOOs transition to a single-model representation of ESR. Data collection through DocuSign was sent to the Authorized Representative as stated in the Market Notice https://www.ercot.com/services/comm/mkt_notices/M-A071024-02. ERCOT may need to reach out to the REs to provide additional or missing information. For projects in the interconnection process, we are currently collecting the necessary data for single model ESR via RIOO. Relevant References: https://www.ercot.com/files/docs/2024/08/21/RIWG_ERCOT_ESR_RFI_Updates_Aug24.pptx | ESR
34 | How will the conversion of BESS assets from Gen/load model to single model be accomplished? | ERCOT has provided the “single model ESR” names (following a naming convention) for all of the existing Battery Energy Storage System that currently exist in the Combo Model Era. Here is the link: https://www.ercot.com/services/comm/mkt_notices/M-A021825-01. The naming file is posted on the RCTBTF home page under the Key Documents section and listed as "Single Model ESR Names". | ESR
7 | Can you elaborate on expectations on Market Trials with regard to the outage scheduler? | The only change to the Outage Schedule is adding a new equipment type for batteries called ESR. If you have ESRs, and are using third party scheduling software, you will need to submit outages on the ESRs and run them through their lifecycle. If you are using the OSUI, you should submit ESR outages to familiarize yourself with the new equipment type. | ESR, OUTAGE SCHEDULER
33 | Will MaxBP due to SOC requirement be removed after RTC+B? | Once RTCB is implemented, the Base Points awarded to ESRs will take into consideration the AS duration requirements in RT and the telemetered SOC for the ESR. In other words, the AS awards and Energy awards for the SCED interval will respect all the limits of the Resource (including its SOC) and the AS duration requirements. | ESR, SCED, SOC
48 | Based on the latest ICCP Handbook, are all new GEN points required for all resource types regardless of type and applicability (similar to current market)? So for example, IRRs need all new points just like any SC, CC, or battery? Or are there any exceptions being made to resource type and points needed? | Here is a link to the template for ICCP telemetry modeling for different type of resources in the RTC+B construct. Template: https://www.ercot.com/files/docs/2025/01/29/rtc-b-iccp-telemetry-model-request-template-01302025.xls Presentation on modeling expectations: Ercot-twg-2025-01-30---rtcb---iccp-telemetry-points-modeling | ICCP
29 | Will commissioning asset be able to take ERCOT regulation qualification test while the rest of fleet in the same QSE are awarded/carrying regulation after RTC+B? | Yes, in RTCB, there will be no QSE specific regulation instruction. The regulation instruction is embedded in UDSP which is resource specific. | MARKET TRIALS
36 | Can you please provide details about closed loop testing? | Please see the following page: https://www.ercot.com/committees/tac/rtcbtf Under the Market Trials and Operational RTC+B Details tab, there is a handbook titled RTCB Market Trials Handbook 5 Closed Loop LFC that should address any questions you may have. | MARKET TRIALS
39 | The market trial timeline shows both open-loop and closed-loop testing using the current production certificate while the QSE submission testing is using the current mote certificate. | Yes, see the below slide as specified for the timelines and certificates that we are going to use: | MARKET TRIALS
41 | Is this completely accurate or is the plan to switch between the MOTE and PROD certs during open-loop testing? | Yes, it is accurate, see the below slide as specified. We don’t have any plans to switch certificates once we are in open-loop and close-loop testing. | MARKET TRIALS
45 | Per the last TWG meeting, specifically in the ERCOT TWG RTC+B Market Trials Systems Readiness-Market Submissions pptx, screenshot slide 9. For COP Market Trials submission, it says QSEs must submit new AS Capability fields. Yet, there is no indication on any new COP XMLs that this field exists. There is only AS Capacity in the COP XML and no changes were listed in the RTCB EIP spec. How does ERCOT expect MPs to submit a new COP with new AS Capability fields? https://www.ercot.com/files/docs/2025/02/27/ercot-twg-2025-02-27-rtc-b-market-trials-systems-readiness-market-submissions.pptx | The XMLs for COP are not changed for RTCB. Pre-RTC, the AS MW fields represent the AS responsibility and we have a validation check to ensure the sum of AS responsibility is limited to HSL-LSL. However, with RTC, the AS fields represent AS Capability, and the validation is changed accordingly to allow sum of AS capability to exceed the HSL-LSL value. On the MMSUI, pre-RTC, the AS fields are displayed as the “AS Resource Responsibility”. With RTC, the display is updated to show these AS fields as “AS capability”. Although the XSD may not be changed for AS MW values, there are also additional changes for ESRs to allow negative values, and changes to the COP resource status’. As a result, we included the COP submission as a requirement for Market Trial testing. Please plan to submit the COPs with the updated values for RTC testing. | MARKET TRIALS, AS OFFERS
16 | Will MOTE certificates also be required for the market trials, or will regular production digital certificates be used? | You will utilize MOTE certificates through the submission phase on trials and then move on to Production certificates starting in July 2025. There are also specific RTC+B keys for API See below timeline – | MARKET TRIALS, DIGITAL CERTIFICATES
47 | Do I need access to the https://testmarkettrials.ercot.com site to generate any MOTE certs, or do we only need to use the RTC+B Market Trials Public Key certs at https://www.ercot.com/services/mdt/webservices? | You are correct, in that you will use existing MOTE API certificates (for the first phase of market trials) and you will also need to import the RTCB public key certificates. If you select this link, you will find a presentation under Key Documents titled ERCOT TWG RTC+B Market Trials Systems Readiness-Market Submissions. This slide deck provides a good amount of information that I’m hoping you find helpful. | MARKET TRIALS, DIGITAL CERTIFICATES
37 | We are not able to submit DAM AS Only Offers in the market trials environment. | It looks like the certificate you are using didn’t have write access on market trials system. | MARKET TRIALS, MMS
8 | For open loop testing, is it expected that all resources within a QSE will submit market data, or will it suffice if some resources within the QSE are submitting data? | Some resources within a QSE are fine, but the more resources submitted, the better. Please review the RTCB Market Trials Handbook 3 Open Loop which is located in the Technical Advisory Committee RTCB Taskforce page. https://www.ercot.com/files/docs/2025/04/07/RTCB_Market_Trials_Handbook_3_OpenLoop_RTC_SCED.docx https://www.ercot.com/committees/tac/rtcbtf | MARKET TRIALS, MMS, ICCP
49 | Will open loop testing be for both DA and RT? | Yes | MARKET TRIALS, OPEN LOOP TESTING
17 | Would ERCOT reject the RT Three-Part Offer (TPO) if MP included the Reason and Reason Text for hours in addition to the Operating Period Submission? | Reason code and reason text are optional before adjustment period closes, and Reason text is a required field only after adjustment period CLOSE. There are no additional checks to reject if you submit these fields before the end of adjustment period. Please see the note from the Market Submission Validation Rules RTCB document (https://www.ercot.com/mp/data-products/data-product-details?id=NP4-450-M): Reason Code (optional) (“OUT” – forced outage, “FUEL” – fuel curtailment, “DSCM” – day-ahead self-commitment, “OTHR” – Other) Reason Text (Required if submitted after adjustment period) – Although not normally required, the protocols require a reason for updating the offer after the adjustment period is closed. | MMS
9 | Will there be a test environment for NDCRC to submit test requests for the single model ESRs? | ERCOT currently does not have a MOTE environment for NDCRC application. For ESR single model, the NDCRC forms will be updated to populate the ESR names when a substation is selected instead of ESR-GR and ESR-CLR. | OTHER, NDCRC
31 | If a generation commitment is recommended by RUC for a future hour, ERCOT Operators will delay any Dispatch Instruction until the next RUC process will not have sufficient lead time to commit the Resource for the same future hour thus giving QSEs a chance to self-commit. Please explain the comment | For example, let’s say that the HRUC study that runs at 10:00am for the remaining hours of the Operating Day recommends commitment of a Generation Resource XYZ starting at Hour Ending 16 to Hour Ending 22. Generation Resource XYZ has a start/lead time of 3.5 hours. The ERCOT Operator may choose to not approve HRUC recommendation to commit Generation Resource XYZ and wait for upcoming HRUC runs at 11:00am and 12:00am to see if the HRUC commitment recommendations for Generation Resource XYZ continue to be made. If the 12:00am HRUC run still recommends committing Generation Resource XYZ, the ERCOT Operator will likely approve that recommendation as this is the last possible time that ERCOT can instruct Generation Resource XYZ to start up because of the start/lead time required. This process is in place to consider that system conditions forecasts can change and to delay HRUC commitment recommendations until the last possible time. | RUC, HRUC
15 | If a resource fails to start on the initial deployment, and attempts a restart, at what point will SCED release a resource that has failed to start from deployment and move the obligation over to another resource? How do we convey to ERCOT the resource failed to start for SCED to move the awards to a different resource? OUT status? | See responses to 14a-14d in the table above, as long as the resource telemeters Non-Spin capability and subject to economics the resource may continue to receive Non-Spin Award. The resource can set the NS Ramp Rate to 0 to avoid receiving award. | SCED
6 | If a resource is telemetered as OUT, should the telemetered AS capability be taken down to zero, or would SCED ignore AS Capabilities/offers for a resource with a telemetered-OUT status? | SCED will not award any AS or Energy to the resource that is telemetered OUT. In RTC, SCED will ignore AS Capability telemetry if the Resource Status is OUT. | SCED, AS AWARDS
12 | Will a loss of telemetry from a resource disqualify it from being awarded AS in the following SCED run? | Yes | SCED, AS AWARDS
42 | In terms of proxy offers, is it logical that if the resource has an ASO either in the DAM or RTM regardless of whether that ASO is awarded it won't be proxied? | Proxy Ancillary Services Offers only factors in the RTM. They do not affect DAM. For RTM, proxy Ancillary Service Offers can impact your Ancillary Service award if the offered amount of Ancillary Services is less than the qualified Ancillary Service amounts or telemetered Ancillary Service capabilities for the Resource. To avoid proxy Ancillary Service Offers impacting your awards, the offers quantities should be greater than or equal to the qualified Ancillary Service amounts or telemetered Ancillary Service capabilities for the Resource. | SCED, AS OFFERS
43 | In the RTM will ASOs need to be submitted in MIS or just telemetered to be run in SCED every 5 min? I believe for the COP it was only the telemetered values that needed to be updated. | Ancillary Service Offers for the RTM are submissions similar to DAM submissions today. They are not provided through telemetry. This is similar for Energy Offer Curves for the RTM today. | SCED, AS OFFERS
20 | How will Fast Frequency Response (FFR) respond to frequency triggered events, like maximum 15-min deployment period requirement (or BESS is awarded and deployed FFR for current RTC run, but not the next Real-Time Co-optimization SCED (RTC) run, will BESS stop providing FFR in the next RTC run?) | If a resource has FFR award and FFR event is triggered, the resource should provide FFR response for the duration of the sustained response period (15 minutes) or until the time of recall instruction from ERCOT, whichever occurs first and irrespective of not having an FFR awards in the next RTC SCED run. | SCED, FFR
23 | How to determine a resource’s AS capability, like RRSPFR, RRSFFR in the new telemetry? | Responsive Reserve Service using Primary Frequency Response (RRS-PFR) capability is current physical capability of the resource to provide RRS-PFR via governor response, which could be between HSL-LSL and further limited by the verified droop characteristics. RRS-FFR similarly could be between HSL-LSL and further limited by the qualified MWs i.e. the MW amount that the Resource has demonstrated that it can respond to within 15cycles and sustain the output for 15 minutes. | SCED, ICCP
25 | What are the new ramp rates in RTC+B? | There should be no change. It is the ramp rate for the full range of the ESR (from -10 MW to +10 MW) For example, the ramp rate is 2mw/min for a 10 mw BESS. Shall we need to update the ramp rate to 4mw/min under BESS single resource model? No, the ramp rate should not be doubled. If a change is needed, shall we need to submit an update to the original RARF document? The RE should always update registration data as parameters change. | SCED, RAMP RATES
10 | If a Non-Controllable Load Resource (NCLR) loses telemetry for the Under Frequency Relay (UFR) and is currently telemetering a > 0 MW Self-provided AS Quantity, will SCED see that resource as not self-providing the AS, and re-allocate those AS to other resource? | If an NCLR’s UFR no longer shows as armed, SCED will not consider its Self-Provided AS and will award it elsewhere. The QSE can move this lost Self-provision to a different NCLR with an armed UFR if available. | SCED, UFR
51 | Does ERCOT plan to continue the same LSE Obligations | The AS Obligations will remain based on LSE LRS and AS plan and be published as the Advisory AS Obligations (daily by 0600). | SETTLEMENT, AS OBLIGATIONS
52 | Does ERCOT plan to continue the same LSE Ability to Self-Arrange? | Self-arrangement will continue in the DAM, but will not allow self-arrangement beyond the Advisory AS Obligation. | SETTLEMENT, AS OBLIGATIONS
53 | Does ERCOT plan to continue the same Settlement of the Self Arrange? | Settlement will remain like today, but if self-arranged quantities are over the Final AS Obligation then the QSE will be paid the delta. | SETTLEMENT, AS OBLIGATIONS
44 | With the ASDC determining the MCPC for AS in the DAM and RTM does that mean that the price awarded for AS will be settled at the RTM price? For example, if I'm awarded $20 MW/h in the DAM and then in the RTM the price is $10 MW/h would there be a $10 settlement charge? And if those prices were inversed ($10 in DAM & $20 in RTM) would I receive an additional $10 settlement payment? | The DAM and RTM are settled separately with the RTM really being an imbalance market for Ancillary Services. So, let’s do the following examples: DAM price is $20/MW per hour and the Ancillary Award is 15 MW RTM price is $10/MW per hour and the Ancillary Award is 12 MW DAM settlement: DAM award x DAM price = 15x20 = $300 payment to QSE RTM settlement: (RTM award – DAM award) x RTM prices = (12-15)x10 = $30 charge to QSE DAM price is $10/MW per hour and the Ancillary Award is 12 MW RTM price is $20/MW per hour and the Ancillary Award is 15 MW DAM settlement: DAM award x DAM price = 12x10 = $120 payment to QSE RTM settlement: (RTM award – DAM award) x RTM price = (15-12)x20 = $60 payment to QSE. | SETTLEMENT, DAM, RTM
19 | With non-spin Ancillary Service Demand Curve (ASDC), the non-spin could be cleared for a small amount in RTC. Will REP pay their cost share based on the cleared non-spin award for every 5-minute? | Yes, Ancillary Service Obligations will adjust with the actual amount of Ancillary Service procured. Although, it should be made clear that the Real-Time Market for Ancillary Services is an imbalance market dependent on Day-Ahead Awards, self-arrangement, and trades. | SETTLEMENTS, AS IMBALANCE
18 | With RTC+B, physical AS trade will NOT be protected in the RT market. Will physical AS trade still have any practical meaning under RTC+B? How will ERCOT prove if the buy side of AS trade fulfills its AS obligation when the sell side of AS trade doesn’t receive AS award from RTC? | AS trades are virtual with the trade representing a swapping of an Ancillary Service position. There are not two types of trades from ERCOT’s point of view, with some being “physical” and others being “virtual.” There is nothing for ERCOT to validate beyond the trade being confirmed. | SETTLEMENTS, AS TRADES
11 | Is there an ETA on the NCLR training? | Estimate of end of May for the NCLR Training recording to be available. | TRAINING
54