## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
05/13/2025

## Slide 2: ERCOT Updates and System Operation Report
Freddy Garcia
The unofficial ERCOT peak load for April 2025 was 65,614 MW, which was new demand record for the month of April. The demand for April of 2024 was 64,003 MW.
A new Solar generation record of 26,741MW was set on April 11th @ 12:02, 50.37% penetration
A new Renewable generation record of 41,962 MW was set on April 17th @ 14:50, 67.5% penetration

## Slide 3: Texas Reliability Entity Report
Bob
5/14 IRC and Board meeting at Texas RE
Next week is Talk with Texas on their opinion on summer outlook
5/28 talk with Texas on GOP functions for 3rd party control centers
On the NERC side a couple of days ago a new definition was approved for rules of procedures for GO / GOP category 2, 60kV or above generation with a 20 MVA connection point to the system. This will be hitting some IBR’s for the definition. 8 standards will be impacted by the new definition.

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Remains tabled.
No updates today, should be completed by next meeting.

## Slide 5: NPRR 1278 – Establishing Advanced Grid Support Service as Ancillary Service
Look at this as a living ancillary service, at any given time during any given year ERCOT can make adjustments necessary. IBR owners can purchase if they wish.
Discussed a PDCWG yesterday, NPRR has no risk and should move through the stakeholder process. Goes to PRS tomorrow to be officially remanded to ROS.
Gives ERCOT the same as the NOGRR, this just adjusts how the service is procured. It also opens the service up to more units. The NOGRR is only required for new generation coming online. The NPRR open the service up to all available.
There is a cost associated with this service, we don’t yet know the cost yet.
We look at this NPRR to put a framework in place for stability type ancillary service.
Still needs more review by OWG, recommend keeping tabled at OWG for another month for continued review.

## Slide 6: Other Business
None.