## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-01 | 2 | 9.31 | 3.13 | 0
2024-02 | 2 | 9.31 | 3.13 | 0
2024-03 | 2 | 9.31 | 3.13 | 0
2024-04 | 2 | 13.074 | 6 | 6
2024-05 | 2 | 13.074 | 6 | 6
2024-06 | 2 | 13.074 | 6 | 6
2024-07 | 2 | 14.576 | 8.6 | 8.6
2024-08 | 3 | 15.076 | 8.6 | 8.733
2024-09 | 3 | 15.076 | 8.6 | 8.733
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
01/2024 | AR_ALD1 | 8981 | 5617 | 3673 | 20 |  |  | 25 | 2533.666 | 3142.9 |  | 646.363
01/2024 | WEBBS_ALD1 | 8981 | 5617 | 2604 | 20 |  |  | 30 | 1639.899 | 2441.531 |  | 628.038
02/2024 | AR_ALD1 | 8469 | 5308 | 3522 | 13 |  |  | 6 | 2505.964 | 3012.272 |  | 692.043
02/2024 | WEBBS_ALD1 | 8469 | 5308 | 2991 | 9 |  |  | 4 | 1951.285 | 2562.408 |  | 648.961
03/2024 | AR_ALD1 | 9071 | 5711 | 5157 | 7 |  |  | 13 | 1499.84 | 1535.929 |  | 773.826
03/2024 | WEBBS_ALD1 | 9071 | 5711 | 4865 | 8 |  |  | 15 | 1211.677 | 1268.197 |  | 729.265
04/2024 | AR_ALD1 | 8843 | 5389 | 4015 | 35 | 39 |  | 39 | 595.99 | 666.262 | 300 | 1007.319
04/2024 | WEBBS_ALD1 | 8843 | 5406 | 3929 | 35 | 39 |  | 57 | 509.113 | 550.001 | 300 | 1226.224
05/2024 | AR_ALD1 | 9057 | 5314 | 3177 | 27 | 2294 | 25 | 68 | 1862.068 | 1807.852 | 2479.743 | 1205.006
05/2024 | WEBBS_ALD1 | 9057 | 5303 | 3177 | 27 | 2296 | 25 | 59 | 1497.031 | 1295.887 | 2207.756 | 1347.061
06/2024 | AR_ALD1 | 8787 | 5506 | 1044 | 0 | 4833 | 0 | 0 | 2063.86 | 1816.008 | 2143.114
06/2024 | WEBBS_ALD1 | 8787 | 5394 | 1008 | 0 | 4715 | 0 | 23 | 1499.536 | 1271.668 | 1549.539 | 269.065
07/2024 | AR_ALD1 | 9032 | 5652 | 687 | 0 | 3927 | 29 | 3 | 1998.731 | 1970.078 | 1887.208 | 755.914
07/2024 | BOERNE_ALD1 | 5834 | [6 empty] | 1.632
07/2024 | WEBBS_ALD1 | 9032 | 5652 | 626 | 0 | 3939 | 36 | 3 | 1596.341 | 1791.431 | 1247.164 | 755.914
08/2024 | AR_ALD1 | 9042 | 5490 | 2388 | 0 | 1475 |  | 32 | 1481.791 | 986.985 | 1030.641 | 2293.51
08/2024 | BOERNE_ALD1 | 9042 | 247 | [5 empty] | 5.292
08/2024 | WEBBS_ALD1 | 9042 | 5480 | 507 | 0 | 1487 |  | 34 | 1321.848 | 547.387 | 754.341 | 2132.336
09/2024 | AR_ALD1 | 8813 | 5536 | 1836 | 1394 | 1454 |  | 4 | 908.441 | 1247.602 | 1443.166 | 539.749
09/2024 | BOERNE_ALD1 | 8813 | 1420 |  |  |  |  | 264 | 728.104 |  |  | 108.795
09/2024 | WEBBS_ALD1 | 8813 | 5536 | 1363 | 1092 | 1490 |  | 13 | 928.778 | 1445.031 | 1215.573 | 444.986
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  |  |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8692 | 5429 | 4913 | 4913 | 121 |  |  | 540.109 | 380.765 | 300
01/2025 | BOERNE_ALD1 | 8692 | 1226 |  |  |  |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8692 | 5429 | 4864 | 4864 | 149 |  | 10 | 468.208 | 348.433 | 300 | 1033.745

## Hourly Participation (01_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | BOERNE_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | WEBBS_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | AR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | BOERNE_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | WEBBS_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | AR_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | BOERNE_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | WEBBS_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | AR_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | BOERNE_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | WEBBS_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | AR_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | BOERNE_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | WEBBS_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | AR_ALD1 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | BOERNE_ALD1 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | WEBBS_ALD1 | 369 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | AR_ALD1 | 363 | 363 | 351 | 351 | 0 | 0 | 0 | 459.176 | 303.934
HE_7 | BOERNE_ALD1 | 363 | 156 | 0 | 0 | 0 | 0 | 21 | 205.165 |  |  | 93.367
HE_7 | WEBBS_ALD1 | 363 | 363 | 339 | 339 | 0 | 0 | 8 | 461.622 | 306.692 |  | 707.314
HE_8 | AR_ALD1 | 362 | 362 | 302 | 302 | 24 | 0 | 0 | 455.801 | 300 | 300
HE_8 | BOERNE_ALD1 | 362 | 170 | 0 | 0 | 0 | 0 | 26 | 224.603 |  |  | 333.026
HE_8 | WEBBS_ALD1 | 362 | 362 | 338 | 338 | 24 | 0 | 2 | 608.797 | 463.859 | 300 | 2339.471
HE_9 | AR_ALD1 | 367 | 367 | 307 | 307 | 24 | 0 | 0 | 455.361 | 302.012 | 300
HE_9 | BOERNE_ALD1 | 367 | 163 | 0 | 0 | 0 | 0 | 18 | 295.502 |  |  | 40.036
HE_9 | WEBBS_ALD1 | 367 | 367 | 319 | 319 | 38 | 0 | 0 | 605.633 | 474.819 | 300
HE_10 | AR_ALD1 | 364 | 364 | 279 | 279 | 12 | 0 | 0 | 480.769 | 300 | 300
HE_10 | BOERNE_ALD1 | 364 | 13 | 0 | 0 | 0 | 0 | 0 | 262.097
HE_10 | WEBBS_ALD1 | 364 | 364 | 255 | 255 | 36 | 0 | 0 | 469.361 | 320.578 | 300
HE_11 | AR_ALD1 | 361 | 358 | 310 | 310 | 0 | 0 | 0 | 615.084 | 300
HE_11 | BOERNE_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_11 | WEBBS_ALD1 | 361 | 358 | 298 | 298 | 0 | 0 | 0 | 457.542 | 300
HE_12 | AR_ALD1 | 360 | 359 | 323 | 323 | 12 | 0 | 0 | 614.206 | 300 | 300
HE_12 | BOERNE_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_12 | WEBBS_ALD1 | 360 | 359 | 299 | 299 | 0 | 0 | 0 | 457.103 | 300
HE_13 | AR_ALD1 | 363 | 362 | 338 | 338 | 13 | 0 | 0 | 611.602 | 300 | 300
HE_13 | BOERNE_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_13 | WEBBS_ALD1 | 363 | 362 | 338 | 338 | 13 | 0 | 0 | 455.801 | 300 | 300
HE_14 | AR_ALD1 | 364 | 364 | 340 | 340 | 0 | 0 | 0 | 609.89 | 300
HE_14 | BOERNE_ALD1 | 364 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_14 | WEBBS_ALD1 | 364 | 364 | 340 | 340 | 14 | 0 | 0 | 454.945 | 300 | 300
HE_15 | AR_ALD1 | 361 | 361 | 349 | 349 | 12 | 0 | 0 | 612.465 | 461.605 | 300
HE_15 | BOERNE_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_15 | WEBBS_ALD1 | 361 | 361 | 337 | 337 | 12 | 0 | 0 | 456.233 | 300 | 300
HE_16 | AR_ALD1 | 362 | 361 | 338 | 338 | 12 | 0 | 0 | 612.465 | 466.864 | 300
HE_16 | BOERNE_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_16 | WEBBS_ALD1 | 362 | 361 | 337 | 337 | 12 | 0 | 0 | 456.233 | 300 | 300
HE_17 | AR_ALD1 | 363 | 363 | 339 | 339 | 0 | 0 | 0 | 610.744 | 466.372
HE_17 | BOERNE_ALD1 | 363 | 133 | 0 | 0 | 0 | 0 | 0 | 356.034
HE_17 | WEBBS_ALD1 | 363 | 363 | 339 | 339 | 0 | 0 | 0 | 490.309 | 337.411
HE_18 | AR_ALD1 | 363 | 363 | 351 | 351 | 0 | 0 | 0 | 610.744 | 460.684
HE_18 | BOERNE_ALD1 | 363 | 146 | 0 | 0 | 0 | 0 | 28 | 250.87 |  |  | 42.16
HE_18 | WEBBS_ALD1 | 363 | 363 | 339 | 339 | 0 | 0 | 0 | 455.644 | 300.292
HE_19 | AR_ALD1 | 360 | 360 | 348 | 348 | 12 | 0 | 0 | 482.778 | 462.069 | 300
HE_19 | BOERNE_ALD1 | 360 | 144 | 0 | 0 | 0 | 0 | 32 | 250.585 |  |  | 47.702
HE_19 | WEBBS_ALD1 | 360 | 360 | 336 | 336 | 0 | 0 | 0 | 326.38 | 300.288
HE_20 | AR_ALD1 | 361 | 361 | 349 | 349 | 0 | 0 | 0 | 456.233 | 461.605
HE_20 | BOERNE_ALD1 | 361 | 145 | 0 | 0 | 0 | 0 | 26 | 248.577 |  |  | 43.043
HE_20 | WEBBS_ALD1 | 361 | 361 | 337 | 337 | 0 | 0 | 0 | 312.688 | 313.591
HE_21 | AR_ALD1 | 361 | 361 | 289 | 289 | 0 | 0 | 0 | 456.233 | 495.156
HE_21 | BOERNE_ALD1 | 361 | 144 | 0 | 0 | 0 | 0 | 12 | 248.063 |  |  | 36.767
HE_21 | WEBBS_ALD1 | 361 | 361 | 313 | 313 | 0 | 0 | 0 | 575.486 | 617.734
HE_22 | AR_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_22 | BOERNE_ALD1 | 360 | 12 | 0 | 0 | 0 | 0 | 0 | 238.095
HE_22 | WEBBS_ALD1 | 360 | 0 | 0 | 0 | 0 | 0 | 0 | 833.333
HE_23 | AR_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | BOERNE_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | WEBBS_ALD1 | 361 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | AR_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 714.286
HE_24 | BOERNE_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | WEBBS_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0