## UDG Report w Example1 Submision
Prepopulated | [6 empty] | To be Filled By TSP
TSP Name | Substation Name | Load Name | Tr Load Voltage | RDFID | CIM Load PSSE Bus | Load PSSE ID | UDG Fuel Type | Agg MW | Energy storage capacity in MWh | Agg Reactive MVAr | Pre IEEE1547-2018 | UFLS Threshold (Hz) | UFLS pickup delay (s) | UVLS Threshold (pu) | UVLS pickup delay (s)
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Batteries | 0.04912 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Batteries | 0.02 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar | 2.3241 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar | 1 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Battery | 0.28919 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Battery | 0.2 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Wind | 0.0108 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Batteries | 0.00752 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Batteries | 0.004 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar | 0.2987 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar | 0.1 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Battery | 0.2668 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Battery | 0.1 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Wind | 0.0036 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar | 1.4405 |  |  | Yes | 59.1 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar | 0.4 |  |  | No | 59.1 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Battery | 0.26265 |  |  | Yes | 59.1 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Battery | 0.2 |  |  | No | 59.1 | 1 | NA | NA
TSP1 | Station1 | LDLXFMR2 | 138 | a762c2fe-65a1-4d2f-ac01-a34e0cc69524 | 1865 | 1 | Solar & Natural Gas | 0.02139 |  |  | Yes | 59.1 | 1 | NA | NA
There can be more than one row for each load in the ERCOT model
[5 empty] | Total Sub XFMR | Total Feeders | Fuel Types on Sub | UFLS on Sub | UVLS on Sub | Lines needed to report data | UL Certifications Available | MVAr is device capability only, not allowable range. Oncor requires operation at unity only at this time. Reserve the right to ask customer to adjust according to system needs.
[5 empty] | 2 | 4 | Battery | None | None | 19 | UL-1741
[7 empty] | Solar | 1 feeder at 59.1 |  |  | Uncertified
[7 empty] | Solar & Battery |  |  |  | UL-1741 SA
[7 empty] | Wind |  |  |  | UL-1741 SB
Solar & Natural Gas

## UDG Report w Example2 Submision
Prepopulated | [6 empty] | To be Filled By TSP
TSP Name | Substation Name | Load Name | Tr Load Voltage | RDFID | CIM Load PSSE Bus | Load PSSE ID | UDG Fuel Type | Agg MW | Energy storage capacity in MWh | Agg Reactive MVAr | Pre IEEE1547-2018 | UFLS Threshold (Hz) | UFLS pickup delay (s) | UVLS Threshold (pu) | UVLS pickup delay (s)
TSP1 | Station1 | LDLXFMR1 | 138 |  | 2596 | 1 | Solar | 0.1 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR1 | 138 |  | 2596 | 1 | Solar | 0.0883 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.01 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.00998 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.002 |  |  | Yes | 59.1 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.002 |  |  | No | 59.1 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.09 |  |  | Yes | 58.7 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.00708 |  |  | No | 58.7 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.01 |  |  | yes | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar | 0.00098 |  |  | no | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar & Battery | 0.01 |  |  | Yes | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar & Battery | 0.007 |  |  | No | NA | NA | NA | NA
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar & Battery | 0.08 |  |  | No | 58.7 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar & Battery | 0.00355 |  |  | Yes | 58.7 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar & Battery | 0.01 |  |  | Yes | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR3 | 138 |  | 2596 | 1 | Solar & Battery | 0.000139 |  |  | No | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR4 | 138 |  | 2597 | 1 | Solar & Battery | 0.26265 |  |  | Yes | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR4 | 138 |  | 2597 | 1 | Solar & Battery | 0.2 |  |  | No | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR4 | 138 |  | 2597 | 1 | Solar | 0.003 |  |  | Yes | 58.7 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR4 | 138 |  | 2597 | 1 | Solar | 0.000177 |  |  | No | 58.7 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR4 | 138 |  | 2597 | 1 | Solar | 0.001 |  |  | Yes | 59.3 | 1 | 0.91 | 1.5
TSP1 | Station1 | LDLXFMR4 | 138 |  | 2597 | 1 | Solar | 0.000649 |  |  | No | 59.3 | 1 | 0.91 | 1.5
There can be more than one row for each load in the ERCOT model
[5 empty] | Total Sub XFMR | Total Feeders | Fuel Types on Sub | UFLS on Sub | UVLS on Sub | Lines needed to report data | UL Certifications Available (Not by data because we don't have data)
[5 empty] | 4 | 15 | Solar | None | None | 22 | UL-1741
[7 empty] | Solar & Battery | 4 Feeder at 59.3 | 10 Feeders at 0.91 pu |  | Uncertified
[8 empty] | 3 Feeder at 59.1 |  |  | UL-1741 SA
[8 empty] | 3 Feeder at 58.7 |  |  | UL-1741 SB