## Slide 1
NDSWG Meeting
May 2025

## Slide 2: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review
Data Submission Reminders
Other Topics

## Slide 3
Notification Logs in MAGE
Matthew Perez
05/20/2025

## Slide 4: Outline
Background
  What is a Notification Log?
  What is Happening?
  How to View?
  How to Read?
How to Handle
  What to do?
Notes: Add new graphic to show public power entity.

## Slide 5: Background – What is a Notification Log?
  A notification log is a log that is generated on a CR (triggering CR) when the CR contains changes to the attributes of an instance that another CR (tagged CR), with a future effective date but was submitted earlier, also makes changes to. This can occur on submission as well as withdrawal.
  Definitions for this presentation:
  Triggering CR – CR that triggers and will contain the notification log
  Tagged CR – CR that is called out in the notification log
Notification Log on Submission
Today
Future
Tagged CR
  Submitted first
Effective Date
Triggering CR
  Submitted 2nd
Today
Future
Tagged CR
Effective Date
Triggering CR
  CR that is Withdrawn
Notification Log on Withdrawal
Notes: Notification Logs should not be confused with Conflict logs. Notification Logs deal with attribute changes and do not block submission/withdrawal. Conflict logs deal with links and do block submission/withdrawal

## Slide 6: What is Happening?
System is providing information that future changes could overwrite the changes you just submitted.
Or
System is providing information that the changes you are withdrawing might continue to persist even though you are withdrawing the changes.
Note: Change logs on tagged CR might be updated to reflect changes caused by the triggering CR.
Notification Log on Submission
Today
Future
Tagged CR
  Submitted first
Effective Date
Triggering CR
  Submitted 2nd
Today
Future
Tagged CR
Effective Date
Triggering CR
  CR that is Withdrawn
Notification Log on Withdrawal

## Slide 7: How to View?
Please note that if you exit the CR summary tab you will not see the conflict log when you open the CR again.
Notes: Note to self it is 1 entry per instance. So only 1 CR per instance.

## Slide 8: How to Read?
Triggering CR
Tagged CR
Affected changes in the Triggering CR
Affected changes in the Tagged CR
Instance Path
Instance Path

## Slide 9: How to Handle on Your Own
You can correct yourself
  Create a NOMCR after the Tagged CR to correct the overwrite. Or you can modify the existing NOMCR if within modeling deadlines.
  NOMCR should have language in description along the lines of “Correction NOMCR due to Notification Log“
  Attach Notification Log to NOMCR

## Slide 10: How to Handle if you are not sure what to do
Send an email to NOMCR Help
  Include CR number, notification log as attachment, and short message of what you need help with.
  Should be used for anything that ERCOT usually makes changes on.
    Contingencies enable/disable

## Slide 11: Withdrawn Notification Logs
No way for Submitter to know it occurred since CR closes upon withdrawal.
ERCOT currently has a process to catch notification logs but is a day behind of when they occur.
NOMCRHelp Lead will reach out to TSPs when seen as needed.
ERCOT is working with Siemens to make them more prominent, so the log is not missed.
Notes: Report catches this. Withdrawn Notification Logs have tagged CRs carry the notification log.
Need to mention that if they modify an existing CR then when ERCOT reaches out, they will need to let us know it is taken care of.

## Slide 12: Questions?

## Slide 13: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review
Data Submission Reminders
Other Topics

## Slide 14: NOMCR Timeline
3.10.1 - Time Line for Network Operations Model Changes
TSPs and Resource Entities shall submit Network Operations Model updates at least three months prior to the physical equipment change. ERCOT shall update the Network Operations Model according to the following table:
Note: Actual schedule is posted on ERCOT website.
Timelines – Protocol Requirement for Standard Submissions
Deadline to Submit Information to ERCOT Prior to: | Model Complete and Available for Test | Updated Network Operations Model Testing Complete | Update Network Operations Model Production Environment | Target Physical Equipment included in Production Model
Jan 1 | Feb 15 | March 15 | April 1 | Month of April
Feb 1 | March 15 | April 15 | May 1 | Month of May
March 1 | April 15 | May 15 | June 1 | Month of June
April 1 | May 15 | June 15 | July 1 | Month of July
May 1 | June 15 | July 15 | August 1 | Month of August
June 1 | July 15 | August 15 | September 1 | Month of September
July 1 | August 15 | September 15 | October 1 | Month of October
August 1 | September 15 | October 15 | November 1 | Month of November
September 1 | October 15 | November 15 | December 1 | Month of December
October 1 | November 15 | December 15 | January 1 | Month of January (the next year)
November 1 | December 15 | January 15 | February 1 | Month of February (the next year)
December 1 | January 15 | February 15 | March 1 | Month of March (the next year)

## Slide 15: NOMCR Timeline
Notes: NMG-Network Modeling Group MP-Market Participant’s
At the end of the validation period by the MPs the model is finalized. This is indicated by interim period 2.

## Slide 16: NOMCR Timeline
Standard Model Change Submission
CIM 0 NOMCR Processing
Model for Week 1
Model for Week 2
Model for Week 4
Model for Week 1
Model for Week 2
Model for Week 3
Model for Week 4
CIM_0_ML1
CIM_0_ML2
CIM_0_ML3
CIM_0_ML4
-90
-60
-30
0
30
-75
-45
-15
ML2
ML3
ML4
Prod
Prod
Prod
Initial Validation
(NMG)
Initial Validation
(MPs)
Final Validation
(Network Modeling & EMS Prod)
Prod
Weekly DB loads for Cim 0
All Model Changes for CIM 0 due Prior to minus 90 days
CIM 0 Model Changes
ML1
Interim Period 2
Model for Week 3
Notes: NMG-Network Modeling Group MP-Market Participant’s
At the end of the validation period by the MPs the model is finalized. This is indicated by interim period 2.

## Slide 17: NOMCR Timeline for Outage Coordination Studies
Model Building Timeline
~ 2 - 3 weeks before CIM_0_ML1 date
Interim Period 2 for CIM_0_ML1
CIM_0_ML1
CIM_60_ML1
CIM_90_ML1
Interim Update Model submission
Notes: Interim Period 2 is the last chance to make changes to the model. This period is usually 2~3 weeks before the model will go into production. The ML1 model is used to build the 60day and 90day models.

## Slide 18: NOMCR Timeline for Outage Coordination Studies
Notes: Interim Period 2 is the last chance to make changes to the model. This period is usually 2~3 weeks before the model will go into production. The ML1 model is used to build the 60day and 90day models.

## Slide 19: NOMCR Timeline for Outage Coordination Studies
90 Day Timeline
Notes: Interim Period 2 is the last chance to make changes to the model. This period is usually 2~3 weeks before the model will go into production. The ML1 model is used to build the 60day and 90day models.

## Slide 20: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review
Data Submission Reminders
Other Topics

## Slide 21: Additional Action Required (AAR)
New business rule to be implemented from June 1 2025 to relieve the last-minute submissions
  TSP has 3 days to respond to an AAR status on a NOMCR or CAMR after which it may be subject to rejection
  Further dialogue can happen based on the response received which will be subject to a 3-day response limit
  Contingency group and modeling group should be in communication with each other to make this a smooth process
  No changes accepted after Interim Period 2 deadline

## Slide 22: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review
Data Submission Reminders
Other Topics

## Slide 23: CIM16 Project Overview
ERCOT’s CIM16 project enables the MAGE application to natively create CIM16-formatted models
How does this affect Market Participants?
  All Market Participants
    Posted models will transition from CIM10 to CIM16
      No CIM10 models will be created after go-live
  TSPs
    Modeling methodologies within MAGE application will reflect CIM16 changes
    Posted incremental files will transition to CIM16
    Incremental files imported into MAGE must follow the CIM16 schema

## Slide 24: CIM16 Key Events
Q3/Q4 2025
  Market notice about impending workshop
  Workshop to discuss project details and review CIM16 model posting schedule
Q4 2026
  Update MAGE Test Environment (MOTE) to CIM16 schema
  MAGE training for TSPs on CIM16 and SCR813
Q2 2027
  Weekend database migration to CIM16
  Go-Live

## Slide 25: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review – email to be sent on the first week of June
Data Submission Reminders
Other Topics

## Slide 26: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review
Data Submission Reminders
Other Topics

## Slide 27: Additional Action Required Status Reminder
NOMCRStatus automatic email notification
  NOMCR has a question to answer or needs to be resubmitted with update data

## Slide 28: Contingency DPC CAMR Reminder
NOMCRStatus automatic email notification
  CAMR is ready to be submitted

## Slide 29: Topics
ONCOR Comments on NPRR 1265 - Unregistered Distributed Generator
SCR 831 – Short Circuit Model Integration
ERCOT Notification Logs
NOMCR Timeline and Inclusion on Outage Coordination Studies
NOMCR Business Change on Additional Action Required Status
CIM 16 Timeline Update
Manual Contingency Review
Data Submission Reminders
Other Topics

## Slide 30: NPRR 1234 Load End Use Classification Categories (draft)
  Draft : Load End-Use Classification Categories.
    Cryptocurrency Mining
    Data Centers (non-crypto)
    Government and Medical
    Hydrogen and Electrofuel Production
    Oil and Chemical Refining
    Oil and Gas Production, Processing, and Transmission
    Steel and Aluminum Manufacturing
    Transportation
    Other Industrial

## Slide 31: Non-DPC Change Request Submissions

## Slide 32: Non-DPC Interim Change Requests

## Slide 33: Other Topics
Open Discussion…