## Slide 1: Revision Request Summary for 5/28/25 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1226, Estimated Demand Response Data | Strategic Plan Objective 2 | Between $100K - $150K | ERCOT supports approval of NPRR1226. ERCOT Staff has reviewed NPRR1226 and believes the market impact for NPRR1226 provides a viable means for Market Participants to obtain a data sub-set of estimated Demand response activity. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1226 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1226.
NPRR1238, Registration of Loads with Curtailable Load Capabilities | General system and/or process improvement(s) | Between $700K - $1.0M | ERCOT does not support approval of NPRR1238 - ERCOT remains concerned that NPRR1238 is inconsistent with Senate Bill 6 (SB6) in its current form and cannot support TAC’s approval of the NPRR at this time. ERCOT Staff has reviewed Nodal Protocol Revision Request (NPRR) 1238 and believes that it provides improvements by introducing a new category of Early Curtailment Load (ECL) and establishing a process by which Loads may operate as an ECL so that they can be accounted for differently in Load shed tables than other Loads. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1238 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1238. .
NPRR1267, Large Load Interconnection Status Report | Strategic Plan Objective 2 | Between $100K - $150K | ERCOT supports approval of NPRR1267. ERCOT Staff has reviewed NPRR1267 and believes the market impact for NPRR1267, coupled with the implementation of NPRR1234 provides increased publicly available visibility into the characteristics of the growing large load interconnection queue | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1267 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1267.
NPRR1276, Move OBD to Section 22 – Emergency Response Service Procurement Methodology | General system and/or process improvement(s) | Less than $5K | ERCOT supports approval of NPRR1276. ERCOT Staff has reviewed NPRR1276 and believes it has a positive market impact by standardizing the approval process for binding language. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1276 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM has no opinion on NPRR1276.

## Slide 2: Revision Request Summary for 5/28/25 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NPRR1282, Ancillary Service Duration under Real-Time Co-Optimization | General system and/or process improvement(s) | No impact (impacts captured by PR447, RTC) | ERCOT supports approval of NPRR1282. ERCOT Staff has reviewed NPRR1282 and believes the market impact for NPRR1282 provides reasonable, study-based duration requirements for these Ancillary Services in preparation for RTC+B go-live, and ERCOT agrees that these duration parameters can be revisited after go-live when there is history with the RTC+B systems implemented and observations regarding market and reliability outcomes. | ERCOT Credit Staff and the Credit Finance Sub Group (CFSG) have reviewed NPRR1282 and do not believe that it requires changes to credit monitoring activity or the calculation of liability. | IMM opposes NPRR1282. The IMM supports the 5/13/25 IMM comments.
OBDRR054, TDSP(s) Pre-Production Verification Testing | General system and/or process improvement(s) | No impact | ERCOT supports approval of OBDRR054. ERCOT Staff has reviewed OBDRR054 and believes that it provides improvements by creating a process in which Market Participants will be required by the TDSP to successfully test retail transactions prior to their DUNS being activated in a TDSP’s production system. | Not applicable. | IMM has no opinion on OBDRR054.
NOGRR265, Related to NPRR1238, Registration of Loads with Curtailable Load Capabilities | General system and/or process improvement(s) | No impact (impacts captured by NPRR1238) | ERCOT does not support approval of NOGRR265 - ERCOT remains concerned that NOGRR265 is inconsistent with Senate Bill 6 (SB6) in its current form and cannot support TAC’s approval of the NOGRR at this time. ERCOT Staff has reviewed Nodal Operating Guide Revision Request (NOGRR) 265 and believes that it provides improvements by introducing a new category of Early Curtailment Load (ECL) and establishing a process by which Loads may operate as an ECL so that they can be accounted for differently in Load shed tables than other Loads | Not applicable. | IMM has no opinion on NOGRR265. .
NOGRR275, Eliminate Scheduling Center Requirements for QSEs That Are Not WAN Participants | General system and/or process improvement(s) | No impact | ERCOT supports approval of NOGRR275. ERCOT Staff has reviewed NOGRR275 and believes that it provides process improvements by aligning the Nodal Operating Guide with the Protocols to eliminate scheduling center requirements for QSEs that are not WAN Participants. | Not applicable. | IMM has no opinion on NOGRR275.

## Slide 3: Revision Request Summary for 5/28/25 TAC
Revision Request | Reason for Revision | Impacts | ERCOT Opinion/ERCOT Market Impact Statement | CFSG Review | IMM Opinion
NOGRR277, Related to NPRR1282, Ancillary Service Duration under Real-Time Co-Optimization | General system and/or process improvement(s) | No impact (impacts captured by NPRR1277) | ERCOT supports approval of NOGRR277. ERCOT Staff has reviewed NOGRR277 and believes the market impact for NOGRR277, along with NPRR1282, provides reasonable, study-based duration requirements for ECRS in preparation for RTC+B go-live, and ERCOT agrees that this duration parameter can be revisited after go-live when there is history with the RTC+B systems implemented and observations regarding market and reliability outcomes. | Not applicable. | IMM has no opinion on NOGRR277.
PGRR125, Update of LSIPA Compliance Attestation | Regulatory Requirements | No impact | ERCOT supports approval of PGRR125. ERCOT Staff has reviewed PGRR125 and believes that permitting an IE or property owner to demonstrate compliance under LSIPA under certain conditions even if it has a subsidiary or Affiliate that falls under any of the citizenship or headquarter criteria of LSIPA, will have a positive market impact by avoiding further delay of the development of new generation within ERCOT. | Not applicable. | IMM has no opinion on PGRR125.
NOGRR264, Related to NPRR1235, Dispatchable Reliability Reserve Service as a Stand-Alone Ancillary Service | Regulatory Requirements | No impact (impacts captured by NPRR1235) | Awaiting NPRR1235 | Not applicable | Awaiting NPRR1235