## Slide 1
Item 5: PRS Report
Diana Coleman
PRS Chair
Technical Advisory Committee (TAC) Meeting
ERCOT Public
May 28, 2025

## Slide 2: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – Unopposed with Impacts (Vote):
NPRR1226, Estimated Demand Response Data
  IA: Between $100K and $150K Priority 2026; Rank 4770
NPRR1267, Large Load Interconnection Status Report
  IA: Between $100K and $150K Priority 2026; Rank 4760
NPRR1276, Move OBD to Section 22 – Emergency Response Service Procurement Methodology
  IA: Less than $5K (O&M) Priority N/A; Rank N/A

## Slide 3: Summary of PRS Update
Revision Requests Recommended for Approval by PRS – With Opposing Votes (Vote):
NPRR1238, Registration of Loads with Curtailable Load Capabilities
  IA: Between $700K and $1.0M Priority 2026; Rank 4535
NPRR1282, Ancillary Service Duration under Real-Time Co-Optimization – URGENT
  IA: No Impact Priority N/A; Rank N/A

## Slide 4: Appendix

## Slide 5: NPRR1282, Ancillary Service Duration under Real-Time Co-Optimization – URGENT
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation of PR447, Real-Time Co-Optimization (RTC)
Estimated Impacts: No impact
Revision Description: This NPRR makes changes to the duration requirements for the following Ancillary Services in preparation for Real-Time Co-optimization plus Batteries (RTC+B): updates duration requirements for Regulation Service and Responsive Reserve (RRS) to thirty minutes; and updates duration requirement for ERCOT Contingency Reserve Service (ECRS) to one hour. This NPRR also updates the requirement for Reliability Unit Commitment (RUC) studies to use a one-hour duration for all Ancillary Service types, excluding Fast Frequency Response (FFR).
PRS Decision: On 5/14/25, PRS voted to grant NPRR1282 Urgent status. There was one abstention from the Consumer (CMC Steel) Market Segment. PRS then voted to recommend approval of NPRR1282 as submitted and to forward to TAC NPRR1282 and the 4/29/25 Impact Analysis. There were nine opposing votes from the Consumer (2) (OPUC, CMC Steel), Independent Generator (5) (Jupiter Power, Engie, Southern Power, Eolian, Invenergy), Independent Power Marketer (IPM) (Vitol), and Municipal (CPS Energy) Market Segments and two abstentions from the Consumer (Occidental) and IPM (Tenaska) Market Segments.

## Slide 6: NPRR1226, Estimated Demand Response Data
Sponsor: ERCOT Steel Mills
Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4770
Estimated Impacts: Between $100K and $150K
Revision Description: This NPRR directs ERCOT to prepare and publish estimated Demand response data showing aggregated State Estimated Load (SEL) load points selected by ERCOT. The selection of Loads to be aggregated for the report will be based on periodically updated off-line analysis of the frequency and magnitude of reductions observed in historical State Estimator load data that is associated with market signals such as Locational Marginal Prices (LMPs), high levels of summer month ERCOT load, ERCOT-wide appeal(s) through public voluntary energy appeal, or other ERCOT actions.
PRS Decision: On 2/12/25, PRS voted unanimously to recommend approval of NPRR1226 as amended by the 2/11/25 ERCOT comments. On 5/14/25, PRS voted unanimously to endorse and forward to TAC the 3/12/25 PRS Report as revised by PRS and 5/5/25 Impact Analysis for NPRR1226 with a recommended priority of 2026 and rank of 4770.

## Slide 7: NPRR1238, Registration of Loads with Curtailable Load Capabilities
Sponsor: GSEC
Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4535
Estimated Impacts: Between $700K and $1.0M
Revision Description: This NPRR introduces a new category of Early Curtailment Load (ECL) and establishes a process by which Loads may operate as an ECL so that they can be accounted for differently in Load shed tables than other Loads.
PRS Decision: On 3/12/25, PRS voted to recommend approval of NPRR1238 as amended by the 2/25/25 Oncor comments. There was one opposing vote from the Independent REP (IREP) (Just Energy) Market Segment, and one abstention from the Consumer (Occidental) Market Segment. On 5/14/25, PRS voted to endorse and forward to TAC the 4/9/25 PRS Report as amended by the 5/7/25 ERCOT comments and 5/13/25 Impact Analysis for NPRR1238 with a recommended priority of 2026 and rank of 4535. There were two abstentions from the Consumer (Occidental) and Independent Generator (Eolian) Market Segments.

## Slide 8: NPRR1267, Large Load Interconnection Status Report
Sponsor: Joint Sponsors
Proposed Effective Date: Upon system implementation – Priority 2026; Rank 4760
Estimated Impacts: Between $100K and $150K
Revision Description: This NPRR requires the publication of a large load interconnection status report. It is intentionally not defining “Large Load” to leave that to NPRR1234, Interconnection Requirements for Large Loads and Modeling Standards for Loads 25 MW or Greater. However, Customer information, including large load information, is owned by the Customer and is therefore confidential so the information on large loads must be aggregated.
PRS Decision: On 4/9/25, PRS voted unanimously to recommend approval of NPRR1267 as amended by the 2/28/25 Reliant comments. On 5/14/25, PRS voted unanimously to endorse and forward to TAC the 4/9/25 PRS Report and 5/13/25 Impact Analysis for NPRR1267 with a recommended priority of 2026 and rank of 4760.

## Slide 9: NPRR1276, Move OBD to Section 22 – Emergency Response Service Procurement Methodology
Sponsor: ERCOT
Proposed Effective Date: Upon system implementation
Estimated Impacts: Less than $5K Operations & Maintenance (O&M)
Revision Description: This NPRR incorporates the Other Binding Document “Emergency Response Service Procurement Methodology” into the Protocols to standardize the approval process.
PRS Decision: On 4/9/25, PRS voted unanimously to recommend approval of NPRR1276 as submitted. On 5/14/25, PRS voted unanimously to endorse and forward to TAC the 4/9/25 PRS Report and 3/10/25 Impact Analysis for NPRR1276.

## Slide 10: 2025 Release Targets – Approved NPRRs / SCRs / xGRRs
Go-live dates can differ from Protocol effective dates – Please refer to market notices for more details
Release targets are subject to change
APPENDIX
Red Text: New additions and target release changes
Strike-Through Text: Previous target release
(a), (b), etc.: Multiple phase release
January 1/30 | February 2/27 | March 3/27 | April 4/24 | May 5/29 | June 6/26
NPRR945 NPRR1219 | NPRR1254 RTC+B Market Trials Sandbox Deployed | NPRR1145 | RTC+B Market Trials begin on 5/5/2025 | NPRR1253 | 
Project Status Codes
NS = Not Started
I = Initiation
P = Planning
E = Execution
H = On Hold
R1
R2
R4
R5
R6
July 7/31 | August 8/28 | September 9/25 | October 10/23 |  | December 12/18
 |  |  |  |  | RTC+B Stabilization begins
R7
R8
R10
R11
R3
R9
NPRR1007-1013
RTC+B Market Trials
Closed-loop SCED/LFC
Day-Ahead Market
Open-loop RTC SCED
QSE Telemetry Tests
RTC QSE Submission Testing
RTC QSE Telemetry Check-out
RTC+B Stabilization
RTC+B
12/5
NPRR963(a)
NPRR965
NPRR1000
NPRR1014
NPRR1054
NPRR1058
NPRR1172
NPRR1204
NPRR1216
NPRR1236
NPRR1245
NPRR1246
NOGRR211
NOGRR268
OBDRR020
OBDRR052
PGRR118
E
NPRR963(a) – Portion of NPRR
NPRR1253(a) – ICCP
NPRR1253(b) – Public API
ü
ü
1/1
E
3/1
ü
3/7
ü
ü