- Section 8:

SMOGRR028 – Add Series Reactor Compensation Factors

This Settlement Metering Operating Guide Revision Request (SMOGRR) gives guidance for allowing loss compensation for current limiting reactors.

Revised Subsections:  8, 8.1, 8.5 and 8.6.1