## Slide 1
PDCWG Report to ROS
Chair: Chad Mulholland, NRG
Vice Chair: N/A
ROS
June 5th, 2025

## Slide 2: Report Overview & Notes
Report Overview
  Meeting Minutes
    RTCB Telemetry for Resources with Power Augmentation Capacity
    NPRR1278 - Establishing Advanced Grid Support Service as an Ancillary Service
  BAL-001-TRE-2 FMEs and IMFR
    1 FME in the month of April
    FME was on 4/24, @ 01:03
    197 units were evaluated for frequency response, and 173 of those evaluated posted passing scores (87.8% passing)
    Most of the units that did not pass were ESRs
  Frequency Control Report

## Slide 3: Frequency Measurable Events Performance

## Slide 4: Interconnection Minimum Frequency Response (IMFR) Performance
Frequency Response Obligation (FRO): 455 MW/0.1 Hz
IMFR Performance currently
1638.33 MW/0.1HZ

## Slide 5
Questions?

## Slide 6: Frequency Control Report
March 2025

## Slide 7: CPS1 Performance

## Slide 8: RMS1 Performance of ERCOT Frequency
Notes: 15.15 mHz on avg for April 2025

## Slide 9: Frequency Profile Analysis

## Slide 10: Time Error Corrections

## Slide 11: ERCOT Total Energy
Notes: 37,021,744 MWh

## Slide 12: ERCOT Total Energy from Wind Generation
Notes:   12,222,012 MWh

## Slide 13: ERCOT % Energy from Wind Generation
Notes: 33.01% of total energy was provided by wind generation

## Slide 14: ERCOT Total Energy from Solar Generation
Notes: 5,274,477 MWh

## Slide 15: ERCOT % Energy from Solar Generation
Notes: 14.25% of total energy was provided by solar generation

## Slide 16: ERCOT Daily Minimum System Inertia
Notes: Minimum Inertia in April 2025 = 131, 659 MW*s on April 12th
Historical Overall Minimum was 109,029 MW*s on 3/22/2021
April Data:
Mean: 180,981 MW*s
Max: 232,434 MW*s on April 25th
Min: 131, 659 MW*s on April 12th

## Slide 17: ERCOT Inertia Trend
Notes: Summary of ERCOT inertia for the previous 10 years. Lowest inertia this year was on March 18th.
For each box, the central mark (red line) is the median, the edges of the box (in blue) are the 25th and 75th percentiles, the whiskers correspond to +/- 2.7 sigma (i.e., represent 99.3% coverage, assuming the data are normally distributed. The corresponding lowest inertia in each year is given in the table.
The circle on each boxplot is showing inertia during time when highest portion of load was served by wind/solar generation in that year.