## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for May 2025

## Slide 2: Non-IRR GREDP < 85% – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 442 | 268 | 744 | 2.69 | 36.02
Unit 473 | 338 | 436 | 1.75 | 77.52

## Slide 3: IRR Summary – May 2025
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 89.03 | 77.50 | 81.70
GREDP Median (%) | 96.10 | 87.24 | 88.66
Average MW Error | 7.22 | 7.51 | 8.11
Median MW Error | 6.44 | 6.25 | 7.10
Total Intervals Scored | 118,185 | 53,596 | 51,661
100+ Intervals Scored | 185 | 225 | 91
Total Intervals Scored Average | 287.55 | 364.60 | 567.70

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 3,315 | 3,368 | 1.31 | 98.43
Unit 3 | 3,283 | 3,335 | 2.17 | 98.44
Unit 4 | 3,225 | 3,321 | 3.16 | 97.11
Unit 6 | 2,716 | 2,849 | 6.99 | 95.33
Unit 7 | 2,464 | 2,579 | 5.82 | 95.54
Unit 10 | 2,380 | 2,420 | 11.76 | 98.35
Unit 11 | 2,182 | 2,187 | 2.73 | 99.77
Unit 12 | 2,134 | 2,172 | 3.51 | 98.25
Unit 15 | 1,499 | 1,500 | 5.31 | 99.93
Unit 19 | 1,288 | 1,339 | 7.39 | 96.19
Unit 20 | 1,286 | 1,290 | 10.48 | 99.69
Unit 23 | 1,192 | 1,202 | 9.00 | 99.17
Unit 24 | 1,098 | 1,131 | 3.12 | 97.08
Unit 25 | 1,049 | 1,103 | 7.68 | 95.10
Unit 27 | 977 | 991 | 11.12 | 98.59
Unit 28 | 968 | 980 | 3.68 | 98.78
Unit 31 | 849 | 873 | 4.71 | 97.25
Unit 33 | 841 | 864 | 10.46 | 97.34
Unit 34 | 859 | 859 | 4.76 | 100.00

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 35 | 819 | 848 | 9.47 | 96.58
Unit 36 | 817 | 829 | 4.72 | 98.55
Unit 37 | 812 | 820 | 7.01 | 99.02
Unit 38 | 810 | 813 | 7.99 | 99.63
Unit 39 | 767 | 805 | 8.09 | 95.28
Unit 40 | 788 | 804 | 5.84 | 98.01
Unit 43 | 733 | 751 | 4.37 | 97.60
Unit 44 | 744 | 747 | 4.55 | 99.60
Unit 45 | 739 | 743 | 9.34 | 99.46
Unit 46 | 704 | 729 | 7.82 | 96.57
Unit 49 | 650 | 664 | 7.74 | 97.89
Unit 51 | 622 | 650 | 3.75 | 95.69
Unit 53 | 587 | 615 | 2.89 | 95.45
Unit 55 | 598 | 604 | 4.71 | 99.01
Unit 57 | 590 | 599 | 2.25 | 98.50
Unit 59 | 554 | 579 | 6.39 | 95.68
Unit 60 | 524 | 551 | 5.84 | 95.10
Unit 62 | 515 | 541 | 4.90 | 95.19
Unit 63 | 515 | 534 | 11.28 | 96.44

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 66 | 509 | 519 | 7.15 | 98.07
Unit 71 | 472 | 478 | 2.70 | 98.74
Unit 72 | 464 | 476 | 5.57 | 97.48
Unit 78 | 430 | 439 | 9.10 | 97.95
Unit 82 | 407 | 410 | 8.13 | 99.27
Unit 83 | 403 | 406 | 4.37 | 99.26
Unit 89 | 365 | 381 | 3.58 | 95.80
Unit 92 | 360 | 376 | 4.97 | 95.74
Unit 93 | 365 | 374 | 3.34 | 97.59
Unit 94 | 362 | 374 | 8.81 | 96.79
Unit 98 | 357 | 359 | 2.33 | 99.44
Unit 100 | 342 | 346 | 4.69 | 98.84
Unit 101 | 336 | 340 | 7.95 | 98.82
Unit 102 | 328 | 330 | 7.69 | 99.39
Unit 105 | 321 | 323 | 4.21 | 99.38
Unit 106 | 310 | 320 | 8.10 | 96.88
Unit 107 | 312 | 315 | 6.47 | 99.05
Unit 108 | 306 | 310 | 7.15 | 98.71
Unit 114 | 292 | 292 | 6.58 | 100.00

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 115 | 275 | 288 | 4.36 | 95.49
Unit 122 | 262 | 268 | 26.37 | 97.76
Unit 123 | 251 | 264 | 21.47 | 95.08
Unit 127 | 221 | 227 | 4.60 | 97.36
Unit 128 | 215 | 222 | 10.83 | 96.85
Unit 130 | 211 | 213 | 8.69 | 99.06
Unit 131 | 208 | 211 | 8.86 | 98.58
Unit 134 | 195 | 201 | 7.30 | 97.01
Unit 136 | 195 | 197 | 6.82 | 98.98
Unit 137 | 197 | 197 | 6.11 | 100.00
Unit 138 | 192 | 197 | 6.55 | 97.46
Unit 139 | 196 | 196 | 5.75 | 100.00
Unit 140 | 191 | 194 | 6.29 | 98.45
Unit 141 | 190 | 191 | 3.18 | 99.48
Unit 143 | 180 | 181 | 7.38 | 99.45
Unit 144 | 178 | 179 | 6.47 | 99.44
Unit 145 | 174 | 178 | 4.92 | 97.75
Unit 147 | 175 | 177 | 8.31 | 98.87
Unit 148 | 168 | 175 | 5.27 | 96.00

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 151 | 174 | 174 | 13.97 | 100.00
Unit 154 | 166 | 168 | 5.98 | 98.81
Unit 155 | 155 | 163 | 3.73 | 95.09
Unit 156 | 154 | 161 | 10.83 | 95.65
Unit 158 | 155 | 160 | 9.32 | 96.88
Unit 159 | 149 | 156 | 3.77 | 95.51
Unit 163 | 149 | 151 | 6.31 | 98.68
Unit 167 | 142 | 144 | 7.09 | 98.61
Unit 168 | 136 | 141 | 6.96 | 96.45
Unit 171 | 132 | 137 | 8.16 | 96.35
Unit 172 | 133 | 137 | 6.98 | 97.08
Unit 173 | 134 | 137 | 7.46 | 97.81
Unit 178 | 122 | 125 | 5.99 | 97.60
Unit 179 | 113 | 113 | 7.79 | 100.00
Unit 180 | 111 | 112 | 2.75 | 99.11
Unit 181 | 108 | 112 | 6.25 | 96.43
Unit 182 | 105 | 110 | 2.87 | 95.45
Unit 185 | 99 | 100 | 2.11 | 99.00

## Slide 9: IRR < 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 3,440 | 3,683 | 1.75 | 93.40
Unit 5 | 2,832 | 3,056 | 3.70 | 92.67
Unit 8 | 2,268 | 2,474 | 4.95 | 91.67
Unit 9 | 1,884 | 2,443 | 4.71 | 77.12
Unit 13 | 1,707 | 2,146 | 8.59 | 79.54
Unit 14 | 1,027 | 1,554 | 7.94 | 66.09
Unit 16 | 1,302 | 1,471 | 5.23 | 88.51
Unit 17 | 1,096 | 1,366 | 9.39 | 80.23
Unit 18 | 1,204 | 1,358 | 6.66 | 88.66
Unit 21 | 1,105 | 1,229 | 5.08 | 89.91
Unit 22 | 1,027 | 1,208 | 4.92 | 85.02
Unit 26 | 876 | 1,064 | 8.73 | 82.33
Unit 29 | 633 | 958 | 20.88 | 66.08
Unit 30 | 873 | 934 | 5.45 | 93.47
Unit 32 | 751 | 869 | 6.89 | 86.42
Unit 41 | 692 | 763 | 2.86 | 90.69
Unit 42 | 647 | 762 | 11.68 | 84.91
Unit 47 | 629 | 721 | 6.71 | 87.24
Unit 48 | 521 | 716 | 9.74 | 72.77

## Slide 10: IRR < 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 50 | 524 | 656 | 11.61 | 79.88
Unit 52 | 431 | 625 | 8.13 | 68.96
Unit 54 | 487 | 615 | 13.47 | 79.19
Unit 56 | 555 | 601 | 12.52 | 92.35
Unit 58 | 566 | 597 | 6.67 | 94.81
Unit 61 | 507 | 550 | 8.12 | 92.18
Unit 64 | 464 | 524 | 12.57 | 88.55
Unit 65 | 486 | 521 | 8.86 | 93.28
Unit 67 | 482 | 513 | 21.34 | 93.96
Unit 68 | 311 | 499 | 4.31 | 62.32
Unit 69 | 450 | 487 | 4.75 | 92.40
Unit 70 | 238 | 486 | 10.81 | 48.97
Unit 73 | 239 | 476 | 11.50 | 50.21
Unit 74 | 422 | 461 | 10.01 | 91.54
Unit 75 | 408 | 456 | 8.11 | 89.47
Unit 76 | 352 | 454 | 7.93 | 77.53
Unit 77 | 405 | 453 | 12.27 | 89.40
Unit 79 | 410 | 434 | 5.51 | 94.47
Unit 80 | 366 | 420 | 6.25 | 87.14

## Slide 11: IRR < 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 81 | 325 | 411 | 13.95 | 79.08
Unit 84 | 384 | 406 | 5.88 | 94.58
Unit 85 | 361 | 398 | 12.51 | 90.70
Unit 86 | 354 | 392 | 5.00 | 90.31
Unit 87 | 322 | 384 | 5.37 | 83.85
Unit 88 | 247 | 383 | 7.34 | 64.49
Unit 90 | 319 | 377 | 0.82 | 84.62
Unit 91 | 357 | 377 | 1.70 | 94.69
Unit 95 | 323 | 373 | 12.96 | 86.60
Unit 96 | 332 | 373 | 5.68 | 89.01
Unit 97 | 334 | 368 | 19.79 | 90.76
Unit 99 | 312 | 349 | 8.30 | 89.40
Unit 103 | 306 | 328 | 12.25 | 93.29
Unit 104 | 273 | 323 | 6.12 | 84.52
Unit 109 | 278 | 306 | 12.08 | 90.85
Unit 110 | 173 | 302 | 2.48 | 57.28
Unit 111 | 242 | 299 | 2.69 | 80.94
Unit 112 | 258 | 297 | 2.26 | 86.87
Unit 113 | 276 | 296 | 10.55 | 93.24

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 116 | 39 | 276 | 4.98 | 14.13
Unit 117 | 251 | 276 | 4.54 | 90.94
Unit 118 | 150 | 275 | 5.73 | 54.55
Unit 119 | 185 | 274 | 4.46 | 67.52
Unit 120 | 249 | 272 | 13.74 | 91.54
Unit 121 | 131 | 269 | 9.08 | 48.70
Unit 124 | 235 | 257 | 1.25 | 91.44
Unit 125 | 210 | 236 | 1.39 | 88.98
Unit 126 | 173 | 229 | 5.16 | 75.55
Unit 129 | 127 | 217 | 19.90 | 58.53
Unit 132 | 189 | 209 | 5.65 | 90.43
Unit 133 | 161 | 201 | 7.12 | 80.10
Unit 135 | 153 | 199 | 12.32 | 76.88
Unit 142 | 173 | 185 | 21.76 | 93.51
Unit 146 | 169 | 178 | 6.13 | 94.94
Unit 149 | 165 | 174 | 11.32 | 94.83
Unit 150 | 161 | 174 | 8.83 | 92.53
Unit 152 | 62 | 172 | 11.07 | 36.05
Unit 153 | 151 | 169 | 8.46 | 89.35

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – May 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 157 | 147 | 160 | 6.13 | 91.88
Unit 160 | 113 | 153 | 12.93 | 73.86
Unit 161 | 126 | 153 | 15.61 | 82.35
Unit 162 | 125 | 152 | 5.05 | 82.24
Unit 164 | 24 | 150 | 2.36 | 16.00
Unit 165 | 131 | 150 | 7.39 | 87.33
Unit 166 | 134 | 147 | 6.29 | 91.16
Unit 169 | 131 | 139 | 15.72 | 94.24
Unit 170 | 125 | 138 | 5.41 | 90.58
Unit 174 | 123 | 134 | 2.94 | 91.79
Unit 175 | 120 | 131 | 7.10 | 91.60
Unit 176 | 117 | 131 | 8.83 | 89.31
Unit 177 | 120 | 130 | 6.16 | 92.31
Unit 183 | 93 | 103 | 3.49 | 90.29
Unit 184 | 52 | 103 | 1.39 | 50.49