## Slide 1: Congestion Management Working Group - 05/19/2025 Meeting Update
June 4, 2025
Chenyan Guo, chair

## Slide 2: CRR Long Term Auction Solution Time and Transaction Limits
ERCOT staff spoke to chart of historical and current metrics that included total transactions, PWD transactions and runtime hours
  Peak weekday case in last month took 117 hours to solve
ERCOT implemented NPRR1261 Operational Flexibility for CRR Auction Transaction Limits
  2025.2nd6.AnnualAuction.Seq1 was the first LTAS to use the transaction limit
  LTAS Pre-CRRAH limits will likely need to be reduced further due to continuing large increases in submitted transactions and submitting CRRAHs

## Slide 3: Discussions On the Mitigation of Energy Storage Resources (ESRs)
ERCOT presented a review of NPRR 1255 Introduction of Mitigation of ESRs
  Will be implemented post-Real Time Co-optimization + Batteries (RTC+B)
  Applies a Mitigated Offer Curve (MOC) below the System Wide Offer Cap (SWCAP) for ESRs to be determined to be exploited market power
  Also includes a provision to exempt ESRs from the mitigation if the available stored energy for the upcoming hour drops below 25%
Active discussion around this exemption and other aspects of NRPP 1255 during stakeholder discussion
  ESR representative presented some ideas on reducing the financial exposure of ESRs to the effects of NPRR 1255 Mitigation
  ERCOT suggests these changes would not fall under NPRR1255 and will likely need to be brought to CMWG or other forum as a separate proposal
No changes to the current NPRR 1255

## Slide 4: Day Ahead Market PTP Activity Update
ERCOT presented an update on DAM PTP Obligation and PTP Obligation with Links to an Option (PTPLO) bid submission activity
  High volumes of PTP and PTPLO submissions over the study period of 2021 to 2025 are linked to increased optimization engine execution time
      The majority of PTP submissions are received by a small minority of market participants
  No clear upper limit or boundary on this growth
  ERCOT has proposed some form of submission fee for PTPs (excluding PTPLOs)to address this concern, but was deprioritized due to Winter Storm Uri impacts
ERCOT will continue to evaluate correlation of unawarded PTPs vs. execution time and analyze submission activity to make informed suggestion of a fee structure

## Slide 5: Rowland Solar (Cutlass)– Curtailment and Line Outages
Sabanci Renewables presented an overview of recent curtailments at their Rowland Solar site
  Seven transmission lines heavily influence congestions between southwestern Houston (Rowland Solar is located) and Northern Houston
      Double number of outages in the first five months of 2025 compared than there were in all of 2023 or 2024
  Sabanci Renewables has lost $600,000 in revenue due to curtailment triggered by outages
  ERCOT has not given adequate notice of start dates or changes in end dates for the planed outages
  Sabanci Renewables solicited ideas to help the situation
ERCOT suggests Sabanci Renewables to address this issues on a working group more focus on operation, since congestion is a secondary effect from the outages