## Slide 1: Planning Working Group Update
to
The Reliability and Operations Subcommittee
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
June 5th , 2025

## Slide 2: PLWG Update
PGRR 120 - SSO Prevention for Generator Interconnection
  Discussion at PLWG regarding moving implementation date of the PGRR to April 1st, 2026 from the original date of September 1st, 2025. Stakeholders and ERCOT agreed to the new date.
  PLWG submitted comments to ROS for consideration and vote.

## Slide 3: PLWG Update
PGRR 122 - Reliability Performance Criteria for Loss of Load
  TIEC highlighted concerns about codifying system limitations without clarity on outcomes if triggered, fearing a moratorium on interconnections. Suggestion for ERCOT to provide modeling parameters to assist developers on compliant designs for facilities and for TSPs to develop potential transmission solutions when load loss limits are exceeded or triggered.
  ERCOT clarified that this is not a moratorium on load interconnections and that operational decisions will determine this.
  ERCOT also discussed the load loss study limits of 2600 MW
  Lot of discussion on load ride through capability, load characteristic differences between oil and gas and data centers. ERCOT mentioned that they tried to propose ride through requirements and that received push back.
  Discussion on load commissioning plan and ERCOT indicated this was in development.
  Discussion on shedding load as an operational solution and that represents a significant financial impact.
  ERCOT would like to see load tripping issues identified in the load studies but currently there is low confidence in the dynamic models provided by the developers and using conservative assumptions especially in operations for voltage sensitive loads.
  ERCOT agreed to table the PGRR 122 one more month at PLWG to allow to review the feedback.

## Slide 4: PLWG Update
NPRR 1272- Voltage Support at Private Use Networks
  No formal comments filed by Occidental.
  Comments submitted to ERCOT and are under review by Market Rules.
  Plan to continue discussion at the June PLWG meeting.
  Question was raised regarding applicability of protocol section to future technologies (SMR etc.) and clarification is needed by the market to better understand the application to future technologies.
  PLWG agreed to table NPRR 1272 for further discussion.
  Note : Occidental submitted formal comments on May 20th.
PGRR 124 - ESR Maintenance Exception to Modification
  Discussion on PGRR124 regarding ESR Maintenance Exception to Modifications is ongoing.
  Eric Goff, Tesla, mentioned that discussions with ERCOT are happening and a meeting to discuss the item further is in the process of being scheduled.
  PGRR tabled at PLWG till June meeting.

## Slide 5: PLWG Update
NPRR 1274- RPG Estimated Capital Cost Thresholds of Proposed Transmission Project
  ERCOT presented the proposed change of limits based on Consumer Price Index (CPI), an increase of 35-40 %.
  Discussion at PLWG that Transmission projects don’t necessarily follow the typical commodities that are in the CPI. Oncor suggests doubling the existing tier threshold considering significant cost increases in recent years. Oncor also suggested increasing the frequency of review by ERCOT given the cost changes.
  Joint TSP’s including CenterPoint, TNMP and AEP support Oncor’s view and submitted additional analysis support the doubling proposal.
  ERCOT plans to review comments provided by the TSP’s and intends to reach out to the commentors for more specific project related information before filing additional comments.
  PLWG agreed to table NPRR 1274 to June PLWG meeting.

## Slide 6: PLWG Update
Update FAC-002 qualified definition for end-user Facilities
  ERCOT provided an update on the definition of qualified changes required by the new standard FAC-002-4, effective from January 1, 2024. Aim is to align qualified changes with existing ERCOT processes to avoid increasing stakeholder burdens.
  Formal processes for generation and transmission already exist; end-user facility changes were based on interim large load interconnection processes. With the approval of PGRR115 by the PUC, ERCOT plans to update its qualified change definition for end-user facilities.
  PGRR115 will become effective on July 1, with Agee Springer's team sending out market notices before implementation.
  The goal is to align the effective date of qualified changes for end-user facilities with the PGRR115 requirements.
  Updates to the current qualified change definition involved replacing interim process language with new language in planning guide section 9.2.1, paragraphs b and c.
PGRR 115 update
  There was a discussion on the implementation schedule for PGRR115, with further details to be unboxed by June 1 and fully effective by July 1.
  Vistra raised questions about defining 'material change,' which ERCOT agreed to consider within the context of developing a large load interconnection handbook.
  A market notice related to these changes is expected to be released soon, by June 1.

## Slide 7: Questions?