APPROVED

Minutes of the Reliability Operations Subcommittee (ROS) Meeting

ERCOT Austin – 8000 Metropolis Drive (Building E), Suite 100 – Austin, Texas 78744

Thursday, May 1, 2025 – 9:30 a.m.

Attendance

ROS Representatives:

| Bevill, Rob | Texas-New Mexico Power (TNMP) |  | Alt. Rep. for Chris Gerety |
| --- | --- | --- | --- |
| Blankenship, David | CenterPoint Energy (CNP) |  |  |
| Borkar, Sandeep | Lower Colorado River Authority (LCRA) |  |  |
| Bowen, Kenneth | CPS Energy |  | Via Teleconference |
| Burkhead, Brett | Calpine Corporation (Calpine) |  | Via Teleconference |
| Carter, Matt | Garland Power & Light (GP&L) |  | Via Teleconference |
| Cockrell, Justin | DC Energy |  | Via Teleconference |
| Fun, Meng | Chariot Energy |  | Via Teleconference |
| Hendrix, Chris | Demand Control 2 |  | Via Teleconference |
| Koenig, Chris | Golden Spread Electric Cooperative (GSEC) |  |  |
| Kroskey, Tony | Brazos Electric Power Cooperative (Brazos) |  | Via Teleconference |
| Lutrick, Chris | Denton Municipal Electric (DME) |  | Via Teleconference |
| Matt, Kevin | Reliant Energy Retail Services (Reliant) |  | Via Teleconference |
| Miller, Alex | EDF Renewables |  | Via Teleconference |
| Nashawati, Eithar | Oncor Electric Delivery (Oncor) |  |  |
| Person, Paul | South Texas Electric Cooperative (STEC) |  |  |
| Pokharel, Nabaraj | Office of Public Utility Council (OPUC) |  |  |
| Ramachandran, Dinesh | NG Renewables |  |  |
| Randall, Nick | Austin Energy |  | Alt. Rep. for Imane Mrini Via Teleconference |
| Reid, Mike | Air Liquide |  | Via Teleconference |
| Rich, Katie | Vistra Operations Company (Vistra) |  |  |
| Schmitt, Jennifer | Rhythm Ops |  | Via Teleconference |
| Smith, Chase | Southern Power |  | Via Teleconference |
| Spalek, Matthew | AEP Service Corporation (AEPSC) |  | Via Teleconference |
| Thomas, Shane | Shell Energy North America (SENA) |  |  |
| Varnell, John | Tenaska Power Services (Tenaska) |  | Alt. Rep. for Adam Cochran |
| - Guests: |  |  |  |
| Aldridge, Ryan | AB Power Advisors |  | Via Teleconference |
| Anderson, Connor | AB Power Advisors |  | Via Teleconference |
| Archambault, Miah | Enel |  | Via Teleconference |
| Ashley, Kristy | Customized Energy Solutions (CES) |  | Via Teleconference |
| Ayers Brasher, Jennifer | Quren |  | Via Teleconference |
| Barnes, Bill | NRG |  |  |
| Beckmann, Kara | NextEra |  | Via Teleconference |
| Berg, Justin | EQ |  | Via Teleconference |
| Blakey, Eric | PEC |  |  |
| Bonskowski, Ned | Vistra |  |  |
| Cardiel, Jonathan | Public Utility Commission of Texas (PUCT) |  |  |
| Carter, Cathey | Grid Axon |  | Via Teleconference |
| Catoe, Ethan | BTU |  | Via Teleconference |
| Chwialkowski, Todd | EDF |  | Via Teleconference |
| Coleman, Diana | CPS Energy |  | Via Teleconference |
| Cook, Kristin | Southern Power |  | Via Teleconference |
| Cripe, Ramsey | SEnergy |  | Via Teleconference |
| Dharme, Neeraja | EDFT |  | Via Teleconference |
| Donohoo, Ken | OwlERC, LLC |  | Via Teleconference |
| Downey, Marty | Consultant/Luminant Corporation |  | Via Teleconference |
| Dugkhuntod, Theerakul | Banpu Power |  | Via Teleconference |
| Floyd, Rickey | Oncor |  | Via Teleconference |
| Graham, Greg | CimView |  | Via Teleconference |
| Guo, Chenyan | NextEra Energy |  | Via Teleconference |
| Haley, Ian | Morgan Stanley |  |  |
| Hall, Matthew | Invenergy |  | Via Teleconference |
| Hanson, Kevin | Invenergy |  |  |
| Harriman, Chien Si | Eolian Energy |  | Via Teleconference |
| Helton, Bob | Engie |  | Via Teleconference |
| Heinrich, Holly | Husch Blackwell/CPV Basin Ranch |  |  |
| Henry, Mark | Texas Reliability Entity, Inc. (Texas RE) |  |  |
| Henson, Martha | Oncor |  | Via Teleconference |
| Hoffer, Phil | AEP |  | Via Teleconference |
| Holt, Blake | LCRA |  | Via Teleconference |
| Hu, WeiWei | Austin Energy |  | Via Teleconference |
| Huynh, Thuy | Potomac Economics |  | Via Teleconference |
| Jablonski, Ward | MEPPI |  | Via Teleconference |
| Jewell, Michael | Jewell and Associates |  | Via Teleconference |
| Johnson, Mike |  |  | Via Teleconference |
| Khayat, Maribel | CNP |  | Via Teleconference |
| Kremling, Barry | GVEC |  | Via Teleconference |
| Lee, Jim | CNP |  |  |
| Leverett, Travis | WETT |  | Via Teleconference |
| Lotter, Eric | GridMonitor |  | Via Teleconference |
| Lu, Bo | Engie |  | Via Teleconference |
| Macaraeg, Tad | Stem |  | Via Teleconference |
| Matevosyan, Julia | ESIG |  | Via Teleconference |
| McChesney, Mark | Oncor |  | Via Teleconference |
| McClellan, Suzi | Good Company Associates |  | Via Teleconference |
| Morris, Sandy | WETT |  | Via Teleconference |
| Mulholland, Chad | NRG Energy |  | Via Teleconference |
| Naik, Harsh | Oncor |  | Via Teleconference |
| Palani, Ananth | GP&L |  | Via Teleconference |
| Pearson, Kelsey | Longhorn Power |  |  |
| Penny, David | Texas RE |  | Via Teleconference |
| Pietrucha, Doug | TAEBA |  | Via Teleconference |
| Pueblos, Jameel | Occidental Chemical |  |  |
| Qureshi, Fahad | CNP |  | Via Teleconference |
| Ramirez, Chris | WETT |  | Via Teleconference |
| Rasmussen, Erin | AEP |  |  |
| Reed, Ronald | CNP |  | Via Teleconference |
| Reimers, Andrew | Potomac Economics |  | Via Teleconference |
| Richmond, Antonio | Acciona |  | Via Teleconference |
| Rico, Guillermo | CPS Energy |  | Via Teleconference |
| Rochelle, Jenni | CES |  | Via Teleconference |
| Rodriguez, Roberto | CNP |  | Via Teleconference |
| Safko, Trevor | LCRA |  |  |
| Seibel, Alexander | OCI Energy |  | Via Teleconference |
| Sersen, Juliana | Baker Botts |  | Via Teleconference |
| Siddiqi, Ilaan | Continuum Associates |  | Via Teleconference |
| Siddiqi, Shams | Crescent Power |  | Via Teleconference |
| Silva, Patricio | Enel |  | Via Teleconference |
| Smith, Caitlin | Jupiter Power |  | Via Teleconference |
| Springer, Tyler | AEP |  | Via Teleconference |
| Stanfill, Susan | PGR |  | Via Teleconference |
| Teng, Shuye | Constellation Energy |  | Via Teleconference |
| Turner, Lucas | STEC |  | Via Teleconference |
| Turner, Mina | AEP |  | Via Teleconference |
| Van Ness, Zach | Matrix Renewables |  | Via Teleconference |
| Vara, John | GSEC |  | Via Teleconference |
| Wagner, Julia | PUCT |  |  |
| Walker, Zach | Oncor |  | Via Teleconference |
| Williams, Wes | BTU |  | Via Teleconference |
| Wilson, Joe Dan | GSEC |  | Via Teleconference |
| Withrow, David | AEP |  |  |
| Withrow, Kent | CES |  | Via Teleconference |
| Wittmeyer, Bob | Longhorn Power |  | Via Teleconference |
| Wolf, Craig | RES |  | Via Teleconference |
| Woods, Brad | Texas RE |  | Via Teleconference |
| Zia, Tao | TNMP |  | Via Teleconference |
| ERCOT Staff: |  |  |  |
| Albracht, Brittney |  |  | Via Teleconference |
| Anderson, Troy |  |  | Via Teleconference |
| Azeredo, Chris |  |  | Via Teleconference |
| Billo, Jeff |  |  | Via Teleconference |
| Boren, Ann |  |  | Via Teleconference |
| Clifton, Suzy |  |  |  |
| Devadhas Mohanadhas, Thinesh |  |  | Via Teleconference |
| Finke, Sidne |  |  | Via Teleconference |
| Fohn, Doug |  |  | Via Teleconference |
| Garcia, Freddy |  |  | Via Teleconference |
| Gnanam, Prabhu |  |  | Via Teleconference |
| Golen, Robert |  |  | Via Teleconference |
| Gonzales, Nathan |  |  |  |
| Gravois, Patrick |  |  | Via Teleconference |
| Hernandez-Garcia, Jessica |  |  | Via Teleconference |
| Hinojosa, Luis |  |  | Via Teleconference |
| Huang, Fred |  |  |  |
| Jayachandran, Marilyn |  |  | Via Teleconference |
| Kang, Sun Wook |  |  | Via Teleconference |
| Lee, Alex |  |  | Via Teleconference |
| Maggio, Dave |  |  | Via Teleconference |
| Mago, Nitika |  |  |  |
| Matlock, Robert |  |  | Via Teleconference |
| Mereness, Matt |  |  |  |
| Miller, Megan |  |  | Via Teleconference |
| Myers, Madison |  |  | Via Teleconference |
| Phillips, Cory |  |  |  |
| Ramthun, Eli |  |  | Via Teleconference |
| Schmall, John |  |  | Via Teleconference |
| Troublefield, Jordan |  |  |  |
| Wasik-Gutierrez, Erin |  |  |  |
| Yan, Ping |  |  | Via Teleconference |

Unless otherwise indicated, all Market Segments participated in the votes.

Katie Rich called the May 1, 2025 ROS meeting to order at 9:30 a.m.

Antitrust Admonition

Ms. Rich directed attention to the Antitrust Admonition, which was displayed.

Agenda Review

- Ms. Rich reviewed the agenda.

- Approval of Meeting Minutes (see Key Documents)

- April 3, 2025

Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

- Technical Advisory Committee (TAC) Update

Ms. Rich reviewed the disposition of items considered at the April 23, 2025 TAC meeting, highlighted discussion on the 2026 Ancillary Services Methodology timeline, and encouraged participants to attend the May 19 and June 30, 2025 Ancillary Services Methodology workshops.

- ERCOT Reports (see Key Documents)

- Operations Report

Alex Lee summarized the March 2025 ERCOT Monthly Operations Report.

- System Planning Report

Ping Yan summarized the March 2025 ERCOT System Planning Monthly Status report.

Urgency Votes (Waive – Notice) (see Key Documents)

Nodal Protocol Revision Request (NPRR) 1282, Ancillary Service Duration under Real-Time Co-Optimization

Nodal Operating Guide Revision Request (NOGRR) 277, Ancillary Service Duration under Real-Time Co-Optimization

Ms. Rich reviewed the procedural steps to consider NPRR1282 and NOGRR277.

Chase Smith moved to waive notice on NPRR1282 and NOGRR277.  Kevin Matt seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Matt Mereness reviewed the request for Urgent Status and Revision Requests timeline for NPRR1282 and NOGRR277 for consideration at the June 24, 2025 ERCOT Board (Board) meeting, highlighted discussion of the issues in previous Real-Time Co-optimization plus Batteries Task Force (RTCBTF) meetings, and noted the State of Charge (SOC) and Ancillary Service duration agenda items for the May 8, 2025 RTCBTF meeting.  Nitika Mago provided an overview of NPRR1282 and NOGRR277, noted the detailed analysis of the duration requirements posted on the March 25, 2025 RTCBTF meeting page, and responded to participant questions and concerns.  Participants expressed support for additional time to consider alternate solutions; further discussions at the May 8, 2025 RTCBTF meeting and May 14, 2025 Protocol Revision Subcommittee (PRS) meeting; and a potential email vote for NOGRR277.  ROS took no further action on the issues.

ROS Revision Requests (see Key Documents)

Impact Analysis

NOGRR265, Related to NPRR1238, Voluntary Registration of Loads with Curtailable Load Capabilities

Participants acknowledged previous failure to take required voting action on NOGRR265 at the April 3, 2025 ROS meeting and noted the 4/29/25 ERCOT comments to NOGRR265 requesting an alternate schedule for the development of the Impact Analysis.  In response to participant concerns regarding the timeline and potential risks with continued delay, Mr. Anderson provided the anticipated timeline to develop the respective Impact Analysis for NPRR1238 and NOGRR265, and offered an email vote for ROS consideration of NOGRR265 to align both Revision Requests for consideration at the May 28, 2025 TAC meeting.  Participants expressed support for tabling NOGRR265 with an anticipated email vote.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

NOGRR275, Eliminate Scheduling Center Requirements for QSEs That Are Not WAN Participants

Participants reviewed the 2/28/25 Impact Analysis for NOGRR275.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Language Review

Planning Guide Revision Request (PGRR) 125, Update of LSIPA Compliance Attestation

Doug Fohn provided an overview of PGRR125, the request for Urgent Status, and the 4/29/25 ERCOT comments, and offered administrative clarifications to revise footnote 1 in Section 8, Attachment D:  Attestation Regarding Compliance with the Lone Star Infrastructure Protection Act, to update a statutory reference.  Holly Heinrich reviewed the 4/29/25 CPV Basin Ranch comments.  Participants reviewed the 3/25/25 Impact Analysis to PGRR125.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Revision Requests Tabled at ROS (see Key Documents)

PGRR 073, Related to NPRR956, Designation of Providers of Transmission Additions

NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs

PGRR121, Related to NOGRR272, Advanced Grid Support Requirements for Inverter-Based ESRs

NOGRR273, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

PGRR123, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

Resource Registration Glossary Revision Request (RRGRR) 038, Related to NPRR1264, Creation of a New Energy Attribute Certificate Program

ROS took no action on these items.

NPRR1264, Creation of a New Energy Attribute Certificate Program (see Key Documents)

ROS took no action on this item.

NPRR1278, Establishing Advanced Grid Support Service as an Ancillary Service (See Key Documents)

ROS took no action on this item.

Operations Working Group (OWG) (see Key Documents)

Tyler Springer reviewed OWG activities.

NPRR1070, Planning Criteria for GTC Exit Solutions

ROS took no action on this item.

Performance, Disturbance, Compliance Working Group (PDCWG) (see Key Documents)

Chad Mulholland reviewed PDCWG activities.

Network Data Support Working Group (NDSWG)

Phil Hoffer reviewed NDSWG activities.

NPRR1265, Unregistered Distributed Generator

System Change Request (SCR) 831, Short Circuit Model Integration

ROS took no action on these items.

System Protection Working Group (SPWG) (See Key Documents)

SPWG Procedure Manual

Mark McChesney reviewed SPWG activities and presented the SPWG Procedure Manual for ROS consideration.  Ms. Rich noted this item could be considered for inclusion in the Combined Ballot.

Steady State Working Group (SSWG) (See Key Documents)

SSWG Procedure Manual

Zach Walker reviewed SSWG activities.  The SSWG Procedure Manual was deferred to the June 5, 2025 ROS meeting.

Dynamics Working Group (DWG) (see Key Documents)

DWG Procedure Manual

Fahad Qureshi reviewed DWG activities and presented the DWG Procedure Manual for ROS consideration.  Some participants expressed concern for ROS action on the DWG Procedure Manual while NPRR1278 and NOGRR272 are still proceeding through the stakeholder process.  Fred Huang stated that although the technical requirements are the same in the manual and Revision Requests, the proposed manual updates provide guidance on mitigation options and therefore should not impact ongoing Revision Request discussion.

Paul Person moved to approve the DWG Procedure Manual as presented.  Chris Koenig seconded the motion.  The motion carried with four abstentions from the Independent Generator (Southern Power, EDF Renewables, Vistra, Calpine) Market Segment.  (Please see ballot posted with Key Documents).

Planning Working Group (PLWG) (see Key Documents)

Mina Turner reviewed PLWG activities.

PGRR120, SSO Prevention for Generator Interconnection

PGRR122, Reliability Performance Criteria for Loss of Load

PGRR124, ESR Maintenance Exception to Modifications

NPRR1272, Voltage Support at Private Use Networks

NPRR1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects

ROS took no action on these items.

Combined Ballot

Shane Thomas moved to approve the Combined Ballot as follows:

- To approve the April 3, 2025 Meeting Minutes as submitted

- To table NOGRR265

- To endorse and forward to TAC the 4/3/25 ROS Report and 2/28/25 Impact Analysis for NOGRR275

- To grant PGRR125 Urgent status; to recommend approval of PGRR125 as amended by the 4/29/25 ERCOT comments as revised by ROS; and to forward to TAC PGRR125 and the 3/25/25 Impact Analysis

- To approve the SPWG Procedure Manual as presented

Chris Koenig seconded the motion.  The motion carried unanimously.  (Please see ballot posted with Key Documents.)

Inverter Based Resources Working Group (IBRWG) (see Key Documents)

Ms. Rich noted the IBRWG report was posted to the May 1, 2025 ROS meeting page.

Operations Training Working Group (OTWG) (See Key Documents)

No update was provided.

Other Business

2026 Block Calendar

Participants reviewed the 2026 Block Calendar and expressed support for the proposed 2026 ROS meeting dates.

Iberian Peninsula Black out

Ms. Rich noted the requests for ROS discussion of the April 28, 2025 Iberian Peninsula Black out.  Freddy Garcia offered to provide details on the issues at a future ROS meeting.

Review Open Action Items List

Ms. Rich summarized discussion at the April 23, 2025 TAC meeting on the ROS completed TAC assignment to review calculating Loads/Load Shedding in Real-Time (related to NOGRR243, Implementation of Seasonal Load Shed Table), noted that although TAC removed this item, they further discussed that NPRR1238, Registration of Loads with Curtailable Load Capabilities, and NOGRR265 are

still proceeding through the stakeholder process and requested ROS review the following issue:

- Evaluate Load shed obligations in light of new curtailable Loads (NPRR1238 /NOGRR265)

No Report

- Black Start Working Group (BSWG)

- Voltage Profile Working Group (VPWG)

Adjournment

Ms. Rich adjourned the May 1, 2025 ROS meeting at 11:43 a.m.

Key Documents referenced in these minutes may be accessed on the ERCOT website at: https://www.ercot.com/calendar/05012025-ROS-Meeting