## Slide 1: HEN DRRS Additional Details to address Resource Adequacy
Shams Siddiqi, Ph.D.
Hunt Energy Network (HEN)
(512) 619-3532
shams@crescentpower.net
DRRS Workshop V
June 26, 2025

## Slide 2: HEN DRRS Additional Details
HEN supports ERCOT’s Release Factor DRRS design with the added feature that ERCOT Commitment of DRRS Resources is treated as any other RUC for Reliability Deployment Price Adder (RDPA) purposes to undo the price suppression caused by such commitment.
HB1500 of the last session and the proposed legislations in this just-concluded legislative session made clear the Legislators’ desire to ensure adequate dispatchable resources are developed in ERCOT
HEN provides additional details to ERCOT’s Release Factor DRRS recommendation to address resource adequacy – i.e., ensure Long Duration Resources (LDRs) are built and existing LDRs are supported at the lowest cost to consumers while simplifying implementation. ERCOT systems should be spec’d to be able to implement this bifurcated DRRS design.
DRRS qualifications (LDR definition):
  Dispatchable by SCED when On-line
  If Off-line, capable of starting within 2 hours
  Able to sustain their HSL for at least 8-12 hours in Dec-Feb and at least 4-6 hours in all other months

## Slide 3: Possible Bifurcation to Reduce Cost
To reduce consumer costs of DRRS, bifurcating DRRS into New LDR DRRS and Existing LDR DRRS may be considered since the cost of supporting existing LDRs is generally lower than CONE of new LDRs.
Existing LDRs are those with COD prior to a date certain and New LDRs are those with COD after that date. Ten years after COD, New LDRs become part of Existing LDRs.
DRRS ASDC is designed to ensure recovery of PUCT-set CONE for New LDRs and competitively set cost recovery to maintain Existing LDRs.
Since meeting winter storm challenge with LDRs is one of DRRS goals and this exposure is throughout the day, capacity needed to meet Magnitude of Reliability Standard sets ASDC at ASDC cap for New DRRS for every hour sloping linearly down to $0 at an additional 150% of Magnitude Limit.
  E.g., 25GW Load Shed exposure and 8GW Magnitude limit would imply first 17GW at ASDC cap and then linearly decreasing to $0 at 29GW.
ASDC caps for New DRRS in non-winter months add up to 10% of CONE allocated monthly blocks for hours based on LOLE.
ASDC cap for New DRRS in Dec-Feb is set just prior to Dec equal to (2 x LDR CONE minus prior 21-month LDR Net Margin)/(No. of hours in winter)
  E.g., for LDR CONE of $200/kW-yr and 21-month of LDR Net Margin of $300/kW, Dec-Feb ASDC cap = 100,000/(90x24) = $46/MW/Hour)

## Slide 4: Bifurcated DRRS ASDCs (cont.)
Existing DRRS ASDCs are set as follows:
  Existing DRRS ASDC cap will extend to 80% of existing LDR capacity and then the Existing DRRS ASDC would slope down linearly to $0 at 110% of existing LDR capacity.
  E.g., assuming 70GW existing LDR, the Existing DRRS ASDC would be at the cap for 56GW and the slope down to $0 at 77GW. 70GW of existing LDR supply intersects the Existing DRRS ASDC at 33% of it’s cap value. This implies that all existing LDRs would be supported only if the per MW cost of maintaining all existing LDRs was less than 33% of that of a new DRRS resource. Existing DRRS ASDCs ensure that Existing DRRS MCPCs are competitively set. [Note: New DRRS MCPCs are set at the ASDC cap until New LDRs are sufficient to meet or exceed the capacity deficiency to meet the Magnitude limit.]
The proposed DRRS ASDC design ensures that existing LDRs compete to ensure DRRS award while new LDRs are assured their CONE recovery for at least 10 years until sufficient LDRs are built to address the winter storm challenge.

## Slide 5: Conclusion
HEN supports ERCOT’s Release Factor DRRS design with the added feature that ERCOT Commitment of DRRS Resources is treated as any other RUC for Reliability Deployment Price Adder (RDPA) purposes to undo the price suppression caused by such commitment.
HEN additional DRRS design details ensure that new LDRs are built at least to meet the Magnitude limit of the ERCOT market’s targeted reliability standard as required by statute while providing support to existing competitive LDRs at least cost.