## Slide 1: Operations Working Group
Chair- Rickey Floyd
Vice-Chair- Tyler Springer
06/16/2025

## Slide 2: ERCOT Updates and System Operation Report
Freddy Garcia
The unofficial ERCOT peak load for May 2025 was 78,392 MW, which was new demand record for the month of May. New peak was set on 5/23 at 17:00. The demand for May of 2024 was 77,138 MW.
A new Solar generation record of 27,071 MW was set on May 12th @ 10:38, with 52.6% penetration.
A new Renewable generation record of 42,152 MW was set on May 24th, with 60.9% penetration.

## Slide 3: Texas Reliability Entity Report
6/16 Talk with Texas, Reliability and Performance and Regional Risk Assessment
6/24 Talk with Texas, Modeling and Modeling Verification
7/16 TRE Workshop, Evolving Grid
6/16 NERC State of Reliability Report is being published

## Slide 4: NPRR 1070 - Planning Criteria for GTC Exit Solutions
Remains tabled.
No updates today.

## Slide 5: NPRR 1278 – Establishing Advanced Grid Support Service as Ancillary Service
OWG does not have a consensus or recommendations
OWG understands that WMS is also reviewing this NPRR and recognizes that the proposed changes by the NPRR better aligns with a WMS.

## Slide 6: NOGRR272 Advanced Grid Support Requirements for Inverter-Based ESRs
OWG does not have consensus on NOGRR272
OWG desires better clarification on the operational and performance requirements
ERCOT is expected to submit additional comments based on the discussion at OWG.
Comments filed by ERCOT will be presented at ROS for consideration

## Slide 7: NPRR1287 Revisions to Outage Coordination
Comments were reviewed at OWG
OWG agrees with the proposed timeline and allowing ERCOT to have discretion to approve outages
Recent LCRA comments were also reviewed.
ERCOT is expected to submits additional comments in response to LCRA’s comments.
Oncor recommends including comments that would allow outages to be approved for transmission projects that are critical for maintaining reliability

## Slide 8: Other Business
None.