## Slide 1: Congestion Management Working Group - 06/16/2025 Meeting Update
July 9, 2025
Chenyan Guo, chair

## Slide 2: CRR Long Term Auction Solution Time and Transaction Limits
ERCOT staff spoke to chart of historical and current metrics that included total transactions, PWD transactions and runtime hours
  26% increase in submitted transactions since the most recent previous sequence 2 auction
  Peak weekday case in last month took 211 hours to solve
ERCOT implemented NPRR1261 Operational Flexibility for CRR Auction Transaction Limits
  ERCOT aims to get the solve time under 100 hours with implementation of NPRR1261
  Given over 200 hours solve time last month, LTAS Pre-CRRAH limits will likely need to be reduced further due to continuing large increases in submitted transactions and submitting CRRAHs
  ERCOT will provide further updates on the hardware upgrades at next CMWG meeting

## Slide 3: Day Ahead Market PTP Activity Update
ERCOT did not present new update on DAM PTP Obligation and PTP Obligation with Links to an Option (PTPLO) bid submission activity
  High volumes of PTP and PTPLO submissions over the study period of 2021 to 2025 are linked to increased optimization engine execution time
      The majority of PTP submissions are received by a small minority of market participants
  No clear upper limit or boundary on this growth
  ERCOT has proposed some form of submission fee for PTPs (excluding PTPLOs)to address this concern, but was deprioritized due to Winter Storm Uri impacts
ERCOT will continue to evaluate correlation of unawarded PTPs vs. execution time and analyze submission activity to make informed suggestion of a fee structure

## Slide 4: GTC Updates Including Exit Plans
ERCOT did not have presentation but gave a brief update
  ERCOT asked feedback on what CMWG would like to see regarding GTCs and Exit plans
      Stakeholders asked ERCOT to provide a good summery of GTCs and timelines for their exits
  ERCOT provided a brief update on Transient Security Assessment Tool (TSAT)
      ERCOT aims to have the tool fully in place by the end of 2025
ERCOT will present more updates at the next CMWG meeting

## Slide 5: NPRR 1230, Methodology for Setting Transmission Shadow Price Caps for an IROL in SCED
ERCOT staff provided monitoring update on NPRR 1230 as requested by TAC
  NPRR 1230 changed the calculation methodology for certain IROLs to increase their Shadow Price Cap
      It was implemented beginning October 2024
      It allows SCED to manage the IROLs instead of manual High Dispatchable Limit (HDL) overrides
  Three extreme pricing events associated with congestions on the South Texas Constraints since NPRR 1230 was implemented
      ERCOT’s counterfactual analysis of the most recent two events showed NPRR 1230 is having the desired impact
      For both events, Settlement Point Prices were lower in every Load Zone for both the intervals of the extreme pricing event and the hour containing those intervals