## Slide 1
Generation Resource Energy and Regulation Deployment Performance Report for April 2025

## Slide 2: Non-IRR GREDP < 85% – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 480 | 96 | 152 | 1.67 | 63.16
Unit 507 | 4 | 20 | 0.71 | 20.00

## Slide 3: IRR Summary – April 2025
IRR | Fleet | < 95% | > 100 INT, < 95%
GREDP Average (%) | 90.02 | 79.77 | 82.97
GREDP Median (%) | 96.29 | 87.07 | 88.86
Average MW Error | 7.05 | 7.32 | 7.29
Median MW Error | 6.43 | 6.52 | 6.52
Total Intervals Scored | 224,716 | 114,702 | 113,684
100+ Intervals Scored | 267 | 134 | 126
Total Intervals Scored Average | 557.61 | 712.43 | 902.25

## Slide 4: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 1 | 4,345 | 4,553 | 0.92 | 95.43
Unit 3 | 4,161 | 4,264 | 5.66 | 97.58
Unit 5 | 4,132 | 4,158 | 0.91 | 99.37
Unit 8 | 3,726 | 3,817 | 4.05 | 97.62
Unit 12 | 3,384 | 3,487 | 8.98 | 97.05
Unit 13 | 3,185 | 3,188 | 5.33 | 99.91
Unit 15 | 2,894 | 2,986 | 4.74 | 96.92
Unit 16 | 2,899 | 2,937 | 12.18 | 98.71
Unit 18 | 2,518 | 2,521 | 4.95 | 99.88
Unit 19 | 2,466 | 2,483 | 3.39 | 99.32
Unit 20 | 2,301 | 2,343 | 4.20 | 98.21
Unit 23 | 2,154 | 2,187 | 9.60 | 98.49
Unit 24 | 2,125 | 2,163 | 9.42 | 98.24
Unit 25 | 2,106 | 2,109 | 2.46 | 99.86
Unit 26 | 2,013 | 2,044 | 11.44 | 98.48
Unit 27 | 1,996 | 2,029 | 5.20 | 98.37
Unit 28 | 2,007 | 2,027 | 4.61 | 99.01
Unit 30 | 2,005 | 2,009 | 4.45 | 99.80
Unit 32 | 1,831 | 1,856 | 9.38 | 98.65

## Slide 5: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 34 | 1,750 | 1,756 | 7.54 | 99.66
Unit 36 | 1,632 | 1,692 | 8.03 | 96.45
Unit 37 | 1,602 | 1,635 | 6.06 | 97.98
Unit 40 | 1,491 | 1,550 | 2.71 | 96.19
Unit 42 | 1,395 | 1,464 | 7.27 | 95.29
Unit 44 | 1,400 | 1,454 | 3.78 | 96.29
Unit 45 | 1,435 | 1,441 | 3.42 | 99.58
Unit 47 | 1,319 | 1,383 | 11.20 | 95.37
Unit 48 | 1,315 | 1,316 | 4.39 | 99.92
Unit 55 | 1,158 | 1,198 | 1.45 | 96.66
Unit 56 | 1,161 | 1,191 | 8.04 | 97.48
Unit 57 | 1,149 | 1,152 | 5.60 | 99.74
Unit 59 | 1,114 | 1,124 | 7.28 | 99.11
Unit 63 | 1,033 | 1,079 | 9.54 | 95.74
Unit 66 | 1,009 | 1,027 | 2.59 | 98.25
Unit 70 | 943 | 955 | 5.86 | 98.74
Unit 71 | 934 | 952 | 10.09 | 98.11
Unit 72 | 916 | 945 | 7.50 | 96.93
Unit 73 | 932 | 943 | 7.75 | 98.83

## Slide 6: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 79 | 917 | 924 | 8.54 | 99.24
Unit 80 | 913 | 918 | 6.08 | 99.46
Unit 81 | 880 | 906 | 4.92 | 97.13
Unit 84 | 853 | 883 | 10.30 | 96.60
Unit 85 | 873 | 882 | 3.49 | 98.98
Unit 86 | 841 | 880 | 5.73 | 95.57
Unit 87 | 873 | 877 | 5.26 | 99.54
Unit 91 | 823 | 849 | 4.85 | 96.94
Unit 92 | 821 | 848 | 6.69 | 96.82
Unit 101 | 752 | 773 | 7.15 | 97.28
Unit 105 | 705 | 739 | 0.90 | 95.40
Unit 106 | 674 | 707 | 5.94 | 95.33
Unit 108 | 666 | 687 | 7.24 | 96.94
Unit 122 | 577 | 583 | 10.98 | 98.97
Unit 124 | 570 | 579 | 3.50 | 98.45
Unit 126 | 567 | 577 | 8.74 | 98.27
Unit 128 | 568 | 568 | 5.77 | 100.00
Unit 132 | 515 | 519 | 7.92 | 99.23
Unit 135 | 511 | 515 | 4.14 | 99.22

## Slide 7: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 136 | 512 | 513 | 9.64 | 99.81
Unit 139 | 495 | 495 | 3.32 | 100.00
Unit 143 | 470 | 481 | 7.87 | 97.71
Unit 144 | 473 | 480 | 2.31 | 98.54
Unit 145 | 444 | 457 | 3.49 | 97.16
Unit 147 | 441 | 447 | 6.93 | 98.66
Unit 148 | 425 | 440 | 5.30 | 96.59
Unit 149 | 434 | 435 | 6.85 | 99.77
Unit 151 | 428 | 429 | 9.46 | 99.77
Unit 152 | 420 | 428 | 6.06 | 98.13
Unit 153 | 426 | 428 | 6.49 | 99.53
Unit 154 | 422 | 427 | 5.93 | 98.83
Unit 155 | 418 | 418 | 2.83 | 100.00
Unit 156 | 385 | 404 | 7.26 | 95.30
Unit 158 | 381 | 391 | 9.77 | 97.44
Unit 160 | 375 | 388 | 1.78 | 96.65
Unit 161 | 367 | 376 | 4.58 | 97.61
Unit 166 | 348 | 353 | 4.27 | 98.58
Unit 173 | 299 | 309 | 7.13 | 96.76

## Slide 8: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 175 | 272 | 272 | 1.90 | 100.00
Unit 176 | 257 | 270 | 6.19 | 95.19
Unit 180 | 243 | 250 | 3.27 | 97.20
Unit 181 | 241 | 249 | 3.33 | 96.79
Unit 187 | 209 | 217 | 6.41 | 96.31
Unit 188 | 210 | 215 | 12.05 | 97.67
Unit 189 | 201 | 208 | 14.03 | 96.63
Unit 192 | 198 | 201 | 7.68 | 98.51
Unit 194 | 193 | 195 | 15.26 | 98.97
Unit 195 | 191 | 191 | 6.46 | 100.00
Unit 196 | 187 | 190 | 9.17 | 98.42
Unit 198 | 170 | 170 | 3.80 | 100.00
Unit 199 | 170 | 170 | 5.00 | 100.00
Unit 200 | 164 | 166 | 4.14 | 98.80
Unit 201 | 164 | 164 | 6.86 | 100.00
Unit 202 | 162 | 163 | 4.19 | 99.39
Unit 203 | 163 | 163 | 7.30 | 100.00
Unit 204 | 161 | 161 | 4.29 | 100.00
Unit 206 | 156 | 158 | 2.04 | 98.73

## Slide 9: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 207 | 158 | 158 | 4.85 | 100.00
Unit 208 | 148 | 154 | 7.84 | 96.10
Unit 210 | 146 | 149 | 8.53 | 97.99
Unit 211 | 148 | 149 | 10.48 | 99.33
Unit 212 | 143 | 146 | 9.55 | 97.95
Unit 213 | 142 | 146 | 7.72 | 97.26
Unit 215 | 142 | 144 | 6.43 | 98.61
Unit 216 | 138 | 143 | 8.64 | 96.50
Unit 218 | 142 | 142 | 6.87 | 100.00
Unit 220 | 137 | 139 | 5.48 | 98.56
Unit 224 | 129 | 134 | 14.30 | 96.27
Unit 225 | 130 | 133 | 13.33 | 97.74
Unit 226 | 132 | 132 | 9.18 | 100.00
Unit 229 | 124 | 124 | 19.90 | 100.00
Unit 230 | 120 | 121 | 13.14 | 99.17
Unit 232 | 118 | 119 | 5.17 | 99.16
Unit 233 | 118 | 119 | 7.41 | 99.16
Unit 234 | 119 | 119 | 9.60 | 100.00
Unit 235 | 119 | 119 | 7.78 | 100.00

## Slide 10: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 236 | 118 | 119 | 14.17 | 99.16
Unit 237 | 119 | 119 | 9.48 | 100.00
Unit 238 | 118 | 118 | 3.51 | 100.00
Unit 239 | 117 | 118 | 8.48 | 99.15
Unit 240 | 118 | 118 | 9.23 | 100.00
Unit 241 | 118 | 118 | 3.92 | 100.00
Unit 242 | 117 | 118 | 7.12 | 99.15
Unit 244 | 118 | 118 | 4.59 | 100.00
Unit 245 | 118 | 118 | 8.36 | 100.00
Unit 246 | 117 | 118 | 12.50 | 99.15
Unit 247 | 118 | 118 | 10.84 | 100.00
Unit 248 | 117 | 118 | 7.63 | 99.15
Unit 249 | 118 | 118 | 10.66 | 100.00
Unit 250 | 118 | 118 | 6.13 | 100.00
Unit 251 | 118 | 118 | 8.81 | 100.00
Unit 252 | 118 | 118 | 4.66 | 100.00
Unit 253 | 118 | 118 | 9.84 | 100.00
Unit 254 | 118 | 118 | 8.46 | 100.00
Unit 255 | 117 | 118 | 8.75 | 99.15

## Slide 11: IRR ≥ 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 256 | 118 | 118 | 15.09 | 100.00
Unit 257 | 118 | 118 | 6.21 | 100.00
Unit 258 | 118 | 118 | 9.26 | 100.00
Unit 259 | 115 | 117 | 1.01 | 98.29
Unit 261 | 105 | 108 | 2.97 | 97.22
Unit 262 | 106 | 107 | 2.90 | 99.07
Unit 265 | 102 | 102 | 0.73 | 100.00
Unit 267 | 100 | 100 | 7.57 | 100.00

## Slide 12: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 2 | 3,337 | 4,505 | 2.02 | 74.07
Unit 4 | 3,918 | 4,256 | 2.22 | 92.06
Unit 6 | 3,051 | 3,897 | 3.68 | 78.29
Unit 7 | 3,492 | 3,875 | 2.89 | 90.12
Unit 9 | 3,300 | 3,801 | 7.25 | 86.82
Unit 10 | 2,660 | 3,623 | 7.83 | 73.42
Unit 11 | 3,098 | 3,517 | 7.64 | 88.09
Unit 14 | 2,344 | 3,111 | 8.36 | 75.35
Unit 17 | 2,413 | 2,675 | 2.87 | 90.21
Unit 21 | 2,069 | 2,246 | 7.31 | 92.12
Unit 22 | 1,972 | 2,194 | 6.58 | 89.88
Unit 29 | 1,816 | 2,013 | 6.03 | 90.21
Unit 31 | 1,802 | 1,957 | 3.31 | 92.08
Unit 33 | 1,663 | 1,853 | 4.50 | 89.75
Unit 35 | 1,465 | 1,714 | 4.64 | 85.47
Unit 38 | 1,101 | 1,632 | 12.18 | 67.46
Unit 39 | 1,075 | 1,559 | 2.96 | 68.95
Unit 41 | 1,405 | 1,522 | 2.67 | 92.31
Unit 43 | 1,342 | 1,463 | 6.75 | 91.73

## Slide 13: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 46 | 640 | 1,405 | 7.61 | 45.55
Unit 49 | 1,217 | 1,305 | 10.95 | 93.26
Unit 50 | 1,182 | 1,304 | 3.89 | 90.64
Unit 51 | 1,117 | 1,304 | 3.80 | 85.66
Unit 52 | 930 | 1,285 | 5.02 | 72.37
Unit 53 | 992 | 1,264 | 6.96 | 78.48
Unit 54 | 1,158 | 1,219 | 6.05 | 95.00
Unit 58 | 1,041 | 1,127 | 6.98 | 92.37
Unit 60 | 977 | 1,105 | 7.59 | 88.42
Unit 61 | 871 | 1,099 | 6.86 | 79.25
Unit 62 | 1,003 | 1,091 | 6.42 | 91.93
Unit 64 | 1,019 | 1,073 | 7.76 | 94.97
Unit 65 | 780 | 1,057 | 8.91 | 73.79
Unit 67 | 941 | 1,011 | 9.98 | 93.08
Unit 68 | 928 | 1,005 | 19.36 | 92.34
Unit 69 | 884 | 989 | 8.67 | 89.38
Unit 74 | 874 | 942 | 7.43 | 92.78
Unit 75 | 858 | 942 | 8.51 | 91.08
Unit 76 | 830 | 940 | 5.36 | 88.30

## Slide 14: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 77 | 597 | 926 | 20.67 | 64.47
Unit 78 | 866 | 926 | 5.52 | 93.52
Unit 82 | 843 | 897 | 10.81 | 93.98
Unit 83 | 831 | 893 | 7.35 | 93.06
Unit 88 | 816 | 871 | 4.58 | 93.69
Unit 89 | 560 | 861 | 18.44 | 65.04
Unit 90 | 779 | 851 | 9.42 | 91.54
Unit 93 | 749 | 844 | 12.13 | 88.74
Unit 94 | 711 | 841 | 4.03 | 84.54
Unit 95 | 756 | 810 | 6.52 | 93.33
Unit 96 | 744 | 801 | 10.74 | 92.88
Unit 97 | 749 | 800 | 12.16 | 93.63
Unit 98 | 741 | 797 | 5.50 | 92.97
Unit 99 | 680 | 781 | 7.31 | 87.07
Unit 100 | 711 | 777 | 2.42 | 91.51
Unit 102 | 666 | 758 | 7.90 | 87.86
Unit 103 | 556 | 754 | 1.61 | 73.74
Unit 104 | 705 | 746 | 8.23 | 94.50
Unit 107 | 469 | 689 | 4.09 | 68.07

## Slide 15: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 109 | 333 | 674 | 6.58 | 49.41
Unit 110 | 629 | 665 | 1.50 | 94.59
Unit 111 | 614 | 660 | 21.09 | 93.03
Unit 112 | 448 | 657 | 5.40 | 68.19
Unit 113 | 275 | 640 | 5.43 | 42.97
Unit 114 | 572 | 630 | 14.49 | 90.79
Unit 115 | 576 | 629 | 3.74 | 91.57
Unit 116 | 590 | 629 | 7.37 | 93.80
Unit 117 | 540 | 616 | 8.71 | 87.66
Unit 118 | 566 | 610 | 4.00 | 92.79
Unit 119 | 480 | 603 | 8.35 | 79.60
Unit 120 | 181 | 600 | 4.81 | 30.17
Unit 121 | 450 | 593 | 13.73 | 75.89
Unit 123 | 481 | 579 | 7.98 | 83.07
Unit 125 | 466 | 578 | 11.76 | 80.62
Unit 127 | 538 | 575 | 5.21 | 93.57
Unit 129 | 480 | 558 | 15.59 | 86.02
Unit 130 | 416 | 529 | 0.91 | 78.64
Unit 131 | 457 | 525 | 13.49 | 87.05

## Slide 16: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 133 | 418 | 519 | 5.28 | 80.54
Unit 134 | 476 | 516 | 5.13 | 92.25
Unit 137 | 458 | 511 | 6.52 | 89.63
Unit 138 | 446 | 501 | 3.62 | 89.02
Unit 140 | 153 | 491 | 8.33 | 31.16
Unit 141 | 410 | 488 | 3.97 | 84.02
Unit 142 | 454 | 487 | 1.72 | 93.22
Unit 146 | 288 | 450 | 6.19 | 64.00
Unit 150 | 406 | 431 | 22.81 | 94.20
Unit 157 | 223 | 392 | 7.32 | 56.89
Unit 159 | 347 | 390 | 1.76 | 88.97
Unit 162 | 348 | 376 | 10.18 | 92.55
Unit 163 | 319 | 366 | 5.21 | 87.16
Unit 164 | 323 | 355 | 13.34 | 90.99
Unit 165 | 295 | 355 | 5.35 | 83.10
Unit 167 | 307 | 334 | 3.74 | 91.92
Unit 168 | 296 | 328 | 9.71 | 90.24
Unit 169 | 300 | 323 | 8.34 | 92.88
Unit 170 | 285 | 322 | 6.08 | 88.51

## Slide 17: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 171 | 167 | 320 | 17.50 | 52.19
Unit 172 | 235 | 309 | 7.73 | 76.05
Unit 174 | 260 | 274 | 5.41 | 94.89
Unit 177 | 245 | 266 | 4.76 | 92.11
Unit 178 | 248 | 262 | 2.44 | 94.66
Unit 179 | 210 | 253 | 6.12 | 83.00
Unit 182 | 92 | 248 | 0.33 | 37.10
Unit 183 | 197 | 236 | 19.61 | 83.47
Unit 184 | 215 | 230 | 10.15 | 93.48
Unit 185 | 159 | 223 | 4.81 | 71.30
Unit 186 | 151 | 222 | 9.48 | 68.02
Unit 190 | 186 | 204 | 2.58 | 91.18
Unit 191 | 108 | 202 | 8.42 | 53.47
Unit 193 | 187 | 200 | 4.68 | 93.50
Unit 197 | 168 | 187 | 14.58 | 89.84
Unit 205 | 151 | 160 | 10.53 | 94.38
Unit 209 | 97 | 150 | 1.44 | 64.67
Unit 214 | 127 | 146 | 4.92 | 86.99
Unit 217 | 127 | 142 | 8.25 | 89.44

## Slide 18: IRR < 95%, ≥ 100 Scored Intervals – April 2025
Unit | Total Intervals Passed | Total Intervals Scored | Std. Dev. (ATG - Exp MW) | GREDP Monthly Score
Unit 219 | 112 | 141 | 14.05 | 79.43
Unit 221 | 119 | 138 | 3.33 | 86.23
Unit 222 | 107 | 137 | 5.31 | 78.10
Unit 223 | 122 | 135 | 4.46 | 90.37
Unit 227 | 100 | 127 | 2.75 | 78.74
Unit 228 | 107 | 126 | 1.70 | 84.92
Unit 231 | 66 | 119 | 6.06 | 55.46
Unit 243 | 109 | 118 | 8.33 | 92.37
Unit 260 | 96 | 111 | 4.54 | 86.49
Unit 263 | 95 | 106 | 3.97 | 89.62
Unit 264 | 69 | 102 | 13.17 | 67.65
Unit 266 | 95 | 102 | 3.02 | 93.14