## Slide 1: Planning Working Group Update
to
The Reliability and Operations Subcommittee
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
July 10th , 2025

## Slide 2: PLWG Update
PGRR 122 - Reliability Performance Criteria for Loss of Load
  Discussion occurred at the large load workshop about possible ride-through requirements.
  ERCOT is still contemplating comments for PGRR 122 but is not ready to file them as yet.
  Need for extensive comments including language changes beyond the change in load trip amount.
  The focus is on criteria and not assumptions or modeling process.
  ERCOT agreed to table the PGRR 122 at PLWG.
  Note: Looking for a joint discussion with the LLWG regarding PGRR 122 and ride-through requirements

## Slide 3: PLWG Update
NPRR 1272- Voltage Support at Private Use Networks
  Oxy’s comments on May 20th were in response to ERCOT past concerns regarding load management and reactive power requirements.
  Oxy opposes ERCOT’s preferred solution (self limiting generator) as it affects grid reliability negatively during times of growth
  Oxy explained the requirements and measurement points related to voltage support and reactive power and added there is a discrepancy in ERCOT’s application of the rectangle rule. Oxy believes the measurement is not at the POI and instead at the generator terminals.
  Discussion was tabled until the next meeting since the appropriate ERCOT representatives were not present.
  PLWG agreed to table NPRR 1272 for further discussion.

## Slide 4: PLWG Update
PGRR 124 - ESR Maintenance Exception to Modification
  Eric Goff, Tesla, mentioned that discussions with ERCOT have not taken place due to scheduling conflicts.
  Also noted that there has not been any negative feedback from stakeholders since this proposal was introduced.
  Tesla is ready to advance the proposal and hopes to meet with ERCOT over the next month.
  ERCOT acknowledged the need for more detailed on the proposed changes and mentioned there is already a process in place for some reviews.
  Further discussion anticipated to streamline the proposed changes.
  PGRR tabled at PLWG and aiming to have the necessary discussion between ERCOT and Tesla before the July PLWG.

## Slide 5: PLWG Update
NPRR 1274- RPG Estimated Capital Cost Thresholds of Proposed Transmission Project
  ERCOT presented the proposed change of limits based on Consumer Price Index (CPI), an increase of 35-40 %.
  ERCOT reported that there have been internal discussion regarding the joint TSP and Oncor comments and would like the NPRR tabled another month to resolve comments.
  TEBA presented their comments. They propose accepting the doubling of the dollar limit as proposed by Oncor in exchange for including review of grid enhancing technologies as part of the reliability upgrades. Also, ongoing review of grid enhancing technologies was suggested.
  PLWG agreed to table NPRR 1274 to July PLWG meeting.

## Slide 6: PLWG Update
PGRR 126 – Guaranteed Reliability Load Process, (Related to NPRR1284)
  Presentation by Clayton Greer aimed at providing a bridging solution for large loads to connect early using back up generation or curtailment till the transmission projects are completed.
  If a load request is submitted that created an overload on the transmission system under contingency, then manual system adjustments allowed for backup generation to come on or load curtailment.
  Voluntary GRL agreements are limited to specific loads and contingencies.
  Discussion on potential issues like prolonged outages, mismatch topology in real time, the introduction of complexities in planning and operations processes. How will the curtailments be communicated and managed in real time.
  PLWG agreed to table PGRR 126 till next PLWG meeting.

## Slide 7: PLWG Update
NPRR 1280 – Establish Process for Permanent Bypass of Series Capacitor
  The NPRR proposes a process for permanently bypassing the existing series capacitors which today are being used for voltage support and improving transfer capability.
  There is acknowledgement that the need for the series capacitors might have diminished over time due to system upgrades.
  Process would require the TSP to conduct system stability and transfer capability studies and propose the retirement as a Tier 3 RPG project with potential reclassification to Tier 2 if necessary.
  Once the series capacitor is permanently retired the need for complex SSO studies will not be required.
  Concerns brought up that ERCOT’s role is crucial to conducting congestion analysis and understanding the implications to the transmission system. Need a more holistic analysis including economic, stability and congestion before making the decision to bypass.
  NPRR tabled for further comments by Lone Star Transmission and additional discussion at July PLWG.

## Slide 8: PLWG Update
NPRR 1283 – Modification of SSR Mitigation Timeline
  The NPRR proposes to move the SSR study timeline and mitigation actions after transformer energization. The proposed aims to protect against SSFR risk by ensuring all the studies are complete before initial energization.
  ROS sent the proposal to PLWG for discussion since the SSR studies are being potentially moved up and compressed in an already tight schedule for the developers and could impact commercial operations date.
  During the discussion at PLWG it was decided to move this NPRR to ROS for further discussion from developers and possible vote.

## Slide 9: Questions?