## Slide 1: July PLWG Update
Mina Turner, PLWG Chair
Kristin Cook, PLWG Vice-Chair
August 7th 2025

## Slide 2
PGRR 122 - Reliability Performance Criteria for Loss of Load
  ERCOT is still contemplating filing comments but are not finalized yet.
  ERCOT asked to table the PGRR at PLWG.
  Note: Looking for a joint discussion with the LLWG regarding PGRR 122 and ride-through requirements.
PGRR 126 – Guaranteed Reliability Load Process, (Related to NPRR1284)
  No discussion.
  PLWG is still waiting for the NOGRR
  PLWG agreed to table the PGRR till next meeting or till NOGRR is filed.
PGRR 127, Addition of Proposed Generation to the Planning Models
  ERCOT reviewed the proposed language and was consistent with the generation methodology presented at RPG.
  Discussion regarding suggestion that add all generators in the queue be modeled and then scaled. ERCOT commented the dynamic models may be an issue to meet requirements.
  Tabled at PLWG pending comments from LCRA and other stakeholders.

## Slide 3
PGRR 128, Regional Transmission Plan Review of Grid Enhancing Technologies
  Eric Goff introduced the PGRR and language.
  Oncor commented that maybe GETS consideration should be to an individual RPG submission and not a universal obligation on the TSP.
  Eric Goff looking forward to further discussion with TSP’s.
  PLWG agreed to table the PGRR till next month.
NPRR 1272, Voltage Support at Private Use Network
  ERCOT commented that they do not have any new comments to file.
  Occidental does not understand the reliability issue and feels the ERCOT interpretation is punitive to PUN generators compared to merchant generators.
  There are a lot of operational issues and not necessarily planning issues.
  ERCOT and Occidental agreed to discuss further.
  PLWG could not reach consensus after multiple months of discussion and the NPRR was referred to ROS for possible discussion and vote.

## Slide 4
NPRR 1274, RPG Estimated Capital Cost Thresholds of Proposed Transmission Projects
  ERCOT reported they have sent an RFI to TSPs and are still waiting for feedback.
  NPRR remains tabled at PLWG at the request of ERCOT.
NPRR 1280, Establish Process for Permanent Bypass of Series Capacitors
  Review of the TIEC and LST & AEP Joint comments.
  ERCOT provided input that internally still discussing the Tier level i.e., 2 or 3.
  Lot of discussion regarding the economic tests and whether the current tests could be used for cost-to-benefit evaluations.
  PLWG agreed to table the NPRR pending ERCOT Comments.
NPRR 1284, Guaranteed Reliability Load Process
  Remains Tabled – related to PGRR 126.
  NPRR remains tabled at PLWG pending NOGRR.

## Slide 5
NPRR 1286, Establish Multi-Value Criteria for Resiliency-Related Transmission Project Evaluation
  Joint commentors went over the presentation. This is tied to tabled NPRR 1070.
  ERCOT provided their comments. The comments provided are different than the intent of NPRR 1286 which is mainly to address PUCT rules using resiliency as a pathway to endorse a project. ERCOT suggested maybe revisiting NPRR 1070.
  Joint commentors did not request action and will discuss the path forward.
  NPRR remains tabled at PLWG.
PGRR 124, ESR Maintenance Exception to Modification
  Eric Goff gave an update that Tesla is working with the battery developed on additional comments by the next PLWG.
  PLWG agreed to table PGRR to the August meeting.

## Slide 6: Questions ?