## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-04 | 2 | 13.074 | 6 | 6
2024-05 | 2 | 13.074 | 6 | 6
2024-06 | 2 | 13.074 | 6 | 6
2024-07 | 2 | 14.576 | 8.6 | 8.6
2024-08 | 3 | 15.076 | 8.6 | 8.733
2024-09 | 3 | 15.076 | 8.6 | 8.733
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
04/2024 | AR_ALD1 | 8843 | 5389 | 4015 | 35 | 39 |  | 39 | 595.99 | 666.262 | 300 | 1007.319
04/2024 | WEBBS_ALD1 | 8843 | 5406 | 3929 | 35 | 39 |  | 57 | 509.113 | 550.001 | 300 | 1226.224
05/2024 | AR_ALD1 | 9057 | 5314 | 3177 | 27 | 2294 | 25 | 68 | 1862.068 | 1807.852 | 2479.743 | 1205.006
05/2024 | WEBBS_ALD1 | 9057 | 5303 | 3177 | 27 | 2296 | 25 | 59 | 1497.031 | 1295.887 | 2207.756 | 1347.061
06/2024 | AR_ALD1 | 8787 | 5506 | 1044 | 0 | 4833 | 0 | 0 | 2063.86 | 1816.008 | 2143.114
06/2024 | WEBBS_ALD1 | 8787 | 5394 | 1008 | 0 | 4715 | 0 | 23 | 1499.536 | 1271.668 | 1549.539 | 269.065
07/2024 | AR_ALD1 | 9032 | 5652 | 687 | 0 | 3927 | 29 | 3 | 1998.731 | 1970.078 | 1887.208 | 755.914
07/2024 | BOERNE_ALD1 | 5834 | [6 empty] | 1.632
07/2024 | WEBBS_ALD1 | 9032 | 5652 | 626 | 0 | 3939 | 36 | 3 | 1596.341 | 1791.431 | 1247.164 | 755.914
08/2024 | AR_ALD1 | 9042 | 5490 | 2388 | 0 | 1475 |  | 32 | 1481.791 | 986.985 | 1030.641 | 2293.51
08/2024 | BOERNE_ALD1 | 9042 | 247 | [5 empty] | 5.292
08/2024 | WEBBS_ALD1 | 9042 | 5480 | 507 | 0 | 1487 |  | 34 | 1321.848 | 547.387 | 754.341 | 2132.336
09/2024 | AR_ALD1 | 8813 | 5536 | 1836 | 1394 | 1454 |  | 4 | 908.441 | 1247.602 | 1443.166 | 539.749
09/2024 | BOERNE_ALD1 | 8813 | 1420 |  |  |  |  | 264 | 728.104 |  |  | 108.795
09/2024 | WEBBS_ALD1 | 8813 | 5536 | 1363 | 1092 | 1490 |  | 13 | 928.778 | 1445.031 | 1215.573 | 444.986
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  | 0 |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  | 0 |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 8158 | 5094 | 4213 | 4213 | 12 |  | 6 | 299.313 | 302.65 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 8158 | 1530 |  |  | 0 |  | 431 | 71.209 |  |  | 256.919
02/2025 | WEBBS_ALD1 | 8158 | 5094 | 4219 | 4219 |  |  | 14 | 369.598 | 389.172 |  | 302.069
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 |  |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 |  |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8518 | 5344 | 4520 | 4520 |  |  | 12 | 314.8 | 325.718 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8518 | 7015 |  |  | 4213 |  | 2619 | 82.727 |  | 5 | 43.95
04/2025 | WEBBS_ALD1 | 8518 | 5344 | 4684 | 4684 |  |  | 4 | 321.764 | 331.7 |  | 423.934

## Hourly Participation (04_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | BOERNE_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | WEBBS_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | AR_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | BOERNE_ALD1 | 351 | 322 | 0 | 0 | 322 | 0 | 23 | 5 |  | 5 | 27.702
HE_2 | WEBBS_ALD1 | 351 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | AR_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | BOERNE_ALD1 | 352 | 352 | 0 | 0 | 352 | 0 | 49 | 5 |  | 5 | 24.621
HE_3 | WEBBS_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | AR_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_4 | BOERNE_ALD1 | 353 | 353 | 0 | 0 | 353 | 0 | 48 | 5 |  | 5 | 26.248
HE_4 | WEBBS_ALD1 | 353 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | AR_ALD1 | 358 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_5 | BOERNE_ALD1 | 358 | 358 | 0 | 0 | 358 | 0 | 47 | 5 |  | 5 | 27.308
HE_5 | WEBBS_ALD1 | 358 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | AR_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_6 | BOERNE_ALD1 | 352 | 352 | 0 | 0 | 352 | 0 | 49 | 5 |  | 5 | 29.051
HE_6 | WEBBS_ALD1 | 352 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_7 | AR_ALD1 | 358 | 357 | 345 | 345 | 0 | 0 | 10 | 361.213 | 363.343 |  | 2021.415
HE_7 | BOERNE_ALD1 | 358 | 358 | 0 | 0 | 358 | 0 | 48 | 5 |  | 5 | 33.624
HE_7 | WEBBS_ALD1 | 358 | 357 | 345 | 345 | 0 | 0 | 1 | 461.68 | 467.304 |  | 489.684
HE_8 | AR_ALD1 | 354 | 354 | 161 | 161 | 0 | 0 | 0 | 512.429 | 767.081
HE_8 | BOERNE_ALD1 | 354 | 343 | 0 | 0 | 0 | 0 | 293 | 14.607 |  |  | 43.36
HE_8 | WEBBS_ALD1 | 354 | 354 | 197 | 197 | 0 | 0 | 0 | 508.017 | 673.797
HE_9 | AR_ALD1 | 363 | 361 | 161 | 161 | 0 | 0 | 0 | 339.522 | 388.617
HE_9 | BOERNE_ALD1 | 363 | 351 | 0 | 0 | 0 | 0 | 298 | 11.07 |  |  | 23.374
HE_9 | WEBBS_ALD1 | 363 | 361 | 145 | 145 | 0 | 0 | 0 | 329.362 | 373.101
HE_10 | AR_ALD1 | 362 | 362 | 138 | 138 | 0 | 0 | 0 | 303.46 | 300
HE_10 | BOERNE_ALD1 | 362 | 350 | 0 | 0 | 0 | 0 | 281 | 9.438 |  |  | 18.66
HE_10 | WEBBS_ALD1 | 362 | 362 | 123 | 123 | 0 | 0 | 0 | 300 | 300
HE_11 | AR_ALD1 | 354 | 354 | 293 | 293 | 0 | 0 | 0 | 300 | 300
HE_11 | BOERNE_ALD1 | 354 | 342 | 0 | 0 | 0 | 0 | 252 | 9.712 |  |  | 16.322
HE_11 | WEBBS_ALD1 | 354 | 354 | 318 | 318 | 0 | 0 | 0 | 305.15 | 305.733
HE_12 | AR_ALD1 | 351 | 351 | 327 | 327 | 0 | 0 | 0 | 300.644 | 300.691
HE_12 | BOERNE_ALD1 | 351 | 28 | 0 | 0 | 0 | 0 | 0 | 870.968
HE_12 | WEBBS_ALD1 | 351 | 351 | 351 | 351 | 0 | 0 | 0 | 300 | 300
HE_13 | AR_ALD1 | 355 | 355 | 343 | 343 | 0 | 0 | 0 | 300 | 300
HE_13 | BOERNE_ALD1 | 355 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_13 | WEBBS_ALD1 | 355 | 355 | 355 | 355 | 0 | 0 | 0 | 300 | 300
HE_14 | AR_ALD1 | 356 | 356 | 344 | 344 | 0 | 0 | 0 | 300 | 300
HE_14 | BOERNE_ALD1 | 356 | 327 | 0 | 0 | 327 | 0 | 19 | 5 |  | 5 | 16.003
HE_14 | WEBBS_ALD1 | 356 | 356 | 356 | 356 | 0 | 0 | 0 | 300 | 300
HE_15 | AR_ALD1 | 361 | 359 | 347 | 347 | 0 | 0 | 0 | 300 | 300
HE_15 | BOERNE_ALD1 | 361 | 361 | 0 | 0 | 361 | 0 | 40 | 5 |  | 5 | 17.649
HE_15 | WEBBS_ALD1 | 361 | 359 | 359 | 359 | 0 | 0 | 0 | 300 | 300
HE_16 | AR_ALD1 | 357 | 357 | 345 | 345 | 0 | 0 | 0 | 300 | 300
HE_16 | BOERNE_ALD1 | 357 | 357 | 0 | 0 | 357 | 0 | 34 | 5 |  | 5 | 28.123
HE_16 | WEBBS_ALD1 | 357 | 357 | 357 | 357 | 0 | 0 | 0 | 300 | 300
HE_17 | AR_ALD1 | 359 | 358 | 345 | 345 | 0 | 0 | 0 | 300 | 300
HE_17 | BOERNE_ALD1 | 359 | 359 | 0 | 0 | 359 | 0 | 37 | 5 |  | 5 | 35.035
HE_17 | WEBBS_ALD1 | 359 | 358 | 358 | 358 | 0 | 0 | 0 | 300 | 300
HE_18 | AR_ALD1 | 359 | 359 | 346 | 346 | 0 | 0 | 0 | 300 | 300
HE_18 | BOERNE_ALD1 | 359 | 359 | 0 | 0 | 359 | 0 | 36 | 5 |  | 5 | 40.192
HE_18 | WEBBS_ALD1 | 359 | 359 | 359 | 359 | 0 | 0 | 0 | 300 | 300
HE_19 | AR_ALD1 | 355 | 355 | 343 | 343 | 0 | 0 | 1 | 300 | 300 |  | 303.085
HE_19 | BOERNE_ALD1 | 355 | 355 | 0 | 0 | 355 | 0 | 36 | 5 |  | 5 | 47.913
HE_19 | WEBBS_ALD1 | 355 | 355 | 355 | 355 | 0 | 0 | 2 | 300 | 300 |  | 338.263
HE_20 | AR_ALD1 | 355 | 355 | 343 | 343 | 0 | 0 | 1 | 300 | 300 |  | 525.121
HE_20 | BOERNE_ALD1 | 355 | 344 | 0 | 0 | 0 | 0 | 244 | 15.506 |  |  | 96.7
HE_20 | WEBBS_ALD1 | 355 | 355 | 355 | 355 | 0 | 0 | 1 | 300 | 300 |  | 529.525
HE_21 | AR_ALD1 | 350 | 350 | 338 | 338 | 0 | 0 | 0 | 300 | 300
HE_21 | BOERNE_ALD1 | 350 | 338 | 0 | 0 | 0 | 0 | 263 | 11.024 |  |  | 76.36
HE_21 | WEBBS_ALD1 | 350 | 350 | 350 | 350 | 0 | 0 | 0 | 300 | 300
HE_22 | AR_ALD1 | 354 | 1 | 1 | 1 | 0 | 0 | 0 | 416.667 | 5000
HE_22 | BOERNE_ALD1 | 354 | 341 | 0 | 0 | 0 | 0 | 269 | 8.519 |  |  | 65.855
HE_22 | WEBBS_ALD1 | 354 | 1 | 1 | 1 | 0 | 0 | 0 | 384.615 | 5000
HE_23 | AR_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_23 | BOERNE_ALD1 | 350 | 337 | 0 | 0 | 0 | 0 | 253 | 7.849 |  |  | 42.793
HE_23 | WEBBS_ALD1 | 350 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | AR_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_24 | BOERNE_ALD1 | 348 | 28 | 0 | 0 | 0 | 0 | 0 | 1333.333
HE_24 | WEBBS_ALD1 | 348 | 0 | 0 | 0 | 0 | 0 | 0 | 0