## Types
Name | Parent | Attribute | DataType
IccpQualityConversion | IdentifiedObject
|  | OSuspect | Boolean
|  | OTelemetered | Boolean
|  | OValid | Boolean
|  | ICalculated | Boolean
|  | IEstimated | Boolean
|  | IHeld | Boolean
|  | IManual | Boolean
|  | INotValid | Boolean
|  | ISuspect | Boolean
|  | ITelemetered | Boolean
|  | IValid | Boolean
|  | OCalculated | Boolean
|  | OEstimated | Boolean
|  | OHeld | Boolean
|  | OManual | Boolean
|  | ONotValid | Boolean
HUBBus | IdentifiedObject
GeographicalRegion | IdentifiedObject
TransformerWinding | ConductingEquipment
|  | rground | Float
|  | shortTermMVA | Float
|  | windingType | WindingType
|  | x | Float
|  | x0 | Float
|  | xground | Float
|  | b | Float
|  | bmagSat | Float
|  | connectionType | WindingConnection
|  | emergencyMVA | Float
|  | g | Float
|  | gmagSat | Float
|  | grounded | Boolean
|  | insulationKV | Float
|  | kneeSat | Float
|  | r | Float
|  | r0 | Float
|  | ratedKV | Float
|  | ratedMVA | Float
GenerationType | IdentifiedObject
PinVoltage | GateInputPin
PinTriggerCondition | GateInputPin
PinSwitch | GateInputPin
PinGate | GateInputPin
Breaker | ProtectedSwitch
|  | ampRating | Float
|  | InTransitTime | Float
ProtectedSwitch | Switch
GroundDisconnector | Switch
PinFlow | GateInputPin
|  | outOfBus | Boolean
|  | eitherEnd | Boolean
|  | inputIsFlow | Boolean
|  | intoBus | Boolean
PinBranchGroup | GateInputPin
Disconnector | Switch
GateInputPin | IdentifiedObject
|  | flowMVA | Boolean
|  | flowMVAR | Boolean
|  | flowMW | Boolean
|  | negate | Boolean
|  | useAbsoluteValue | Boolean
Switch | ConductingEquipment
|  | futureTransition | Boolean
|  | enableManualSwitching | Boolean
|  | initiallyOpen | Boolean
|  | normalOpen | Boolean
|  | protectLockoutAfterAction | Boolean
|  | recloseMaxAngle | Integer
|  | protectOverAction | SwitchState
|  | protectUnderAction | SwitchState
|  | switchedBySchedule | Boolean
|  | switchOnCount | Integer
|  | switchOnDate | DateTime
|  | switchOperationOver | Boolean
|  | switchOperationUnder | Boolean
|  | triggerNetworkSequence | Boolean
|  | tripLockout | Boolean
|  | ZBR | Boolean
|  | hasSynchroscope | Boolean
|  | hasSynchrocheckRelay | Boolean
Gate | IdentifiedObject
|  | changeThreshold | Boolean
|  | emergencyThreshold | Boolean
|  | gatetype | EnumGateType
|  | level | Integer
|  | limitPercentage | Float
|  | loadshedThreshold | Boolean
|  | lowerThreshold | Boolean
|  | normalThreshold | Boolean
|  | thresholdValue | Float
|  | upperThreshold | Boolean
|  | useLimitThreshold | Boolean
|  | counttoConduct | Integer
ACDCTerminal | IdentifiedObject
SeriesCompensator | ConductingEquipment
|  | fifteenMinuteMaxShadowPrice | Float
|  | MaxShadowPrice | Float
|  | r | Float
|  | x | Float
|  | emergencyMaxShadowPrice | Float
FunctionArgument | IdentifiedObject
|  | constantFlag | Boolean
|  | openFlag | Boolean
|  | pointFlag | Boolean
|  | readFlag | Boolean
|  | realFlag | Boolean
|  | triggerFlag | Boolean
|  | writeFlag | Boolean
|  | analogFlag | Boolean
Function | IdentifiedObject
|  | subRoutine | String
ConnectivityNodeContainer | PowerSystemResource
DiscreteValue | MeasurementValue
|  | abnormalAlarmDelayTime | Integer
|  | allowControlFromForeignSites | Boolean
|  | allowMultipleRaiseOrLower | Boolean
|  | allowSELECTStep | Boolean
|  | autoAckAndDeleteAlarms | Boolean
|  | autoAcknowledge | Boolean
|  | controlDemandScan | Boolean
|  | feedbackAnalog | String
|  | invertExtendedStatusViaISD | Boolean
|  | invertExtendedStatusViaSecSite | Boolean
|  | invertStatus | Boolean
|  | invertStatusBitReceivedViaSecSite | Boolean
|  | invertStatusBitReceivedViaISD | Boolean
|  | logForControlIssued | Boolean
|  | momentaryChangeDetection | Boolean
|  | noISDDownload | Boolean
|  | noWarningIfHanging | Boolean
|  | requireEXECUTEStep | Boolean
|  | requireSELECTStep | Boolean
|  | returnToNormalAlarmDelayTime | Integer
|  | statusBitLiveIndication | Boolean
|  | tapChangerTimeout | Integer
|  | threeState | Boolean
|  | timeDelay | Integer
|  | value | Integer
RemedialActionScheme | EquipmentContainer
|  | isRAS | Boolean
|  | isRAP | Boolean
|  | active | Boolean
|  | showTelemOnDisplay | Boolean
VResultLogs | DomainView
|  | jobStatus | Integer
|  | jobType | Integer
|  | jobName | String
|  | resultJobId | Integer
|  | conflictCreated | DateTime
|  | conflictLogId | Integer
|  | validationOrChangeDate | DateTime
|  | validationStatus_string | String
|  | validationStatus | Integer
|  | exceptionAllowed | Integer
|  | validationLogId | Integer
|  | validationCreated | DateTime
|  | lastDataChange | DateTime
|  | jobStartDate | DateTime
SynchronousMachine | RotatingMachine
|  | manualToAVR | Float
|  | maximumKV | Float
|  | maximumMVAr | Float
|  | minimumKV | Float
|  | minimumMVAr | Float
|  | operatingMode | SynchronousMachineOperatingMode
|  | r | Float
|  | r0 | Float
|  | ratedMVA | Float
|  | Reduce | Boolean
|  | referencePriority | Integer
|  | type | SynchronousMachineType
|  | varManual | Boolean
|  | x | Float
|  | x0 | Float
|  | xDirectSubtrans | Float
|  | xDirectSync | Float
|  | xDirectTrans | Float
|  | xQuadSubtrans | Float
|  | xQuadSync | Float
|  | xQuadTrans | Float
|  | xSubtrans | Float
|  | xTrans | Float
|  | aVRToManualLag | Float
|  | aVRToManualLead | Float
|  | baseMVAr | Float
|  | condenserMW | Float
|  | coolantCondition | Float
|  | coolantType | CoolantType
|  | inertia | Float
DistributionGeneration | EnergyProducerResource
EnergyProducerResource | Equipment
|  | controllable | Boolean
|  | SecondaryFuelType | ERCOTFuelType
|  | PrimaryFuelType | ERCOTFuelType
|  | genCode | String
|  | maxPowerProduction | Float
|  | minPowerProduction | Float
|  | genType | GUResourceCategory
|  | EProdType | ERCOTDGType
EnergyProducerResourceMeter | Equipment
|  | genCode | String
EnergyProducerResourceSite | IdentifiedObject
|  | epsMeterID | String
|  | genSiteCode | String
StaticVarCompensator | RegulatingCondEq
|  | b | Float
|  | capacitiveRating | Float
|  | fixedMVAr | Float
|  | highVoltageChangeThreshold | Float
|  | inductiveRating | Float
|  | lowVoltageChangeThreshold | Float
|  | maximumkV | Float
|  | maxTimeSteadyState | Float
|  | minimumkV | Float
|  | postContingencyMVARMax | Float
|  | postContingencyMVARMin | Float
|  | rampDelay | Float
|  | rampDurationThreshold | Float
|  | planningModelEquivalent | EnumSVCExportMode
|  | slope | Float
|  | steadyStateMVARMax | Float
|  | steadyStateMVARMin | Float
|  | sVCControlMode | SVCControlMode
|  | voltageDeviation | Float
|  | voltageSetPoint | Float
OperationalLimitType | IdentifiedObject
|  | limitType | LimitType
|  | acceptableDuration | Integer
|  | direction | OperationalLimitDirectionKind
AnalogValue | MeasurementValue
|  | historicalRecordingDeadband | Float
|  | invertAnalogViaSecondarySite | Boolean
|  | invertSign | Boolean
|  | negateValueReceivedFromISD | Boolean
|  | negativeUniPolarClamping | Boolean
|  | peakData | Boolean
|  | positiveUniPolarClamping | Boolean
|  | requireEXECUTEStep | Boolean
|  | requireSELECTStep | Boolean
|  | returnToNormalAlarmDelayTime | Integer
|  | seDeadband | Float
|  | skipLimitChecking | Boolean
|  | timeDelay | Integer
|  | value | Float
|  | zeroClampingDeadband | Float
|  | abnormalAlarmDelayTime | Integer
|  | allowSELECTStep | Boolean
|  | autoAckAndDeleteAlarms | Boolean
|  | autoAcknowledge | Boolean
|  | controlDemandScan | Boolean
|  | controlMMISequence | Boolean
|  | enableAutoSEReplacement | Boolean
|  | fromStateEstimator | Boolean
AccumulatorValue | MeasurementValue
|  | value | Integer
ActivePowerLimit | OperationalLimit
|  | value | Float
OperationalLimit | IdentifiedObject
OperationalLimitSet | IdentifiedObject
ShuntCompensator | RegulatingCondEq
|  | maximumSections | Integer
|  | minimumkV | Float
|  | mVArPerSection | Float
|  | nominalkV | Float
|  | nominalMVAr | Float
|  | optimizedStepSwitching | Boolean
|  | normalSections | Integer
|  | switchingPriority | Integer
|  | switchOnCount | Integer
|  | ControlMode | EnumShuntCompensatorMode
|  | switchOnDate | DateTime
|  | voltSensitivity | Float
|  | yPerSection | Float
|  | RMPCT | Float
|  | aVRDelay | Float
|  | impedance | Float
|  | maximumkV | Float
RegulatingCondEq | ConductingEquipment
|  | avrEnabled | Boolean
|  | PercentReactivePowerTransfer | Float
|  | loadBasedRegulationEnabled | Boolean
MeasurementValue | IdentifiedObject
|  | generalReadAccess | Boolean
|  | abnormalForAlarm | Boolean
|  | abnormalForSCADA | Boolean
|  | audibleTone | Boolean
|  | blockViaPrimarySite | Boolean
|  | blockViaSecondarySite | Boolean
|  | byPass | Boolean
|  | cstatus | Boolean
|  | dataSetPeriod | Integer
|  | fromCalculation | Boolean
|  | fromExternalProgram | Boolean
|  | fromManualEntry | Boolean
|  | fromRemote | Boolean
|  | habcName | String
|  | iccpVmd | Boolean
|  | inhibitAbnormalForAlarm | Boolean
|  | inhibitAbnormalForSCADA | Boolean
|  | inhibitAudibleTone | Boolean
|  | inhibitLoggingAndAlarmList | Boolean
|  | inhibitUnacknowledgedAlarmList | Boolean
|  | initiallyInhibit | Boolean
|  | isdName | String
|  | loggingAndAlarmList | Boolean
|  | mappedInOag | Boolean
|  | notInService | Boolean
|  | overrideDefaultInhibitDefinition | Boolean
|  | recordHistoricalData | Boolean
|  | RsCalculated | Boolean
|  | RsExtern | Boolean
|  | RsManual | Boolean
|  | RsTelemetered | Boolean
|  | sensorAccuracy | Float
|  | tabularDisplayPriority | Integer
|  | timeStamp | DateTime
|  | unacknowledgedAlarmList | Boolean
|  | zonalAttribute | Boolean
|  | scanRate | Integer
MeasurementType | IdentifiedObject
CustomerLoad | ConformLoad
ConformLoad | EnergyConsumer
NonConformLoad | EnergyConsumer
BlackStartPoint | IdentifiedObject
|  | BlackStartPointType | EnumBSPointType
BlackStartLoad | BlackStartElement
BlackStartGoal | IdentifiedObject
Contact | Address
|  | EmailAddress | String
|  | FirstName | String
|  | LastName | String
|  | PrimaryPhone | String
|  | SecondaryPhone | String
EnergyConsumer | ConductingEquipment
|  | conformingLoadFlag | Boolean
|  | customerCount | Integer
|  | maxMVAR | Float
|  | maxMW | Float
|  | minMVAR | Float
|  | minMW | Float
|  | pFexp | Float
|  | pfixed | Float
|  | pfixedPct | Float
|  | pnom | Float
|  | pnomPct | Float
|  | powerFactor | Float
|  | pVexp | Float
|  | qFexp | Float
|  | qfixed | Float
|  | qfixedPct | Float
|  | qnom | Float
|  | qnomPct | Float
|  | qVexp | Float
|  | DGENM | Integer
|  | DGENQ | Float
|  | DGENP | Float
|  | interruptible | Boolean
EndCap | ConductingEquipment
Address | Domain
|  | County | String
|  | PostalCode | String
|  | State | String
|  | Street1 | String
|  | Street2 | String
|  | City | String
BusbarSection | Connector
MeasurementLocation | IdentifiedObject
|  | unacknowledgedAlarmList | Boolean
|  | abnormalForAlarm | Boolean
|  | abnormalForSCADA | Boolean
|  | audibleTone | Boolean
|  | farNodeNormallyEarthed | Boolean
|  | farNodeNormallyOpen | Boolean
|  | farStation | String
|  | inhibitAbnormalForAlarm | Boolean
|  | inhibitAbnormalForSCADA | Boolean
|  | inhibitAudibleTone | Boolean
|  | inhibitLoggingAndAlarmList | Boolean
|  | inhibitUnacknowledgedAlarmList | Boolean
|  | initiallyInhibit | Boolean
|  | loggingAndAlarmList | Boolean
|  | nearNodeNormallyEarthed | Boolean
|  | nearNodeNormallyOpen | Boolean
|  | normallyDead | Boolean
|  | overrideDefaultInhibitDefinition | Boolean
Connector | ConductingEquipment
EPSMeter | IdentifiedObject
|  | AcceptedStatus | Boolean
|  | RID | String
|  | teid | Integer
ACLineSegment | Conductor
|  | emergencyMaxShadowPrice | Float
|  | fifteenMinuteMaxShadowPrice | Float
|  | MaxShadowPrice | Float
MeasurementGroup | IdentifiedObject
|  | bufferPeriod | Integer
|  | gracePeriod | Integer
|  | integrityPeriod | Integer
|  | scanPeriod | Integer
|  | zonalAttribute | Boolean
Conductor | ConductingEquipment
|  | gch | Float
|  | length | Float
|  | r | Float
|  | r0 | Float
|  | x | Float
|  | x0 | Float
|  | b0ch | Float
|  | bch | Float
|  | g0ch | Float
EnergyConsumerAltConnection | IdentifiedObject
|  | percentTransfer | Float
SubLoadArea | EnergyArea
|  | forecastEnabled | Boolean
ConductingEquipment | Equipment
|  | phases | String
|  | remove | Boolean
|  | removeEnable | Boolean
sysRdfContainers | sysTreeCategory
LoadArea | EnergyArea
|  | forecastEnabled | Boolean
|  | psseid | Integer
sysOrphans | sysTreeCategory
EnergyArea | IdentifiedObject
sysGeneralCategory | sysTreeCategory
ElectricalBus | IdentifiedObject
|  | DisplayLMP | Boolean
sysTreeCategory | Domain
|  | Description | String
sysRdfContainer | Domain
|  | TypeName | String
sysOrphan | Domain
DynamicElement | IdentifiedObject
|  | line | Boolean
|  | transformer | Boolean
|  | zeroImpBranch | Boolean
VisibilityLayer | IdentifiedObject
|  | drawingOrder | Integer
|  | color | String
RegularTimePoint | Domain
|  | rtName | String
|  | sequenceNumber | Integer
|  | value1 | Float
|  | value2 | Float
Discrete | Measurement
|  | maxValue | Integer
|  | minValue | Integer
|  | normalValue | Integer
|  | teid | Integer
ModelVersion | Domain
|  | information | String
|  | version | String
|  | date | DateTime
GenericUnderfrequencyRelay | ProtectionEquipment
|  | isle1 | Integer
|  | isle2 | Integer
|  | isle3 | Integer
|  | reset1 | Boolean
|  | reset2 | Boolean
|  | reset3 | Boolean
|  | tripped1 | Boolean
|  | tripped2 | Boolean
|  | tripped3 | Boolean
|  | freq1 | Float
|  | freq2 | Float
|  | freq3 | Float
|  | i | Integer
|  | id | String
|  | Is1 | Float
|  | Is2 | Float
|  | Is3 | Float
Analog | Measurement
|  | forNetwork | Boolean
|  | maxValue | Float
|  | minValue | Float
|  | normalValue | Float
|  | positiveFlowIn | Boolean
|  | teid | Integer
Accumulator | Measurement
|  | maxValue | Integer
|  | teid | Integer
ModelBuild | Domain
|  | ModelBuilder | String
|  | ModelBuildTime | String
|  | ModelDescription | String
|  | ModelProfile | String
|  | ValidDateRange | String
AsynchronousMachine | RotatingMachine
FrequencyRelay | ProtectionEquipment
|  | overFrequencyDelay | Float
|  | overFrequencyLimit | Float
|  | overFrequencyLockoutTime | Float
|  | underFrequencyDelay | Float
|  | underFrequencyLimit | Float
|  | underFrequencyLockoutTime | Float
RotatingMachine | RegulatingCondEq
|  | saturationFactor120 | Float
|  | saturationFactor | Float
|  | ratedPowerFactor | Float
|  | ratedS | Float
|  | ratedU | Float
Measurement | IdentifiedObject
|  | ScanRate | Integer
|  | zonalAttribute | Boolean
IrregularTimePoint | Domain
|  | value2 | Float
|  | time | Float
|  | value1 | Float
DiscreteType | IdentifiedObject
LogicalConfiguration | IdentifiedObject
InverterModel | Model
DiscreteName | MeasurementName
iec61970CIMVersion | Domain
|  | date | String
|  | version | String
TapChangerAlt | TapChanger
SolarPanelModel | Model
DiscreteAlarmCategory | AlarmCategory
ConversionTable | IdentifiedObject
DeviceTypeName | IdentifiedObject
SkidArray | IdentifiedObject
|  | skidArrayCount | Integer
|  | arrayID | String
DCTie | IdentifiedObject
|  | DCTieLZName | String
InverterDepartment | Department
SolarPanelDepartment | Department
Inverter | IdentifiedObject
|  | inverterCount | Integer
LoadType | IdentifiedObject
|  | expPFrequency | Float
|  | expPVoltage | Float
|  | expQFrequency | Float
|  | expQVoltage | Float
|  | initialTime | Integer
|  | maxScaling | Float
PTC_PROJECT_CR_CHANGELOG | Domain
|  | OldValue | String
|  | AttributeName | String
|  | ParentIId | Integer
|  | RatingIId | Integer
|  | RatingClassification | String
|  | Classification | String
|  | Modflag | String
|  | ImmName | String
|  | TeId | Integer
|  | RdfId | String
|  | PIId | Integer
|  | IId | Integer
|  | ParentTypeName | String
|  | ParentTypeIId | Integer
|  | TypeIId | Integer
|  | EquipFlag | String
|  | InstanceName | String
|  | SubmitCounter | Integer
|  | SubmitDate | DateTime
|  | ImmJobid | String
|  | ChangeRequestid | String
|  | VisibilityState | String
|  | CrId | Integer
|  | ProjectId | Integer
|  | SubmitIId | Integer
|  | Path | String
|  | OtherIId | Integer
|  | LinkRole | String
|  | NewValue | String
ConformLoadGroup | LoadGroup
NonConformLoadGroup | LoadGroup
IMMTypeVersion_RT | Domain
|  | inc_0008a | String
|  | inc_0008 | String
|  | full_0007 | String
|  | inc_0009 | String
LoadGroup | IdentifiedObject
|  | forecastEnabled | Boolean
CountType | Domain
Links | Counts
Instances | Counts
SolarPanel | IdentifiedObject
|  | configurationID | String
|  | area | String
|  | trackingType | TrackingType
|  | planeAzimuth | Float
|  | planeTilt | Float
|  | efficiency | Float
|  | tempCoeffPower | Float
|  | normalOpTemp | Float
|  | SkidArrayCount | Integer
|  | solarPanelCount | Integer
VLogEntries_Fidelity_ERCOT | DomainView
|  | SortOrder | Integer
|  | QueryNumber | Integer
|  | Instance_Path | String
|  | NOMCR | String
|  | Instance_JobId | Integer
|  | Instance_Name | String
|  | Instance_IId | Integer
|  | QueryDescription | String
|  | QueryCheck | String
|  | Priority | String
|  | EffectiveDate | DateTime
|  | QueryNo | String
|  | Created | DateTime
|  | LogEntryId | Integer
|  | LogId | Integer
VoltageRelay | ProtectionEquipment
|  | overVoltageDelay | Float
|  | overVoltageLimit | Float
|  | overVoltageLockoutTime | Float
|  | underVoltageDelay | Float
|  | underVoltageLimit | Float
|  | underVoltageLockoutTime | Float
Counts | Domain
|  | count | Integer
|  | namespace | String
ContSpecialElements | IdentifiedObject
|  | ContingencyCollections | ContingencyCollections
|  | IncorporateElements | Boolean
DayType | IdentifiedObject
|  | SunFlag | Boolean
|  | ThursFlag | Boolean
|  | TuesFlag | Boolean
|  | WedFlag | Boolean
|  | endTime | DateTime
|  | FriFlag | Boolean
|  | MonFlag | Boolean
|  | SatFlag | Boolean
|  | startTime | DateTime
AggrContingencyGroup | IdentifiedObject
GeographicObjects | PowerSystemResource
|  | isCounty | Boolean
|  | County | County
SynchrocheckRelay | ProtectionEquipment
|  | maxAngleDiffCloseDelay | Float
|  | maxFreqDiffCloseDelay | Float
|  | maxAngleDiff | Float
|  | maxAngleDiffDelay | Float
|  | maxFreqDiff | Float
|  | maxFreqDiffDelay | Float
|  | maxVoltDiff | Float
|  | minAngleDiffDelay | Float
|  | minFreqDiffDelay | Float
MultiSectionLineGroup | PowerSystemResource
|  | psseid | String
CurveData | IdentifiedObject
|  | xvalue | Float
|  | y1value | Float
|  | y2value | Float
ContingencyGroupMember | IdentifiedObject
|  | tempContingencyAssoc | String
ContingencyGroup | IdentifiedObject
|  | maintainSubSystems | Boolean
|  | study | Boolean
Rating | AnalogLimitSet
|  | activateValue | Float
|  | ratingType | RatingType
|  | TempPoint | Integer
AnalogLimitSet | LimitSet
ContingencyElement | IdentifiedObject
|  | cbFault | Boolean
|  | status | Boolean
|  | active | Boolean
|  | tempEquipmentAssoc | String
|  | seedElement | Boolean
AccumulatorLimitSet | LimitSet
VoltageLimitSet | LimitSet
ProtectionEquipment | Equipment
|  | lowLimit | Float
|  | powerDirectionFlag | Boolean
|  | relayDelayTime | Float
|  | relayDelayTimeHigh | Float
|  | relayDelayTimeLow | Float
|  | highLimit | Float
|  | lockoutTimeHigh | Float
|  | lockoutTimeLow | Float
LimitSet | IdentifiedObject
|  | forNetwork | Boolean
|  | isPercentageLimits | Boolean
|  | type | LimitSetType
|  | zonalAttribute | Boolean
ReactiveZone | IdentifiedObject
ShuntCompensatorAlt | PowerSystemResource
|  | psseid | String
|  | switchOnCount | Integer
|  | switchOnDate | DateTime
|  | voltageSensitivity | Float
|  | yPerSection | Float
|  | optimizedStepSwitching | Boolean
|  | aVRDelay | Float
|  | ControlMode | EnumShuntCompensatorMode
|  | impedance | Float
|  | maximumkV | Float
|  | maximumSections | Integer
|  | minimumkV | Float
|  | mVArPerSection | Float
|  | nominalkV | Float
|  | nominialMVAr | Float
|  | normalSections | Integer
|  | PercentReactivePowerTransfer | Float
LimitAlarmCategory | AlarmCategory
PowerTransformer | Equipment
|  | bmagSat | Float
|  | emergencyMaxShadowPrice | Float
|  | fifteenMinuteMaxShadowPrice | Float
|  | magBaseKV | Float
|  | magSatFlux | Float
|  | MaxShadowPrice | Float
|  | phases | String
|  | transfCoolingType | TransformerCoolingType
|  | transformerType | TransformerType
|  | voltageSensitivity | Float
|  | ZCOD | Integer
GenericEquipment | Equipment
WindGeneratingUnit | GeneratingUnit
|  | windregion | WindRegions
|  | averageHeight | Float
|  | ReactiveLimitControlMode | EnumReactiveLimitControlMode
|  | powerFactor | Float
|  | minAmbientAirOpTemp | Float
|  | maxAmbientAirOpTemp | Float
Contingency | IdentifiedObject
|  | ActionType | String
|  | activeMode | EnumContingencyActiveMode
|  | DeviceName | String
|  | DeviceType | String
|  | enableCascading | Boolean
|  | enableRedefinition | Boolean
|  | enableSPS | Boolean
|  | endDate | DateTime
|  | generationLoss | Float
|  | generatorParticipationFactor | EnumGeneratorParticipationFactor
|  | loadLoss | Float
|  | MaxShadowPrice | Float
|  | probabilityOfOccurance | Float
|  | contingencyClassification | EnumContingencyClassifications
|  | processType | EnumContingencyProcessType
|  | refactor | Boolean
|  | responseTime | Integer
|  | retainName | Boolean
|  | RunFlag | Boolean
|  | startDate | DateTime
|  | radial | Integer
ThermalGeneratingUnit | GeneratingUnit
|  | oMCost | Float
|  | turbineColdStartEnergy | Float
|  | boilerColdStartEnergy | Float
|  | boilerEfficiency | Float
AnalogLimit | Limit
|  | deadband | Float
|  | forbiddenRegion | Boolean
|  | ignoreLimitChecking | Boolean
|  | limitType | LimitType
|  | lowerThreshold | Float
|  | upperThreshold | Float
|  | usePercentage | Boolean
|  | value | Float
|  | zonalAttribute | Boolean
NuclearGeneratingUnit | GeneratingUnit
AccumulatorLimit | Limit
|  | value | Integer
HydroGeneratingUnit | GeneratingUnit
|  | hydroUnitWaterCost | Float
VoltageLimit | OperationalLimit
|  | value | Float
Limit | IdentifiedObject
ConnectivityNode | IdentifiedObject
|  | width | Integer
|  | xval | Integer
|  | yval | Integer
|  | PSSEID | String
|  | height | Integer
|  | PSSEBusName | String
|  | PSSEBusNumber | Integer
|  | SlackBusPriority | Integer
|  | teid | Integer
ConfigurationMember | IdentifiedObject
|  | primary | Boolean
|  | steam | Boolean
RampRateCurve | Curve
|  | Emergency | Boolean
|  | rampRateCurveId | String
PhaseShifterImpedanceCurve | Curve
LoadDetail | IdentifiedObject
|  | loadType | AggrLoadType
MVArCapabilityCurve | Curve
|  | coolantTemperature | Float
|  | hydrogenPressure | Float
LoadBasedRegulationCurve | Curve
DCESRWindGeneratingUnit | WindGeneratingUnit
EnergyStorageResource | IdentifiedObject
|  | roundTripEfficiency | Float
|  | defSocMwhCapMin | Float
|  | defSocMwhCapMax | Float
DCESRSolarGeneratingUnit | SolarGeneratingUnit
BatteryGeneratingUnit | GeneratingUnit
NodePair | IdentifiedObject
|  | tempConAssoc | String
|  | maxAngle | Integer
Configuration | IdentifiedObject
|  | hotStartTime | Float
|  | intColdTime | Float
|  | intStartTime | Float
|  | lowReasonabilityLimit | Float
|  | lowReasonabilityRampRateLimit | Float
|  | maxDailyStarts | Float
|  | RRSPercentLimit | Float
|  | maxONTime | Float
|  | maxWeeklyEnergy | Float
|  | maxWeeklyStarts | Float
|  | minOFFTime | Float
|  | minONTime | Float
|  | primaryConfiguration | Boolean
|  | qualificationStatus | Boolean
|  | seasonalMaxEmergencyRating | Float
|  | seasonalMaxSustainableRating | Float
|  | seasonalMinEmergencyRating | Float
|  | seasonalMinSustainableRating | Float
|  | ShutdownFlag | Boolean
|  | StartupFlag | Boolean
|  | coldStartTime | Float
|  | highReasonabilityLimit | Float
|  | highReasonabilityRampRateLimit | Float
|  | hotintTime | Float
DistributionResource | IdentifiedObject
PseudoCompany | Company
GeographicObjectGroup | IdentifiedObject
|  | geographicObjectType | GeographicObjectType
Company | IdentifiedObject
|  | companyType | CompanyType
|  | Cooperative | Boolean
|  | NERCID | String
|  | DUNS | String
|  | Municipality | Boolean
|  | PrimaryPhone | String
|  | psseid | Integer
|  | qseId | String
|  | qseOpaId | String
|  | SecondaryPhone | String
|  | teid | Integer
CalculationTriggerTimer | IdentifiedObject
MondoSolarGeneratingUnit | PowerSystemResource
MeasurementArgument | CalculationArgument
|  | triggerFlag | Boolean
ConstantArgument | CalculationArgument
|  | scalarValue | Float
SolarGeneratingUnit | GeneratingUnit
|  | siteElevation | Float
|  | namePlateAC | Float
|  | powerFactor | Float
|  | namePlateDC | Float
|  | ReactiveLimitControlMode | EnumReactiveLimitControlMode
|  | minAmbientAirOpTemp | Float
|  | maxAmbientAirOpTemp | Float
|  | averageHeight | Float
Curve | IdentifiedObject
|  | curveStyle | CurveStyle
|  | xUnit | String
|  | y1Unit | String
|  | y2Unit | String
CalculationArgument | IdentifiedObject
|  | referenceFlag | Boolean
|  | referenceName | String
|  | zonalAttribute | Boolean
Calculation | IdentifiedObject
|  | type | String
|  | zonalAttribute | Boolean
IdentifiedObject | Domain
|  | localName | String
|  | mRID | String
|  | pathName | String
|  | aliasName | String
|  | description | String
BranchGroupTerminal | IdentifiedObject
|  | positiveFlowIn | Boolean
Location | Domain
|  | Longitude | Float
|  | Latitude | Float
|  | City | String
|  | County | County
|  | PostalCode | String
|  | State | String
|  | mainAddress | String
|  | secondaryAddress | String
|  | lockCoordinates | Boolean
ERCOTVersion | Domain
|  | ContactEmail | String
|  | ContactPhoneNumber | String
|  | date | String
|  | ModelAdmin | String
|  | version | String
Domain | RootType
SeasonalLimitSet | OperationalLimitSet
|  | validSeason | SeasonName
ThrottlePressCurve | Curve
|  | K | Float
SynchronousCondenser | SynchronousMachine
NonConformLoadSchedule | SeasonDayTypeSchedule
ConformLoadSchedule | SeasonDayTypeSchedule
SeasonDayTypeSchedule | RegularIntervalSchedule
GeneratingUnit | Equipment
|  | hasPSSExemption | Boolean
|  | minDesignTempDerate | Float
|  | maxDesignTempDerate | Float
|  | minEngTempDerate | Float
|  | maxEngTempDerate | Float
|  | minHistTempDerate | Float
|  | maxHistTempDerate | Float
|  | minDesignTemp | Float
|  | maxDesignTemp | Float
|  | minEngTemp | Float
|  | maxEngTemp | Float
|  | minHistTemp | Float
|  | maxHistTemp | Float
|  | NFRC | Boolean
|  | switchable | Boolean
|  | wfrmcr | Boolean
|  | tieLinePF | Float
|  | synCondenserCapable | Boolean
|  | stepChange | Float
|  | startupTime | Float
|  | spinReserveRamp | Float
|  | spinningReserveMax | Float
|  | shortPF | Float
|  | SecondaryFuelType | ERCOTFuelType
|  | seasonalMinSustainableRating | Float
|  | isIsocCapable | Boolean
|  | resourceCategoryE | GUResourceCategory
|  | seasonalMinEmergencyRating | Float
|  | isBSCapable | Boolean
|  | seasonalMaxSustainableRating | Float
|  | hasPFRExemption | Boolean
|  | reserveDiscountFactor | Float
|  | hasAMechanicalGovernor | Boolean
|  | reliabilityMustRun | Boolean
|  | ratedNetMaxMW | Float
|  | ratedGrossMinMW | Float
|  | ratedGrossMaxMW | Float
|  | raiseRampRate | Float
|  | qualificationStatus | Boolean
|  | PrimaryFuelType | ERCOTFuelType
|  | penaltyFactor | Float
|  | genOperatingMode | GeneratorOperatingMode
|  | onlineThresholdDeadbandPercent | Float
|  | normalPF | Float
|  | modelDetail | Integer
|  | minResponseReserveLimit | Float
|  | minONTime | Float
|  | minOFFTime | Float
|  | minimumOperatingMW | Float
|  | minimumOffTime | Float
|  | minimumEconomicMW | Float
|  | minCapacityLimit | Integer
|  | maxWeeklyStarts | Float
|  | maxWeeklyEnergy | Float
|  | maxUpRampRate | Float
|  | maxSpinReserveContribution | Float
|  | maxResponseReserveLimit | Float
|  | maxONTime | Float
|  | maximumOperatingMW | Float
|  | maximumEconomicMWRef | Float
|  | maximumEconomicMW | Float
|  | maximumCurrentCapacityRef | Float
|  | maximumCurrentCapacity | Float
|  | maxDownRampRate | Float
|  | maxDailyStarts | Float
|  | maxCapacityLimit | Integer
|  | maximumAllowableSpinngReserve | Float
|  | lowReasonabilityRampRateLimit | Float
|  | lowReasonabilityLimit | Float
|  | lowerRampRate | Float
|  | lowControlLimit | Float
|  | longPF | Float
|  | intStartTime | Float
|  | intColdTime | Float
|  | initialMW | Float
|  | hotStartTime | Float
|  | hotintTime | Float
|  | highReasonabilityRampRateLimit | Float
|  | highReasonabilityLimit | Float
|  | highControlLimit | Float
|  | governorSCD | Float
|  | governorMPL | Float
|  | genControlSource | GeneratorControlSource
|  | genControlMode | GeneratorControlMode
|  | fuelPriority | Integer
|  | frequencyDeadBandHz | Float
|  | freqDevDeadband | Float
|  | freqBias | Float
|  | fastStartFlag | Boolean
|  | energyMinMW | Float
|  | efficiency | Float
|  | dispReserveFlag | Boolean
|  | controlResponseRate | Float
|  | controlPulseLow | Float
|  | controlPulseHigh | Float
|  | controlDeadband | Float
|  | commercialOperationsDate | Date
|  | coldStartTime | Float
|  | blockLoadTransfer | Boolean
|  | blackStart | Boolean
|  | baseMW | Float
|  | autoCntrlMarginMW | Float
|  | allocSpinResMW | Float
|  | ScaleDownOnly | Boolean
|  | Dispatchable | Boolean
|  | MWDeadbandForEvaluation | Float
|  | DeadbandForEvaluation | Float
|  | PFRExemption | PFRExemptionType
RegulationSchedule | RegularIntervalSchedule
|  | lineDropCompensation | Boolean
|  | lineDropR | Float
|  | lineDropX | Float
RegularIntervalSchedule | BasicIntervalSchedule
|  | endTime | Time
|  | timeStep | Float
VPtcProjectCrChangeLog | DomainView
|  | Instance_Path | String
|  | Instance_Modflag | String
|  | Instance_IId | Integer
|  | InstanceName | String
|  | ImmName | String
|  | ImmJobid | String
|  | EquipFlag | String
|  | CrId | Integer
|  | Classification | String
|  | ChangeRequestid | String
|  | AttributeName | String
|  | VisibilityState | String
|  | TypeIId | Integer
|  | teid | Integer
|  | SubmitIId | Integer
|  | SubmitDate | DateTime
|  | SubmitCounter | Integer
|  | RdfId | String
|  | RatingIId | Integer
|  | RatingClassification | String
|  | ProjectId | Integer
|  | PIId | Integer
|  | Parent_IId | Integer
|  | ParentTypeName | String
|  | ParentTypeIId | Integer
|  | OtherIId | Integer
|  | OldValue | String
|  | NewValue | String
|  | LinkRole | String
IrregularIntervalSchedule | BasicIntervalSchedule
BasicIntervalSchedule | IdentifiedObject
|  | startTime | Time
|  | value1Unit | String
|  | value2Unit | String
StageTrigger | IdentifiedObject
SpecialMessagingScheme | RemedialActionScheme
Stage | IdentifiedObject
ProtActRaiseNotification | ProtectiveAction
PinEquipmentStatus | GateInputPin
Site | IdentifiedObject
|  | zonalAttribute | Boolean
HasAMeasurement | IdentifiedObject
|  | measurementType | EnumMeasurementType
Equipment | PowerSystemResource
|  | psseid | String
|  | RUC_Monitored | Boolean
|  | RUC_Secured | Boolean
|  | DAM_Monitored | Boolean
|  | DAM_Secured | Boolean
|  | OUSPriority | Integer
VSanity | DomainView
|  | TECHNOTE | String
|  | MESSAGE | String
|  | PATH | String
|  | TYPENAME | String
|  | RULENAME | String
|  | SEVERITY | String
|  | CREATED | DateTime
|  | LOGENTRYID | Integer
|  | LOGID | Integer
SettlementNOIELoadZone | IdentifiedObject
|  | psseid | Integer
SettlementLoadZone | IdentifiedObject
|  | psseid | Integer
SettlementHUB | IdentifiedObject
SetPointName | IdentifiedObject
DomainView | Domain
|  | modflag | String
|  | versno | Integer
|  | jobid | Integer
|  | iid | Integer
BaseVoltage | IdentifiedObject
|  | nominalVoltage | Float
CombinedCyclePlant | PowerSystemResource
|  | GstTpspiMin | Float
|  | GtMax | Float
|  | GtMin | Float
|  | LogicalResourceNodeName | String
|  | qualificationStatus | Boolean
|  | wfrmcr | Boolean
|  | resourceCategoryE | CCPResourceCategory
|  | blockLoadTransfer | Boolean
|  | combCyclePlantRating | Float
|  | commercialOperationsDate | Date
|  | GstTpspiMax | Float
Season | IdentifiedObject
|  | endDate | DateTime
|  | name | SeasonName
|  | startDate | DateTime
VLogExceptionEntries | DomainView
|  | ExceptionReasonText | String
|  | Instance_IId | Integer
|  | MCR_JobName | String
|  | Technote | String
|  | ResourceId | String
|  | RdfId | String
|  | Instance_Path | String
|  | TypeName | String
|  | Source | String
|  | Message | String
|  | Severity | String
|  | Created | DateTime
|  | LogEntryId | Integer
|  | LogId | Integer
AncillaryQualification | IdentifiedObject
|  | dynamicSchedEffectiveDate | Date
|  | dynamicSchedEndDate | Date
|  | emergencyQse | Boolean
|  | emergencyQseEffectiveDate | Date
|  | emergencyQseEndDate | Date
|  | nonSpin | Boolean
|  | nonSpinEffectiveDate | Date
|  | nonSpinEndDate | Date
|  | regDown | Boolean
|  | regDownEffectiveDate | Date
|  | regDownEndDate | Date
|  | regUp | Boolean
|  | regUpEffectiveDate | Date
|  | regUpEndDate | Date
|  | rmr | Boolean
|  | rmrEffectiveDate | Date
|  | rmrEndDate | Date
|  | rrs | Boolean
|  | rrsUpEffectiveDate | Date
|  | rrsUpEndDate | Date
|  | ufr | Boolean
|  | ufrEffectiveDate | Date
|  | ufrEndDate | Date
|  | virtualQse | Boolean
|  | virtualQseEffectiveDate | Date
|  | virtualQseEndDate | Date
|  | blackStart | Boolean
|  | blackStartEffectiveDate | Date
|  | blackStartEndDate | Date
|  | ccEffectiveDate | Date
|  | ccEndDate | Date
|  | condensorCapable | Boolean
|  | dynamicSched | Boolean
ResourceNode | IdentifiedObject
WindTurbineModel | Model
TapChanger | PowerSystemResource
|  | subsequentDelay | Float
|  | tculControlMode | TransformerControlMode
|  | avrEnabled | Boolean
|  | awrEnabled | Boolean
|  | coupledToTransformer | Boolean
|  | flowSensitivity | Float
|  | highStep | Integer
|  | initialDelay | Float
|  | loadBasedRegulationEnabled | Boolean
|  | lowStep | Integer
|  | maximumkV | Float
|  | minimumkV | Float
|  | neutralAngle | Float
|  | neutralKV | Float
|  | neutralStep | Integer
|  | normalStep | Integer
|  | parMaxMW | Float
|  | parMinMW | Float
|  | parOptimization | Boolean
|  | parRampRate | Float
|  | stepPhaseShiftIncrement | Float
|  | stepVoltageIncrement | Float
Model | IdentifiedObject
|  | modelNamePlateRating | Float
|  | model | String
WindTurbineDepartment | Department
Department | IdentifiedObject
WindTurbine | IdentifiedObject
|  | highSpeedCutOutResetTime | Float
|  | turbineType | WindTurbineType
|  | numberInGroup | Integer
|  | highSpeedCutOut | Float
|  | highSpeedCutOutTime | Float
|  | highSpeedCutOutReset | Float
Manufacturer | IdentifiedObject
Comment | Domain
|  | Issue | Boolean
|  | description | String
MeasurementValueQuality | Quality61850
|  | hasCOV | Boolean
|  | hasQuality | Boolean
|  | hasTimestamp | Boolean
|  | zonalAttribute | Boolean
MeteorologicalStation | WeatherStation
|  | heightInstWindSpeed | Float
|  | heightInstWindDirect | Float
|  | heightInstBarometric | Float
|  | heightInstTemp | Float
|  | heightInstIrrad | Float
Quality61850 | IdentifiedObject
|  | validity | Validity
|  | badReference | Boolean
|  | estimatorReplaced | Boolean
|  | failure | Boolean
|  | oldData | Boolean
|  | operatorBlocked | Boolean
|  | oscillatory | Boolean
|  | outOfRange | Boolean
|  | overFlow | Boolean
|  | source | Source
|  | suspect | Boolean
|  | test | Boolean
AnalogName | MeasurementName
AnalogLimitName | IdentifiedObject
AnalogAlarmCategory | AlarmCategory
VLogs_Fidelity | DomainView
|  | WarningCount | Integer
|  | ErrorCount | Integer
|  | FatalCount | Integer
|  | TargetDate | DateTime
|  | Description | String
|  | LogUsername | String
|  | LogJobName | String
|  | LogJobId | Integer
|  | LogType_label | String
|  | LogType | Integer
|  | LogStatus_label | String
|  | LogStatus | Integer
|  | DefSelect | Integer
|  | RunDate | DateTime
|  | LogId | Integer
AlternateLimitSet | IdentifiedObject
PrivateProtectiveActions | ProtectiveActions
SharedProtectiveActions | ProtectiveActions
ProtectiveActions | IdentifiedObject
|  | noticeType | EnumNotificationType
AggregateHub | IdentifiedObject
|  | hubCalculationMethod | ERCOTHubCalcType
VLogs | DomainView
|  | WarningCount | Integer
|  | ErrorCount | Integer
|  | FatalCount | Integer
|  | Description | String
|  | LogUsername | String
|  | LogJobName | String
|  | LogJobId | Integer
|  | LogType_label | String
|  | LogType | Integer
|  | LogStatus_label | String
|  | LogStatus | Integer
|  | RunDate | DateTime
|  | LogId | Integer
|  | ModelType | String
AccuracyClass | IdentifiedObject
|  | useEntered | Boolean
|  | voltageTransformerError | Float
|  | adConverterError | Float
|  | addEntered | Boolean
|  | base | Float
|  | breakPoint | Float
|  | currentTransformerError | Float
|  | defaultAccuracy | Boolean
|  | standardDeviation | Float
|  | transducerMaxError | Float
ProtActTransformerWinding | ProtectiveAction
|  | inService | Boolean
ProtActSwitch | ProtectiveAction
|  | closeAction | Boolean
ProtActSeriesCompensator | ProtectiveAction
|  | inService | Boolean
ProtActSynchronousMachine | ProtActAnalog
ProtActStationReduction | ProtActAnalog
ProtActEnergyConsumer | ProtActAnalog
VLogEntries | DomainView
|  | Source | String
|  | Message | String
|  | Severity | String
|  | Created | DateTime
|  | LogEntryId | Integer
|  | LogId | Integer
|  | Instance_IId | Integer
|  | MCR_JobName | String
|  | Technote | String
|  | ResourceId | String
|  | Rule | String
|  | RdfId | String
|  | Instance_Path | String
|  | TypeName | String
ProtActAnalog | ProtectiveAction
|  | actionValue | Float
|  | actionValueFromSCADA | Boolean
|  | isReduceTo | Boolean
User | Domain
ProtActACLineSegment | ProtectiveAction
|  | inService | Boolean
ProtectiveActionShared | ProtectiveAction
ProtectiveAction | IdentifiedObject
|  | enableArming | Boolean
WeatherStationAlt | IdentifiedObject
|  | DynamicAdder | Integer
WeatherStation | IdentifiedObject
Unit | IdentifiedObject
TriggerCondition | IdentifiedObject
|  | hasMeasurement | Boolean
|  | useDescrOnDisplay | Boolean
PrivateAreaNetwork | IdentifiedObject
|  | networkType | ERCOTPANType
|  | industrialGenFacility | Boolean
TransState | IdentifiedObject
|  | upTransition | Boolean
PricingVector | IdentifiedObject
|  | positiveFlowIn | Boolean
|  | teid | Integer
TransformerKluge | IdentifiedObject
|  | PSSE3Windername | String
|  | PSSE3WinderID | String
OwnerShareRating | PowerSystemResource
MondoWindGeneratingUnit | PowerSystemResource
OwnerShareLimits | PowerSystemResource
|  | RRSPercentLimit | Float
|  | highReasonabilityLimit | Float
|  | lowReasonabilityLimit | Float
|  | maxWeeklyEnergy | Float
ProtActBranchGroup | ProtectiveAction
|  | isDerated | Boolean
|  | triggeredLimit | Float
GenericTransConstraint | RemedialActionScheme
AccumulatorAlarmCategory | AlarmCategory
AccumulatorName | MeasurementName
AlarmCategory | IdentifiedObject
MeasurementName | IdentifiedObject
DiagramObjectStyle | IdentifiedObject
|  | height | Float
|  | width | Float
DiagramObjectGluePoint | DiagramObject
DiagramObjectPoint | Domain
|  | zPosition | Float
|  | yPosition | Float
|  | xPosition | Float
|  | sequenceNumber | Integer
Diagram | DiagramObject
|  | orientation | OrientationKind
|  | x1InitialView | Float
|  | x2InitialView | Float
|  | y1InitialView | Float
|  | y2InitialView | Float
TextDiagramObject | DiagramObject
|  | textSize | TextSize
|  | textStyle | TextStyle
|  | textFont | TextFont
|  | text | String
DiagramObject | IdentifiedObject
|  | TempLink | String
|  | offsetX | Float
|  | offsetY | Float
|  | rotation | Float
|  | drawingOrder | Integer
|  | isPolygon | Boolean
|  | sequenceNumber | Integer
|  | diagramOrientation | Orientation
|  | overrideHeight | Float
|  | overrideWidth | Float
SwitchAction | SwitchingAction
|  | switchActionKind | SwitchActionKind
MeasurementAction | SwitchingAction
SwitchingAction | IdentifiedObject
PowerSystemResource | IdentifiedObject
|  | contingencyComponent | Boolean
|  | teid | Integer
SwitchingPlan | Document
|  | purpose | String
Document | Domain
|  | title | String
SwitchingStepGroup | Domain
|  | sequenceNumber | Integer
SwitchingStep | Domain
|  | sequenceNumber | Integer
LocationPoint | Domain
|  | latitude | Float
|  | longitude | Float
|  | seriesNumber | Integer
Boundry | Domain
|  | centroidLatitude | Float
|  | centroidLongitude | Float
TieLine | IdentifiedObject
|  | teid | Integer
|  | isATransLine | Boolean
|  | measAtNearEnd | Boolean
BlackStartLine | BlackStartElement
|  | BlackStartLineAction | BSLineAction
BlackStartUnit | BlackStartElement
|  | BlackStartUnitAction | BSUnitAction
|  | BlackStartUnitType | EnumBSUnitType
BlackStartBreaker | BlackStartElement
|  | BlackStartBreakerAction | BSBreakerAction
TieCorridor | IdentifiedObject
|  | maxInflowLimit | Float
|  | maxOutflowLimit | Float
|  | teid | Integer
|  | tieId | String
|  | tieIsInternal | Boolean
BlackStartElement | IdentifiedObject
|  | seriesNumber | Integer
PseudoTerminal | Terminal
BlackStartPath | IdentifiedObject
|  | BlackStartPathType | BSPathType
|  | crankingPath | Boolean
BlackStartCorridor | IdentifiedObject
sysPresCategory | sysTreeCategory
sysNetworkCategory | sysTreeCategory
Terminal | ACDCTerminal
|  | monitoredEnd | Boolean
|  | POI | Boolean
|  | near | Boolean
|  | PSSEBusName | String
|  | PSSEBusNumber | Integer
SubGeographicalRegion | IdentifiedObject
|  | isWeatherZone | Boolean
|  | psseid | Integer
HostControlArea | PowerSystemResource
|  | secondsPrediction | Float
|  | secondsProductionCosting | Float
|  | secondsRegulationAllocation | Float
|  | secondsReserveCalculations | Integer
|  | secondsStudyEcoDispatch | Float
|  | secondsTimeErrorAlarm | Float
|  | secondsUnitNotTrackingTest | Float
|  | secondsZeroAssist | Float
|  | secondsZeroEmergency | Float
|  | secondsZeroNormal | Float
|  | tauFilterLoad | Float
|  | tauFrequency | Float
|  | tauLongTerm | Float
|  | tauRegulating | Float
|  | tauShortTerm | Float
|  | timeErrorBias | Float
|  | triggerControlEcoDispatchMW | Float
|  | triggerStudyEcoDispatchMW | Float
|  | variableFrequencyBiasMaximum | Float
|  | variableFrequencyBiasMinimum | Float
|  | areaControlMode | AreaControlMode
|  | assistEmergencyPriorityLevel | Integer
|  | assistPriorityLevel | Integer
|  | balanceRampEnd | Float
|  | balanceRampStart | Float
|  | costCO2 | Float
|  | costNOX | Float
|  | costSO2 | Float
|  | cycleTimeMultiplier | Integer
|  | deadbandAlarmACE | Float
|  | deadbandAutoInadvertent | Integer
|  | deadbandFrequencyWarningAlarm | Float
|  | deadbandIntegratedSCEAlarm | Float
|  | deadbandMultiplerNotTracking | Float
|  | deadbandNormalResponseACE | Integer
|  | deadbandPercentOpReserveAlarm | Integer
|  | deadbandPercentRegReserveAlarm | Integer
|  | deadbandPercentSpinReserveAlarm | Integer
|  | deadbandPercentTieLimitAlarm | Float
|  | deadbandPercentTimeError | Integer
|  | deadbandVariableMaximum | Float
|  | deadbandVariableMinimum | Float
|  | defaultLoadRelief | Float
|  | deltaTime | Integer
|  | deployFreqThreshold | Float
|  | filterTimeConstantJointACE | Float
|  | forGeneration | Boolean
|  | forNetwork | Boolean
|  | frequencyAlarmThreshold | Float
|  | frequencyBiasFactor | Float
|  | frequencyBiasFactorManual | Float
|  | frequencyNominalMaximum | Float
|  | frequencyNominalMinimum | Float
|  | frequencyTrip | Float
|  | gainAssist | Float
|  | gainEmergency | Float
|  | gainEmergencyIntegral | Float
|  | gainIntegralAssist | Float
|  | gainJointAGCPersistancyFeeback | Float
|  | gainNominal | Float
|  | gainNominalIntegral | Float
|  | governorResponseDeadband | Float
|  | internal | Boolean
|  | jointAGCStallMW | Float
|  | lamdaDeadband | Float
|  | limitAssistResponseACE | Integer
|  | limitEmergencyResponseACE | Integer
|  | limitNonWindupIntegralACE | Integer
|  | loadReliefFirstMW | Float
|  | loadReliefLastMW | Float
|  | main | Boolean
|  | maximumAutoInadvertentPayback | Float
|  | maximumInterchangeLossModel | Float
|  | maximumInterchangeSchedule | Float
|  | maximumJointACE | Float
|  | maximumLoadLossModel | Float
|  | maximumMiscReserve | Integer
|  | maximumObligationExportMW | Float
|  | maximumObligationImportMW | Float
|  | maximumTripACE | Integer
|  | maximumInterruptableLoadReserve | Float
|  | minimumInterchangeLossModel | Float
|  | minimumJointACE | Float
|  | minimumLoadLossModel | Float
|  | minimumPermissiveACE | Integer
|  | minimumResponseRateAlarm | Float
|  | minutesFutureAdvisoryED | Float
|  | minutesOperatingReserve | Float
|  | minutesPendingFrequencySchedule | Float
|  | minutesRegulatingReserve | Float
|  | minutesSpinningReserve | Integer
|  | percentCapOpReserveReqDefault | Float
|  | percentCapOpReserveRequirement | Integer
|  | percentCapSpinReserveRequirement | Float
|  | percentCapSpinReserveReqDefault | Float
|  | percentFrequencyBias | Float
|  | percentIntegrationMissing | Float
|  | percentJointAGCRequest | Float
|  | percentMWStepChangeAlarm | Float
|  | percentObjectCO2 | Float
|  | percentObjectiveFuel | Float
|  | percentObjectiveNOX | Float
|  | percentObjectiveSO2 | Float
|  | percentUnitNotTrackingAlarm | Float
|  | rampDurationToStop | Float
|  | rampDurationToTarget | Float
|  | scedFailureThreshold | Integer
|  | secondsAGCCycle | Integer
|  | secondsAGCOff | Float
|  | secondsAlarmResponse | Float
|  | secondsControlEcoDispatch | Float
|  | secondsDeadbandDynamicACE | Integer
|  | secondsDeadbandTimeError | Float
|  | secondsEmergencyDisableJoint | Float
|  | secondsEvaluateLossModel | Float
|  | secondsJointAGCStall | Float
|  | secondsMaximumTimeCorrection | Float
|  | secondsMinimumEcoDispatch | Float
|  | secondsMinimumStudyEcoDispatch | Float
|  | secondsPauseThenSuspend | Integer
PlanningZoneGroup | IdentifiedObject
PlanningZone | IdentifiedObject
|  | psseid | Integer
PlanningArea | IdentifiedObject
|  | psseid | Integer
Bay | EquipmentContainer
|  | bayEnergyMeasFlag | Boolean
|  | bayPowerMeasFlag | Boolean
|  | breakerConfiguration | BreakerConfiguration
|  | busBarConfiguration | BusbarConfiguration
PermissionArea | IdentifiedObject
VoltageLevel | EquipmentContainer
|  | highVoltageLimit | Float
|  | lowVoltageLimit | Float
Ownership | IdentifiedObject
|  | penaltyFactor | Float
|  | teid | Integer
|  | ownPercent | Float
Operatorship | IdentifiedObject
|  | operatePercent | Float
MonitoredGroup | IdentifiedObject
|  | active | Boolean
Substation | EquipmentContainer
|  | forNetwork | Boolean
|  | forScada | Boolean
|  | inhibitAbnormalForAlarm | Boolean
|  | inhibitAbnormalForSCADA | Boolean
|  | inhibitAudibleTone | Boolean
|  | inhibitLoggingAndAlarmList | Boolean
|  | inhibitUnacknowledgedAlarmList | Boolean
|  | initiallyInhibit | Boolean
|  | loggingAndAlarmList | Boolean
|  | SGR | Float
|  | overrideDefaultInhibitDefinition | Boolean
|  | PSSEID | Integer
|  | unacknowledgedAlarmList | Boolean
|  | abnormalForAlarm | Boolean
|  | abnormalForSCADA | Boolean
|  | alarmLocation | String
|  | audibleTone | Boolean
ResourceController | EquipmentContainer
|  | gross | Boolean
|  | jointUnit | Boolean
|  | physical | Boolean
|  | externalJointUnit | Boolean
|  | frequencyBias | Float
BranchGroup | Monitored
|  | maximumActivePower | Float
|  | maximumReactivePower | Float
|  | MaxShadowPrice | Float
|  | maximumMVAr | Float
|  | maximumMW | Float
|  | minimumActivePower | Float
|  | minimumReactivePower | Float
|  | minimumMVAr | Float
|  | monitorActivePower | Boolean
|  | minimumMW | Float
|  | monitorReactivePower | Boolean
|  | teid | Integer
VoltageMonitored | Monitored
ConnectivityNodeGroup | PlanningBay
|  | PSSEBusName | String
|  | PSSEBusNumber | Integer
PlanningBay | EquipmentContainer
Monitored | IdentifiedObject
|  | eligible | Boolean
Line | EquipmentContainer
|  | psseid | String
|  | MaxShadowPrice | Float
|  | emergencyMaxShadowPrice | Float
|  | fifteenMinuteMaxShadowPrice | Float
MeterConfiguration | IdentifiedObject
EquipmentContainer | ConnectivityNodeContainer
ControllableLoadResource | EnergyConsumerResource
|  | maxDeploymentTime | Float
|  | maxWeeklyEnergy | Float
|  | minNoticeTime | Float
|  | rampRateSlopeDownLimit | Float
|  | rampRateSlopeUpLimit | Float
LoadResource | EnergyConsumerResource
|  | maxWeeklyEnergy | Float
|  | minNoticeTime | Float
MeasurementValueSource | IdentifiedObject
|  | GraceTime | Integer
|  | iccpDomainAus | String
|  | iccpDomainTay | String
|  | IntegrityPeriod | Integer
|  | lnkapp | String
|  | MaxDisPerDataset | Integer
|  | maxScanRate | Integer
|  | notInService | Boolean
|  | pbool1 | Boolean
|  | pbool2 | Boolean
|  | pbool3 | Boolean
|  | pbool4 | Boolean
|  | pbool5 | Boolean
|  | pbool6 | Boolean
|  | pbool7 | Boolean
|  | pbool8 | Boolean
|  | protocolVersion | Integer
|  | remoteIdAus | String
|  | remoteIdTay | String
|  | savecaseType | SavecaseType
|  | trsfr | Integer
|  | zonalAttribute | Boolean
|  | biverAus | String
|  | biverTay | String
|  | BufferTime | Integer
|  | defaultDataSetPeriod | Integer
EnergyConsumerResource | Equipment
|  | blockLoadTransfer | Boolean
|  | commercialOperationsDate | Date
|  | loadFreqBias | Float
|  | loadFreqDevDeadband | Float
|  | loadId | String
|  | loadSubStationId | String
|  | maxDailyDeployment | Float
|  | maxInterruptionTime | Float
|  | MaxPowerConsumption | Float
|  | maxWeeklyDeployment | Float
|  | minInterruptionTime | Float
|  | MinPowerConsumption | Float
|  | minRestorationTime | Float
|  | qualificationStatus | Boolean
|  | RelayType | EnumRelayType
|  | resourceCategory | String
|  | wfrmcr | Boolean
IccpQualityConversionSet | IdentifiedObject
RootType | RootType

## Associations
Base | Name | Source | - | Destination | -
IccpQualityConversion
| IccpQualityConversion.IccpQualityConversionSet | IccpQualityConversion | 0..n | IccpQualityConversionSet | 0..1
HUBBus
| HUBBus.SettlementHub | HUBBus | 1..n | SettlementHUB | 1
TransformerWinding
| TransformerWinding.MemberOf_PowerTransformer | TransformerWinding | 0..n | PowerTransformer | 1
PinVoltage
| PinVoltage.PinVoltage | PinVoltage | 0..n | ConnectivityNode | 1
PinTriggerCondition
| PinTriggerCondition.TriggerCondition | PinTriggerCondition | 0..n | TriggerCondition | 1
PinSwitch
| PinSwitch.Switch | PinSwitch | 0..n | Switch | 1
PinGate
| PinGate.Gate | PinGate | 0..n | Gate | 1
PinFlow
| PinFlow.Terminal | PinFlow | 0..n | Terminal | 1
PinBranchGroup
| PinBranchGroup.BranchGroup | PinBranchGroup | 0..n | BranchGroup | 1
GateInputPin
| GateInputPin.MemberOf_Gate | GateInputPin | 1..n | Gate | 1
Switch
| Switch.LR | Switch | 0..1 | EnergyConsumerResource | 0..1
| Switch.GroupedBy_MultiSectionLineGroup | Switch | 0..n | MultiSectionLineGroup | 0..1
| Switch.Terminal_MeteredBy | Switch | 0..n | Terminal | 0..1
| Switch.GeneratingUnit | Switch | 0..n | GeneratingUnit | 0..1
Gate
| Gate.MemberOf_TriggerCondition | Gate | 1..n | TriggerCondition | 1
SeriesCompensator
| SeriesCompensator.GroupedBy_MultiSectionLineGroup | SeriesCompensator | 0..n | MultiSectionLineGroup | 0..1
FunctionArgument
| FunctionArgument.Function | FunctionArgument | 0..n | Function | 1
DiscreteValue
| DiscreteValue.MemberOf_Measurement | DiscreteValue | 0..n | Discrete | 1
| DiscreteValue.DiscreteType | DiscreteValue | 0..n | DiscreteType | 0..1
| DiscreteValue.DiscreteName | DiscreteValue | 0..n | DiscreteName | 0..1
| DiscreteValue.ConversionTable | DiscreteValue | 0..n | ConversionTable | 0..1
| DiscreteValue.DiscreteAlarmCategory | DiscreteValue | 0..n | DiscreteAlarmCategory | 0..1
RemedialActionScheme
| RemedialActionScheme.Contigency | RemedialActionScheme | 0..n | Contingency | 0..n
SynchronousMachine
| SynchronousMachine.MemberOf_GeneratingUnit | SynchronousMachine | 0..1 | GeneratingUnit | 0..1
| SynchronousMachine.InitiallyUsesMVArCapabilityCurve | SynchronousMachine | 1..n | MVArCapabilityCurve | 0..1
| SynchronousMachine.AccuracyClass | SynchronousMachine | 0..n | AccuracyClass | 0..1
| SynchronousMachine.SynchronousMachine | SynchronousMachine | 0..n | SubLoadArea | 0..1
EnergyProducerResource
| EnergyProducerResource.EnergyProducerResourceSite | EnergyProducerResource | 0..n | EnergyProducerResourceSite | 0..1
EnergyProducerResourceMeter
| EnergyProducerResourceMeter.EnergyProducerResourceSite | EnergyProducerResourceMeter | 0..n | EnergyProducerResourceSite | 0..1
EnergyProducerResourceSite
| EnergyProducerResourceSite.SecondaryConnection | EnergyProducerResourceSite | 0..n | EnergyConsumer | 0..1
| EnergyProducerResourceSite.PrimaryConnection | EnergyProducerResourceSite | 0..n | EnergyConsumer | 0..1
AnalogValue
| AnalogValue.MemberOf_Measurement | AnalogValue | 0..n | Analog | 1
| AnalogValue.AnalogName | AnalogValue | 0..n | AnalogName | 0..1
| AnalogValue.AccuracyClass | AnalogValue | 0..n | AccuracyClass | 0..1
| AnalogValue.AnalogLimit | AnalogValue | 0..n | AnalogLimit | 0..n
| AnalogValue.AnalogAlarmCategory | AnalogValue | 0..n | AnalogAlarmCategory | 0..1
AccumulatorValue
| AccumulatorValue.MemberOf_Measurement | AccumulatorValue | 0..n | Accumulator | 1
| AccumulatorValue.AccumulatorAlarmCategory | AccumulatorValue | 0..n | AccumulatorAlarmCategory | 0..1
| AccumulatorValue.AccumulatorName | AccumulatorValue | 0..n | AccumulatorName | 0..1
OperationalLimit
| OperationalLimit.OperationalLimitType | OperationalLimit | 0..n | OperationalLimitType | 1
| OperationalLimit.OperationalLimitSet | OperationalLimit | 0..n | OperationalLimitSet | 0..1
OperationalLimitSet
| OperationalLimitSet.Equipment | OperationalLimitSet | 0..n | Equipment | 0..1
| OperationalLimitSet.Terminal | OperationalLimitSet | 0..n | Terminal | 0..1
ShuntCompensator
| ShuntCompensator.Switch | ShuntCompensator | 0..1 | Switch | 1
| ShuntCompensator.ReplacedBy_ShuntCompensatorAlt | ShuntCompensator | 0..1 | ShuntCompensatorAlt | 0..n
RegulatingCondEq
| RegulatingCondEq.Measurement | RegulatingCondEq | 0..n | Measurement | 0..1
| RegulatingCondEq.Terminal | RegulatingCondEq | 0..n | Terminal | 1
| RegulatingCondEq.LoadBasedRegulationCurve | RegulatingCondEq | 0..n | LoadBasedRegulationCurve | 0..1
| RegulatingCondEq.RegulationSchedule | RegulatingCondEq | 0..n | RegulationSchedule | 0..1
MeasurementValue
| MeasurementValue.SecondarySite | MeasurementValue | 0..n | Site | 0..1
| MeasurementValue.MeasurementValueSource | MeasurementValue | 0..n | MeasurementValueSource | 0..1
| MeasurementValue.ReadBy_MeasurementValueSource | MeasurementValue | 0..n | MeasurementValueSource | 0..1
| MeasurementValue.MemberOf_MeasurementGroup | MeasurementValue | 0..n | MeasurementGroup | 0..1
| MeasurementValue.Calculation | MeasurementValue | 0..n | Calculation | 0..1
| MeasurementValue.Site | MeasurementValue | 0..n | Site | 0..1
| MeasurementValue.IccpQualityConversionSet | MeasurementValue | 0..n | IccpQualityConversionSet | 0..1
ConformLoad
| ConformLoad.LoadGroup | ConformLoad | 0..1 | ConformLoadGroup | 0..1
NonConformLoad
| NonConformLoad.LoadGroup | NonConformLoad | 0..n | NonConformLoadGroup | 0..1
BlackStartPoint
| BlackStartPoint.BlackStartGoal | BlackStartPoint | 1..n | BlackStartGoal | 0..1
BlackStartLoad
| BlackStartLoad.EnergyConsumer | BlackStartLoad | 0..n | EnergyConsumer | 1
EnergyConsumer
| EnergyConsumer.AccuracyClass | EnergyConsumer | 0..n | AccuracyClass | 0..1
| EnergyConsumer.EnergyConsumer | EnergyConsumer | 0..n | SubLoadArea | 0..1
| EnergyConsumer.PlanningZone | EnergyConsumer | 0..n | PlanningZone | 0..1
| EnergyConsumer.PlanningArea | EnergyConsumer | 0..n | PlanningArea | 0..1
| EnergyConsumer.LoadArea | EnergyConsumer | 0..n | LoadArea | 0..1
| EnergyConsumer.SettlementNOIELoadZone | EnergyConsumer | 0..n | SettlementNOIELoadZone | 0..1
| EnergyConsumer.PrivateAreaNetwork | EnergyConsumer | 0..n | PrivateAreaNetwork | 0..1
| EnergyConsumer.LoadZone | EnergyConsumer | 0..n | SubLoadArea | 0..1
| EnergyConsumer.HasAlternate_ConnectivityNode | EnergyConsumer | 0..n | ConnectivityNode | 0..1
| EnergyConsumer.LoadType | EnergyConsumer | 0..n | LoadType | 1
MeasurementLocation
| MeasurementLocation.MemberOf_PSR | MeasurementLocation | 0..n | PowerSystemResource | 0..1
| MeasurementLocation.DeviceTypeName | MeasurementLocation | 0..n | DeviceTypeName | 1
| MeasurementLocation.PermissionArea | MeasurementLocation | 0..n | PermissionArea | 0..1
EPSMeter
| EPSMeter.EnergyConsumer | EPSMeter | 0..n | EnergyConsumer | 0..n
| EPSMeter.MeterConfiguration | EPSMeter | 0..n | MeterConfiguration | 0..1
| EPSMeter.GeneratingUnit | EPSMeter | 0..n | GeneratingUnit | 0..n
| EPSMeter.Configuration | EPSMeter | 0..n | Configuration | 0..n
ACLineSegment
| ACLineSegment.FromLoadZone | ACLineSegment | 0..n | SubLoadArea | 0..1
| ACLineSegment.GroupedBy_MultiSectionLineGroup | ACLineSegment | 0..n | MultiSectionLineGroup | 0..1
| ACLineSegment.ToLoadZone | ACLineSegment | 0..n | SubLoadArea | 0..1
MeasurementGroup
| MeasurementGroup.MeasurementLocation | MeasurementGroup | 0..n | MeasurementLocation | 1
EnergyConsumerAltConnection
| EnergyConsumerAltConnection.TransferTo_EnergyConsumer | EnergyConsumerAltConnection | 0..n | EnergyConsumer | 1
| EnergyConsumerAltConnection.TransferFrom_EnergyConsumer | EnergyConsumerAltConnection | 0..n | EnergyConsumer | 1
SubLoadArea
| SubLoadArea.LoadArea | SubLoadArea | 0..n | LoadArea | 1
ConductingEquipment
| ConductingEquipment.ProtectionEquipments | ConductingEquipment | 0..n | ProtectionEquipment | 0..n
| ConductingEquipment.BaseVoltage | ConductingEquipment | 0..n | BaseVoltage | 0..1
sysRdfContainers
| sysRdfContainers.MemberOf_sysGeneralCategory | sysRdfContainers | 0..n | sysGeneralCategory | 0..1
ElectricalBus
| ElectricalBus.Ownership | ElectricalBus | 0..n | Ownership | 0..n
| ElectricalBus.ConnectivityNode | ElectricalBus | 0..1 | ConnectivityNode | 1
sysTreeCategory
| sysTreeCategory.Ownership | sysTreeCategory | 0..n | Ownership | 0..n
| sysTreeCategory.MemberOf_RootType | sysTreeCategory | 0..n | RootType | 0..n
sysRdfContainer
| sysRdfContainer.MemberOf_sysRdfContainers | sysRdfContainer | 0..n | sysRdfContainers | 0..1
| sysRdfContainer.HasA_Domain | sysRdfContainer | 0..1 | Domain | 0..1
sysOrphan
| sysOrphan.Ownership | sysOrphan | 0..n | Ownership | 0..n
| sysOrphan.MemberOf_sysOrphans | sysOrphan | 0..n | sysOrphans | 0..1
DynamicElement
| DynamicElement.Equipment | DynamicElement | 0..1 | Equipment | 1
VisibilityLayer
| VisibilityLayer.BaseVoltage | VisibilityLayer | 1 | BaseVoltage | 0..1
RegularTimePoint
| RegularTimePoint.IntervalSchedule | RegularTimePoint | 0..n | RegularIntervalSchedule | 1
Measurement
| Measurement.Terminal | Measurement | 0..n | Terminal | 0..1
| Measurement.Unit | Measurement | 0..n | Unit | 0..1
| Measurement.MeasurementType | Measurement | 0..n | MeasurementType | 0..1
| Measurement.LimitSets | Measurement | 0..n | LimitSet | 0..n
| Measurement.Ownership | Measurement | 0..n | Ownership | 1
| Measurement.Operatorship | Measurement | 0..n | Operatorship | 1
| Measurement.MemberOf_PSR | Measurement | 0..n | PowerSystemResource | 0..1
IrregularTimePoint
| IrregularTimePoint.IntervalSchedule | IrregularTimePoint | 0..n | IrregularIntervalSchedule | 1
LogicalConfiguration
| LogicalConfiguration.CombinedCyclePlant | LogicalConfiguration | 0..n | CombinedCyclePlant | 0..1
InverterModel
| InverterModel.InverterModelInverterDepartment | InverterModel | 0..n | InverterDepartment | 0..1
SolarPanelModel
| SolarPanelModel.SolarPanelSolarPanelDepartment | SolarPanelModel | 0..n | SolarPanelDepartment | 0..1
SkidArray
| SkidArray.SkidArraySolarGeneratingUnit | SkidArray | 0..n | SolarGeneratingUnit | 0..1
DCTie
| DCTie.GeneratingUnit | DCTie | 0..1 | GeneratingUnit | 1
| DCTie.EnergyConsumer | DCTie | 0..1 | EnergyConsumer | 1
Inverter
| Inverter.InverterSkidArray | Inverter | 0..n | SkidArray | 0..1
| Inverter.InverterInverterModel | Inverter | 0..n | InverterModel | 0..1
LoadGroup
| LoadGroup.SubLoadArea | LoadGroup | 0..n | SubLoadArea | 1
CountType
| CountType.MemberOf_ModelVersion | CountType | 0..n | ModelVersion | 0..1
Links
| Links.HasA_rdfRoleBType | Links | 0..n | Instances | 1
| Links.HasA_rdfRoleAType | Links | 0..n | Instances | 1
SolarPanel
| SolarPanel.SolarPanelSkidArray | SolarPanel | 0..n | SkidArray | 0..n
| SolarPanel.SolarPanelSolarGeneratingUnit | SolarPanel | 0..n | SolarGeneratingUnit | 0..1
| SolarPanel.SolarPanelSolarPanelModel | SolarPanel | 0..n | SolarPanelModel | 1
Counts
| Counts.MemberOf_CountType | Counts | 0..n | CountType | 0..1
ContSpecialElements
| ContSpecialElements.ContingencyGroupMember | ContSpecialElements | 0..n | ContingencyGroupMember | 1
| ContSpecialElements.PowerSystemResource | ContSpecialElements | 0..n | PowerSystemResource | 0..n
| ContSpecialElements.BaseVoltage | ContSpecialElements | 0..n | BaseVoltage | 0..n
| ContSpecialElements.PrivateAreaNetwork | ContSpecialElements | 0..n | PrivateAreaNetwork | 0..n
AggrContingencyGroup
| AggrContingencyGroup.Contingency | AggrContingencyGroup | 0..n | ContingencyGroup | 0..n
GeographicObjects
| GeographicObjects.GeographicObjectGroup | GeographicObjects | 0..n | GeographicObjectGroup | 0..n
MultiSectionLineGroup
| MultiSectionLineGroup.Terminal_MeteredBy | MultiSectionLineGroup | 0..n | Terminal | 0..1
CurveData
| CurveData.CurveSchedule | CurveData | 0..n | Curve | 0..1
ContingencyGroupMember
| ContingencyGroupMember.ContingencyGroup | ContingencyGroupMember | 0..n | ContingencyGroup | 1
| ContingencyGroupMember.Contingency | ContingencyGroupMember | 0..n | Contingency | 0..1
Rating
| Rating.Unit | Rating | 0..n | Unit | 0..1
| Rating.OwnerShareRating | Rating | 0..n | OwnerShareRating | 1
AnalogLimitSet
| AnalogLimitSet.Measurements | AnalogLimitSet | 0..n | Analog | 0..1
ContingencyElement
| ContingencyElement.MemberOf_Contingency | ContingencyElement | 1..n | Contingency | 1
| ContingencyElement.Equipment | ContingencyElement | 0..n | Equipment | 0..1
AccumulatorLimitSet
| AccumulatorLimitSet.Measurements | AccumulatorLimitSet | 0..n | Accumulator | 0..n
ProtectionEquipment
| ProtectionEquipment.Unit | ProtectionEquipment | 0..n | Unit | 1
| ProtectionEquipment.ProtectedSwitch | ProtectionEquipment | 0..n | ProtectedSwitch | 0..n
| ProtectionEquipment.BusbarSection | ProtectionEquipment | 0..n | BusbarSection | 0..n
| ProtectionEquipment.Operates_Switches | ProtectionEquipment | 0..n | Switch | 0..n
LimitSet
| LimitSet.Season | LimitSet | 0..n | Season | 0..1
ShuntCompensatorAlt
| ShuntCompensatorAlt.ConnectedTo_ConnectivityNode | ShuntCompensatorAlt | 0..n | ConnectivityNode | 1
| ShuntCompensatorAlt.Controls_ConnectivityNode | ShuntCompensatorAlt | 0..n | ConnectivityNode | 0..1
PowerTransformer
| PowerTransformer.PowerTransformer | PowerTransformer | 0..n | PowerTransformer | 0..1
| PowerTransformer.TransformerKluge | PowerTransformer | 0..n | TransformerKluge | 0..1
GenericEquipment
| GenericEquipment.GeneratingUnit | GenericEquipment | 0..1 | GeneratingUnit | 0..n
ThermalGeneratingUnit
| ThermalGeneratingUnit.MemberOf_CombinedCyclePlant | ThermalGeneratingUnit | 0..n | CombinedCyclePlant | 0..1
AnalogLimit
| AnalogLimit.LimitSet | AnalogLimit | 0..n | AnalogLimitSet | 1
| AnalogLimit.AnalogLimitName | AnalogLimit | 0..n | AnalogLimitName | 0..1
| AnalogLimit.LimitAlarmCategory | AnalogLimit | 0..n | LimitAlarmCategory | 0..1
AccumulatorLimit
| AccumulatorLimit.LimitSet | AccumulatorLimit | 0..n | AccumulatorLimitSet | 1
VoltageLimit
| VoltageLimit.VoltageLimitSet | VoltageLimit | 0..n | VoltageLimitSet | 1
ConnectivityNode
| ConnectivityNode.ConnectivityNodeGroup | ConnectivityNode | 0..n | ConnectivityNodeGroup | 0..1
| ConnectivityNode.MemberOf_EquipmentContainer | ConnectivityNode | 0..n | EquipmentContainer | 0..1
ConfigurationMember
| ConfigurationMember.Configuration | ConfigurationMember | 0..n | Configuration | 1
| ConfigurationMember.ThermalGeneratingUnit | ConfigurationMember | 0..n | ThermalGeneratingUnit | 1
RampRateCurve
| RampRateCurve.EnergyConsumerResource | RampRateCurve | 0..n | EnergyConsumerResource | 0..1
| RampRateCurve.Configuration | RampRateCurve | 0..n | Configuration | 0..1
| RampRateCurve.GeneratingUnit | RampRateCurve | 0..n | GeneratingUnit | 0..1
PhaseShifterImpedanceCurve
| PhaseShifterImpedanceCurve.TapChanger | PhaseShifterImpedanceCurve | 0..1 | TapChanger | 0..1
LoadDetail
| LoadDetail.EnergyConsumer | LoadDetail | 0..n | EnergyConsumer | 0..1
MVArCapabilityCurve
| MVArCapabilityCurve.SynchronousMachines | MVArCapabilityCurve | 0..n | SynchronousMachine | 1
EnergyStorageResource
| EnergyStorageResource.EPSMeter | EnergyStorageResource | 0..n | EPSMeter | 0..1
| EnergyStorageResource.GenericEquipment | EnergyStorageResource | 0..1 | GenericEquipment | 0..1
| EnergyStorageResource.Substation | EnergyStorageResource | 0..n | Substation | 0..1
| EnergyStorageResource.ControllableLoadResource | EnergyStorageResource | 0..1 | ControllableLoadResource | 0..1
| EnergyStorageResource.HydroGeneratingUnit | EnergyStorageResource | 0..1 | HydroGeneratingUnit | 0..1
NodePair
| NodePair.ConnectivityNode | NodePair | 0..n | ConnectivityNode | 0..n
| NodePair.Contingency | NodePair | 0..n | Contingency | 0..1
Configuration
| Configuration.LogicalConfiguration | Configuration | 1..n | LogicalConfiguration | 0..1
DistributionResource
| DistributionResource.EnergyConsumer | DistributionResource | 0..n | EnergyConsumer | 0..1
| DistributionResource.GeneratingUnit | DistributionResource | 0..1 | GeneratingUnit | 0..1
MondoSolarGeneratingUnit
| MondoSolarGeneratingUnit.SolarGeneratingUnit | MondoSolarGeneratingUnit | 0..1 | SolarGeneratingUnit | 1..n
MeasurementArgument
| MeasurementArgument.MeasurementValue | MeasurementArgument | 0..n | MeasurementValue | 1
ConstantArgument
| ConstantArgument.PermissionArea | ConstantArgument | 0..n | PermissionArea | 0..1
CalculationArgument
| CalculationArgument.FunctionArgument | CalculationArgument | 0..n | FunctionArgument | 1
| CalculationArgument.Calculation | CalculationArgument | 0..n | Calculation | 1
Calculation
| Calculation.Function | Calculation | 0..n | Function | 1
| Calculation.CalculationTriggerTimer | Calculation | 0..n | CalculationTriggerTimer | 0..1
| Calculation.MeasurementValue | Calculation | 0..n | MeasurementValue | 0..1
| Calculation.MeasurementLocation | Calculation | 0..n | MeasurementLocation | 0..1
BranchGroupTerminal
| BranchGroupTerminal.Terminal | BranchGroupTerminal | 0..n | Terminal | 1
| BranchGroupTerminal.BranchGroup | BranchGroupTerminal | 0..n | BranchGroup | 1
Location
| Location.GeographicObject | Location | 0..n | GeographicObjects | 0..1
| Location.PowerSystemResource | Location | 0..1 | PowerSystemResource | 0..1
| Location.Measurement | Location | 0..1 | Measurement | 0..n
Domain
| Domain.MemberOf_sysOrphan | Domain | 0..n | sysOrphan | 0..1
SeasonalLimitSet
| SeasonalLimitSet.Configuration | SeasonalLimitSet | 0..n | Configuration | 0..1
ThrottlePressCurve
| ThrottlePressCurve.ThermalGeneratingUnit | ThrottlePressCurve | 0..1 | ThermalGeneratingUnit | 1
NonConformLoadSchedule
| NonConformLoadSchedule.NonConformLoadGroup | NonConformLoadSchedule | 0..n | NonConformLoadGroup | 1
ConformLoadSchedule
| ConformLoadSchedule.ConformLoadGroup | ConformLoadSchedule | 0..n | ConformLoadGroup | 1
SeasonDayTypeSchedule
| SeasonDayTypeSchedule.Season | SeasonDayTypeSchedule | 0..n | Season | 0..1
| SeasonDayTypeSchedule.DayType | SeasonDayTypeSchedule | 0..n | DayType | 0..1
GeneratingUnit
| GeneratingUnit.PrivateAreaNetwork | GeneratingUnit | 0..n | PrivateAreaNetwork | 0..1
| GeneratingUnit.SubLoadArea | GeneratingUnit | 0..n | SubLoadArea | 0..1
| GeneratingUnit.HasA_ResourceNode | GeneratingUnit | 0..n | ResourceNode | 0..1
| GeneratingUnit.GenerationType | GeneratingUnit | 0..n | GenerationType | 0..1
| GeneratingUnit.EnergyStorageResource | GeneratingUnit | 0..1 | EnergyStorageResource | 0..1
RegulationSchedule
| RegulationSchedule.DayType | RegulationSchedule | 0..n | DayType | 1
| RegulationSchedule.Season | RegulationSchedule | 0..n | Season | 0..1
StageTrigger
| StageTrigger.TriggerCondition | StageTrigger | 0..n | TriggerCondition | 1
| StageTrigger.Stage | StageTrigger | 1..n | Stage | 1
Stage
| Stage.RemedialActionScheme | Stage | 1..n | RemedialActionScheme | 1
ProtActRaiseNotification
| ProtActRaiseNotification.Equipment | ProtActRaiseNotification | 0..n | Equipment | 1
PinEquipmentStatus
| PinEquipmentStatus.ConductingEquipment | PinEquipmentStatus | 0..n | ConductingEquipment | 1
HasAMeasurement
| HasAMeasurement.TriggerCondition | HasAMeasurement | 0..n | TriggerCondition | 0..1
| HasAMeasurement.MeasurementValue | HasAMeasurement | 0..n | MeasurementValue | 1
| HasAMeasurement.Gate | HasAMeasurement | 0..n | Gate | 0..1
| HasAMeasurement.RemedialActionScheme | HasAMeasurement | 0..n | RemedialActionScheme | 1
Equipment
| Equipment.MemberOf_EquipmentContainer | Equipment | 0..n | EquipmentContainer | 0..1
| Equipment.weatherStationMonEquip | Equipment | 0..1 | WeatherStation | 0..n
CombinedCyclePlant
| CombinedCyclePlant.ResourceController | CombinedCyclePlant | 0..n | ResourceController | 1
AncillaryQualification
| AncillaryQualification.GeneratingUnit | AncillaryQualification | 0..1 | GeneratingUnit | 0..1
| AncillaryQualification.EnergyConsumerResource | AncillaryQualification | 0..1 | EnergyConsumerResource | 0..1
| AncillaryQualification.CombinedCyclePlant | AncillaryQualification | 0..1 | CombinedCyclePlant | 0..1
ResourceNode
| ResourceNode.Ownership | ResourceNode | 0..n | Ownership | 0..n
| ResourceNode.ElectricalBus | ResourceNode | 0..1 | ElectricalBus | 1
| ResourceNode.PrivateAreaNetwork_HasA | ResourceNode | 0..n | PrivateAreaNetwork | 0..1
WindTurbineModel
| WindTurbineModel.WindTurbineModelWindTurbineDepartment | WindTurbineModel | 0..n | WindTurbineDepartment | 0..1
TapChanger
| TapChanger.TapChanger | TapChanger | 0..n | TapChanger | 0..1
| TapChanger.Terminal | TapChanger | 0..n | Terminal | 0..1
| TapChanger.Measurement | TapChanger | 0..n | Measurement | 0..1
| TapChanger.LoadBasedRegulationCurve | TapChanger | 0..n | LoadBasedRegulationCurve | 0..1
| TapChanger.TransformerWinding | TapChanger | 0..n | TransformerWinding | 1
| TapChanger.RegulationSchedule | TapChanger | 0..n | RegulationSchedule | 0..1
Department
| Department.DepartmentHasAManufacturer | Department | 0..n | Manufacturer | 0..1
WindTurbine
| WindTurbine.WindTurbineWindTurbineModel | WindTurbine | 0..n | WindTurbineModel | 0..1
| WindTurbine.WindTurbineWindGeneratingUnit | WindTurbine | 0..n | WindGeneratingUnit | 0..1
Comment
| Comment.IdentifiedObject | Comment | 0..n | IdentifiedObject | 0..1
MeasurementValueQuality
| MeasurementValueQuality.MeasurementValue | MeasurementValueQuality | 0..1 | MeasurementValue | 1
PrivateProtectiveActions
| PrivateProtectiveActions.StageTrigger | PrivateProtectiveActions | 1 | StageTrigger | 1
AggregateHub
| AggregateHub.SettlementHUB | AggregateHub | 0..n | SettlementHUB | 0..n
ProtActTransformerWinding
| ProtActTransformerWinding.TransformerWinding | ProtActTransformerWinding | 0..n | TransformerWinding | 1
ProtActSwitch
| ProtActSwitch.Switch | ProtActSwitch | 0..n | Switch | 1
ProtActSeriesCompensator
| ProtActSeriesCompensator.SeriesCompensator | ProtActSeriesCompensator | 0..n | SeriesCompensator | 1
ProtActSynchronousMachine
| ProtActSynchronousMachine.SynchronousMachine | ProtActSynchronousMachine | 0..n | SynchronousMachine | 1
ProtActStationReduction
| ProtActStationReduction.Substation | ProtActStationReduction | 0..n | Substation | 1
ProtActEnergyConsumer
| ProtActEnergyConsumer.EnergyConsumer | ProtActEnergyConsumer | 0..n | EnergyConsumer | 1
ProtActAnalog
| ProtActAnalog.AnalogValue | ProtActAnalog | 0..n | AnalogValue | 0..1
ProtActACLineSegment
| ProtActACLineSegment.ACLineSegment | ProtActACLineSegment | 0..n | ACLineSegment | 1
ProtectiveActionShared
| ProtectiveActionShared.SharedProtectiveActions | ProtectiveActionShared | 0..n | SharedProtectiveActions | 1
ProtectiveAction
| ProtectiveAction.ProtectiveActions | ProtectiveAction | 0..n | ProtectiveActions | 1
| ProtectiveAction.DiscreteValue | ProtectiveAction | 0..n | DiscreteValue | 0..1
WeatherStation
| WeatherStation.WeatherStationHasALocation | WeatherStation | 0..1 | Location | 0..n
TriggerCondition
| TriggerCondition.RemedialActionScheme | TriggerCondition | 1..n | RemedialActionScheme | 1
| TriggerCondition.ResultingGate | TriggerCondition | 0..1 | Gate | 1
PrivateAreaNetwork
| PrivateAreaNetwork.ConductingEquipment | PrivateAreaNetwork | 0..1 | ConductingEquipment | 0..n
TransState
| TransState.FromConfig_Configuration | TransState | 0..n | Configuration | 1
| TransState.ToConfig_Configuration | TransState | 0..n | Configuration | 1
PricingVector
| PricingVector.ElectricalBus | PricingVector | 0..n | ElectricalBus | 1
| PricingVector.Terminal | PricingVector | 0..n | Terminal | 1
| PricingVector.EPSMeter_HasA | PricingVector | 1..n | EPSMeter | 1
OwnerShareRating
| OwnerShareRating.DynamicElement | OwnerShareRating | 0..n | DynamicElement | 0..1
| OwnerShareRating.Equipment | OwnerShareRating | 0..n | Equipment | 0..1
| OwnerShareRating.WeatherStationAlt | OwnerShareRating | 0..n | WeatherStationAlt | 0..1
| OwnerShareRating.WeatherStation | OwnerShareRating | 0..n | WeatherStation | 0..1
| OwnerShareRating.Ownership | OwnerShareRating | 0..n | Ownership | 1
MondoWindGeneratingUnit
| MondoWindGeneratingUnit.WingGeneratingUnit | MondoWindGeneratingUnit | 0..1 | WindGeneratingUnit | 1..n
OwnerShareLimits
| OwnerShareLimits.GeneratingUnit | OwnerShareLimits | 0..n | GeneratingUnit | 0..1
| OwnerShareLimits.EnergyConsumerResource | OwnerShareLimits | 0..n | EnergyConsumerResource | 0..1
| OwnerShareLimits.Ownership | OwnerShareLimits | 0..1 | Ownership | 1
| OwnerShareLimits.Operatorship | OwnerShareLimits | 0..1 | Operatorship | 1
| OwnerShareLimits.RampRateCurve | OwnerShareLimits | 0..n | RampRateCurve | 0..1
ProtActBranchGroup
| ProtActBranchGroup.BranchGroup | ProtActBranchGroup | 0..n | BranchGroup | 0..1
DiagramObjectPoint
| DiagramObjectPoint.DiagramObject | DiagramObjectPoint | 0..n | DiagramObject | 1
| DiagramObjectPoint.DiagramObjectGluePoint | DiagramObjectPoint | 0..n | DiagramObjectGluePoint | 0..1
Diagram
| Diagram.MemberOf_Substation | Diagram | 0..n | Substation | 0..1
DiagramObject
| DiagramObject.DiagramObject | DiagramObject | 0..n | DiagramObject | 0..1
| DiagramObject.VisibilityLayers | DiagramObject | 0..n | VisibilityLayer | 0..n
| DiagramObject.Diagram | DiagramObject | 0..n | Diagram | 0..1
| DiagramObject.IdentifiedObject | DiagramObject | 0..n | IdentifiedObject | 0..1
| DiagramObject.DiagramObjectStyle | DiagramObject | 0..n | DiagramObjectStyle | 0..1
SwitchAction
| SwitchAction.Switch | SwitchAction | 0..n | Switch | 0..1
MeasurementAction
| MeasurementAction.Measurement | MeasurementAction | 0..1 | Measurement | 0..1
SwitchingAction
| SwitchingAction.SwitchingStep | SwitchingAction | 1 | SwitchingStep | 0..1
PowerSystemResource
| PowerSystemResource.Ownership | PowerSystemResource | 0..n | Ownership | 0..n
| PowerSystemResource.Operatorship | PowerSystemResource | 0..n | Operatorship | 0..n
| PowerSystemResource.OperatedBy_Companies | PowerSystemResource | 0..n | Company | 0..1
SwitchingStepGroup
| SwitchingStepGroup.SwitchingPlan | SwitchingStepGroup | 0..n | SwitchingPlan | 0..1
SwitchingStep
| SwitchingStep.SwitchingStepGroup | SwitchingStep | 0..n | SwitchingStepGroup | 0..1
LocationPoint
| LocationPoint.Boundry | LocationPoint | 0..n | Boundry | 0..1
Boundry
| Boundry.Operatorship | Boundry | 0..n | Operatorship | 1
| Boundry.Ownership | Boundry | 0..n | Ownership | 1
| Boundry.GeographicObject | Boundry | 0..1 | GeographicObjects | 0..1
TieLine
| TieLine.TieCorridor | TieLine | 0..n | TieCorridor | 0..1
| TieLine.Substation | TieLine | 0..n | Substation | 0..1
| TieLine.Terminal | TieLine | 0..n | Terminal | 0..1
BlackStartLine
| BlackStartLine.ACLineSegment | BlackStartLine | 0..n | ACLineSegment | 1
BlackStartUnit
| BlackStartUnit.SynchronousMachine | BlackStartUnit | 0..n | SynchronousMachine | 1
BlackStartBreaker
| BlackStartBreaker.Switch | BlackStartBreaker | 0..n | Switch | 1
TieCorridor
| TieCorridor.DCTie | TieCorridor | 1 | DCTie | 0..1
| TieCorridor.To_SubLoadArea | TieCorridor | 0..n | SubLoadArea | 0..1
| TieCorridor.To_HostControlArea | TieCorridor | 0..n | HostControlArea | 1
| TieCorridor.From_SubLoadArea | TieCorridor | 0..n | SubLoadArea | 0..1
| TieCorridor.From_HostControlArea | TieCorridor | 0..n | HostControlArea | 1
BlackStartElement
| BlackStartElement.BlackStartPoint | BlackStartElement | 1..n | BlackStartPoint | 0..1
| BlackStartElement.BlackStartPath | BlackStartElement | 1..n | BlackStartPath | 1
PseudoTerminal
| PseudoTerminal.EnergyProducerResource | PseudoTerminal | 0..1 | EnergyProducerResource | 0..1
| PseudoTerminal.OwnerShareLimits | PseudoTerminal | 0..1 | OwnerShareLimits | 0..1
| PseudoTerminal.GenericEquipment | PseudoTerminal | 0..1 | GenericEquipment | 0..1
| PseudoTerminal.CombinedCyclePlant | PseudoTerminal | 0..1 | CombinedCyclePlant | 0..1
| PseudoTerminal.BaseVoltage | PseudoTerminal | 0..n | BaseVoltage | 0..1
BlackStartPath
| BlackStartPath.BlackStartCorridor | BlackStartPath | 1..n | BlackStartCorridor | 1
BlackStartCorridor
| BlackStartCorridor.BlackStartGoal | BlackStartCorridor | 1..n | BlackStartGoal | 0..1
Terminal
| Terminal.ConnectivityNode | Terminal | 0..n | ConnectivityNode | 0..1
| Terminal.ConductingEquipment | Terminal | 0..n | ConductingEquipment | 0..1
SubGeographicalRegion
| SubGeographicalRegion.HostControlArea | SubGeographicalRegion | 0..n | HostControlArea | 1
| SubGeographicalRegion.Region | SubGeographicalRegion | 0..n | GeographicalRegion | 0..1
PlanningZone
| PlanningZone.PlanningZoneGroup | PlanningZone | 1..n | PlanningZoneGroup | 1
Bay
| Bay.MemberOf_VoltageLevel | Bay | 0..n | VoltageLevel | 0..1
| Bay.MemberOf_Substation | Bay | 0..n | Substation | 0..1
VoltageLevel
| VoltageLevel.MemberOf_Substation | VoltageLevel | 0..n | Substation | 0..1
| VoltageLevel.BaseVoltage | VoltageLevel | 0..n | BaseVoltage | 1
Ownership
| Ownership.Company | Ownership | 0..n | Company | 0..1
| Ownership.Secondary_Contact | Ownership | 0..n | Contact | 0..1
| Ownership.Contact | Ownership | 0..n | Contact | 0..1
Operatorship
| Operatorship.Contact | Operatorship | 0..n | Contact | 0..1
| Operatorship.Company | Operatorship | 0..n | Company | 0..1
| Operatorship.Secondary_Contact | Operatorship | 0..n | Contact | 0..1
Substation
| Substation.HostControlArea | Substation | 0..n | HostControlArea | 0..1
| Substation.LoadZone | Substation | 0..n | SubLoadArea | 0..1
| Substation.Region | Substation | 0..n | SubGeographicalRegion | 0..1
| Substation.SettlementLoadZone | Substation | 1..n | SettlementLoadZone | 0..1
| Substation.PermissionArea | Substation | 0..n | PermissionArea | 1
ResourceController
| ResourceController.Substation | ResourceController | 0..n | Substation | 0..1
BranchGroup
| BranchGroup.Terminals | BranchGroup | 0..n | Terminal | 0..n
| BranchGroup.ProtActBranchGroup | BranchGroup | 0..n | ProtActBranchGroup | 0..1
| BranchGroup.InvTerminal | BranchGroup | 0..n | Terminal | 0..n
VoltageMonitored
| VoltageMonitored.VoltageLimitSet | VoltageMonitored | 0..n | VoltageLimitSet | 1
| VoltageMonitored.VoltageLevel | VoltageMonitored | 0..1 | VoltageLevel | 1
ConnectivityNodeGroup
| ConnectivityNodeGroup.PlanningZone | ConnectivityNodeGroup | 0..n | PlanningZone | 1
| ConnectivityNodeGroup.PlanningArea | ConnectivityNodeGroup | 0..n | PlanningArea | 1
| ConnectivityNodeGroup.HasAHUBBus | ConnectivityNodeGroup | 1..n | HUBBus | 0..1
| ConnectivityNodeGroup.ReactiveZone | ConnectivityNodeGroup | 0..n | ReactiveZone | 0..1
PlanningBay
| PlanningBay.VoltageLevel | PlanningBay | 0..n | VoltageLevel | 0..1
Monitored
| Monitored.MonitoredGroup | Monitored | 0..n | MonitoredGroup | 0..1
Line
| Line.Region | Line | 0..n | SubGeographicalRegion | 0..1
| Line.Terminal_MeteredBy | Line | 0..n | Terminal | 0..1
MeasurementValueSource
| MeasurementValueSource.Company | MeasurementValueSource | 0..n | Company | 1
EnergyConsumerResource
| EnergyConsumerResource.HostControlArea | EnergyConsumerResource | 0..n | HostControlArea | 0..1
| EnergyConsumerResource.Ownership | EnergyConsumerResource | 0..n | Ownership | 0..n
| EnergyConsumerResource.Operatorship | EnergyConsumerResource | 0..n | Operatorship | 0..1
| EnergyConsumerResource.HasA_ResourceNode | EnergyConsumerResource | 0..n | ResourceNode | 0..1
| EnergyConsumerResource.HasA_EnergyConsumer | EnergyConsumerResource | 0..n | EnergyConsumer | 1
IccpQualityConversionSet
| IccpQualityConversionSet.Ownership | IccpQualityConversionSet | 0..n | Ownership | 1

## Enumerations
Name | Attribute
TrackingType
fixed
single
double
azimuth
EnumContingencyProcessType
useFull
useWide
useLocal
PFRExemptionType
Both
High
Low
None
EnumContingencyActiveMode
default
mustRun
noStudy
BSUnitAction
None
EnergizeUnit
CompanyType
CRRAH
DSP
ERCOT
LSE
PUCT
QSE
RE
TDSP
BSLineAction
None
EnergizeLine
ClearanceTagType
BSBreakerAction
None
Close_Breaker
ReachSynchPoint
BusbarConfiguration
singleBus
doubleBus
mainWithTransfer
ringBus
BreakerConfiguration
singleBreaker
breakerAndAHalf
doubleBreaker
noBreaker
BSPathType
Primary
Secondary
Tertiary
Ancillary
BoilerControlMode
coordinated
following
AreaControlMode
CF
CTL
TLB
OFF
WindTurbineType
Type_1
Type_2
Type_3
Type_4
Type_5
OrientationKind
negative
positive
EnumShuntCompensatorMode
SwitchedShuntLocked
DiscAdj_Voltage_Control
ContAdj_Voltage_Control
DiscAdj_Voltage_Cont_MVAR
DiscAdj_Voltage_Cont_MVAR_DC
DiscAdj_Voltage_Cont_Alt_SS
DiscAdj_Voltage_Cont_MVAR_FACT
Fixed
ContingencyCollections
AllEquipment
Lines
XFormers
Units
SeriesComps
SVCs
Capacitors
Reactors
Switches
Breakers
MultipleCircuits
OperationalLimitDirectionKind
absoluteValue
low
high
deviation
ERCOTDGType
NonModeledDG
SelfServeNonModeledDG
NonModeledESS
GeographicObjectType
WindRegionGroup
VoltageRegionGroup
Other1
Other2
SolarRegionGroup
SynchronousMachineModelKind
transient
subtransient
subtransientTypeF
subtransientTypeJ
subtransientSimplified
subtransientSimplifiedDirectAxis
RotorKind
roundRotor
salientPole
AggrLoadType
Cryptocurrency_Mining
Data_Center_(non-crypto)
Hydrogen_and_Electrofuel_Production
Steel_and_Aluminum_Manufacturing
Oil_and_Chemical_Refining
Oil_and_Gas Production_Processing_and_Transmission
Government_and_Medical
Other
Transportation
ifdBaseType
ifag
ifnl
iffl
other
EnumBSUnitType
BlackStartUnit
AlternateBlackStartUnit
NextStartUnit
AlternateNextStartUnit
EnumBSPointType
SyncPoint
EndPoint
StartPoint
AltPoint
CCPResourceCategory
CombinedCycleGT90
CombinedCycleLE90
GUResourceCategory
CoalAndLignite
GSNonReheatWOAirPreHeat
GSReheat
GSSupercritical
Hydro
Nuclear
Other
PowerStorage
ReciprocatingEngine
SCLE90
SCGT90
Solar
Wind
WindRegions
South
Houston
West
Panhandle
East
Coastal
North
ControlAreaTypeKind
AGC
Forecast
Interchange
EnumSVCExportMode
Generator
SwitchedShuntLocked
SwitchedShuntDiscrete
SwitchedShuntContinuous
EnumReactiveLimitControlMode
VariableSpecifiedByQtQb
VariableSpecifiedByPwrOpPF
FixedSpecifiedByPwrOpPF
County
Liberty
Limestone
Lipscomb
Live Oak
Llano
Loving
Lubbock
Lynn
McCulloch
McLennan
McMullen
Madison
Marion
Martin
Mason
Matagorda
Maverick
Medina
Menard
Midland
Milam
Mills
Mitchell
Montague
Montgomery
Moore
Morris
Motley
Nacogdoches
Navarro
Newton
Nolan
Nueces
Ochiltree
Oldham
Orange
Palo Pinto
Panola
Parker
Parmer
Pecos
Polk
Potter
Presidio
Rains
Randall
Reagan
Real
Red River
Reeves
Refugio
Roberts
Robertson
Rockwall
Runnels
Rusk
Sabine
San Augustine
San Jacinto
San Patricio
San Saba
Schleicher
Scurry
Shackelford
Shelby
Sherman
Smith
Somervell
Starr
Stephens
Sterling
Stonewall
Sutton
Swisher
Tarrant
Taylor
Terrell
Terry
Throckmorton
Titus
Tom Green
Travis
Trinity
Tyler
Upshur
Upton
Uvalde
Val Verde
Van Zandt
Victoria
Walker
Waller
Ward
Washington
Webb
Wharton
Wheeler
Wichita
Wilbarger
Willacy
Williamson
Wilson
Winkler
Wise
Wood
Yoakum
Young
Zapata
Zavala
Anderson
Andrews
Angelina
Aransas
Archer
Armstrong
Atascosa
Austin
Bailey
Bandera
Bastrop
Baylor
Bee
Bell
Bexar
Blanco
Borden
Bosque
Bowie
Brazoria
Brazos
Brewster
Briscoe
Brooks
Brown
Burleson
Burnet
Caldwell
Calhoun
Callahan
Cameron
Camp
Carson
Cass
Castro
Chambers
Cherokee
Childress
Clay
Cochran
Coke
Coleman
Collin
Collingsworth
Colorado
Comal
Comanche
Concho
Cooke
Coryell
Cottle
Crane
Crockett
Crosby
Culberson
Dallam
Dallas
Dawson
Deaf Smith
Delta
Denton
DeWitt
Dickens
Dimmit
Donley
Duval
Eastland
Ector
Edwards
Ellis
El Paso
Erath
Falls
Fannin
Fayette
Fisher
Floyd
Foard
Fort Bend
Franklin
Freestone
Frio
Gaines
Galveston
Garza
Gillespie
Glasscock
Goliad
Gonzales
Gray
Grayson
Gregg
Grimes
Guadalupe
Hale
Hall
Hamilton
Hansford
Hardeman
Hardin
Harris
Harrison
Hartley
Haskell
Hays
Hemphill
Henderson
Hidalgo
Hill
Hockley
Hood
Hopkins
Houston
Howard
Hudspeth
Hunt
Hutchinson
Irion
Jack
Jackson
Jasper
Jeff Davis
Jefferson
Jim Hogg
Jim Wells
Johnson
Jones
Karnes
Kaufman
Kendall
Kenedy
Kent
Kerr
Kimble
King
Kinney
Kleberg
Knox
Lamar
Lamb
Lampasas
La Salle
Lavaca
Lee
Leon
Other
EnumNotificationType
alarm
message
SinglePhaseKind
A
B
C
N
s1
s2
EnumMeasurementType
armed
tripped
communication
status
limit
PhaseShuntConnectionKind
D
Y
Yn
I
PetersenCoilModeKind
fixed
manual
automaticPositioning
WindingType
primary
secondary
tertiary
quaternary
WindingConnection
D
Y
Z
Validity
GOOD
QUESTIONABLE
INVALID
TurbineType
francis
pelton
kaplan
TransformerType
fix
voltageControl
phaseControl
voltageAndPhaseControl
TransformerCoolingType
Empty
TransformerControlMode
off
local
volt
mVAr
MW
TemperatureUnits
celsius
fahrenheit
SynchronousMachineType
generator
condenser
generator_or_condenser
SynchronousMachineOperatingMode
generator
condenser
SwitchState
open
close
SVCControlMode
off
reactivePower
voltage
SurgeTankCode
TextSize
8pt
8_25pt
8_5pt
8_75pt
9pt
10pt
12pt
SpillwayGateType
TextStyle
normal
bold
italic
underline
Source
PROCESS
DEFAULTED
SUBSTITUTED
TextFont
timesNewRoman
technical
tahoma
sansSerif
courier
arial
SeasonName
winter
spring
summer
fall
SwitchActionKind
open
close
disableReclosing
enableReclosing
Orientation
up
down
horizontal
vertical
left
right
SavecaseType
QSE
TSP
RemoteUnitType
RTU
SubstationControlSystem
ControlCenter
IED
EnumRelayType
interruptible
controllable
under-frequency
RatingType
dynamicRating
staticRating
PreContLimitType
none
normal
PostContLimitType
none
normal
LTE
MTE
STE
PenstockType
ERCOTPANType
BLT_normally_in
BLT_normally_out
PrivateUseNetwork
SelfServing
NonModeledGeneration
RetiredGeneration
MothballedGeneration
SelfServeNonModeledGeneration
NonModeledESS
EnumContingencyClassifications
MultipleCircuits
ManuallyDefined
Other
Switched
LimitType
normalRating
fifteenminuteRating
twoHourRating
conductorRating
RateOfChange
Clamp
High1
High2
High3
High4
High5
High6
Low1
Low2
Low3
Low4
Low5
Low6
relayRating
LimitSetType
ratings
limits
both
HydroPlantType
runOfRiver
pumpedStorage
majorStorage
minorStorage
ERCOTHubCalcType
ALL_ERCOT_345KV_HUBBUSES
ERCOT_HUBS
EnumGeneratorParticipationFactor
short
long
normal
GeneratorOperatingMode
Off
Manual
Fixed
LFC
AGC
EDC
MRN
REG
GeneratorControlSource
Unavailable
offAGC
onAGC
PlantControl
String
GeneratorControlMode
setpoint
pulse
Time
EnumGateType
and
or
nor
nand
not
ne
eq
le
lt
ge
gt
gor
Date
FuelType
coal
oil
gas
DateTime
ERCOTFuelType
AB
BFG
BIT
BLQ
DFO
GEO
JF
KER
LFG
LIG
MSW
NA
NG
NUC
OBG
OBL
OBS
OG
OTH
PC
PG
PUR
RFO
SC
SLW
SUB
SUN
TDF
WAT
WC
WDL
WDS
WND
WO
Float
EmissionValueSource
measured
calculated
Float
EmissionType
sulferDioxide
carbonDioxide
nitrogenOxide
hydrogenSulfide
chlorine
carbonDisulfide
Integer
CurveStyle
constantYValue
straightLineYValues
rampYValue
formula
Integer
CoolantType
air
hydrogenGas
water
Boolean
ControlHouseEquipmentType