NOTICE OF PROPOSED NET METERING ARRANGEMENT

This form must be used to notify ERCOT of a proposed net metering arrangement involving a stand-alone generation resource registered with ERCOT as of September 1, 2025 and a new Large Load customer, as required by Public Utility Regulatory Act (PURA) § 39.169(a) and 25 TAC § 25.205.  The form must be submitted by the ERCOT-registered Resource Entity for the generation resource(s) that will be co-located with the new Large Load.  The Resource Entity must submit the form via email to LargeLoadNetMeteringNotice@ercot.com.

The ERCOT-registered Resource Entity must complete Item Nos. 1 through 5 below.  Unless otherwise noted, all fields are required.  The response to Item No. 3 should be consistent with the Interconnecting Large Load Entity’s (ILLE’s) current Load Commissioning Plan.  For Item No. 5, if the ILLE has provided responses to this item in the Large Load Intake Form (LIF), then the response should refer to the LIF.  If the information has changed, the ILLE must update its information consistent with the rules in the Planning Guide.

- Resource Entity Information

Resource Entity Name:

Resource Entity DUNS Number:

Generator Station Code:

- Interconnecting Large Load Information

Interconnecting Large Load Entity (ILLE):

Name of Large Load Facility:

BZ Number (assigned by ERCOT):

BZ-

LLI Number (if applicable; assigned by ERCOT):

LLI-

- Large Load’s Phased Energization Schedule

Provide the Large Load’s phased energization schedule by season starting with the first season after the application is filed through five years.  The seasons are as follows: Winter, December to February; Spring, March to May; Summer, June to September; and Fall, October to November.  Below is an example for joint applicants applying after January 1, 2026 but before May 1, 2026.

Example format (for illustration only):

| Season | Peak Load Month | Cumulative Peak Load (MW) |
| --- | --- | --- |
| Spring 2026 | 5/1/2026 | 50 MW |
| Summer 2026 | 8/1/2026 | 75 MW |
| Fall 2026 | 10/1/2026 | 100 MW |
| Winter 2026/2027 | 1/1/2027 | 150 MW |

Phased Energization Schedule

| Season | Peak Load Month | Cumulative Peak Load (MW) |
| --- | --- | --- |

- Large Load Curtailment Capability

Curtailment time is calculated from the time ERCOT gives the instruction to the time the Large Load reaches zero megawatts (MW).  Enter the curtailment time in minutes.

- On-Site Backup Generation Capability

Maximum MW output and fuel type of any on-site backup generation capability available to offset the Large Load.

As an Authorized Representative (AR), Backup AR, or Officer for the Resource Entity identified above, I certify that the information provided on this form is true and correct.

_____________________________________________

Signature of AR, Backup AR, or Officer

Name

Title

Date