## Summary of Commercial ADERs
Month | No. of Commercial ADERs | Qualified Amt. for Energy (MW) | Qualified Amt. for Non-Spin (MW) | Qualified Amt. for ECRS (MW)
2024-05 | 2 | 13.074 | 6 | 6
2024-06 | 2 | 13.074 | 6 | 6
2024-07 | 2 | 14.576 | 8.6 | 8.6
2024-08 | 3 | 15.076 | 8.6 | 8.733
2024-09 | 3 | 15.076 | 8.6 | 8.733
2024-10 | 3 | 15.076 | 8.6 | 8.733
2024-11 | 3 | 15.076 | 8.6 | 8.733
2024-12 | 3 | 15.322 | 8.6 | 8.786
2025-01 | 3 | 15.322 | 8.6 | 8.786
2025-02 | 3 | 15.322 | 8.6 | 8.786
2025-03 | 3 | 15.322 | 8.6 | 8.786
2025-04 | 3 | 15.537 | 8.6 | 8.84
2025-05 | 3 | 15.537 | 8.6 | 8.84
2025-06 | 3 | 15.537 | 8.6 | 8.84
2025-07 | 5 | 30.483 | 8.6 | 9.38

## Monthly Participation
Month | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
05/2024 | AR_ALD1 | 9057 | 5314 | 3177 | 27 | 2294 | 25 | 68 | 1862.068 | 1807.852 | 2479.743 | 1205.006
05/2024 | WEBBS_ALD1 | 9057 | 5303 | 3177 | 27 | 2296 | 25 | 59 | 1497.031 | 1295.887 | 2207.756 | 1347.061
06/2024 | AR_ALD1 | 8787 | 5506 | 1044 | 0 | 4833 | 0 | 0 | 2063.86 | 1816.008 | 2143.114
06/2024 | WEBBS_ALD1 | 8787 | 5394 | 1008 | 0 | 4715 | 0 | 23 | 1499.536 | 1271.668 | 1549.539 | 269.065
07/2024 | AR_ALD1 | 9032 | 5652 | 687 | 0 | 3927 | 29 | 3 | 1998.731 | 1970.078 | 1887.208 | 755.914
07/2024 | BOERNE_ALD1 | 5834 | [6 empty] | 1.632
07/2024 | WEBBS_ALD1 | 9032 | 5652 | 626 | 0 | 3939 | 36 | 3 | 1596.341 | 1791.431 | 1247.164 | 755.914
08/2024 | AR_ALD1 | 9042 | 5490 | 2388 | 0 | 1475 |  | 32 | 1481.791 | 986.985 | 1030.641 | 2293.51
08/2024 | BOERNE_ALD1 | 9042 | 247 | [5 empty] | 5.292
08/2024 | WEBBS_ALD1 | 9042 | 5480 | 507 | 0 | 1487 |  | 34 | 1321.848 | 547.387 | 754.341 | 2132.336
09/2024 | AR_ALD1 | 8813 | 5536 | 1836 | 1394 | 1454 |  | 4 | 908.441 | 1247.602 | 1443.166 | 539.749
09/2024 | BOERNE_ALD1 | 8813 | 1420 |  |  |  |  | 264 | 728.104 |  |  | 108.795
09/2024 | WEBBS_ALD1 | 8813 | 5536 | 1363 | 1092 | 1490 |  | 13 | 928.778 | 1445.031 | 1215.573 | 444.986
10/2024 | AR_ALD1 | 9083 | 5690 | 4276 | 4276 | 788 |  | 10 | 350.933 | 344.868 | 308.694 | 448.531
10/2024 | BOERNE_ALD1 | 9083 | 2800 |  |  |  |  | 423 | 599.965 |  |  | 76.693
10/2024 | WEBBS_ALD1 | 9083 | 5690 | 3975 | 3975 | 593 |  | 19 | 489.757 | 477.374 | 303.895 | 511.6
11/2024 | AR_ALD1 | 8859 | 5607 | 5571 | 5571 | 12 |  | 42 | 354.635 | 355.994 | 300 | 1202.923
11/2024 | BOERNE_ALD1 | 8859 | 3394 |  |  | 2 |  | 502 | 1103.48 |  |  | 85.923
11/2024 | WEBBS_ALD1 | 8859 | 5607 | 5570 | 5570 | 12 |  | 45 | 402.561 | 408.368 | 300 | 1445.921
12/2024 | AR_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 1 | 297.184 | 300.145 |  | 4481.708
12/2024 | BOERNE_ALD1 | 8994 | 3114 |  |  | 0 |  | 674 | 220.835 |  |  | 47.428
12/2024 | WEBBS_ALD1 | 8994 | 5622 | 5622 | 5622 | 0 |  | 2 | 298.591 | 301.353 |  | 2587.401
01/2025 | AR_ALD1 | 8985 | 5612 | 5024 | 5024 | 121 |  | 0 | 532.236 | 378.981 | 300
01/2025 | BOERNE_ALD1 | 8985 | 1226 |  |  | 0 |  | 163 | 104.345 |  |  | 95.75
01/2025 | WEBBS_ALD1 | 8985 | 5612 | 5035 | 5035 | 149 |  | 10 | 462.505 | 346.788 | 300 | 1033.745
02/2025 | AR_ALD1 | 8158 | 5094 | 4213 | 4213 | 12 |  | 6 | 299.313 | 302.65 | 300 | 386.023
02/2025 | BOERNE_ALD1 | 8158 | 1530 |  |  | 0 |  | 431 | 71.209 |  |  | 256.919
02/2025 | WEBBS_ALD1 | 8158 | 5094 | 4219 | 4219 |  |  | 14 | 369.598 | 389.172 |  | 302.069
03/2025 | AR_ALD1 | 9092 | 5714 | 4578 | 4578 |  |  | 7 | 304.504 | 310.876 |  | 535.459
03/2025 | BOERNE_ALD1 | 9092 | 3493 |  |  | 1623 |  | 724 | 52.112 |  | 5 | 54.225
03/2025 | WEBBS_ALD1 | 9092 | 5714 | 4361 | 4361 |  |  | 4 | 317.093 | 327.559 |  | 352.929
04/2025 | AR_ALD1 | 8817 | 5528 | 4668 | 4668 |  |  | 12 | 314.283 | 324.903 |  | 1753.53
04/2025 | BOERNE_ALD1 | 8817 | 7266 |  |  | 4360 |  | 2739 | 82.353 |  | 5 | 44.827
04/2025 | WEBBS_ALD1 | 8817 | 5528 | 4832 | 4832 |  |  | 4 | 320.751 | 330.843 |  | 423.934
05/2025 | AR_ALD1 | 8841 | 8208 | 5913 | 5913 |  |  | 39 | 331.948 | 334.335 |  | 643.564
05/2025 | BOERNE_ALD1 | 8841 | 7388 |  |  | 5095 |  | 4577 | 45.87 |  | 10 | 54.365
05/2025 | WEBBS_ALD1 | 8841 | 8208 | 5817 | 5817 |  |  | 33 | 298.467 | 292.915 |  | 848.524

## Hourly Participation (05_2025)
Hour End | Resource | Total SCED Intervals | Online SCED Intervals | Intervals Carrying NSPIN | Intervals Released NSPIN | Intervals Carrying ECRS | Intervals Released ECRS | Dispatched | Avg. Online Bid | Avg. Online Bid w/NSPIN | Avg. Online Bid w/ECRS | Avg. LMP While Dispatched
HE_1 | AR_ALD1 | 363 | 291 | 0 | 0 | 0 | 0 | 0 | 270.034
HE_1 | BOERNE_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_1 | WEBBS_ALD1 | 363 | 291 | 0 | 0 | 0 | 0 | 0 | 270.034
HE_2 | AR_ALD1 | 363 | 291 | 0 | 0 | 0 | 0 | 0 | 270.79
HE_2 | BOERNE_ALD1 | 363 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_2 | WEBBS_ALD1 | 363 | 291 | 0 | 0 | 0 | 0 | 0 | 269.863
HE_3 | AR_ALD1 | 362 | 290 | 0 | 0 | 0 | 0 | 0 | 269.178
HE_3 | BOERNE_ALD1 | 362 | 0 | 0 | 0 | 0 | 0 | 0 | 0
HE_3 | WEBBS_ALD1 | 362 | 290 | 0 | 0 | 0 | 0 | 0 | 270.103
HE_4 | AR_ALD1 | 363 | 290 | 0 | 0 | 0 | 0 | 0 | 270.184
HE_4 | BOERNE_ALD1 | 363 | 333 | 0 | 0 | 333 | 0 | 203 | 10 |  | 10 | 25.64
HE_4 | WEBBS_ALD1 | 363 | 290 | 0 | 0 | 0 | 0 | 0 | 269.759
HE_5 | AR_ALD1 | 361 | 289 | 0 | 0 | 0 | 0 | 0 | 284.031
HE_5 | BOERNE_ALD1 | 361 | 361 | 0 | 0 | 361 | 0 | 227 | 10 |  | 10 | 27.086
HE_5 | WEBBS_ALD1 | 361 | 289 | 0 | 0 | 0 | 0 | 0 | 276.133
HE_6 | AR_ALD1 | 365 | 293 | 0 | 0 | 0 | 0 | 0 | 686.998
HE_6 | BOERNE_ALD1 | 365 | 365 | 0 | 0 | 365 | 0 | 231 | 10 |  | 10 | 29.229
HE_6 | WEBBS_ALD1 | 365 | 293 | 0 | 0 | 0 | 0 | 0 | 435.38
HE_7 | AR_ALD1 | 364 | 364 | 364 | 364 | 0 | 0 | 0 | 499.072 | 499.072
HE_7 | BOERNE_ALD1 | 364 | 364 | 0 | 0 | 364 | 0 | 228 | 10 |  | 10 | 32.084
HE_7 | WEBBS_ALD1 | 364 | 364 | 364 | 364 | 0 | 0 | 0 | 306.042 | 306.042
HE_8 | AR_ALD1 | 367 | 366 | 318 | 318 | 0 | 0 | 0 | 587.26 | 611.431
HE_8 | BOERNE_ALD1 | 367 | 367 | 0 | 0 | 367 | 0 | 238 | 10 |  | 10 | 25.431
HE_8 | WEBBS_ALD1 | 367 | 366 | 246 | 246 | 0 | 0 | 0 | 351.483 | 325.418
HE_9 | AR_ALD1 | 364 | 364 | 340 | 340 | 0 | 0 | 0 | 456.695 | 467.756
HE_9 | BOERNE_ALD1 | 364 | 364 | 0 | 0 | 364 | 0 | 215 | 10 |  | 10 | 21.975
HE_9 | WEBBS_ALD1 | 364 | 364 | 316 | 316 | 0 | 0 | 0 | 385.303 | 279.559
HE_10 | AR_ALD1 | 365 | 365 | 341 | 341 | 0 | 0 | 0 | 334.282 | 336.695
HE_10 | BOERNE_ALD1 | 365 | 365 | 0 | 0 | 365 | 0 | 190 | 10 |  | 10 | 19.839
HE_10 | WEBBS_ALD1 | 365 | 365 | 341 | 341 | 0 | 0 | 0 | 282.839 | 281.631
HE_11 | AR_ALD1 | 366 | 366 | 366 | 366 | 0 | 0 | 0 | 281.384 | 281.384
HE_11 | BOERNE_ALD1 | 366 | 366 | 0 | 0 | 366 | 0 | 172 | 10 |  | 10 | 20.949
HE_11 | WEBBS_ALD1 | 366 | 366 | 366 | 366 | 0 | 0 | 0 | 276.776 | 276.776
HE_12 | AR_ALD1 | 367 | 367 | 367 | 367 | 0 | 0 | 0 | 278.879 | 278.879
HE_12 | BOERNE_ALD1 | 367 | 367 | 0 | 0 | 367 | 0 | 174 | 10 |  | 10 | 21.513
HE_12 | WEBBS_ALD1 | 367 | 367 | 367 | 367 | 0 | 0 | 0 | 292.11 | 292.11
HE_13 | AR_ALD1 | 363 | 359 | 359 | 359 | 0 | 0 | 0 | 279.865 | 279.865
HE_13 | BOERNE_ALD1 | 363 | 363 | 0 | 0 | 363 | 0 | 174 | 10 |  | 10 | 21.898
HE_13 | WEBBS_ALD1 | 363 | 359 | 359 | 359 | 0 | 0 | 0 | 276.602 | 276.602
HE_14 | AR_ALD1 | 366 | 366 | 366 | 366 | 0 | 0 | 6 | 281.478 | 281.478 |  | 577.643
HE_14 | BOERNE_ALD1 | 366 | 366 | 0 | 0 | 366 | 0 | 155 | 10 |  | 10 | 24.916
HE_14 | WEBBS_ALD1 | 366 | 366 | 366 | 366 | 0 | 0 | 0 | 277.049 | 277.049
HE_15 | AR_ALD1 | 370 | 370 | 370 | 370 | 0 | 0 | 1 | 283.387 | 283.387 |  | 474.25
HE_15 | BOERNE_ALD1 | 370 | 370 | 0 | 0 | 370 | 0 | 153 | 10 |  | 10 | 30.471
HE_15 | WEBBS_ALD1 | 370 | 370 | 370 | 370 | 0 | 0 | 0 | 282.973 | 282.973
HE_16 | AR_ALD1 | 370 | 370 | 370 | 370 | 0 | 0 | 2 | 282.838 | 282.838 |  | 382.974
HE_16 | BOERNE_ALD1 | 370 | 370 | 0 | 0 | 370 | 0 | 150 | 10 |  | 10 | 46.607
HE_16 | WEBBS_ALD1 | 370 | 370 | 370 | 370 | 0 | 0 | 0 | 282.838 | 282.838
HE_17 | AR_ALD1 | 374 | 373 | 373 | 373 | 0 | 0 | 0 | 279.595 | 279.595
HE_17 | BOERNE_ALD1 | 374 | 374 | 0 | 0 | 374 | 0 | 167 | 10 |  | 10 | 64.877
HE_17 | WEBBS_ALD1 | 374 | 373 | 373 | 373 | 0 | 0 | 0 | 278.418 | 278.418
HE_18 | AR_ALD1 | 384 | 383 | 383 | 383 | 0 | 0 | 0 | 281.869 | 281.869
HE_18 | BOERNE_ALD1 | 384 | 384 | 0 | 0 | 0 | 0 | 234 | 39.01 |  |  | 65.73
HE_18 | WEBBS_ALD1 | 384 | 383 | 383 | 383 | 0 | 0 | 0 | 283.74 | 283.74
HE_19 | AR_ALD1 | 383 | 383 | 383 | 383 | 0 | 0 | 8 | 279.006 | 279.006 |  | 484.078
HE_19 | BOERNE_ALD1 | 383 | 383 | 0 | 0 | 0 | 0 | 285 | 33.655 |  |  | 77.173
HE_19 | WEBBS_ALD1 | 383 | 383 | 383 | 383 | 0 | 0 | 7 | 281.402 | 281.402 |  | 519.105
HE_20 | AR_ALD1 | 382 | 382 | 382 | 382 | 0 | 0 | 7 | 379.325 | 379.325 |  | 742.971
HE_20 | BOERNE_ALD1 | 382 | 382 | 0 | 0 | 0 | 0 | 331 | 28.272 |  |  | 170.773
HE_20 | WEBBS_ALD1 | 382 | 382 | 382 | 382 | 0 | 0 | 9 | 359.175 | 359.175 |  | 1313.951
HE_21 | AR_ALD1 | 377 | 377 | 377 | 377 | 0 | 0 | 2 | 298.029 | 298.029 |  | 306.025
HE_21 | BOERNE_ALD1 | 377 | 377 | 0 | 0 | 0 | 0 | 352 | 22.626 |  |  | 87.842
HE_21 | WEBBS_ALD1 | 377 | 377 | 377 | 377 | 0 | 0 | 5 | 311.407 | 311.407 |  | 393.267
HE_22 | AR_ALD1 | 369 | 296 | 194 | 194 | 0 | 0 | 13 | 276.873 | 295.283 |  | 823.65
HE_22 | BOERNE_ALD1 | 369 | 369 | 0 | 0 | 0 | 0 | 354 | 20.244 |  |  | 88.253
HE_22 | WEBBS_ALD1 | 369 | 296 | 194 | 194 | 0 | 0 | 12 | 286.534 | 307.22 |  | 881.306
HE_23 | AR_ALD1 | 368 | 308 | 136 | 136 | 0 | 0 | 0 | 272.078 | 286.765
HE_23 | BOERNE_ALD1 | 368 | 368 | 0 | 0 | 0 | 0 | 344 | 19.946 |  |  | 44.456
HE_23 | WEBBS_ALD1 | 368 | 308 | 136 | 136 | 0 | 0 | 0 | 272.078 | 286.765
HE_24 | AR_ALD1 | 365 | 305 | 124 | 124 | 0 | 0 | 0 | 271.405 | 290.323
HE_24 | BOERNE_ALD1 | 365 | 30 | 0 | 0 | 0 | 0 | 0 | 3658.537
HE_24 | WEBBS_ALD1 | 365 | 305 | 124 | 124 | 0 | 0 | 0 | 272.295 | 290.323